## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GP05MOAS-PG515 | 515 | 1 | 2015-06-02 | 9:55 |  | 50° 10.059' N | 144° 32.676' W | 1000 | TN-323 | configuration 2 GPG | 50.1677 | -144.5446

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GP05MOAS-PG515-01-CTDGVM000 | 515 | 1 | 9231 |  |  | No calibration coefficient
GP05MOAS-PG515-02-FLORTM000 | 515 | 1 | 3501 | CC_scattering_angle | 124 | Constant.
GP05MOAS-PG515-02-FLORTM000 | 515 | 1 | 3501 | CC_measurement_wavelength | 700 | Constant.
GP05MOAS-PG515-02-FLORTM000 | 515 | 1 | 3501 | CC_angular_resolution | 1.076 | Constant.
GP05MOAS-PG515-02-FLORTM000 | 515 | 1 | 3501 | CC_depolarization_ratio | 0.039 | Constant.
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_1_measurement_wavelength | 650
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_2_measurement_wavelength | 532
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_3_measurement_wavelength | 470
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_scattering_angle | 124 | Constant.
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_angular_resolution | 1.076 | Constant.
[6 empty] | GP05MOAS-PG515-03-FLORTO000 | 515 | 1 | 1239 | CC_depolarization_ratio | 0.039 | Constant.
GP05MOAS-PG515-04-PARADM000 | 515 | 1 | 50185 |  |  | No calibration coefficient
GP05MOAS-PG515-00-ENG000000 | 515 | 1 | 515 |  |  | No calibration coefficient