## Gliders
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GP05MOAS-GL001 | 340 | 4 | 2015-05-07 | 1:00 |  | 40°02.052'N | 70°19.748'W | 0 | AT-27 |  | 40.0342 | -70.3291

## Asset_Cal_Info
Ref Des | Glider Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CP05MOAS-GL001-01-ADCPAM000 | 340 | 4 | 648875 | CC_scale_factor1 | 0.61
CP05MOAS-GL001-01-ADCPAM000 | 340 | 4 | 648875 | CC_scale_factor2 | 0.61
CP05MOAS-GL001-01-ADCPAM000 | 340 | 4 | 648875 | CC_scale_factor3 | 0.61
CP05MOAS-GL001-01-ADCPAM000 | 340 | 4 | 648875 | CC_scale_factor4 | 0.61
CP05MOAS-GL001-02-FLORTM000 | 340 | 4 | 2813 | CC_scattering_angle | 124
CP05MOAS-GL001-02-FLORTM000 | 340 | 4 | 2813 | CC_measurement_wavelength | 700
CP05MOAS-GL001-02-FLORTM000 | 340 | 4 | 2813 | CC_angular_resolution | 1.076
CP05MOAS-GL001-02-FLORTM000 | 340 | 4 | 2813 | CC_depolarization_ratio | 0.039
CP05MOAS-GL001-03-CTDGVM000 | 340 | 4 | 9037
CP05MOAS-GL001-04-DOSTAM000 | 340 | 4 | 123
CP05MOAS-GL001-05-PARADM000 | 340 | 4 | 50154
CP05MOAS-GL001-00-ENG000000 | 340 | 4 | 340