## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GA05MOAS-GL001 | 494 | 1 | 2015-03-14 | 11:00 |  | 42° 55.3654' S | 42° 27.3557' W | 0 | AT26-30 |  | -42.9228 | -42.4559

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GA05MOAS-GL001-01-FLORDM000 | 494 | 1 | 3554 | CC_scattering_angle | 140 | Constant.
GA05MOAS-GL001-01-FLORDM000 | 494 | 1 | 3554 | CC_measurement_wavelength | 700 | Constant.
GA05MOAS-GL001-01-FLORDM000 | 494 | 1 | 3554 | CC_angular_resolution | 1.13 | Constant.
GA05MOAS-GL001-01-FLORDM000 | 494 | 1 | 3554 | CC_depolarization_ratio | 0.039 | Constant.
GA05MOAS-GL001-02-DOSTAM000 | 494 | 1 | 348 |  |  | No calibration coefficient
GA05MOAS-GL001-04-CTDGVM000 | 494 | 1 | 9214 |  |  | No calibration coefficient
GA05MOAS-GL001-00-ENG000000 | 494 | 1 | 494 |  |  | No calibration coefficient