## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GS05MOAS-GL003 | 486 | 1 | 2015-02-21 | 16:35 |  | 54°24.492'S | 89°21.455'W | 0 | AT26-29 |  | -54.4082 | -89.3576

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GS05MOAS-GL001-01-FLORDM000 | 486 | 1 | 3551 | CC_scattering_angle | 140 | Constant.
GS05MOAS-GL001-01-FLORDM000 | 486 | 1 | 3551 | CC_measurement_wavelength | 700 | Constant.
GS05MOAS-GL001-01-FLORDM000 | 486 | 1 | 3551 | CC_angular_resolution | 1.13 | Constant.
GS05MOAS-GL001-01-FLORDM000 | 486 | 1 | 3551 | CC_depolarization_ratio | 0.039 | Constant.
GS05MOAS-GL001-02-DOSTAM000 | 486 | 1 | 323 |  |  | No calibration coefficient
GS05MOAS-GL001-04-CTDGVM000 | 486 | 1 | 9174 |  |  | No calibration coefficient
GS05MOAS-GL001-00-ENG000000 | 486 | 1 | 486 |  |  | No calibration coefficient