## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GI05MOAS-GL495 | 495 | 2 | 2015-08-17 | 14:02 |  | 59° 51.665' N | 39° 06.800' W | 1000 | AT-30-01 |  | 59.8611 | -39.1133

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GI05MOAS-GL001-01-FLORDM000 | 495 | 2 | FLBBCDSLC-3578 | CC_scattering_angle | 140 | Constant.
GI05MOAS-GL001-01-FLORDM000 | 495 | 2 | FLBBCDSLC-3578 | CC_measurement_wavelength | 700 | Constant.
GI05MOAS-GL001-01-FLORDM000 | 495 | 2 | FLBBCDSLC-3578 | CC_angular_resolution | 1.13 | Constant.
GI05MOAS-GL001-01-FLORDM000 | 495 | 2 | FLBBCDSLC-3578 | CC_depolarization_ratio | 0.039 | Constant.
GI05MOAS-GL001-02-DOSTAM000 | 495 | 2 | 325 |  |  | No calibration coefficient
GI05MOAS-GL001-04-CTDGVM000 | 495 | 2 | 9209 |  |  | No calibration coefficient
GI05MOAS-GL001-00-ENG000000 | 495 | 2 | 495 |  |  | No calibration coefficient