## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GA05MOAS-GL495 | 495 | 1 | 2015-03-13 | 8:30 | 2015-03-14 | 42° 55.3654' S | 42° 27.3557' W | 0 | AT26-30 |  | -42.9228 | -42.4559

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GA05MOAS-GL495-01-FLORDM000 | 495 | 1 | 3578 | CC_scattering_angle | 140 | Constant.
GA05MOAS-GL495-01-FLORDM000 | 495 | 1 | 3578 | CC_measurement_wavelength | 700 | Constant.
GA05MOAS-GL495-01-FLORDM000 | 495 | 1 | 3578 | CC_angular_resolution | 1.13 | Constant.
GA05MOAS-GL495-01-FLORDM000 | 495 | 1 | 3578 | CC_depolarization_ratio | 0.039 | Constant.
GA05MOAS-GL495-02-DOSTAM000 | 495 | 1 | 325 |  |  | No calibration coefficient
GA05MOAS-GL495-04-CTDGVM000 | 495 | 1 | 9209 |  |  | No calibration coefficient
GA05MOAS-GL495-00-ENG000000 | 495 | 1 | 495 |  |  | No calibration coefficient