## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
GI05MOAS-GL469 | 469 | 1 | 2014-09-10 | 23:00 | 2014-09-18 | 59° 56.024' N | 39° 28.430' W | 0 | KN-221-4 |  | 59.9337 | -39.4738

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
GI05MOAS-GL469-01-FLORDM000 | 469 | 1 | 3528 | CC_scattering_angle | 140 | Constant.
GI05MOAS-GL469-01-FLORDM000 | 469 | 1 | 3528 | CC_measurement_wavelength | 700 | Constant.
GI05MOAS-GL469-01-FLORDM000 | 469 | 1 | 3528 | CC_angular_resolution | 1.13 | Constant.
GI05MOAS-GL469-01-FLORDM000 | 469 | 1 | 3528 | CC_depolarization_ratio | 0.039 | Constant.
GI05MOAS-GL469-02-DOSTAM000 | 469 | 1 | 341 |  |  | No calibration coefficient
GI05MOAS-GL469-04-CTDGVM000 | 469 | 1 | 9172 |  |  | No calibration coefficient
GI05MOAS-GL469-00-ENG000000 | 469 | 1 | 469 |  |  | No calibration coefficient