## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CE02SHBP-MJ01C-07-ZPLSCB101 | CE02SHBP-0001 | 1 | 001
CE02SHBP-MJ01C-08-CAMDSB107 | CE02SHBP-0001 | 1 | 0484-6002-100
CE02SHBP-LJ01D-11-HYDBBA106 | CE02SHBP-0001 | 1 | U1248 | CC_gain | 6
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_lat | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_lon | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_scale_factor1 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_scale_factor2 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_scale_factor3 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | CE02SHBP-0001 | 1 | 18493 | CC_scale_factor4 | 0.45
CE02SHBP-LJ01D-06-CTDBPN106 | CE02SHBP-0001 | 1 | 7230 | CC_lat | 44.637
CE02SHBP-LJ01D-06-CTDBPN106 | CE02SHBP-0001 | 1 | 7230 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | CE02SHBP-0001 | 1 | 216 | CC_lat | 44.637
CE02SHBP-LJ01D-06-DOSTAD106 | CE02SHBP-0001 | 1 | 216 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | CE02SHBP-0001 | 1 | 216 | CC_csv | [3.15962E-03, 1.33694E-04, 2.59182E-06, 2.32254E02, -3.13933E-01, -5.74467E01, 4.54521E00]
CE02SHBP-LJ01D-07-VEL3DC108 | CE02SHBP-0001 | 1 | 8167 | CC_lat | 44.637
CE02SHBP-LJ01D-07-VEL3DC108 | CE02SHBP-0001 | 1 | 8167 | CC_lon | -124.3059
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_eb434 | 0.7345
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_eb620 | 1.0797
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_calt | 14.9
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_cala | 0.0592
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_calb | 0.4372
CE02SHBP-LJ01D-09-PCO2WB103 | CE02SHBP-0001 | 1 | C0064 | CC_calc | -1.167
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_ea434 | 17533
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_eb434 | 2229
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_ea578 | 101
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_eb578 | 38502
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_ind_slp | 0.9698
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_ind_off | 0.2484
CE02SHBP-LJ01D-10-PHSEND103 | CE02SHBP-0001 | 1 | P0116 | CC_psal | 35
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_tcal | 18.7
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_cwlngth | [400.10000000, 403.70000000, 408.20000000, 412.50000000, 416.60000000, 421.50000000, 426.30000000, 430.90000000, 435.50000000, 440.10000000, 444.60000000, 449.90000000, 454.80000000, 459.60000000, 464.30000000, 469.40000000, 474.80000000, 479.90000000, 485.00000000, 489.90000000, 494.20000000, 499.30000000, 504.00000000, 509.20000000, 514.70000000, 519.40000000, 524.70000000, 529.40000000, 534.10000000, 538.70000000, 543.70000000, 548.30000000, 553.60000000, 558.60000000, 563.50000000, 568.10000000, 572.50000000, 576.90000000, 581.00000000, 585.10000000, 589.10000000, 593.80000000, 598.70000000, 602.90000000, 608.00000000, 612.70000000, 617.40000000, 621.70000000, 626.40000000, 630.90000000, 635.20000000, 639.20000000, 643.80000000, 648.30000000, 652.90000000, 657.50000000, 661.90000000, 666.50000000, 670.80000000, 675.00000000, 679.30000000, 683.20000000, 687.10000000, 691.10000000, 694.70000000, 698.40000000, 702.10000000, 705.70000000, 708.90000000, 712.30000000, 715.60000000, 719.20000000, 722.50000000, 725.60000000, 728.90000000, 731.90000000, 734.80000000, 737.50000000, 740.30000000, 742.30000000, 744.90000000, 746.80000000, 749.40000000]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_ccwo | [ -1.27454700, -1.13075800, -0.98906500, -0.86173100, -0.74250700, -0.63464600, -0.53703500, -0.44011700, -0.34939000, -0.26699300, -0.18573100, -0.11317400, -0.04695700, 0.01683200, 0.07561400, 0.13497900, 0.19359700, 0.24530300, 0.29787100, 0.34692700, 0.39173100, 0.43499700, 0.47463600, 0.51163700, 0.54739500, 0.57965700, 0.61343800, 0.64518000, 0.67371300, 0.70389200, 0.73262000, 0.76269600, 0.79247100, 0.81981300, 0.84780800, 0.87256700, 0.89376200, 0.91179200, 0.92459800, 0.93495800, 0.94329700, 0.92145500, 0.91493500, 0.91337300, 0.91815500, 0.93069200, 0.94677100, 0.96317000, 0.98075500, 0.99627400, 1.01087300, 1.02412200, 1.03527600, 1.04263400, 1.04629700, 1.04863900, 1.05160500, 1.05791800, 1.06553300, 1.07118100, 1.07345000, 1.06932200, 1.05685400, 1.03627900, 1.00445500, 0.96077100, 0.90543200, 0.83331800, 0.74392600, 0.63660400, 0.50730100, 0.35954400, 0.19038100, 0.00492100, -0.18398300, -0.36499000, -0.53256900, -0.66885600, -0.77249200, -0.83853200, -0.88851800, -0.91928800, -0.89907900]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_tbins | [ 1.82169700, 2.40381600, 3.48594800, 4.48767000, 5.47041700, 6.46827600, 7.49085100, 8.49225000, 9.48750000, 10.47294100, 11.47794100, 12.50363600, 13.50060600, 14.49700000, 15.48566700, 16.48733300, 17.49466700, 18.47900000, 19.47620700, 20.47148100, 21.47111100, 22.48115400, 23.47500000, 24.49892900, 25.51107100, 26.52090900, 27.51744200, 28.48636400, 29.49558100, 30.50025600, 31.49394700, 32.49675700, 33.50000000, 34.51027800, 35.32666700]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_awlngth | [400.00000000, 403.90000000, 408.50000000, 412.50000000, 416.50000000, 421.20000000, 425.80000000, 430.80000000, 435.00000000, 439.40000000, 444.60000000, 449.50000000, 454.60000000, 459.40000000, 464.10000000, 468.90000000, 474.10000000, 479.60000000, 484.60000000, 489.30000000, 493.90000000, 498.60000000, 503.40000000, 508.70000000, 513.90000000, 519.00000000, 524.10000000, 528.90000000, 533.50000000, 538.20000000, 543.00000000, 547.80000000, 552.80000000, 557.70000000, 562.70000000, 567.40000000, 571.70000000, 575.90000000, 580.20000000, 584.40000000, 588.30000000, 591.30000000, 595.90000000, 600.40000000, 605.00000000, 609.70000000, 614.30000000, 618.90000000, 623.50000000, 627.70000000, 632.00000000, 636.30000000, 640.60000000, 645.10000000, 649.60000000, 653.90000000, 658.30000000, 662.90000000, 667.30000000, 671.60000000, 675.80000000, 679.90000000, 683.80000000, 687.60000000, 691.60000000, 695.30000000, 698.40000000, 702.10000000, 705.80000000, 709.20000000, 712.40000000, 716.10000000, 719.30000000, 722.20000000, 725.90000000, 728.30000000, 731.80000000, 734.50000000, 737.20000000, 739.60000000, 742.10000000, 745.30000000, 746.80000000]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_acwo | [ -1.44444400, -1.10756900, -0.84134000, -0.63280100, -0.46742100, -0.33174700, -0.21126500, -0.10353000, -0.00124400, 0.09447100, 0.18448700, 0.27114800, 0.35403300, 0.43441900, 0.51363700, 0.58811600, 0.65914000, 0.72748700, 0.79321800, 0.85672900, 0.91835600, 0.97612600, 1.03166200, 1.08382600, 1.13472600, 1.18562500, 1.23516000, 1.28359700, 1.33051900, 1.37504800, 1.41794300, 1.45882400, 1.49755400, 1.53527500, 1.57123000, 1.60468000, 1.63436200, 1.65928900, 1.67943900, 1.69448400, 1.70428600, 1.70473800, 1.70683400, 1.70798000, 1.71389700, 1.72784700, 1.74798300, 1.77099900, 1.79426300, 1.81707600, 1.83939400, 1.86047200, 1.88024800, 1.89735700, 1.91061500, 1.92044400, 1.92923900, 1.93912400, 1.95155000, 1.96410600, 1.97398300, 1.97927900, 1.97789900, 1.96847100, 1.94942400, 1.91948900, 1.87745600, 1.82151900, 1.74972300, 1.65966900, 1.55057600, 1.42057200, 1.26808600, 1.09658500, 0.91138100, 0.72418000, 0.54551500, 0.38633300, 0.25989700, 0.16787500, 0.10422400, 0.06358200, 0.03854000]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_tcarray | [[ 0.02687100, 0.02584200, 0.02512900, 0.02418900, 0.02273100, 0.02019500, 0.02011000, 0.01978900, 0.01673100, 0.01626200, 0.01565200, 0.01471600, 0.01404100, 0.01210200, 0.01276400, 0.01066000, 0.00916100, 0.00816800, 0.00613300, 0.00574000, 0.00338100, 0.00219300, 0.00208300, 0.00066900, 0.00000000, -0.00107700, -0.00122200, -0.00192100, -0.00477300, -0.00720000, -0.00814200, -0.01078900, -0.01393000, -0.01461000, -0.01586800], [ 0.01772900, 0.01802500, 0.01708100, 0.01593700, 0.01663700, 0.01409000, 0.01417400, 0.01372500, 0.01199100, 0.01071600, 0.00971400, 0.00942400, 0.00774200, 0.00695800, 0.00590400, 0.00452000, 0.00323100, 0.00339200, 0.00245700, 0.00239200, 0.00141000, 0.00142100, 0.00127400, 0.00062400, 0.00000000, -0.00118600, -0.00349200, -0.00521300, -0.00688100, -0.00735200, -0.00820400, -0.01061900, -0.01228500, -0.01289500, -0.01408000], [ 0.01503200, 0.01514600, 0.01399000, 0.01344700, 0.01359500, 0.01138500, 0.01045900, 0.01006100, 0.00834800, 0.00742100, 0.00827300, 0.00779000, 0.00695200, 0.00634400, 0.00574600, 0.00551700, 0.00418900, 0.00401300, 0.00288500, 0.00241700, 0.00242100, 0.00192600, 0.00148200, 0.00046900, 0.00000000, -0.00163700, -0.00152900, -0.00245900, -0.00318300, -0.00521000, -0.00569800, -0.00796400, -0.00990600, -0.00932800, -0.01099500], [ 0.00905100, 0.00825500, 0.00878000, 0.00796200, 0.00727400, 0.00668700, 0.00670700, 0.00751700, 0.00569800, 0.00595500, 0.00481100, 0.00490000, 0.00429800, 0.00397300, 0.00400000, 0.00314600, 0.00251100, 0.00187400, 0.00123100, 0.00104900, 0.00050700, 0.00018400, 0.00043500, 0.00010200, 0.00000000, -0.00020600, -0.00111900, -0.00132200, -0.00353900, -0.00457000, -0.00526400, -0.00706900, -0.00836700, -0.00904700, -0.00990700], [ 0.00676900, 0.00708800, 0.00621200, 0.00535200, 0.00610000, 0.00477900, 0.00450500, 0.00439000, 0.00314100, 0.00278600, 0.00257300, 0.00204400, 0.00134800, 0.00049900, 0.00029700, -0.00042300, -0.00059400, -0.00035100, -0.00077200, -0.00009200, 0.00004200, 0.00041600, 0.00066000, -0.00004900, 0.00000000, -0.00148300, -0.00255500, -0.00384400, -0.00409300, -0.00478400, -0.00548300, -0.00702100, -0.00790600, -0.00785300, -0.00846400], [ 0.00770500, 0.00723600, 0.00663600, 0.00580300, 0.00509800, 0.00384500, 0.00324000, 0.00318100, 0.00235600, 0.00243200, 0.00224300, 0.00178400, 0.00175700, 0.00141200, 0.00089000, 0.00134300, 0.00074700, 0.00081800, 0.00044700, 0.00064300, 0.00114800, 0.00068800, 0.00050100, 0.00050600, 0.00000000, 0.00002700, -0.00034000, -0.00057400, -0.00151200, -0.00301900, -0.00295400, -0.00416800, -0.00560800, -0.00559000, -0.00686200], [ 0.00492400, 0.00447300, 0.00423400, 0.00359000, 0.00307800, 0.00223000, 0.00206500, 0.00205400, 0.00125900, 0.00087900, 0.00073800, 0.00075000, -0.00001200, -0.00060400, -0.00029300, -0.00074500, -0.00115100, -0.00122100, -0.00139600, -0.00123200, -0.00210500, -0.00071800, -0.00023000, -0.00057100, 0.00000000, -0.00059900, -0.00117500, -0.00159700, -0.00308600, -0.00344200, -0.00410900, -0.00513300, -0.00587000, -0.00632600, -0.00668900], [ 0.00388500, 0.00415800, 0.00376300, 0.00317600, 0.00336500, 0.00256400, 0.00180900, 0.00116900, 0.00039900, 0.00011800, -0.00050900, -0.00057200, -0.00116000, -0.00120700, -0.00187800, -0.00181200, -0.00181600, -0.00193600, -0.00178400, -0.00109900, -0.00045800, -0.00017100, 0.00025400, 0.00024200, 0.00000000, -0.00075500, -0.00150100, -0.00215900, -0.00226000, -0.00301800, -0.00311500, -0.00419100, -0.00473600, -0.00455300, -0.00515000], [ 0.00333700, 0.00324700, 0.00318700, 0.00279300, 0.00214700, 0.00137900, 0.00096600, 0.00127300, 0.00042500, 0.00025900, 0.00053100, 0.00005400, -0.00013300, -0.00056100, -0.00046000, -0.00048400, -0.00077700, -0.00079200, -0.00083900, -0.00090000, -0.00062000, -0.00001100, -0.00020800, -0.00019500, 0.00000000, 0.00005600, -0.00022400, -0.00039200, -0.00121400, -0.00223800, -0.00266600, -0.00305100, -0.00401400, -0.00432500, -0.00487800], [ 0.00180100, 0.00175200, 0.00162200, 0.00123100, 0.00122200, 0.00064600, 0.00042900, 0.00037600, -0.00024800, -0.00033800, -0.00086900, -0.00092700, -0.00178800, -0.00184600, -0.00179100, -0.00228700, -0.00243400, -0.00259000, -0.00230300, -0.00212500, -0.00188800, -0.00100000, -0.00037500, -0.00004700, 0.00000000, -0.00048500, -0.00108000, -0.00168700, -0.00270500, -0.00305400, -0.00349800, -0.00441400, -0.00490700, -0.00527000, -0.00560300], [ 0.00123800, 0.00155000, 0.00118500, 0.00082500, 0.00083000, 0.00009600, -0.00033300, -0.00056900, -0.00103600, -0.00140000, -0.00135000, -0.00149100, -0.00200100, -0.00212100, -0.00240400, -0.00212900, -0.00204600, -0.00180100, -0.00190400, -0.00100800, -0.00037400, -0.00001700, 0.00000300, 0.00025400, 0.00000000, -0.00032600, -0.00077300, -0.00118600, -0.00137000, -0.00206900, -0.00237200, -0.00300800, -0.00357900, -0.00356300, -0.00394300], [ 0.00038400, 0.00011800, 0.00028100, 0.00000400, -0.00056100, -0.00100800, -0.00111300, -0.00085000, -0.00155800, -0.00123900, -0.00152600, -0.00154600, -0.00180300, -0.00197000, -0.00170400, -0.00166100, -0.00202800, -0.00196800, -0.00187800, -0.00155600, -0.00139300, -0.00072100, -0.00059100, -0.00041900, 0.00000000, 0.00014500, -0.00011900, -0.00035800, -0.00128400, -0.00212700, -0.00241600, -0.00288500, -0.00361500, -0.00403100, -0.00452900], [ -0.00034700, -0.00014700, -0.00047400, -0.00065000, -0.00053400, -0.00104600, -0.00119500, -0.00146000, -0.00161600, -0.00199000, -0.00210000, -0.00219800, -0.00291900, -0.00308600, -0.00307400, -0.00318000, -0.00297600, -0.00293200, -0.00269900, -0.00225800, -0.00175900, -0.00101400, -0.00051200, -0.00003300, 0.00000000, -0.00059300, -0.00135600, -0.00186800, -0.00242600, -0.00277400, -0.00316100, -0.00393300, -0.00453300, -0.00469000, -0.00470700], [ -0.00096800, -0.00080400, -0.00095300, -0.00101800, -0.00126900, -0.00167000, -0.00203000, -0.00198000, -0.00229600, -0.00242800, -0.00239500, -0.00253300, -0.00258400, -0.00255600, -0.00259600, -0.00218000, -0.00225200, -0.00195800, -0.00186500, -0.00125500, -0.00045700, -0.00019100, -0.00003900, -0.00000400, 0.00000000, -0.00003600, -0.00018800, -0.00049100, -0.00074700, -0.00152800, -0.00174800, -0.00252200, -0.00296900, -0.00312700, -0.00351000], [ -0.00162800, -0.00182800, -0.00169200, -0.00179100, -0.00202300, -0.00228100, -0.00225700, -0.00222000, -0.00242200, -0.00230000, -0.00246900, -0.00240100, -0.00263200, -0.00291700, -0.00246700, -0.00248100, -0.00254500, -0.00271500, -0.00247200, -0.00225000, -0.00200600, -0.00140400, -0.00089000, -0.00059900, 0.00000000, -0.00004100, -0.00051400, -0.00079000, -0.00187900, -0.00227500, -0.00257900, -0.00322700, -0.00393000, -0.00432500, -0.00467200], [ -0.00146000, -0.00111300, -0.00136000, -0.00137700, -0.00125100, -0.00152700, -0.00179600, -0.00195600, -0.00225700, -0.00238300, -0.00256000, -0.00261600, -0.00311600, -0.00313100, -0.00328400, -0.00310300, -0.00290500, -0.00272200, -0.00255600, -0.00191900, -0.00134200, -0.00071800, -0.00043800, 0.00010300, 0.00000000, -0.00056500, -0.00128400, -0.00155700, -0.00183600, -0.00221400, -0.00277200, -0.00335800, -0.00381900, -0.00393000, -0.00413200], [ -0.00098900, -0.00100900, -0.00091400, -0.00092500, -0.00132100, -0.00160500, -0.00179500, -0.00183300, -0.00196900, -0.00205100, -0.00203800, -0.00215900, -0.00214200, -0.00231500, -0.00214500, -0.00175200, -0.00187800, -0.00184100, -0.00154100, -0.00126800, -0.00075300, -0.00046400, -0.00031300, -0.00026300, 0.00000000, 0.00018400, 0.00007200, -0.00024300, -0.00070100, -0.00144900, -0.00177900, -0.00232400, -0.00296800, -0.00332100, -0.00364600], [ -0.00180100, -0.00176400, -0.00167600, -0.00162900, -0.00170300, -0.00199200, -0.00196600, -0.00197100, -0.00219600, -0.00219900, -0.00247300, -0.00245400, -0.00276900, -0.00302500, -0.00285300, -0.00279000, -0.00274100, -0.00273500, -0.00258900, -0.00231300, -0.00187700, -0.00125500, -0.00087500, -0.00044900, 0.00000000, -0.00036300, -0.00086500, -0.00123600, -0.00200900, -0.00239200, -0.00273700, -0.00340900, -0.00399700, -0.00450700, -0.00453500], [ -0.00093000, -0.00062600, -0.00082600, -0.00082600, -0.00086100, -0.00119200, -0.00144200, -0.00172400, -0.00191100, -0.00213900, -0.00225400, -0.00253100, -0.00285400, -0.00267200, -0.00280500, -0.00265100, -0.00232000, -0.00216200, -0.00202500, -0.00144900, -0.00075200, -0.00046200, -0.00017200, 0.00003400, 0.00000000, -0.00028000, -0.00069500, -0.00113900, -0.00125700, -0.00176000, -0.00219600, -0.00275300, -0.00321800, -0.00336000, -0.00366700], [ -0.00078600, -0.00094600, -0.00080200, -0.00072300, -0.00113700, -0.00142500, -0.00163500, -0.00151500, -0.00180200, -0.00179800, -0.00184700, -0.00189900, -0.00198100, -0.00224000, -0.00196300, -0.00167200, -0.00176900, -0.00175100, -0.00168400, -0.00146800, -0.00104600, -0.00073200, -0.00045900, -0.00034600, 0.00000000, 0.00006500, -0.00016900, -0.00036400, -0.00107600, -0.00169700, -0.00197500, -0.00255000, -0.00325100, -0.00363200, -0.00393700], [ -0.00141600, -0.00128800, -0.00132100, -0.00127700, -0.00131200, -0.00157900, -0.00175900, -0.00187000, -0.00198600, -0.00211300, -0.00248100, -0.00238300, -0.00292000, -0.00302900, -0.00297600, -0.00288900, -0.00267500, -0.00264500, -0.00247400, -0.00205300, -0.00172300, -0.00101100, -0.00070900, -0.00015800, 0.00000000, -0.00031100, -0.00099100, -0.00133400, -0.00187000, -0.00219500, -0.00259000, -0.00316900, -0.00363300, -0.00404700, -0.00407200], [ -0.00088100, -0.00071000, -0.00083600, -0.00072300, -0.00091200, -0.00133000, -0.00160300, -0.00179700, -0.00206500, -0.00216100, -0.00216000, -0.00235600, -0.00246000, -0.00255300, -0.00253400, -0.00217800, -0.00208100, -0.00176100, -0.00167100, -0.00120400, -0.00052600, -0.00040000, -0.00014700, -0.00005700, 0.00000000, -0.00013800, -0.00039900, -0.00066600, -0.00082400, -0.00137800, -0.00173800, -0.00230800, -0.00273900, -0.00294000, -0.00325900], [ -0.00168200, -0.00180100, -0.00163900, -0.00147400, -0.00179000, -0.00203500, -0.00206000, -0.00204200, -0.00220100, -0.00208300, -0.00231700, -0.00233300, -0.00248400, -0.00270700, -0.00239400, -0.00223500, -0.00221200, -0.00212400, -0.00205200, -0.00179400, -0.00142900, -0.00092400, -0.00072500, -0.00040500, 0.00000000, 0.00005500, -0.00028700, -0.00052500, -0.00124400, -0.00167000, -0.00199200, -0.00242400, -0.00307500, -0.00349600, -0.00359200], [ -0.00189900, -0.00167900, -0.00175700, -0.00164500, -0.00158700, -0.00187900, -0.00202900, -0.00225300, -0.00232800, -0.00258300, -0.00283400, -0.00280500, -0.00322500, -0.00325400, -0.00317700, -0.00304000, -0.00276700, -0.00255900, -0.00237700, -0.00185800, -0.00135800, -0.00087500, -0.00053300, -0.00010100, 0.00000000, -0.00043100, -0.00097100, -0.00136200, -0.00153900, -0.00186400, -0.00222100, -0.00279600, -0.00314300, -0.00336700, -0.00347800], [ -0.00129100, -0.00125600, -0.00127600, -0.00110100, -0.00138700, -0.00169600, -0.00190900, -0.00198600, -0.00218600, -0.00227900, -0.00224500, -0.00243900, -0.00241900, -0.00256800, -0.00237100, -0.00198700, -0.00196600, -0.00172800, -0.00161300, -0.00117800, -0.00054400, -0.00040100, -0.00022200, -0.00014900, 0.00000000, 0.00012000, -0.00012600, -0.00028700, -0.00061200, -0.00113000, -0.00138800, -0.00186500, -0.00236000, -0.00259100, -0.00280100], [ -0.00214400, -0.00216800, -0.00205100, -0.00184300, -0.00203300, -0.00222400, -0.00226400, -0.00233500, -0.00243000, -0.00238500, -0.00265600, -0.00261600, -0.00284800, -0.00303700, -0.00276600, -0.00260800, -0.00254700, -0.00245600, -0.00219900, -0.00201300, -0.00164400, -0.00102800, -0.00072100, -0.00036600, 0.00000000, -0.00019100, -0.00057200, -0.00088600, -0.00143700, -0.00172600, -0.00213100, -0.00257300, -0.00305600, -0.00338300, -0.00348900], [ -0.00094400, -0.00076800, -0.00094700, -0.00084800, -0.00093300, -0.00124400, -0.00154100, -0.00175200, -0.00195700, -0.00213900, -0.00228700, -0.00243700, -0.00278700, -0.00280800, -0.00285600, -0.00262200, -0.00233300, -0.00208800, -0.00195600, -0.00143600, -0.00084800, -0.00053400, -0.00027400, -0.00005800, 0.00000000, -0.00033100, -0.00083300, -0.00107900, -0.00124500, -0.00156600, -0.00188700, -0.00238700, -0.00269700, -0.00287000, -0.00295800], [ -0.00092300, -0.00104000, -0.00100900, -0.00086800, -0.00125300, -0.00152400, -0.00170800, -0.00179700, -0.00202400, -0.00203200, -0.00211900, -0.00218300, -0.00217300, -0.00241800, -0.00217500, -0.00183500, -0.00185500, -0.00173900, -0.00156100, -0.00123300, -0.00077600, -0.00056800, -0.00041100, -0.00022500, 0.00000000, 0.00000900, -0.00013200, -0.00029000, -0.00079800, -0.00125600, -0.00155100, -0.00193900, -0.00242700, -0.00268800, -0.00292700], [ -0.00141900, -0.00141300, -0.00144800, -0.00132000, -0.00146400, -0.00167000, -0.00183600, -0.00198200, -0.00207000, -0.00221500, -0.00252000, -0.00247800, -0.00291900, -0.00304200, -0.00286800, -0.00276900, -0.00255600, -0.00239300, -0.00219900, -0.00194500, -0.00148500, -0.00087300, -0.00065100, -0.00026700, 0.00000000, -0.00031100, -0.00085100, -0.00118500, -0.00155300, -0.00190900, -0.00223600, -0.00263400, -0.00305300, -0.00334300, -0.00331100], [ -0.00016100, -0.00010700, -0.00033600, -0.00023800, -0.00049700, -0.00083900, -0.00121300, -0.00146300, -0.00167100, -0.00196400, -0.00197500, -0.00221500, -0.00242300, -0.00242400, -0.00245800, -0.00219600, -0.00194500, -0.00178200, -0.00161800, -0.00108700, -0.00053000, -0.00033600, -0.00013600, 0.00001700, 0.00000000, -0.00021700, -0.00061200, -0.00074800, -0.00097600, -0.00135200, -0.00163800, -0.00211700, -0.00248400, -0.00260100, -0.00269400], [ -0.00002600, -0.00027100, -0.00031800, -0.00021000, -0.00065900, -0.00097700, -0.00118700, -0.00129500, -0.00147000, -0.00149900, -0.00174900, -0.00183600, -0.00198200, -0.00228800, -0.00201300, -0.00176800, -0.00189000, -0.00178000, -0.00161100, -0.00140300, -0.00099900, -0.00064100, -0.00052100, -0.00031600, 0.00000000, -0.00003000, -0.00031200, -0.00057400, -0.00109300, -0.00152100, -0.00185900, -0.00226400, -0.00268100, -0.00301800, -0.00310200], [ -0.00010300, -0.00009500, -0.00031500, -0.00024300, -0.00045700, -0.00074800, -0.00103100, -0.00136900, -0.00148700, -0.00172700, -0.00203200, -0.00212800, -0.00256100, -0.00268300, -0.00265700, -0.00257000, -0.00230900, -0.00215900, -0.00197400, -0.00161200, -0.00112800, -0.00068900, -0.00043200, -0.00012600, 0.00000000, -0.00035100, -0.00092600, -0.00127000, -0.00155600, -0.00186800, -0.00218400, -0.00256100, -0.00293400, -0.00313900, -0.00309500], [ 0.00074000, 0.00060400, 0.00035300, 0.00044700, 0.00001400, -0.00036900, -0.00079800, -0.00095500, -0.00127100, -0.00144900, -0.00161700, -0.00180500, -0.00192700, -0.00213400, -0.00202800, -0.00178000, -0.00167300, -0.00150400, -0.00141100, -0.00098100, -0.00044300, -0.00031900, -0.00019000, -0.00009100, 0.00000000, -0.00009300, -0.00040200, -0.00055100, -0.00089000, -0.00134500, -0.00163500, -0.00206500, -0.00239000, -0.00263600, -0.00274200], [ 0.00040600, 0.00019600, 0.00008700, 0.00018100, -0.00023500, -0.00055900, -0.00078600, -0.00102400, -0.00117400, -0.00132300, -0.00161200, -0.00170100, -0.00198200, -0.00225600, -0.00208200, -0.00196500, -0.00198400, -0.00191900, -0.00175200, -0.00153400, -0.00114800, -0.00071200, -0.00057500, -0.00030700, 0.00000000, -0.00016200, -0.00057900, -0.00087700, -0.00136200, -0.00172800, -0.00204900, -0.00244400, -0.00285100, -0.00316100, -0.00311300], [ 0.00073900, 0.00073400, 0.00042800, 0.00047100, 0.00017500, -0.00017700, -0.00056500, -0.00087100, -0.00109100, -0.00137400, -0.00162500, -0.00184300, -0.00217800, -0.00231600, -0.00237800, -0.00224300, -0.00196100, -0.00174500, -0.00165800, -0.00124500, -0.00078700, -0.00044900, -0.00025400, -0.00006600, 0.00000000, -0.00031200, -0.00083200, -0.00109300, -0.00129300, -0.00165400, -0.00193800, -0.00229100, -0.00260100, -0.00276700, -0.00273900], [ 0.00062800, 0.00042300, 0.00026600, 0.00039400, -0.00004800, -0.00043700, -0.00077300, -0.00095200, -0.00122000, -0.00134400, -0.00156600, -0.00170500, -0.00184300, -0.00212300, -0.00193700, -0.00173300, -0.00174400, -0.00159600, -0.00144200, -0.00113300, -0.00068400, -0.00048800, -0.00031700, -0.00018100, 0.00000000, -0.00007500, -0.00033900, -0.00052400, -0.00097400, -0.00138400, -0.00166000, -0.00209900, -0.00243500, -0.00263300, -0.00271200], [ 0.00016000, 0.00003800, -0.00009900, 0.00002700, -0.00031000, -0.00060800, -0.00087100, -0.00116100, -0.00128900, -0.00149100, -0.00179300, -0.00190800, -0.00222000, -0.00248100, -0.00240100, -0.00221700, -0.00215500, -0.00206100, -0.00188400, -0.00158800, -0.00112700, -0.00072600, -0.00051100, -0.00024000, 0.00000000, -0.00025100, -0.00072000, -0.00103100, -0.00141500, -0.00175700, -0.00205000, -0.00238800, -0.00273400, -0.00290800, -0.00286500], [ 0.00060900, 0.00053700, 0.00022800, 0.00033100, -0.00001300, -0.00038300, -0.00077300, -0.00105700, -0.00133500, -0.00153700, -0.00173100, -0.00193600, -0.00221400, -0.00236400, -0.00233500, -0.00213500, -0.00192800, -0.00177300, -0.00165000, -0.00121000, -0.00075800, -0.00049000, -0.00029700, -0.00010000, 0.00000000, -0.00022500, -0.00065500, -0.00087900, -0.00111700, -0.00151600, -0.00178900, -0.00220200, -0.00242400, -0.00256800, -0.00253900], [ 0.00083000, 0.00060000, 0.00045100, 0.00055500, 0.00009900, -0.00024300, -0.00058200, -0.00080900, -0.00100500, -0.00119300, -0.00143400, -0.00157700, -0.00176200, -0.00207700, -0.00190500, -0.00172500, -0.00176300, -0.00162800, -0.00153800, -0.00123900, -0.00082900, -0.00057500, -0.00041700, -0.00021900, 0.00000000, -0.00006900, -0.00042500, -0.00067600, -0.00110300, -0.00148800, -0.00177700, -0.00214200, -0.00245300, -0.00261100, -0.00262700], [ 0.00089700, 0.00079500, 0.00054500, 0.00063500, 0.00027900, -0.00007700, -0.00042100, -0.00073200, -0.00095200, -0.00118700, -0.00147500, -0.00165400, -0.00200400, -0.00223300, -0.00221600, -0.00209600, -0.00196200, -0.00183200, -0.00167800, -0.00136600, -0.00091700, -0.00055900, -0.00036200, -0.00014100, 0.00000000, -0.00024900, -0.00073900, -0.00107400, -0.00139200, -0.00173700, -0.00206400, -0.00239500, -0.00266200, -0.00279400, -0.00273100], [ 0.00132200, 0.00116300, 0.00090900, 0.00098800, 0.00053800, 0.00014500, -0.00026800, -0.00054800, -0.00082500, -0.00100900, -0.00124400, -0.00146000, -0.00172700, -0.00194100, -0.00192400, -0.00171600, -0.00163500, -0.00148700, -0.00141900, -0.00106200, -0.00064200, -0.00044800, -0.00027300, -0.00013900, 0.00000000, -0.00018500, -0.00053000, -0.00074500, -0.00109600, -0.00153600, -0.00181200, -0.00222100, -0.00248200, -0.00261700, -0.00257000], [ 0.00112100, 0.00086600, 0.00065100, 0.00068400, 0.00021400, -0.00019200, -0.00053400, -0.00076300, -0.00097000, -0.00115700, -0.00135700, -0.00160100, -0.00182800, -0.00206800, -0.00188700, -0.00175300, -0.00164800, -0.00159900, -0.00150700, -0.00123200, -0.00091000, -0.00060300, -0.00039400, -0.00021700, 0.00000000, -0.00015500, -0.00050400, -0.00071500, -0.00113400, -0.00150500, -0.00176700, -0.00209000, -0.00239100, -0.00255500, -0.00252900], [ 0.00155000, 0.00138900, 0.00107100, 0.00107600, 0.00069000, 0.00031700, -0.00008500, -0.00044600, -0.00068300, -0.00095100, -0.00123900, -0.00142600, -0.00173500, -0.00201300, -0.00200700, -0.00189700, -0.00181900, -0.00167700, -0.00159400, -0.00125200, -0.00079800, -0.00045800, -0.00033900, -0.00010000, 0.00000000, -0.00020500, -0.00070200, -0.00100200, -0.00127900, -0.00159900, -0.00188600, -0.00219600, -0.00244100, -0.00253800, -0.00248000], [ 0.00200400, 0.00178600, 0.00149400, 0.00149100, 0.00100100, 0.00058000, 0.00015900, -0.00015000, -0.00042100, -0.00066800, -0.00093900, -0.00111500, -0.00143500, -0.00164300, -0.00159900, -0.00145600, -0.00137800, -0.00131100, -0.00125300, -0.00097800, -0.00061100, -0.00038800, -0.00025900, -0.00016000, 0.00000000, -0.00017200, -0.00057700, -0.00081400, -0.00116200, -0.00154500, -0.00184500, -0.00219300, -0.00240300, -0.00255200, -0.00251300], [ 0.00202300, 0.00179700, 0.00154000, 0.00154300, 0.00110100, 0.00069200, 0.00032200, -0.00000600, -0.00023700, -0.00048200, -0.00075300, -0.00097500, -0.00127200, -0.00158700, -0.00151900, -0.00140300, -0.00136000, -0.00137600, -0.00133600, -0.00108200, -0.00073300, -0.00047400, -0.00033900, -0.00012800, 0.00000000, -0.00023100, -0.00066600, -0.00098800, -0.00134000, -0.00170700, -0.00203200, -0.00233100, -0.00258200, -0.00270100, -0.00264200], [ 0.00234000, 0.00211500, 0.00173900, 0.00170800, 0.00124200, 0.00080600, 0.00040200, 0.00005200, -0.00018100, -0.00045400, -0.00074100, -0.00093200, -0.00125200, -0.00153900, -0.00153800, -0.00140500, -0.00134600, -0.00125400, -0.00122800, -0.00092800, -0.00057400, -0.00035300, -0.00023800, -0.00009800, 0.00000000, -0.00021200, -0.00068000, -0.00099000, -0.00129800, -0.00169700, -0.00200800, -0.00234200, -0.00254400, -0.00266200, -0.00259700], [ 0.00249400, 0.00223700, 0.00196700, 0.00197000, 0.00150100, 0.00106700, 0.00062700, 0.00030600, 0.00001300, -0.00023900, -0.00053400, -0.00076600, -0.00108700, -0.00140900, -0.00133000, -0.00119700, -0.00118300, -0.00115900, -0.00112200, -0.00089800, -0.00057400, -0.00034800, -0.00023800, -0.00014400, 0.00000000, -0.00019600, -0.00062300, -0.00090900, -0.00128500, -0.00167400, -0.00196600, -0.00229800, -0.00251300, -0.00260600, -0.00257500], [ 0.00245100, 0.00224100, 0.00193300, 0.00192100, 0.00149000, 0.00111100, 0.00073500, 0.00037900, 0.00012900, -0.00010000, -0.00037400, -0.00056000, -0.00086100, -0.00117100, -0.00121300, -0.00111200, -0.00113400, -0.00114700, -0.00119400, -0.00100000, -0.00062700, -0.00033800, -0.00026500, -0.00008900, 0.00000000, -0.00023400, -0.00069700, -0.00103100, -0.00135400, -0.00171500, -0.00202600, -0.00232800, -0.00251200, -0.00259700, -0.00255000], [ 0.00255500, 0.00231500, 0.00199900, 0.00198600, 0.00153300, 0.00111400, 0.00072400, 0.00042700, 0.00018600, -0.00006500, -0.00029700, -0.00045300, -0.00078200, -0.00108700, -0.00099400, -0.00092300, -0.00085600, -0.00084300, -0.00081900, -0.00060800, -0.00031800, -0.00029300, -0.00023700, -0.00010900, 0.00000000, -0.00020200, -0.00060900, -0.00089700, -0.00126000, -0.00163300, -0.00196400, -0.00225900, -0.00246900, -0.00252400, -0.00246200], [ 0.00246300, 0.00223100, 0.00191500, 0.00188700, 0.00145900, 0.00107900, 0.00069800, 0.00038500, 0.00015300, -0.00007700, -0.00032900, -0.00051900, -0.00079700, -0.00108100, -0.00106000, -0.00093900, -0.00092600, -0.00088100, -0.00089500, -0.00064800, -0.00032600, -0.00005700, -0.00024100, -0.00008500, 0.00000000, -0.00020700, -0.00066400, -0.00097100, -0.00132100, -0.00169200, -0.00197700, -0.00226500, -0.00244800, -0.00259900, -0.00251500], [ 0.00252700, 0.00229400, 0.00197300, 0.00193100, 0.00148300, 0.00109900, 0.00069200, 0.00039200, 0.00015300, -0.00006900, -0.00030700, -0.00045500, -0.00077800, -0.00102100, -0.00101000, -0.00087500, -0.00081700, -0.00076300, -0.00074600, -0.00053800, -0.00028000, -0.00027800, -0.00020200, -0.00008100, 0.00000000, -0.00018200, -0.00061600, -0.00088300, -0.00121000, -0.00158900, -0.00188500, -0.00223600, -0.00240000, -0.00249200, -0.00241700], [ 0.00237000, 0.00210800, 0.00181100, 0.00175400, 0.00130800, 0.00089800, 0.00053600, 0.00027600, 0.00007100, -0.00012000, -0.00034200, -0.00045700, -0.00072400, -0.00102400, -0.00097900, -0.00088200, -0.00093400, -0.00098700, -0.00107800, -0.00085600, -0.00056600, -0.00035700, -0.00023600, -0.00010200, 0.00000000, -0.00018600, -0.00060800, -0.00089500, -0.00125900, -0.00159800, -0.00187900, -0.00218500, -0.00237900, -0.00248500, -0.00243300], [ 0.00215900, 0.00193300, 0.00159300, 0.00153600, 0.00114300, 0.00074900, 0.00034500, 0.00001400, -0.00021400, -0.00046100, -0.00073600, -0.00089900, -0.00122100, -0.00146100, -0.00143100, -0.00129200, -0.00127200, -0.00118300, -0.00117100, -0.00091900, -0.00054700, -0.00032800, -0.00028700, -0.00009500, 0.00000000, -0.00024100, -0.00065400, -0.00095600, -0.00123800, -0.00157700, -0.00187800, -0.00217400, -0.00234200, -0.00240400, -0.00233200], [ 0.00206800, 0.00176900, 0.00141800, 0.00130500, 0.00076600, 0.00039000, 0.00001400, -0.00019000, -0.00039400, -0.00058400, -0.00074200, -0.00086600, -0.00110400, -0.00130200, -0.00119300, -0.00106400, -0.00100000, -0.00100900, -0.00098500, -0.00075200, -0.00046700, -0.00032100, -0.00019700, -0.00008900, 0.00000000, -0.00014900, -0.00052200, -0.00072300, -0.00111100, -0.00147100, -0.00175500, -0.00208500, -0.00228400, -0.00238400, -0.00230300], [ 0.00171200, 0.00147000, 0.00117900, 0.00111200, 0.00072700, 0.00036700, 0.00004300, -0.00024400, -0.00039500, -0.00057500, -0.00080100, -0.00090900, -0.00113900, -0.00141300, -0.00129000, -0.00119300, -0.00113800, -0.00112500, -0.00112600, -0.00092400, -0.00059600, -0.00037200, -0.00029500, -0.00013900, 0.00000000, -0.00023400, -0.00065300, -0.00098700, -0.00128900, -0.00163100, -0.00191500, -0.00223600, -0.00242800, -0.00249600, -0.00246500], [ 0.00186600, 0.00163900, 0.00127800, 0.00116800, 0.00074400, 0.00038500, 0.00001100, -0.00028300, -0.00050600, -0.00070700, -0.00084300, -0.00093800, -0.00121800, -0.00140500, -0.00136800, -0.00119300, -0.00112000, -0.00105000, -0.00105800, -0.00075400, -0.00041000, -0.00022700, -0.00017300, -0.00005400, 0.00000000, -0.00018800, -0.00059700, -0.00084100, -0.00110100, -0.00142700, -0.00173300, -0.00201700, -0.00222100, -0.00229600, -0.00220700], [ 0.00157500, 0.00128500, 0.00099500, 0.00091200, 0.00045700, 0.00007400, -0.00025700, -0.00044700, -0.00062800, -0.00073900, -0.00090700, -0.00100700, -0.00120600, -0.00142000, -0.00127500, -0.00107600, -0.00105700, -0.00109400, -0.00102900, -0.00087100, -0.00057100, -0.00041400, -0.00026700, -0.00015300, 0.00000000, -0.00013600, -0.00045900, -0.00072000, -0.00110200, -0.00145600, -0.00172200, -0.00206000, -0.00224100, -0.00237000, -0.00235200], [ 0.00116500, 0.00094200, 0.00061400, 0.00052700, 0.00017400, -0.00012500, -0.00044500, -0.00074700, -0.00089700, -0.00106900, -0.00124600, -0.00126200, -0.00149300, -0.00174400, -0.00160200, -0.00149300, -0.00136200, -0.00131800, -0.00133700, -0.00104100, -0.00066500, -0.00037100, -0.00033100, -0.00012400, 0.00000000, -0.00020000, -0.00065600, -0.00095300, -0.00120100, -0.00152000, -0.00177500, -0.00205700, -0.00228200, -0.00231900, -0.00223200], [ 0.00131400, 0.00110600, 0.00080300, 0.00072000, 0.00029400, -0.00004900, -0.00039200, -0.00060200, -0.00080200, -0.00095300, -0.00104400, -0.00110500, -0.00131000, -0.00140100, -0.00135900, -0.00112100, -0.00106100, -0.00097600, -0.00094600, -0.00067100, -0.00040600, -0.00027300, -0.00017200, -0.00007900, 0.00000000, -0.00013600, -0.00048500, -0.00069000, -0.00100000, -0.00135200, -0.00161300, -0.00193700, -0.00211500, -0.00222500, -0.00218800], [ 0.00104700, 0.00073900, 0.00046400, 0.00038600, -0.00001600, -0.00035700, -0.00063100, -0.00082400, -0.00094300, -0.00101500, -0.00117500, -0.00123300, -0.00140100, -0.00166200, -0.00140700, -0.00124200, -0.00119300, -0.00119400, -0.00119800, -0.00101300, -0.00071900, -0.00046900, -0.00036500, -0.00018300, 0.00000000, -0.00017900, -0.00052400, -0.00076400, -0.00114600, -0.00145700, -0.00174300, -0.00203300, -0.00226000, -0.00234500, -0.00231700], [ 0.00100000, 0.00085700, 0.00050200, 0.00041300, 0.00005600, -0.00025200, -0.00057700, -0.00090400, -0.00103000, -0.00123400, -0.00136000, -0.00135800, -0.00163900, -0.00173900, -0.00173900, -0.00156100, -0.00143300, -0.00130000, -0.00128600, -0.00095900, -0.00054000, -0.00030500, -0.00026900, -0.00007100, 0.00000000, -0.00022600, -0.00065600, -0.00099800, -0.00113600, -0.00145400, -0.00169400, -0.00203600, -0.00221100, -0.00222500, -0.00214100], [ 0.00127500, 0.00099900, 0.00072500, 0.00062800, 0.00013200, -0.00021500, -0.00057100, -0.00070600, -0.00091700, -0.00099700, -0.00107100, -0.00110400, -0.00129400, -0.00141800, -0.00121400, -0.00096100, -0.00090200, -0.00088300, -0.00087200, -0.00064300, -0.00041100, -0.00030100, -0.00021400, -0.00015600, 0.00000000, -0.00005600, -0.00038800, -0.00050700, -0.00089000, -0.00121000, -0.00151300, -0.00178900, -0.00200400, -0.00212500, -0.00203300], [ 0.00095500, 0.00070300, 0.00039300, 0.00027900, -0.00007400, -0.00037600, -0.00064900, -0.00090200, -0.00098500, -0.00112100, -0.00128600, -0.00131800, -0.00149100, -0.00172000, -0.00149500, -0.00140700, -0.00133500, -0.00135000, -0.00126200, -0.00111800, -0.00079200, -0.00047200, -0.00034200, -0.00010100, 0.00000000, -0.00017900, -0.00058500, -0.00092300, -0.00123300, -0.00148800, -0.00175400, -0.00207400, -0.00230900, -0.00237400, -0.00235400], [ 0.00135700, 0.00118500, 0.00077300, 0.00063500, 0.00023000, -0.00010900, -0.00045600, -0.00077900, -0.00102200, -0.00119400, -0.00123400, -0.00128300, -0.00152400, -0.00156500, -0.00156100, -0.00132400, -0.00118800, -0.00097800, -0.00104600, -0.00067800, -0.00029000, -0.00018200, -0.00017500, -0.00007000, 0.00000000, -0.00021100, -0.00057500, -0.00074900, -0.00094300, -0.00130500, -0.00152900, -0.00182200, -0.00197200, -0.00203600, -0.00199200], [ 0.00158000, 0.00125300, 0.00099200, 0.00086000, 0.00036600, -0.00002500, -0.00040100, -0.00053100, -0.00069200, -0.00076500, -0.00086200, -0.00090100, -0.00105700, -0.00126800, -0.00101400, -0.00079500, -0.00076900, -0.00085100, -0.00077200, -0.00071200, -0.00051200, -0.00032600, -0.00016900, -0.00016000, 0.00000000, -0.00010300, -0.00035300, -0.00060900, -0.00099600, -0.00134400, -0.00167600, -0.00199000, -0.00217200, -0.00236600, -0.00234700], [ 0.00147700, 0.00122300, 0.00081400, 0.00066700, 0.00030100, 0.00000400, -0.00031900, -0.00067100, -0.00083000, -0.00101100, -0.00115600, -0.00121500, -0.00141900, -0.00162000, -0.00149800, -0.00138000, -0.00132500, -0.00125100, -0.00123200, -0.00102000, -0.00061000, -0.00032900, -0.00029300, -0.00003900, 0.00000000, -0.00026300, -0.00073600, -0.00106100, -0.00128600, -0.00155100, -0.00178600, -0.00214500, -0.00239200, -0.00239700, -0.00232700], [ 0.00178400, 0.00154400, 0.00109500, 0.00098100, 0.00043100, 0.00005300, -0.00038100, -0.00065500, -0.00089900, -0.00104000, -0.00110800, -0.00107700, -0.00130900, -0.00130100, -0.00131400, -0.00098100, -0.00089400, -0.00076600, -0.00075800, -0.00048100, -0.00022300, -0.00008700, -0.00009800, -0.00010200, 0.00000000, -0.00009300, -0.00041000, -0.00055100, -0.00078900, -0.00110800, -0.00137400, -0.00168900, -0.00185100, -0.00197200, -0.00192100], [ 0.00143900, 0.00107900, 0.00081200, 0.00068300, 0.00024600, -0.00015000, -0.00049200, -0.00060400, -0.00076700, -0.00089100, -0.00099500, -0.00111600, -0.00117700, -0.00144400, -0.00114000, -0.00099200, -0.00102600, -0.00106600, -0.00102200, -0.00096400, -0.00066000, -0.00052200, -0.00035000, -0.00019100, 0.00000000, -0.00012500, -0.00041600, -0.00069000, -0.00105500, -0.00133000, -0.00167800, -0.00195400, -0.00222200, -0.00233800, -0.00237300], [ 0.00123700, 0.00108300, 0.00060600, 0.00047100, 0.00013300, -0.00019500, -0.00054500, -0.00092700, -0.00106300, -0.00127500, -0.00142600, -0.00138900, -0.00167100, -0.00175900, -0.00175800, -0.00153500, -0.00140200, -0.00123400, -0.00119900, -0.00088300, -0.00046900, -0.00025500, -0.00020900, -0.00004400, 0.00000000, -0.00021300, -0.00070400, -0.00098000, -0.00107700, -0.00136900, -0.00152800, -0.00189700, -0.00210900, -0.00213800, -0.00209400], [ 0.00190700, 0.00160900, 0.00126500, 0.00115700, 0.00059000, 0.00015700, -0.00026900, -0.00042200, -0.00069300, -0.00085700, -0.00089300, -0.00092800, -0.00105200, -0.00117300, -0.00098300, -0.00068700, -0.00067800, -0.00061500, -0.00063400, -0.00047500, -0.00025200, -0.00019600, -0.00010200, -0.00012800, 0.00000000, 0.00000400, -0.00021800, -0.00034000, -0.00066000, -0.00098100, -0.00126100, -0.00152500, -0.00170800, -0.00189200, -0.00185000], [ 0.00124100, 0.00094700, 0.00062300, 0.00052400, 0.00012200, -0.00020200, -0.00055000, -0.00082600, -0.00091500, -0.00103200, -0.00121800, -0.00129000, -0.00142700, -0.00166300, -0.00137100, -0.00128500, -0.00123400, -0.00125800, -0.00115000, -0.00108500, -0.00072100, -0.00037900, -0.00025900, -0.00017900, 0.00000000, -0.00017300, -0.00052600, -0.00083300, -0.00106900, -0.00128100, -0.00161400, -0.00191100, -0.00217200, -0.00221900, -0.00229100], [ 0.00150500, 0.00133900, 0.00089800, 0.00074800, 0.00033100, -0.00004100, -0.00046400, -0.00082500, -0.00106200, -0.00126100, -0.00132600, -0.00133600, -0.00157900, -0.00162000, -0.00161200, -0.00137500, -0.00117700, -0.00105800, -0.00107400, -0.00070600, -0.00025500, -0.00019600, -0.00021200, -0.00002000, 0.00000000, -0.00018400, -0.00052000, -0.00069700, -0.00081800, -0.00109000, -0.00119700, -0.00157300, -0.00176100, -0.00185000, -0.00182700], [ 0.00171900, 0.00131900, 0.00102700, 0.00092000, 0.00038600, -0.00005700, -0.00049400, -0.00061100, -0.00082600, -0.00093700, -0.00103200, -0.00104600, -0.00121300, -0.00131100, -0.00111100, -0.00078800, -0.00088600, -0.00082700, -0.00077000, -0.00069300, -0.00052900, -0.00031500, -0.00013900, -0.00010800, 0.00000000, 0.00004600, -0.00012900, -0.00029500, -0.00061400, -0.00088600, -0.00120200, -0.00149400, -0.00163300, -0.00187800, -0.00191500], [ 0.00122900, 0.00102500, 0.00060100, 0.00049700, 0.00012800, -0.00025400, -0.00058500, -0.00099400, -0.00109200, -0.00123400, -0.00147400, -0.00149600, -0.00163300, -0.00189100, -0.00168000, -0.00158500, -0.00143400, -0.00140700, -0.00133600, -0.00111100, -0.00076800, -0.00043000, -0.00045200, -0.00010200, 0.00000000, -0.00021600, -0.00058800, -0.00090200, -0.00103300, -0.00113000, -0.00134700, -0.00161500, -0.00190000, -0.00187700, -0.00190200], [ 0.00182200, 0.00159400, 0.00117600, 0.00112200, 0.00054700, 0.00015600, -0.00026400, -0.00055500, -0.00089500, -0.00109900, -0.00111000, -0.00114300, -0.00138800, -0.00133700, -0.00138600, -0.00113300, -0.00098700, -0.00079800, -0.00084400, -0.00050100, -0.00020900, -0.00012100, -0.00014200, -0.00001300, 0.00000000, -0.00008600, -0.00033400, -0.00039100, -0.00059100, -0.00092200, -0.00102300, -0.00139500, -0.00155500, -0.00166000, -0.00168900], [ 0.00174000, 0.00128500, 0.00100700, 0.00087500, 0.00039800, -0.00004100, -0.00050800, -0.00069500, -0.00085400, -0.00095400, -0.00109600, -0.00115700, -0.00123000, -0.00155900, -0.00120700, -0.00103100, -0.00103800, -0.00108000, -0.00096800, -0.00093600, -0.00069600, -0.00049000, -0.00035700, -0.00014200, 0.00000000, 0.00001100, -0.00021700, -0.00045500, -0.00076900, -0.00093100, -0.00129000, -0.00154000, -0.00173600, -0.00193200, -0.00189400], [ 0.00148700, 0.00133800, 0.00086300, 0.00080700, 0.00042200, -0.00001700, -0.00032700, -0.00082000, -0.00099000, -0.00117800, -0.00137400, -0.00139600, -0.00165400, -0.00174800, -0.00167800, -0.00160700, -0.00137700, -0.00122600, -0.00123100, -0.00100400, -0.00057200, -0.00026300, -0.00020400, -0.00004100, 0.00000000, -0.00021400, -0.00062700, -0.00087500, -0.00098100, -0.00115500, -0.00134000, -0.00165800, -0.00190200, -0.00194500, -0.00190900], [ 0.00186300, 0.00159400, 0.00123000, 0.00116900, 0.00057700, 0.00013300, -0.00039900, -0.00063000, -0.00085700, -0.00105400, -0.00111500, -0.00111900, -0.00130100, -0.00137200, -0.00127300, -0.00100700, -0.00093600, -0.00074700, -0.00083600, -0.00059100, -0.00025500, -0.00016700, -0.00029600, -0.00015500, 0.00000000, -0.00004400, -0.00019300, -0.00028600, -0.00053500, -0.00082900, -0.00097300, -0.00131400, -0.00152600, -0.00165300, -0.00164700], [ 0.00137300, 0.00104000, 0.00081400, 0.00075400, 0.00037000, -0.00008400, -0.00041200, -0.00067500, -0.00085700, -0.00098200, -0.00118400, -0.00123300, -0.00139200, -0.00160700, -0.00123200, -0.00115300, -0.00109200, -0.00116600, -0.00102300, -0.00098000, -0.00071100, -0.00043800, -0.00022500, 0.00001300, 0.00000000, 0.00007300, -0.00031300, -0.00052700, -0.00079500, -0.00089200, -0.00124800, -0.00145300, -0.00172200, -0.00176200, -0.00179300], [ 0.00166100, 0.00152000, 0.00098800, 0.00096600, 0.00056900, 0.00012900, -0.00031900, -0.00072400, -0.00097500, -0.00124200, -0.00131700, -0.00132800, -0.00158700, -0.00172900, -0.00167500, -0.00152800, -0.00142400, -0.00111700, -0.00118500, -0.00087500, -0.00038500, -0.00031500, -0.00024300, -0.00002200, 0.00000000, -0.00015000, -0.00056100, -0.00070100, -0.00073800, -0.00103900, -0.00112300, -0.00148300, -0.00159400, -0.00175300, -0.00163600], [ 0.00216500, 0.00177600, 0.00148800, 0.00143800, 0.00089200, 0.00036500, -0.00015500, -0.00035900, -0.00066800, -0.00076200, -0.00086100, -0.00088600, -0.00104600, -0.00117700, -0.00100700, -0.00078700, -0.00075500, -0.00075700, -0.00064800, -0.00048800, -0.00041600, -0.00025400, -0.00021600, -0.00015100, 0.00000000, 0.00003200, -0.00017100, -0.00021700, -0.00054800, -0.00080300, -0.00114600, -0.00138600, -0.00162000, -0.00169400, -0.00164200], [ 0.00169700, 0.00142400, 0.00105300, 0.00107700, 0.00069000, 0.00017100, -0.00016500, -0.00050300, -0.00066100, -0.00090100, -0.00113400, -0.00116600, -0.00140000, -0.00162800, -0.00139100, -0.00137900, -0.00128200, -0.00118600, -0.00115300, -0.00104300, -0.00065300, -0.00031500, -0.00027000, -0.00003400, 0.00000000, -0.00012400, -0.00044400, -0.00077100, -0.00097000, -0.00103800, -0.00134200, -0.00149400, -0.00183500, -0.00185200, -0.00188800], [ 0.00102800, 0.00105800, 0.00064700, 0.00068400, 0.00036100, -0.00010700, -0.00055200, -0.00092100, -0.00120100, -0.00147200, -0.00146700, -0.00141100, -0.00166100, -0.00162400, -0.00176700, -0.00141200, -0.00115100, -0.00094600, -0.00081500, -0.00040700, -0.00008100, 0.00010300, -0.00009600, 0.00025200, 0.00000000, -0.00000300, -0.00023900, -0.00025300, -0.00022000, -0.00067400, -0.00072400, -0.00105500, -0.00108500, -0.00120100, -0.00107500]]
CE02SHBP-LJ01D-08-OPTAAD106 | CE02SHBP-0001 | 1 | 169 | CC_taarray | [[ 0.03851200, 0.03735600, 0.03546500, 0.03408600, 0.03200100, 0.03044100, 0.02921300, 0.02736600, 0.02628100, 0.02339100, 0.02177500, 0.02120000, 0.02001500, 0.01764700, 0.01687400, 0.01442600, 0.01219600, 0.01054200, 0.00880200, 0.00775900, 0.00676700, 0.00494300, 0.00350700, 0.00296700, 0.00000000, 0.00019600, -0.00274900, -0.00347800, -0.00401400, -0.00583500, -0.00733600, -0.00742900, -0.00862200, -0.01031900, -0.01091300], [ 0.03575400, 0.03487600, 0.03352000, 0.03261300, 0.03064000, 0.02938100, 0.02794500, 0.02690400, 0.02570400, 0.02329800, 0.02198700, 0.02164600, 0.01967600, 0.01843600, 0.01741100, 0.01537200, 0.01320700, 0.01146000, 0.00990400, 0.00786800, 0.00673700, 0.00482500, 0.00382100, 0.00253700, 0.00000000, 0.00047200, -0.00200700, -0.00265900, -0.00341400, -0.00545200, -0.00717000, -0.00741600, -0.00872800, -0.01051700, -0.01138200], [ 0.03647400, 0.03569500, 0.03433400, 0.03349700, 0.03186800, 0.03110400, 0.02956400, 0.02838700, 0.02698900, 0.02538900, 0.02395000, 0.02263500, 0.02101800, 0.01945000, 0.01826600, 0.01608100, 0.01355700, 0.01190700, 0.01019400, 0.00819700, 0.00684700, 0.00532700, 0.00367800, 0.00210600, 0.00000000, -0.00073700, -0.00278400, -0.00408700, -0.00537800, -0.00699600, -0.00889200, -0.00946500, -0.01099200, -0.01303800, -0.01427500], [ 0.03904900, 0.03866800, 0.03750700, 0.03641300, 0.03478000, 0.03374100, 0.03236100, 0.03074200, 0.02938200, 0.02753900, 0.02576600, 0.02486400, 0.02284800, 0.02125500, 0.01985900, 0.01765800, 0.01509300, 0.01358400, 0.01134300, 0.00942900, 0.00812300, 0.00612600, 0.00432800, 0.00239400, 0.00000000, -0.00092400, -0.00318500, -0.00460100, -0.00614600, -0.00753500, -0.00961300, -0.01072400, -0.01235800, -0.01437500, -0.01580300], [ 0.04080500, 0.04054700, 0.03962700, 0.03868400, 0.03705800, 0.03585600, 0.03429600, 0.03269700, 0.03124600, 0.02927400, 0.02770200, 0.02639800, 0.02458700, 0.02248400, 0.02129200, 0.01893200, 0.01631400, 0.01425600, 0.01244400, 0.01018500, 0.00803900, 0.00612400, 0.00411800, 0.00239300, 0.00000000, -0.00106400, -0.00345800, -0.00482000, -0.00678900, -0.00848500, -0.01055500, -0.01179200, -0.01381100, -0.01635700, -0.01775500], [ 0.04063300, 0.04050200, 0.03949100, 0.03859100, 0.03716300, 0.03604100, 0.03445400, 0.03292200, 0.03156500, 0.02956900, 0.02784000, 0.02640300, 0.02438100, 0.02272600, 0.02107900, 0.01879800, 0.01648800, 0.01448300, 0.01225300, 0.01032100, 0.00836700, 0.00621700, 0.00450200, 0.00252100, 0.00000000, -0.00119300, -0.00338500, -0.00513000, -0.00706600, -0.00850400, -0.01071200, -0.01194300, -0.01395200, -0.01610400, -0.01813200], [ 0.03959300, 0.03939200, 0.03835700, 0.03736200, 0.03581700, 0.03483700, 0.03328900, 0.03189000, 0.03034400, 0.02867400, 0.02696700, 0.02568400, 0.02367100, 0.02199200, 0.02061200, 0.01835000, 0.01609400, 0.01434800, 0.01211100, 0.00999600, 0.00818200, 0.00628000, 0.00424200, 0.00219000, 0.00000000, -0.00120500, -0.00335000, -0.00485000, -0.00669100, -0.00853100, -0.01029300, -0.01168200, -0.01362400, -0.01585400, -0.01742700], [ 0.03753200, 0.03719000, 0.03631000, 0.03533500, 0.03386700, 0.03286100, 0.03138500, 0.03017600, 0.02898800, 0.02731700, 0.02573900, 0.02444900, 0.02272100, 0.02086100, 0.01976900, 0.01757300, 0.01552100, 0.01361400, 0.01165300, 0.00964700, 0.00781100, 0.00569200, 0.00409000, 0.00210900, 0.00000000, -0.00113100, -0.00312900, -0.00459700, -0.00639400, -0.00803800, -0.01000300, -0.01115500, -0.01303700, -0.01512500, -0.01660000], [ 0.03616400, 0.03579000, 0.03469900, 0.03380600, 0.03248300, 0.03141400, 0.03006700, 0.02867300, 0.02740200, 0.02580700, 0.02444100, 0.02311000, 0.02138000, 0.01978200, 0.01855500, 0.01647900, 0.01447000, 0.01281600, 0.01086700, 0.00903200, 0.00718800, 0.00544500, 0.00350700, 0.00198100, 0.00000000, -0.00146400, -0.00328000, -0.00468100, -0.00628600, -0.00787600, -0.00944800, -0.01058800, -0.01245200, -0.01441900, -0.01566900], [ 0.03479900, 0.03431600, 0.03332000, 0.03228200, 0.03088800, 0.02994100, 0.02861000, 0.02739600, 0.02614500, 0.02469500, 0.02342100, 0.02218000, 0.02063100, 0.01916000, 0.01789000, 0.01595000, 0.01417800, 0.01248900, 0.01064900, 0.00889900, 0.00723900, 0.00542800, 0.00374400, 0.00195800, 0.00000000, -0.00121200, -0.00285100, -0.00422200, -0.00566200, -0.00739200, -0.00890800, -0.01017800, -0.01162400, -0.01347600, -0.01466300], [ 0.03312900, 0.03265600, 0.03169000, 0.03068200, 0.02948300, 0.02843100, 0.02729200, 0.02609900, 0.02504200, 0.02354700, 0.02227700, 0.02109400, 0.01965500, 0.01807900, 0.01701600, 0.01518200, 0.01346000, 0.01178800, 0.01003300, 0.00825500, 0.00657100, 0.00506000, 0.00352800, 0.00167300, 0.00000000, -0.00114300, -0.00278200, -0.00409400, -0.00566000, -0.00716900, -0.00863300, -0.00967500, -0.01118600, -0.01284800, -0.01401100], [ 0.03193100, 0.03147700, 0.03042400, 0.02943200, 0.02826100, 0.02728400, 0.02606500, 0.02489500, 0.02381400, 0.02250400, 0.02118000, 0.01996600, 0.01860500, 0.01720200, 0.01605200, 0.01428600, 0.01276200, 0.01116200, 0.00954000, 0.00793700, 0.00649600, 0.00489500, 0.00327800, 0.00159600, 0.00000000, -0.00111200, -0.00273400, -0.00398100, -0.00527800, -0.00682900, -0.00816000, -0.00920500, -0.01061100, -0.01218000, -0.01321700], [ 0.03073400, 0.03027800, 0.02931600, 0.02838000, 0.02712900, 0.02618500, 0.02502100, 0.02398700, 0.02284200, 0.02164400, 0.02047900, 0.01935900, 0.01792200, 0.01673100, 0.01559200, 0.01401800, 0.01237700, 0.01091600, 0.00930500, 0.00772400, 0.00614100, 0.00459100, 0.00312200, 0.00149000, 0.00000000, -0.00096500, -0.00243200, -0.00358100, -0.00509500, -0.00645100, -0.00778000, -0.00885600, -0.01008300, -0.01172600, -0.01266800], [ 0.02916100, 0.02871900, 0.02781700, 0.02685900, 0.02577200, 0.02488100, 0.02377000, 0.02268700, 0.02173700, 0.02059200, 0.01942900, 0.01837100, 0.01706900, 0.01579600, 0.01479800, 0.01315100, 0.01171200, 0.01023800, 0.00874400, 0.00716500, 0.00579000, 0.00428400, 0.00293500, 0.00150800, 0.00000000, -0.00104500, -0.00236800, -0.00360000, -0.00486900, -0.00615000, -0.00747200, -0.00840500, -0.00970800, -0.01117900, -0.01211000], [ 0.02863300, 0.02817900, 0.02718300, 0.02625600, 0.02508400, 0.02422000, 0.02308500, 0.02203800, 0.02097200, 0.01993600, 0.01879600, 0.01776900, 0.01653100, 0.01534400, 0.01425600, 0.01282200, 0.01139400, 0.01011000, 0.00855000, 0.00715900, 0.00577800, 0.00432300, 0.00291100, 0.00148100, 0.00000000, -0.00100300, -0.00224100, -0.00342300, -0.00465800, -0.00591400, -0.00699900, -0.00806500, -0.00926500, -0.01066600, -0.01149500], [ 0.02757900, 0.02706800, 0.02616900, 0.02526700, 0.02412500, 0.02323600, 0.02219800, 0.02124500, 0.02028800, 0.01924600, 0.01818200, 0.01711300, 0.01596600, 0.01476400, 0.01385100, 0.01249300, 0.01097700, 0.00971300, 0.00831800, 0.00681700, 0.00540900, 0.00401700, 0.00277700, 0.00132600, 0.00000000, -0.00096500, -0.00216500, -0.00317700, -0.00448000, -0.00562200, -0.00678700, -0.00774600, -0.00900200, -0.01032500, -0.01120800], [ 0.02669800, 0.02620300, 0.02526900, 0.02433900, 0.02325700, 0.02241000, 0.02139800, 0.02034400, 0.01945200, 0.01842500, 0.01742800, 0.01638700, 0.01524800, 0.01418600, 0.01319300, 0.01182200, 0.01054500, 0.00923800, 0.00782700, 0.00648600, 0.00517800, 0.00395900, 0.00262500, 0.00132300, 0.00000000, -0.00099100, -0.00215100, -0.00322500, -0.00439800, -0.00549200, -0.00658200, -0.00751200, -0.00873700, -0.00993100, -0.01080200], [ 0.02577400, 0.02529800, 0.02438400, 0.02351900, 0.02250200, 0.02164000, 0.02061500, 0.01972200, 0.01875800, 0.01779200, 0.01684500, 0.01582100, 0.01473600, 0.01374900, 0.01274500, 0.01152000, 0.01019600, 0.00900200, 0.00765700, 0.00636400, 0.00515800, 0.00386200, 0.00260200, 0.00128900, 0.00000000, -0.00090700, -0.00196300, -0.00287500, -0.00399700, -0.00509700, -0.00620100, -0.00710400, -0.00823600, -0.00950000, -0.01031700], [ 0.02483000, 0.02433700, 0.02350600, 0.02260600, 0.02156300, 0.02071100, 0.01981200, 0.01888800, 0.01805300, 0.01714600, 0.01615100, 0.01525700, 0.01419500, 0.01308500, 0.01222500, 0.01105500, 0.00979600, 0.00859900, 0.00728500, 0.00599100, 0.00481500, 0.00353000, 0.00241200, 0.00116600, 0.00000000, -0.00084900, -0.00193200, -0.00287800, -0.00398200, -0.00499600, -0.00604100, -0.00694200, -0.00808200, -0.00925800, -0.01006600], [ 0.02393900, 0.02351700, 0.02264400, 0.02180800, 0.02088100, 0.02006400, 0.01917700, 0.01827000, 0.01742100, 0.01652000, 0.01558900, 0.01466600, 0.01361600, 0.01265600, 0.01174100, 0.01058700, 0.00941300, 0.00832300, 0.00705900, 0.00585100, 0.00473900, 0.00358000, 0.00243100, 0.00119900, 0.00000000, -0.00084100, -0.00184300, -0.00277600, -0.00374500, -0.00476800, -0.00575000, -0.00668000, -0.00776400, -0.00888500, -0.00966300], [ 0.02345200, 0.02296300, 0.02211600, 0.02127200, 0.02020600, 0.01939400, 0.01844400, 0.01762400, 0.01676000, 0.01588400, 0.01506700, 0.01419000, 0.01318200, 0.01226900, 0.01138400, 0.01031900, 0.00921200, 0.00811500, 0.00689000, 0.00572100, 0.00450900, 0.00338300, 0.00223800, 0.00107300, 0.00000000, -0.00081300, -0.00174200, -0.00253200, -0.00354400, -0.00458200, -0.00552600, -0.00636900, -0.00742300, -0.00858200, -0.00932600], [ 0.02273100, 0.02225100, 0.02143700, 0.02060900, 0.01964100, 0.01889200, 0.01796700, 0.01716100, 0.01638400, 0.01548500, 0.01462600, 0.01379300, 0.01283900, 0.01184000, 0.01104100, 0.00995300, 0.00881400, 0.00776900, 0.00662500, 0.00546400, 0.00429300, 0.00328000, 0.00223200, 0.00106200, 0.00000000, -0.00077200, -0.00167100, -0.00257500, -0.00353800, -0.00450700, -0.00544500, -0.00630100, -0.00734400, -0.00843700, -0.00915700], [ 0.02235900, 0.02189200, 0.02100700, 0.02015800, 0.01920200, 0.01838700, 0.01749200, 0.01666300, 0.01585300, 0.01500900, 0.01419300, 0.01337700, 0.01237300, 0.01152900, 0.01066200, 0.00959900, 0.00850900, 0.00750000, 0.00640700, 0.00530800, 0.00425400, 0.00318000, 0.00213500, 0.00104800, 0.00000000, -0.00081600, -0.00166800, -0.00248400, -0.00334000, -0.00430100, -0.00517100, -0.00604600, -0.00708000, -0.00811500, -0.00879400], [ 0.02158600, 0.02108300, 0.02028800, 0.01946400, 0.01848600, 0.01772100, 0.01684300, 0.01610000, 0.01528800, 0.01455700, 0.01371800, 0.01290500, 0.01206200, 0.01114500, 0.01032600, 0.00938700, 0.00831600, 0.00728100, 0.00618300, 0.00510500, 0.00403500, 0.00302200, 0.00205500, 0.00096400, 0.00000000, -0.00071500, -0.00154500, -0.00231900, -0.00322000, -0.00413200, -0.00503100, -0.00585400, -0.00684100, -0.00791500, -0.00861500], [ 0.02131100, 0.02083200, 0.01998700, 0.01916600, 0.01822100, 0.01743100, 0.01661300, 0.01578300, 0.01505000, 0.01424400, 0.01340900, 0.01263200, 0.01176000, 0.01086900, 0.01007100, 0.00903300, 0.00807400, 0.00705700, 0.00604200, 0.00494400, 0.00394200, 0.00297600, 0.00204700, 0.00098600, 0.00000000, -0.00072400, -0.00157200, -0.00234900, -0.00320700, -0.00404300, -0.00494500, -0.00573400, -0.00670300, -0.00770500, -0.00839700], [ 0.02072600, 0.02023900, 0.01935800, 0.01855200, 0.01761600, 0.01684900, 0.01599400, 0.01522600, 0.01444000, 0.01370300, 0.01292100, 0.01217700, 0.01132700, 0.01051000, 0.00968200, 0.00875600, 0.00779100, 0.00689400, 0.00585600, 0.00487800, 0.00389800, 0.00289000, 0.00193300, 0.00092300, 0.00000000, -0.00070300, -0.00145800, -0.00216800, -0.00299100, -0.00381000, -0.00464700, -0.00545400, -0.00640000, -0.00737800, -0.00807200], [ 0.02033600, 0.01979700, 0.01896900, 0.01815500, 0.01721100, 0.01643500, 0.01560500, 0.01488000, 0.01411500, 0.01341100, 0.01265000, 0.01185500, 0.01103300, 0.01019700, 0.00947000, 0.00855600, 0.00758800, 0.00663800, 0.00561400, 0.00466300, 0.00370700, 0.00271400, 0.00184300, 0.00087700, 0.00000000, -0.00065400, -0.00142900, -0.00213600, -0.00296900, -0.00377200, -0.00463900, -0.00536100, -0.00629500, -0.00728600, -0.00794200], [ 0.01990200, 0.01940000, 0.01854300, 0.01770000, 0.01681600, 0.01602000, 0.01520600, 0.01441200, 0.01372000, 0.01299200, 0.01221800, 0.01146600, 0.01064800, 0.00985300, 0.00909600, 0.00817900, 0.00729300, 0.00637000, 0.00541200, 0.00445200, 0.00354200, 0.00266800, 0.00177900, 0.00084800, 0.00000000, -0.00069700, -0.00141900, -0.00213700, -0.00290600, -0.00363200, -0.00444000, -0.00518800, -0.00608400, -0.00698900, -0.00767300], [ 0.01946800, 0.01893700, 0.01810200, 0.01728800, 0.01636400, 0.01557900, 0.01479400, 0.01403800, 0.01333000, 0.01264500, 0.01192000, 0.01119000, 0.01039900, 0.00964900, 0.00890500, 0.00805200, 0.00715200, 0.00631000, 0.00532000, 0.00440900, 0.00350700, 0.00259300, 0.00174100, 0.00080100, 0.00000000, -0.00063500, -0.00130500, -0.00192300, -0.00270800, -0.00346900, -0.00419500, -0.00492000, -0.00583400, -0.00674700, -0.00737100], [ 0.01874600, 0.01821200, 0.01742900, 0.01663600, 0.01574500, 0.01500700, 0.01423300, 0.01351400, 0.01285600, 0.01214000, 0.01145200, 0.01073800, 0.00994200, 0.00919300, 0.00851100, 0.00767800, 0.00679700, 0.00592400, 0.00501200, 0.00412400, 0.00324500, 0.00240800, 0.00161800, 0.00074100, 0.00000000, -0.00062100, -0.00131700, -0.00198400, -0.00271700, -0.00340000, -0.00416400, -0.00483300, -0.00571600, -0.00659500, -0.00720700], [ 0.01819100, 0.01771400, 0.01690000, 0.01609900, 0.01524400, 0.01451700, 0.01375700, 0.01303700, 0.01236000, 0.01171100, 0.01101800, 0.01036600, 0.00961100, 0.00886500, 0.00819200, 0.00737800, 0.00659200, 0.00577800, 0.00486100, 0.00406200, 0.00323400, 0.00241500, 0.00161100, 0.00075400, 0.00000000, -0.00061600, -0.00123800, -0.00188300, -0.00251500, -0.00322100, -0.00391700, -0.00459500, -0.00541800, -0.00627100, -0.00684200], [ 0.01804400, 0.01752000, 0.01672300, 0.01593300, 0.01504400, 0.01430600, 0.01356400, 0.01288500, 0.01221200, 0.01158000, 0.01091300, 0.01020300, 0.00949600, 0.00877300, 0.00811200, 0.00730300, 0.00648200, 0.00569600, 0.00479300, 0.00394200, 0.00310700, 0.00229200, 0.00152000, 0.00073500, 0.00000000, -0.00055900, -0.00117300, -0.00173500, -0.00242100, -0.00311600, -0.00377300, -0.00441800, -0.00521500, -0.00607900, -0.00663500], [ 0.01750900, 0.01702100, 0.01625800, 0.01548000, 0.01466000, 0.01395500, 0.01323100, 0.01251800, 0.01189700, 0.01126000, 0.01056100, 0.00991600, 0.00917900, 0.00844400, 0.00781200, 0.00701600, 0.00624200, 0.00544100, 0.00460500, 0.00380500, 0.00301600, 0.00223000, 0.00148500, 0.00073100, 0.00000000, -0.00054500, -0.00118800, -0.00179100, -0.00241700, -0.00304100, -0.00373400, -0.00435900, -0.00512100, -0.00594800, -0.00645700], [ 0.01708800, 0.01661100, 0.01582700, 0.01505300, 0.01423900, 0.01351100, 0.01279300, 0.01211400, 0.01150700, 0.01087200, 0.01025600, 0.00960700, 0.00890300, 0.00826000, 0.00760000, 0.00681200, 0.00608400, 0.00533800, 0.00451300, 0.00374400, 0.00299700, 0.00219000, 0.00146100, 0.00069700, 0.00000000, -0.00054000, -0.00111000, -0.00164600, -0.00225900, -0.00289800, -0.00351700, -0.00414700, -0.00487200, -0.00571900, -0.00615800], [ 0.01664800, 0.01616300, 0.01543200, 0.01468800, 0.01385800, 0.01316000, 0.01248300, 0.01183800, 0.01124300, 0.01062600, 0.01000500, 0.00938300, 0.00868800, 0.00802600, 0.00744000, 0.00664500, 0.00589500, 0.00516500, 0.00439900, 0.00358900, 0.00282400, 0.00203000, 0.00138700, 0.00065000, 0.00000000, -0.00052800, -0.00109900, -0.00167900, -0.00231100, -0.00289500, -0.00354000, -0.00415700, -0.00482900, -0.00568900, -0.00612800], [ 0.01637600, 0.01591500, 0.01519600, 0.01446200, 0.01369300, 0.01302100, 0.01233100, 0.01167800, 0.01110200, 0.01047800, 0.00985300, 0.00926000, 0.00856300, 0.00789100, 0.00730400, 0.00649800, 0.00582200, 0.00510200, 0.00430000, 0.00355600, 0.00282100, 0.00206600, 0.00138900, 0.00066400, 0.00000000, -0.00053000, -0.00111000, -0.00168900, -0.00230200, -0.00281400, -0.00345700, -0.00405600, -0.00471900, -0.00549300, -0.00592200], [ 0.01630500, 0.01581100, 0.01507600, 0.01432200, 0.01350800, 0.01280900, 0.01212900, 0.01146800, 0.01087800, 0.01028400, 0.00964200, 0.00905600, 0.00839100, 0.00774600, 0.00713800, 0.00640800, 0.00572000, 0.00502800, 0.00424000, 0.00351000, 0.00275400, 0.00195700, 0.00131600, 0.00063000, 0.00000000, -0.00051900, -0.00109400, -0.00162100, -0.00224000, -0.00277500, -0.00336100, -0.00400300, -0.00460100, -0.00540300, -0.00577200], [ 0.01602800, 0.01554900, 0.01485800, 0.01412900, 0.01334500, 0.01267500, 0.01200000, 0.01138800, 0.01082300, 0.01021700, 0.00959000, 0.00900600, 0.00833000, 0.00767400, 0.00713500, 0.00633300, 0.00567300, 0.00495700, 0.00417700, 0.00346600, 0.00268500, 0.00188300, 0.00127500, 0.00061700, 0.00000000, -0.00052300, -0.00113400, -0.00172700, -0.00236200, -0.00280900, -0.00347300, -0.00408700, -0.00466900, -0.00546800, -0.00582400], [ 0.01616500, 0.01571200, 0.01498300, 0.01426500, 0.01351800, 0.01281300, 0.01213500, 0.01145500, 0.01091300, 0.01027300, 0.00963600, 0.00904900, 0.00838000, 0.00770800, 0.00712100, 0.00633600, 0.00572000, 0.00499800, 0.00421100, 0.00347600, 0.00270100, 0.00192400, 0.00131700, 0.00062500, 0.00000000, -0.00055000, -0.00119200, -0.00176300, -0.00237700, -0.00284900, -0.00347400, -0.00412100, -0.00467700, -0.00543000, -0.00576700], [ 0.01598600, 0.01549800, 0.01479300, 0.01405400, 0.01326200, 0.01256500, 0.01189600, 0.01126300, 0.01072300, 0.01012000, 0.00951300, 0.00895700, 0.00830200, 0.00765400, 0.00708300, 0.00632500, 0.00568500, 0.00498000, 0.00419700, 0.00346000, 0.00267500, 0.00188600, 0.00125100, 0.00058700, 0.00000000, -0.00054300, -0.00117300, -0.00174200, -0.00240500, -0.00287500, -0.00352500, -0.00415700, -0.00471900, -0.00546600, -0.00579900], [ 0.01599000, 0.01553500, 0.01485900, 0.01414300, 0.01340300, 0.01272600, 0.01203000, 0.01139400, 0.01086400, 0.01022500, 0.00960400, 0.00903900, 0.00836000, 0.00772600, 0.00713000, 0.00636800, 0.00572000, 0.00499100, 0.00420500, 0.00347300, 0.00267800, 0.00192800, 0.00124500, 0.00061300, 0.00000000, -0.00056300, -0.00121700, -0.00181900, -0.00244800, -0.00291900, -0.00357800, -0.00418800, -0.00477500, -0.00547200, -0.00580900], [ 0.01685200, 0.01636700, 0.01560700, 0.01486100, 0.01408900, 0.01341600, 0.01271500, 0.01204000, 0.01142600, 0.01079100, 0.01010600, 0.00947700, 0.00875900, 0.00811800, 0.00748300, 0.00670200, 0.00599700, 0.00521800, 0.00439100, 0.00361400, 0.00285900, 0.00209500, 0.00139900, 0.00067100, 0.00000000, -0.00056500, -0.00114700, -0.00172000, -0.00225200, -0.00280300, -0.00335300, -0.00385600, -0.00450600, -0.00516900, -0.00558700], [ 0.01693800, 0.01644500, 0.01566400, 0.01492100, 0.01412800, 0.01344500, 0.01269800, 0.01202400, 0.01140400, 0.01077700, 0.01012300, 0.00948000, 0.00879500, 0.00818100, 0.00750800, 0.00676600, 0.00604100, 0.00527600, 0.00446200, 0.00370300, 0.00294100, 0.00215800, 0.00144200, 0.00067000, 0.00000000, -0.00055300, -0.00113800, -0.00171800, -0.00228100, -0.00283100, -0.00340300, -0.00393000, -0.00451500, -0.00518500, -0.00561500], [ 0.01676600, 0.01628400, 0.01557600, 0.01486500, 0.01408200, 0.01342000, 0.01272800, 0.01207700, 0.01147400, 0.01085200, 0.01020700, 0.00958300, 0.00890300, 0.00824500, 0.00763500, 0.00686400, 0.00608600, 0.00531900, 0.00449600, 0.00371800, 0.00290700, 0.00214500, 0.00142500, 0.00066500, 0.00000000, -0.00056200, -0.00114300, -0.00171700, -0.00231100, -0.00287000, -0.00343200, -0.00395500, -0.00454000, -0.00519500, -0.00559900], [ 0.01658700, 0.01611100, 0.01535000, 0.01461800, 0.01387700, 0.01324700, 0.01255200, 0.01190900, 0.01130600, 0.01072400, 0.01005800, 0.00943800, 0.00876600, 0.00815000, 0.00750200, 0.00674100, 0.00602900, 0.00527300, 0.00445200, 0.00366800, 0.00288800, 0.00214000, 0.00144000, 0.00069600, 0.00000000, -0.00059100, -0.00119800, -0.00178000, -0.00237100, -0.00290500, -0.00347400, -0.00397700, -0.00456100, -0.00517600, -0.00553700], [ 0.01647400, 0.01597000, 0.01522700, 0.01449700, 0.01375500, 0.01309600, 0.01240900, 0.01180100, 0.01119300, 0.01058100, 0.00996200, 0.00934500, 0.00867900, 0.00806900, 0.00746200, 0.00674700, 0.00602000, 0.00525900, 0.00445100, 0.00370200, 0.00293700, 0.00216500, 0.00145500, 0.00066700, 0.00000000, -0.00056500, -0.00113400, -0.00173500, -0.00232200, -0.00289300, -0.00343500, -0.00397300, -0.00448200, -0.00508500, -0.00545200], [ 0.01619000, 0.01571400, 0.01501700, 0.01432300, 0.01359000, 0.01295000, 0.01228800, 0.01166800, 0.01108400, 0.01049800, 0.00987400, 0.00925500, 0.00859500, 0.00795800, 0.00736100, 0.00662000, 0.00586900, 0.00512800, 0.00434600, 0.00356600, 0.00280200, 0.00204000, 0.00136800, 0.00062600, 0.00000000, -0.00054600, -0.00111700, -0.00169700, -0.00230000, -0.00282200, -0.00341600, -0.00388900, -0.00441100, -0.00498200, -0.00532900], [ 0.01595000, 0.01549000, 0.01476700, 0.01406500, 0.01336300, 0.01274700, 0.01207600, 0.01150000, 0.01090700, 0.01034600, 0.00973900, 0.00916200, 0.00853800, 0.00796600, 0.00733300, 0.00661700, 0.00591300, 0.00518100, 0.00437400, 0.00362900, 0.00288700, 0.00213600, 0.00142400, 0.00069000, 0.00000000, -0.00058000, -0.00118100, -0.00175800, -0.00234700, -0.00286600, -0.00340100, -0.00384600, -0.00431400, -0.00485200, -0.00515900], [ 0.01535600, 0.01500500, 0.01432500, 0.01366500, 0.01294200, 0.01234100, 0.01170500, 0.01111900, 0.01055900, 0.01001800, 0.00943100, 0.00887400, 0.00826800, 0.00769800, 0.00712500, 0.00643800, 0.00574000, 0.00500900, 0.00425400, 0.00350100, 0.00277000, 0.00201700, 0.00135200, 0.00062400, 0.00000000, -0.00056000, -0.00111400, -0.00168900, -0.00229500, -0.00285600, -0.00339700, -0.00386700, -0.00434000, -0.00489300, -0.00523700], [ 0.01502100, 0.01461400, 0.01393200, 0.01328000, 0.01260000, 0.01203200, 0.01142000, 0.01085500, 0.01032800, 0.00978600, 0.00919900, 0.00863200, 0.00802800, 0.00747000, 0.00693000, 0.00621500, 0.00557200, 0.00486400, 0.00411900, 0.00339600, 0.00266200, 0.00197600, 0.00133500, 0.00062900, 0.00000000, -0.00054600, -0.00111700, -0.00170000, -0.00227000, -0.00279200, -0.00334400, -0.00376500, -0.00422400, -0.00472400, -0.00499200], [ 0.01470300, 0.01426400, 0.01358100, 0.01295000, 0.01227000, 0.01167000, 0.01107200, 0.01053200, 0.00998800, 0.00947600, 0.00895800, 0.00841400, 0.00784500, 0.00727600, 0.00674200, 0.00607700, 0.00545000, 0.00479200, 0.00404300, 0.00336200, 0.00267300, 0.00196200, 0.00133300, 0.00063200, 0.00000000, -0.00051300, -0.00105300, -0.00157800, -0.00210600, -0.00261300, -0.00310500, -0.00353200, -0.00396000, -0.00445200, -0.00476900], [ 0.01414800, 0.01369800, 0.01305200, 0.01241700, 0.01173900, 0.01119200, 0.01060500, 0.01008400, 0.00958400, 0.00908700, 0.00857000, 0.00805400, 0.00750100, 0.00693100, 0.00643800, 0.00580100, 0.00517000, 0.00452000, 0.00383800, 0.00316900, 0.00249000, 0.00182900, 0.00123500, 0.00056900, 0.00000000, -0.00047900, -0.00098800, -0.00151800, -0.00208800, -0.00258000, -0.00311700, -0.00353200, -0.00398000, -0.00447600, -0.00480200], [ 0.01374200, 0.01332000, 0.01267200, 0.01204300, 0.01140100, 0.01086100, 0.01028900, 0.00977100, 0.00927900, 0.00878300, 0.00826800, 0.00777400, 0.00724600, 0.00678200, 0.00628400, 0.00566400, 0.00509300, 0.00446200, 0.00378200, 0.00313700, 0.00248500, 0.00184800, 0.00125600, 0.00060100, 0.00000000, -0.00050400, -0.00103800, -0.00156600, -0.00208400, -0.00257000, -0.00307900, -0.00350300, -0.00393300, -0.00440000, -0.00471000], [ 0.01339800, 0.01298500, 0.01237300, 0.01176500, 0.01113000, 0.01059200, 0.01002500, 0.00953300, 0.00905500, 0.00857000, 0.00809400, 0.00759600, 0.00709000, 0.00663000, 0.00615100, 0.00555700, 0.00497900, 0.00438400, 0.00371000, 0.00306700, 0.00243600, 0.00177000, 0.00120400, 0.00056400, 0.00000000, -0.00049500, -0.00099500, -0.00150500, -0.00202900, -0.00253900, -0.00303900, -0.00348100, -0.00392700, -0.00439400, -0.00469300], [ 0.01318000, 0.01274400, 0.01211900, 0.01153100, 0.01088700, 0.01037000, 0.00982900, 0.00933900, 0.00886800, 0.00841000, 0.00793300, 0.00747300, 0.00697200, 0.00650700, 0.00603900, 0.00543300, 0.00485500, 0.00424900, 0.00361600, 0.00293000, 0.00232700, 0.00172400, 0.00118900, 0.00056000, 0.00000000, -0.00044200, -0.00092400, -0.00141000, -0.00193100, -0.00239200, -0.00288700, -0.00328200, -0.00374500, -0.00421100, -0.00452700], [ 0.01275700, 0.01237000, 0.01174700, 0.01115100, 0.01053700, 0.01000600, 0.00946600, 0.00895700, 0.00848900, 0.00805700, 0.00758500, 0.00711900, 0.00660400, 0.00617400, 0.00572000, 0.00516300, 0.00462900, 0.00406800, 0.00347500, 0.00286400, 0.00226800, 0.00167400, 0.00114400, 0.00057100, 0.00000000, -0.00047400, -0.00093700, -0.00142600, -0.00189100, -0.00237000, -0.00285400, -0.00327300, -0.00371800, -0.00419500, -0.00449800], [ 0.01242000, 0.01201000, 0.01140200, 0.01083600, 0.01023100, 0.00971000, 0.00918800, 0.00874100, 0.00827000, 0.00784700, 0.00740500, 0.00697100, 0.00650200, 0.00607900, 0.00564800, 0.00510700, 0.00456900, 0.00400400, 0.00339700, 0.00280900, 0.00223100, 0.00163000, 0.00112000, 0.00051900, 0.00000000, -0.00042800, -0.00087900, -0.00132800, -0.00180600, -0.00226600, -0.00275500, -0.00315500, -0.00358500, -0.00409100, -0.00441900], [ 0.01186900, 0.01147600, 0.01088400, 0.01033900, 0.00975100, 0.00926400, 0.00877900, 0.00831200, 0.00789100, 0.00746000, 0.00701900, 0.00662500, 0.00616200, 0.00574700, 0.00533800, 0.00480600, 0.00430800, 0.00378400, 0.00319500, 0.00263100, 0.00207200, 0.00152700, 0.00103900, 0.00050900, 0.00000000, -0.00040800, -0.00084000, -0.00130700, -0.00179900, -0.00221300, -0.00271200, -0.00310000, -0.00355000, -0.00404100, -0.00434300], [ 0.01155500, 0.01119500, 0.01063300, 0.01011900, 0.00956800, 0.00909600, 0.00860000, 0.00815300, 0.00772700, 0.00732500, 0.00690900, 0.00649000, 0.00604800, 0.00566300, 0.00524100, 0.00474100, 0.00426800, 0.00375500, 0.00316600, 0.00265300, 0.00210600, 0.00157000, 0.00108900, 0.00051800, 0.00000000, -0.00039400, -0.00082500, -0.00123900, -0.00170700, -0.00213400, -0.00260600, -0.00303000, -0.00348300, -0.00399100, -0.00428400], [ 0.01124700, 0.01088800, 0.01034800, 0.00983000, 0.00926000, 0.00880900, 0.00833400, 0.00789000, 0.00748100, 0.00708800, 0.00670200, 0.00630900, 0.00590700, 0.00548700, 0.00510400, 0.00460300, 0.00412800, 0.00361500, 0.00307200, 0.00253600, 0.00200400, 0.00148800, 0.00102000, 0.00046700, 0.00000000, -0.00037300, -0.00076900, -0.00118500, -0.00166200, -0.00208300, -0.00254100, -0.00295200, -0.00343800, -0.00395600, -0.00428600], [ 0.01082600, 0.01047500, 0.00995300, 0.00944500, 0.00891400, 0.00847200, 0.00800500, 0.00758700, 0.00719000, 0.00681800, 0.00641700, 0.00603600, 0.00559800, 0.00522800, 0.00485600, 0.00438300, 0.00392500, 0.00342700, 0.00291700, 0.00241100, 0.00190600, 0.00143400, 0.00096300, 0.00045800, 0.00000000, -0.00035100, -0.00077600, -0.00118200, -0.00162100, -0.00203000, -0.00249800, -0.00287600, -0.00337000, -0.00387000, -0.00422100], [ 0.01055400, 0.01022100, 0.00971300, 0.00924600, 0.00872600, 0.00830200, 0.00783600, 0.00744200, 0.00706000, 0.00670500, 0.00632600, 0.00595600, 0.00554000, 0.00517100, 0.00478800, 0.00434900, 0.00388000, 0.00342100, 0.00290500, 0.00240500, 0.00191800, 0.00141600, 0.00099500, 0.00046500, 0.00000000, -0.00036100, -0.00072300, -0.00111100, -0.00155000, -0.00196100, -0.00242100, -0.00280400, -0.00328800, -0.00380700, -0.00414200], [ 0.01021300, 0.00989100, 0.00941700, 0.00895200, 0.00844500, 0.00802600, 0.00760400, 0.00722200, 0.00686200, 0.00649700, 0.00613100, 0.00578900, 0.00539200, 0.00501700, 0.00469400, 0.00422000, 0.00376500, 0.00331400, 0.00280400, 0.00233100, 0.00182700, 0.00134600, 0.00091200, 0.00043800, 0.00000000, -0.00034000, -0.00071400, -0.00110700, -0.00152300, -0.00196900, -0.00239100, -0.00281700, -0.00330200, -0.00384100, -0.00419100], [ 0.01008100, 0.00976500, 0.00926900, 0.00879900, 0.00828300, 0.00789900, 0.00745600, 0.00707900, 0.00672300, 0.00637300, 0.00598900, 0.00564900, 0.00524000, 0.00490800, 0.00455300, 0.00409200, 0.00367200, 0.00323000, 0.00274600, 0.00226200, 0.00178200, 0.00135000, 0.00093500, 0.00043500, 0.00000000, -0.00033700, -0.00071600, -0.00111100, -0.00151000, -0.00190200, -0.00234500, -0.00274600, -0.00321700, -0.00377600, -0.00411300], [ 0.01016700, 0.00985700, 0.00938300, 0.00893700, 0.00843300, 0.00802800, 0.00758600, 0.00719500, 0.00682600, 0.00646300, 0.00608500, 0.00574400, 0.00533600, 0.00498700, 0.00461300, 0.00420400, 0.00373000, 0.00327300, 0.00277100, 0.00230300, 0.00183400, 0.00136500, 0.00093500, 0.00045900, 0.00000000, -0.00032100, -0.00069900, -0.00105500, -0.00148000, -0.00189700, -0.00233400, -0.00275600, -0.00323700, -0.00377400, -0.00416700], [ 0.00999700, 0.00966600, 0.00919000, 0.00873100, 0.00824400, 0.00784500, 0.00740400, 0.00704300, 0.00669000, 0.00631900, 0.00595700, 0.00561800, 0.00523000, 0.00488200, 0.00456200, 0.00409300, 0.00364600, 0.00319400, 0.00271100, 0.00223200, 0.00178000, 0.00131500, 0.00091600, 0.00042100, 0.00000000, -0.00032800, -0.00069200, -0.00108700, -0.00147000, -0.00189800, -0.00234600, -0.00275700, -0.00327600, -0.00380900, -0.00417000], [ 0.00983500, 0.00952200, 0.00903300, 0.00860500, 0.00811800, 0.00773000, 0.00730200, 0.00691800, 0.00654200, 0.00621100, 0.00586200, 0.00550800, 0.00508800, 0.00478800, 0.00444900, 0.00398600, 0.00355900, 0.00315600, 0.00264500, 0.00219500, 0.00174900, 0.00130400, 0.00090600, 0.00045300, 0.00000000, -0.00030800, -0.00068100, -0.00104300, -0.00143100, -0.00183700, -0.00228400, -0.00266500, -0.00317300, -0.00371300, -0.00408300], [ 0.00977900, 0.00945000, 0.00897300, 0.00852500, 0.00802900, 0.00763900, 0.00721500, 0.00684300, 0.00648600, 0.00615300, 0.00578600, 0.00547000, 0.00508800, 0.00474300, 0.00442500, 0.00398400, 0.00355600, 0.00312000, 0.00260400, 0.00217900, 0.00173600, 0.00131500, 0.00091600, 0.00043000, 0.00000000, -0.00031400, -0.00067300, -0.00100800, -0.00140800, -0.00182300, -0.00226800, -0.00265900, -0.00314800, -0.00370000, -0.00405000], [ 0.00952300, 0.00920500, 0.00876900, 0.00834300, 0.00785200, 0.00749800, 0.00707500, 0.00669900, 0.00636900, 0.00604500, 0.00568500, 0.00535100, 0.00499100, 0.00464300, 0.00432800, 0.00389500, 0.00346300, 0.00303700, 0.00259100, 0.00212300, 0.00168400, 0.00124500, 0.00088000, 0.00039900, 0.00000000, -0.00028700, -0.00068000, -0.00102300, -0.00140700, -0.00178500, -0.00226000, -0.00262500, -0.00313100, -0.00369400, -0.00405200], [ 0.00941400, 0.00910200, 0.00865100, 0.00822300, 0.00772000, 0.00738700, 0.00697400, 0.00658200, 0.00626200, 0.00596300, 0.00559300, 0.00527700, 0.00488900, 0.00456600, 0.00423700, 0.00383600, 0.00337800, 0.00297300, 0.00254100, 0.00209900, 0.00166400, 0.00122000, 0.00089500, 0.00041800, 0.00000000, -0.00028600, -0.00063100, -0.00098300, -0.00135800, -0.00172600, -0.00217200, -0.00256100, -0.00304100, -0.00360000, -0.00396600], [ 0.00933800, 0.00900400, 0.00854600, 0.00812700, 0.00762500, 0.00725800, 0.00682100, 0.00646800, 0.00612800, 0.00581000, 0.00547900, 0.00516000, 0.00480800, 0.00448100, 0.00418300, 0.00378000, 0.00334600, 0.00295100, 0.00248900, 0.00207800, 0.00163400, 0.00124500, 0.00084500, 0.00040800, 0.00000000, -0.00026300, -0.00058100, -0.00091500, -0.00130800, -0.00161900, -0.00207800, -0.00245300, -0.00293100, -0.00350200, -0.00379100], [ 0.00897800, 0.00867400, 0.00822900, 0.00780700, 0.00734900, 0.00701800, 0.00660200, 0.00625700, 0.00591900, 0.00563800, 0.00528800, 0.00497500, 0.00464500, 0.00430100, 0.00402200, 0.00363900, 0.00320800, 0.00282900, 0.00235100, 0.00193300, 0.00156100, 0.00113700, 0.00078600, 0.00035400, 0.00000000, -0.00027900, -0.00061800, -0.00092400, -0.00129200, -0.00166100, -0.00204700, -0.00237100, -0.00289100, -0.00342200, -0.00376800], [ 0.00873900, 0.00844600, 0.00800300, 0.00761200, 0.00713500, 0.00679800, 0.00640500, 0.00605400, 0.00575000, 0.00546700, 0.00515100, 0.00482400, 0.00447900, 0.00417200, 0.00394100, 0.00351800, 0.00310900, 0.00274200, 0.00229600, 0.00192100, 0.00153400, 0.00112100, 0.00078600, 0.00037400, 0.00000000, -0.00029300, -0.00058900, -0.00090200, -0.00123900, -0.00158200, -0.00200600, -0.00231000, -0.00280900, -0.00328700, -0.00360000], [ 0.00867500, 0.00835200, 0.00791000, 0.00753900, 0.00702900, 0.00673700, 0.00633300, 0.00598800, 0.00570900, 0.00538900, 0.00508200, 0.00480000, 0.00444900, 0.00415800, 0.00390100, 0.00348700, 0.00308000, 0.00273800, 0.00227700, 0.00192200, 0.00151600, 0.00114300, 0.00084000, 0.00041500, 0.00000000, -0.00019600, -0.00052200, -0.00081600, -0.00116500, -0.00152800, -0.00193000, -0.00222700, -0.00265800, -0.00317100, -0.00346900], [ 0.00840000, 0.00809800, 0.00766800, 0.00727100, 0.00679900, 0.00649000, 0.00611000, 0.00575600, 0.00547500, 0.00518300, 0.00486500, 0.00458800, 0.00419800, 0.00396900, 0.00372200, 0.00329300, 0.00291800, 0.00255000, 0.00211000, 0.00172800, 0.00139800, 0.00100700, 0.00071100, 0.00036600, 0.00000000, -0.00029100, -0.00058600, -0.00087300, -0.00120300, -0.00150600, -0.00189700, -0.00219600, -0.00262600, -0.00309200, -0.00340400], [ 0.00832400, 0.00801800, 0.00758900, 0.00720200, 0.00672000, 0.00643900, 0.00603100, 0.00571900, 0.00540700, 0.00512400, 0.00479200, 0.00452900, 0.00421500, 0.00397600, 0.00371100, 0.00331700, 0.00292600, 0.00261500, 0.00217000, 0.00181200, 0.00147900, 0.00109500, 0.00083100, 0.00037000, 0.00000000, -0.00023800, -0.00047600, -0.00077600, -0.00108300, -0.00138200, -0.00176200, -0.00202000, -0.00241200, -0.00291200, -0.00317400], [ 0.00813200, 0.00781600, 0.00738700, 0.00703000, 0.00660400, 0.00629400, 0.00590100, 0.00560500, 0.00532900, 0.00505700, 0.00477100, 0.00452600, 0.00416800, 0.00390100, 0.00368200, 0.00324700, 0.00291700, 0.00257300, 0.00216800, 0.00178400, 0.00139600, 0.00106300, 0.00078400, 0.00035500, 0.00000000, -0.00019600, -0.00048400, -0.00077600, -0.00113700, -0.00144200, -0.00181900, -0.00210300, -0.00251800, -0.00300400, -0.00324200], [ 0.00823100, 0.00794900, 0.00753500, 0.00717200, 0.00670500, 0.00641500, 0.00602200, 0.00574900, 0.00546700, 0.00521400, 0.00484900, 0.00465300, 0.00426100, 0.00399200, 0.00378000, 0.00336500, 0.00294200, 0.00265100, 0.00222100, 0.00187200, 0.00149000, 0.00108800, 0.00082300, 0.00040800, 0.00000000, -0.00020000, -0.00049700, -0.00077100, -0.00111000, -0.00144600, -0.00180500, -0.00214500, -0.00251100, -0.00301700, -0.00328200], [ 0.00776000, 0.00748500, 0.00712400, 0.00686300, 0.00639900, 0.00615600, 0.00579600, 0.00551000, 0.00521500, 0.00500000, 0.00473500, 0.00448000, 0.00416800, 0.00390000, 0.00372400, 0.00330900, 0.00295100, 0.00263700, 0.00217200, 0.00179400, 0.00141900, 0.00107700, 0.00079200, 0.00035400, 0.00000000, -0.00020600, -0.00044700, -0.00074000, -0.00112600, -0.00139600, -0.00179300, -0.00202800, -0.00240500, -0.00295400, -0.00318700], [ 0.00788600, 0.00760400, 0.00724100, 0.00688400, 0.00643100, 0.00619700, 0.00582600, 0.00555900, 0.00528000, 0.00501100, 0.00474700, 0.00449800, 0.00417100, 0.00384300, 0.00372200, 0.00328200, 0.00287200, 0.00258500, 0.00213500, 0.00180500, 0.00139800, 0.00106200, 0.00076100, 0.00036200, 0.00000000, -0.00020600, -0.00051400, -0.00078400, -0.00115300, -0.00145200, -0.00184500, -0.00207900, -0.00248300, -0.00291800, -0.00319700], [ 0.00775300, 0.00748300, 0.00712800, 0.00679800, 0.00637000, 0.00609800, 0.00577200, 0.00545000, 0.00517500, 0.00494600, 0.00464100, 0.00441400, 0.00413100, 0.00389500, 0.00368700, 0.00328100, 0.00292600, 0.00266900, 0.00218200, 0.00180000, 0.00149400, 0.00112100, 0.00084200, 0.00040600, 0.00000000, -0.00016100, -0.00043500, -0.00072100, -0.00105900, -0.00137500, -0.00175000, -0.00195500, -0.00230600, -0.00275200, -0.00302200], [ 0.00778700, 0.00748900, 0.00715600, 0.00686600, 0.00640800, 0.00617000, 0.00583800, 0.00557700, 0.00532300, 0.00507200, 0.00482600, 0.00455700, 0.00422600, 0.00395300, 0.00381300, 0.00329400, 0.00297900, 0.00266400, 0.00215300, 0.00185100, 0.00147500, 0.00103600, 0.00081100, 0.00035500, 0.00000000, -0.00013900, -0.00048500, -0.00074600, -0.00110100, -0.00141100, -0.00184700, -0.00203300, -0.00239500, -0.00293700, -0.00306900], [ 0.00770900, 0.00742300, 0.00710000, 0.00674300, 0.00632400, 0.00611300, 0.00571300, 0.00542300, 0.00519500, 0.00493400, 0.00464200, 0.00447900, 0.00410900, 0.00384600, 0.00372700, 0.00327400, 0.00288400, 0.00258600, 0.00216400, 0.00177300, 0.00140100, 0.00105000, 0.00085800, 0.00038000, 0.00000000, -0.00020500, -0.00044800, -0.00077000, -0.00108400, -0.00136700, -0.00170600, -0.00195900, -0.00234800, -0.00275900, -0.00300000]]

## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
CE02SHBP-MJ01C | CE02SHBP-0001 | 1 | 2014-09-08 | 14:04Z | N/A | 44° 38.221′ N | 124° 18.350′ W | 82 m | TN313
CE02SHBP-LJ01D | CE02SHBP-0001 | 1 | 2014-09-08 | 14:04Z | N/A | 44° 38.221′ N | 124° 18.350′ W | 82 m | TN313