## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
RS03AXBS-LJ03A | SN0007 | 1 | 2014-08-05 | 6:19 | N/A | 45° 49' 00.48'' N | 129° 45' 14.76'' W | 2612 | TN-313
RS03AXBS-MJ03A | SN0023 | 1 | 2014-07-29 | 13:54 | N/A | 45° 49' 12.62'' N | 129° 44' 11.72'' W | 2608 | TN-313

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
RS03AXBS-MJ03A-05-OBSBBA303 | SN0023 | 1 | T1076/T5CP3
RS03AXBS-MJ03A-05-HYDLFA301 | SN0023 | 1 | 299463
RS03AXBS-MJ03A-06-PRESTA301 | SN0023 | 1 | 5471540-0029
RS03AXBS-LJ03A-05-HPIESA301 | SN0007 | 1 | 01
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 1 | 10314 | CC_lat | 45.8202
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 1 | 10314 | CC_lon | -129.7363
RS03AXBS-LJ03A-09-HYDBBA302 | SN0007 | 1 | 1271 | CC_gain | 6
RS03AXBS-LJ03A-12-DOSTAD301 | SN0007 | 1 | 273 | CC_lat | 45.8169
RS03AXBS-LJ03A-12-DOSTAD301 | SN0007 | 1 | 273 | CC_lon | -129.7541
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_lat | 45.8168
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_lon | -129.7543
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor1 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor2 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor3 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor4 | 0.45
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_lat | 45.8169
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_lon | -129.7541
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_cwlngth | [398.40000000, 402.50000000, 406.20000000, 410.30000000, 413.90000000, 418.20000000, 422.60000000, 427.00000000, 431.50000000, 435.40000000, 440.00000000, 444.40000000, 449.00000000, 453.80000000, 458.70000000, 463.10000000, 467.80000000, 472.60000000, 477.50000000, 482.70000000, 487.40000000, 491.80000000, 496.00000000, 500.80000000, 505.50000000, 510.60000000, 515.60000000, 520.60000000, 525.10000000, 529.80000000, 534.20000000, 538.40000000, 543.00000000, 547.50000000, 552.10000000, 556.70000000, 561.30000000, 565.60000000, 569.80000000, 573.70000000, 577.30000000, 581.50000000, 585.60000000, 590.10000000, 594.50000000, 599.10000000, 604.10000000, 608.80000000, 613.50000000, 618.20000000, 622.70000000, 627.40000000, 631.70000000, 636.30000000, 640.70000000, 645.60000000, 650.10000000, 655.20000000, 660.00000000, 664.40000000, 669.10000000, 674.00000000, 678.60000000, 683.20000000, 687.40000000, 692.00000000, 696.00000000, 700.40000000, 704.60000000, 709.10000000, 713.10000000, 717.40000000, 721.70000000, 725.90000000, 730.00000000, 734.30000000, 737.70000000, 741.90000000, 746.20000000, 750.00000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_ccwo | [ -1.63883400, -1.48434700, -1.33898100, -1.20671600, -1.08121700, -0.96695500, -0.86920200, -0.77252200, -0.68227200, -0.59672600, -0.51005900, -0.43111200, -0.35825800, -0.29045900, -0.22819200, -0.17102800, -0.11424300, -0.05925500, -0.00504200, 0.04283400, 0.08905000, 0.13603100, 0.17811800, 0.21948100, 0.25973700, 0.29541300, 0.32957700, 0.36093400, 0.39201000, 0.41981500, 0.44615100, 0.47178800, 0.49835200, 0.52529100, 0.55238700, 0.57931800, 0.60152200, 0.62390500, 0.64320000, 0.66380800, 0.66740700, 0.67428100, 0.67974500, 0.67988000, 0.67525300, 0.66873800, 0.66431000, 0.66934700, 0.68232300, 0.69741100, 0.71165600, 0.72578700, 0.73764600, 0.74967500, 0.76049300, 0.76700000, 0.76998700, 0.76872400, 0.76626600, 0.76723300, 0.77060000, 0.77263200, 0.76908500, 0.76036700, 0.74051900, 0.71064800, 0.66605600, 0.60643600, 0.52811500, 0.43115400, 0.30350900, 0.14080500, -0.05338100, -0.28685800, -0.54939400, -0.80077300, -1.00590700, -1.13332900, -1.20556300, -1.23343300]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tcal | 14.7
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tbins | [ 1.71866700, 2.42183500, 3.47294900, 4.47508200, 5.48304300, 6.48027000, 7.49312500, 8.48366700, 9.50272700, 10.48914300, 11.49600000, 12.49966700, 13.48214300, 14.48000000, 15.50846200, 16.50375000, 17.50280000, 18.49600000, 19.50413800, 20.52514300, 21.47122400, 22.47833300, 23.50026300, 24.50057100, 25.49972200, 26.48580600, 27.49343700, 28.49975000, 29.48425000, 30.50171400, 31.49333300, 32.48312500, 33.49454500, 34.50454500, 35.51615400, 36.49974400, 37.52886800, 38.11963000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_awlngth | [399.40000000, 403.50000000, 407.30000000, 411.00000000, 414.80000000, 419.20000000, 423.70000000, 428.10000000, 432.40000000, 436.10000000, 440.50000000, 444.90000000, 450.20000000, 455.00000000, 459.20000000, 463.30000000, 467.80000000, 473.10000000, 478.00000000, 483.10000000, 487.60000000, 492.00000000, 496.30000000, 501.00000000, 505.90000000, 510.60000000, 515.80000000, 520.80000000, 525.40000000, 529.80000000, 534.10000000, 538.40000000, 543.00000000, 547.30000000, 552.10000000, 556.30000000, 561.10000000, 565.40000000, 569.60000000, 573.60000000, 577.10000000, 581.40000000, 585.40000000, 589.50000000, 594.00000000, 598.70000000, 603.50000000, 608.30000000, 613.00000000, 617.50000000, 622.20000000, 626.50000000, 631.20000000, 635.70000000, 640.20000000, 644.80000000, 649.60000000, 654.00000000, 659.00000000, 663.60000000, 668.50000000, 673.10000000, 677.60000000, 682.20000000, 686.60000000, 691.00000000, 695.20000000, 699.60000000, 703.80000000, 708.10000000, 712.10000000, 716.50000000, 720.80000000, 725.10000000, 728.90000000, 733.20000000, 736.90000000, 740.70000000, 745.00000000, 748.70000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_acwo | [ -4.64186900, -3.89325800, -3.33786000, -2.96110700, -2.71884100, -2.55393600, -2.42741900, -2.32353100, -2.22996300, -2.14168800, -2.05868500, -1.97892200, -1.89975600, -1.82312700, -1.74833500, -1.67491200, -1.60477900, -1.53780300, -1.47190200, -1.40726400, -1.34404600, -1.28382100, -1.22557200, -1.16988600, -1.11637700, -1.06459400, -1.01325100, -0.96190200, -0.91189200, -0.86278300, -0.81547900, -0.76997300, -0.72612500, -0.68421300, -0.64343500, -0.60424600, -0.56667600, -0.53100200, -0.49822000, -0.46907100, -0.44896700, -0.42740400, -0.41124300, -0.39978300, -0.39316300, -0.38695700, -0.37335700, -0.35167900, -0.32476700, -0.29710800, -0.26946200, -0.24199000, -0.21533700, -0.18939600, -0.16494600, -0.14350600, -0.12605900, -0.11212600, -0.09807300, -0.08124500, -0.06281600, -0.04638700, -0.03507700, -0.03146300, -0.03741800, -0.05606400, -0.08839700, -0.13702000, -0.20485100, -0.29748700, -0.41955100, -0.57470600, -0.76706500, -0.99755800, -1.25075800, -1.49142800, -1.67709200, -1.79549200, -1.86223300, -1.89795500]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tcarray | [[ 0.03148800, 0.02828700, 0.02557800, 0.02784800, 0.02340500, 0.02217900, 0.02045300, 0.02541700, 0.02296200, 0.02143300, 0.01795500, 0.01558500, 0.00973000, 0.00959100, 0.01179400, 0.00917200, 0.01469400, 0.01143800, 0.01118700, 0.00959400, 0.00566200, 0.00742500, 0.00502000, 0.00043200, 0.00000000, -0.00535200, -0.00577900, -0.00721200, -0.00782200, -0.01386000, -0.01729200, -0.01588800, -0.01939100, -0.02229600, -0.02297900, -0.02674200, -0.02744400, -0.02826000],[ 0.01309800, 0.01527200, 0.01816300, 0.01762200, 0.01643800, 0.01487700, 0.01412500, 0.01565800, 0.01258300, 0.01146100, 0.00885700, 0.00831200, 0.00883800, 0.00396800, 0.00571700, 0.00500700, 0.00653500, 0.00351700, 0.00443100, 0.00160400, 0.00137600, 0.00263900, 0.00120800, -0.00035400, 0.00000000, -0.00358300, -0.00408500, -0.00484000, -0.00794600, -0.01138800, -0.01397400, -0.01217500, -0.01617700, -0.01795200, -0.02153200, -0.02162100, -0.02523400, -0.02532300],[ 0.01103700, 0.01507800, 0.01304900, 0.01347300, 0.01004400, 0.01085600, 0.00950500, 0.01097300, 0.01072100, 0.01111800, 0.00876500, 0.00834100, 0.00455400, 0.00478100, 0.00385500, 0.00170700, 0.00514700, 0.00504500, 0.00261700, 0.00465600, 0.00489800, 0.00344100, 0.00293400, 0.00091000, 0.00000000, -0.00216800, -0.00305700, -0.00502300, -0.00704100, -0.01042200, -0.01187400, -0.01184800, -0.01363200, -0.01616400, -0.01640100, -0.01920100, -0.02053900, -0.02163200],[ 0.00339100, 0.00529000, 0.00692100, 0.00699200, 0.00677700, 0.00667100, 0.00621500, 0.00794500, 0.00765800, 0.00613400, 0.00382300, 0.00291300, 0.00103000, 0.00132000, 0.00097900, 0.00125800, 0.00354300, 0.00321000, 0.00366600, 0.00231200, 0.00175700, 0.00340600, 0.00152400, 0.00012300, 0.00000000, -0.00288000, -0.00293800, -0.00484300, -0.00515700, -0.00762000, -0.00996500, -0.00878100, -0.01045700, -0.01228300, -0.01290600, -0.01452100, -0.01593600, -0.01652000],[ -0.00659400, -0.00218900, 0.00112700, 0.00168700, 0.00097800, 0.00159400, 0.00101300, 0.00196000, 0.00091200, 0.00161700, 0.00159200, 0.00181600, 0.00087900, 0.00019600, 0.00093100, -0.00053400, 0.00106900, -0.00042100, 0.00093800, 0.00001300, 0.00024900, 0.00155400, 0.00075700, -0.00045000, 0.00000000, -0.00195900, -0.00255300, -0.00343000, -0.00362100, -0.00643300, -0.00794000, -0.00729800, -0.00893100, -0.01043700, -0.01168600, -0.01375900, -0.01431300, -0.01486800],[ -0.00517100, -0.00320800, -0.00333300, -0.00228500, -0.00286000, -0.00134400, -0.00142200, 0.00052400, 0.00066400, 0.00127900, 0.00000300, -0.00039000, -0.00075600, -0.00244600, -0.00255800, -0.00171700, 0.00025600, 0.00187100, 0.00089600, 0.00204700, 0.00133200, 0.00238100, 0.00193300, 0.00072800, 0.00000000, -0.00130200, -0.00170700, -0.00296200, -0.00427700, -0.00567000, -0.00702700, -0.00638900, -0.00804700, -0.00803200, -0.00887500, -0.00996000, -0.01088600, -0.01217200],[ -0.01235900, -0.00960900, -0.00689200, -0.00575600, -0.00502600, -0.00510300, -0.00469600, -0.00318400, -0.00339500, -0.00347400, -0.00350900, -0.00307400, -0.00329200, -0.00288600, -0.00179700, -0.00290300, -0.00063300, -0.00136200, -0.00022800, -0.00124600, -0.00049800, 0.00083100, 0.00027700, -0.00021800, 0.00000000, -0.00097500, -0.00141300, -0.00205700, -0.00223200, -0.00417800, -0.00516700, -0.00455100, -0.00548400, -0.00616800, -0.00741600, -0.00786200, -0.00898800, -0.00928100],[ -0.01176300, -0.01005300, -0.00868500, -0.00882900, -0.00841600, -0.00731400, -0.00700900, -0.00635400, -0.00633400, -0.00492800, -0.00483200, -0.00440500, -0.00445300, -0.00487100, -0.00434100, -0.00433000, -0.00339600, -0.00308600, -0.00278500, -0.00151900, -0.00080600, 0.00046700, 0.00056100, 0.00017500, 0.00000000, -0.00031600, -0.00092800, -0.00159900, -0.00266200, -0.00353000, -0.00458500, -0.00439200, -0.00519000, -0.00553100, -0.00638000, -0.00703300, -0.00823300, -0.00851800],[ -0.01090600, -0.00970900, -0.00954000, -0.00933900, -0.00915700, -0.00770300, -0.00695500, -0.00532300, -0.00488100, -0.00493000, -0.00492200, -0.00455000, -0.00558500, -0.00504600, -0.00441200, -0.00376900, -0.00214000, -0.00088600, -0.00089800, -0.00034500, -0.00033100, 0.00063200, 0.00075400, -0.00008800, 0.00000000, -0.00124000, -0.00106900, -0.00143700, -0.00195200, -0.00289500, -0.00347400, -0.00321800, -0.00320500, -0.00375000, -0.00354100, -0.00427600, -0.00511000, -0.00639300],[ -0.01448600, -0.01240000, -0.01044000, -0.00958000, -0.00874200, -0.00870500, -0.00838300, -0.00749600, -0.00733200, -0.00693500, -0.00675800, -0.00612500, -0.00535400, -0.00566400, -0.00496200, -0.00476800, -0.00360400, -0.00327600, -0.00311600, -0.00278000, -0.00173700, -0.00062100, -0.00064100, -0.00024800, 0.00000000, -0.00092400, -0.00032900, -0.00103300, -0.00116300, -0.00262700, -0.00330500, -0.00255500, -0.00347100, -0.00388000, -0.00391200, -0.00486500, -0.00523000, -0.00549900],[ -0.01556700, -0.01237000, -0.01073900, -0.00994100, -0.01010600, -0.00887200, -0.00878700, -0.00791500, -0.00757100, -0.00658400, -0.00678100, -0.00605200, -0.00658000, -0.00566000, -0.00553100, -0.00548400, -0.00411000, -0.00373500, -0.00299200, -0.00209200, -0.00147900, -0.00037000, 0.00037200, -0.00021100, 0.00000000, -0.00067700, -0.00046700, -0.00060600, -0.00120400, -0.00237500, -0.00271100, -0.00238500, -0.00268000, -0.00231500, -0.00279600, -0.00312100, -0.00400200, -0.00475900],[ -0.01711400, -0.01434300, -0.01231700, -0.01109800, -0.01004800, -0.00943200, -0.00859600, -0.00768400, -0.00750600, -0.00745400, -0.00679300, -0.00690700, -0.00642900, -0.00565800, -0.00470700, -0.00409800, -0.00311800, -0.00257600, -0.00195900, -0.00197000, -0.00123600, -0.00000500, -0.00001200, 0.00003200, 0.00000000, 0.00003700, -0.00045200, -0.00022800, -0.00047200, -0.00078100, -0.00140800, -0.00133500, -0.00124800, -0.00125300, -0.00141100, -0.00180400, -0.00236500, -0.00298000],[ -0.01984800, -0.01680700, -0.01428700, -0.01348100, -0.01271600, -0.01174900, -0.01074600, -0.01009500, -0.00939500, -0.00857700, -0.00821200, -0.00709100, -0.00683700, -0.00627900, -0.00603500, -0.00561600, -0.00485200, -0.00432900, -0.00325600, -0.00276600, -0.00183300, -0.00102700, -0.00036000, 0.00004300, 0.00000000, -0.00044100, -0.00015300, -0.00029000, -0.00079400, -0.00130000, -0.00182900, -0.00172500, -0.00178300, -0.00175500, -0.00202600, -0.00274800, -0.00313300, -0.00348200],[ -0.01940400, -0.01727900, -0.01559400, -0.01453900, -0.01360200, -0.01225100, -0.01181100, -0.01034500, -0.00927700, -0.00873800, -0.00819000, -0.00757200, -0.00734100, -0.00673500, -0.00617300, -0.00575900, -0.00435700, -0.00344600, -0.00293800, -0.00205000, -0.00134200, -0.00031400, -0.00013500, -0.00032400, 0.00000000, -0.00030600, -0.00034000, -0.00056000, -0.00098600, -0.00151400, -0.00195200, -0.00158800, -0.00175900, -0.00145900, -0.00167300, -0.00168500, -0.00252700, -0.00330700],[ -0.02117400, -0.01857800, -0.01598100, -0.01486100, -0.01364500, -0.01226500, -0.01110900, -0.01029100, -0.00979300, -0.00928500, -0.00828400, -0.00776900, -0.00704600, -0.00621800, -0.00517000, -0.00472900, -0.00371300, -0.00359600, -0.00288200, -0.00278100, -0.00189300, -0.00058800, -0.00039100, -0.00016600, 0.00000000, 0.00002200, -0.00005300, 0.00024900, 0.00021200, -0.00050200, -0.00110400, -0.00069000, -0.00084700, -0.00096000, -0.00088300, -0.00104000, -0.00172200, -0.00225900],[ -0.02212700, -0.01873700, -0.01655800, -0.01541600, -0.01425900, -0.01308300, -0.01245000, -0.01163500, -0.01100100, -0.01025100, -0.00928400, -0.00836000, -0.00805600, -0.00736700, -0.00705700, -0.00616200, -0.00562500, -0.00488700, -0.00416100, -0.00289000, -0.00202800, -0.00110000, -0.00055800, -0.00032400, 0.00000000, -0.00030200, -0.00014800, -0.00029100, -0.00077300, -0.00120100, -0.00142600, -0.00132800, -0.00143600, -0.00132900, -0.00143600, -0.00181400, -0.00235100, -0.00294900],[ -0.02058500, -0.01851100, -0.01656900, -0.01537200, -0.01414700, -0.01277700, -0.01185600, -0.01053900, -0.00951600, -0.00873800, -0.00827400, -0.00769900, -0.00697400, -0.00641000, -0.00549000, -0.00507000, -0.00369300, -0.00308200, -0.00233400, -0.00212900, -0.00131600, -0.00025800, 0.00010600, -0.00004700, 0.00000000, -0.00007300, -0.00023400, -0.00013800, -0.00044800, -0.00069400, -0.00113400, -0.00101900, -0.00084500, -0.00076300, -0.00087300, -0.00125000, -0.00171100, -0.00233600],[ -0.02209400, -0.01949400, -0.01697200, -0.01569700, -0.01429200, -0.01307700, -0.01210500, -0.01157300, -0.01080400, -0.00995900, -0.00904900, -0.00793900, -0.00726400, -0.00641900, -0.00573100, -0.00523700, -0.00464000, -0.00416000, -0.00350400, -0.00287800, -0.00200300, -0.00111600, -0.00072600, -0.00032500, 0.00000000, -0.00017700, 0.00009000, 0.00004800, -0.00019900, -0.00081500, -0.00131100, -0.00115500, -0.00137500, -0.00137300, -0.00167000, -0.00185400, -0.00208800, -0.00269500],[ -0.02200800, -0.01901100, -0.01661500, -0.01521600, -0.01414400, -0.01330900, -0.01250600, -0.01146400, -0.01082100, -0.00980900, -0.00912800, -0.00833200, -0.00788100, -0.00729400, -0.00681500, -0.00608400, -0.00534300, -0.00436600, -0.00370400, -0.00270800, -0.00188300, -0.00082300, -0.00019100, -0.00021900, 0.00000000, -0.00009100, -0.00012200, -0.00006000, -0.00035500, -0.00073100, -0.00102500, -0.00118600, -0.00112600, -0.00128700, -0.00128000, -0.00155400, -0.00213700, -0.00272700],[ -0.02183300, -0.01936900, -0.01708700, -0.01553500, -0.01430900, -0.01294300, -0.01186500, -0.01098800, -0.01014000, -0.00945500, -0.00868800, -0.00800600, -0.00712500, -0.00627600, -0.00533900, -0.00477300, -0.00380700, -0.00327100, -0.00267000, -0.00222400, -0.00146900, -0.00048300, -0.00020000, -0.00013600, 0.00000000, -0.00002300, 0.00001600, 0.00004400, -0.00014300, -0.00036700, -0.00078100, -0.00079500, -0.00108500, -0.00100900, -0.00111000, -0.00145100, -0.00199000, -0.00259900],[ -0.02275500, -0.01980200, -0.01724300, -0.01591700, -0.01455800, -0.01352400, -0.01252400, -0.01174800, -0.01100600, -0.01006000, -0.00895600, -0.00795600, -0.00747300, -0.00662100, -0.00604700, -0.00567800, -0.00490300, -0.00441100, -0.00364000, -0.00308000, -0.00200500, -0.00111800, -0.00063800, -0.00017000, 0.00000000, 0.00005900, 0.00022600, 0.00000100, -0.00017000, -0.00071100, -0.00112300, -0.00126400, -0.00143200, -0.00169500, -0.00180600, -0.00192200, -0.00238300, -0.00291300],[ -0.02196500, -0.01947900, -0.01744700, -0.01613100, -0.01492400, -0.01343600, -0.01252100, -0.01137400, -0.01049700, -0.00966000, -0.00896800, -0.00816900, -0.00764900, -0.00700000, -0.00618600, -0.00551100, -0.00481500, -0.00376700, -0.00317400, -0.00228900, -0.00157300, -0.00039800, -0.00018900, -0.00007500, 0.00000000, -0.00000800, -0.00013000, -0.00002100, -0.00043400, -0.00069100, -0.00100300, -0.00117400, -0.00129800, -0.00138300, -0.00159100, -0.00207100, -0.00238700, -0.00302500],[ -0.02254600, -0.01964100, -0.01705400, -0.01552100, -0.01409800, -0.01308200, -0.01194000, -0.01125300, -0.01050800, -0.00992600, -0.00898800, -0.00812900, -0.00724900, -0.00634000, -0.00560300, -0.00484000, -0.00412500, -0.00370700, -0.00298700, -0.00263700, -0.00169000, -0.00086200, -0.00029800, -0.00014400, 0.00000000, 0.00004700, 0.00016600, 0.00029000, 0.00016200, -0.00024300, -0.00063000, -0.00069300, -0.00100400, -0.00112600, -0.00129800, -0.00157400, -0.00203400, -0.00261200],[ -0.02240800, -0.01971500, -0.01740700, -0.01614100, -0.01476200, -0.01365600, -0.01276900, -0.01198500, -0.01097900, -0.00999100, -0.00902000, -0.00817300, -0.00747900, -0.00677400, -0.00612600, -0.00563700, -0.00510900, -0.00438000, -0.00358300, -0.00271900, -0.00197700, -0.00104300, -0.00048200, -0.00015600, 0.00000000, -0.00005300, 0.00007900, -0.00013700, -0.00046100, -0.00083500, -0.00125900, -0.00156300, -0.00184800, -0.00198800, -0.00222300, -0.00227600, -0.00280600, -0.00335800],[ -0.02228300, -0.01954100, -0.01702600, -0.01565100, -0.01443600, -0.01328100, -0.01230800, -0.01129700, -0.01061400, -0.00984300, -0.00910300, -0.00835400, -0.00762200, -0.00689500, -0.00608600, -0.00535000, -0.00432900, -0.00365000, -0.00313400, -0.00240100, -0.00156600, -0.00064600, -0.00025800, -0.00007300, 0.00000000, 0.00007300, 0.00014000, 0.00030500, -0.00002800, -0.00025300, -0.00044300, -0.00067900, -0.00096500, -0.00118700, -0.00138900, -0.00171400, -0.00220200, -0.00272500],[ -0.02210900, -0.01970700, -0.01743200, -0.01599400, -0.01462900, -0.01338800, -0.01237200, -0.01159200, -0.01088500, -0.00993900, -0.00897000, -0.00788700, -0.00725400, -0.00631400, -0.00559800, -0.00495400, -0.00458400, -0.00395300, -0.00328000, -0.00269900, -0.00180200, -0.00101000, -0.00040700, -0.00019200, 0.00000000, 0.00003500, 0.00019100, 0.00021500, 0.00008600, -0.00031200, -0.00073200, -0.00101000, -0.00135900, -0.00162700, -0.00189600, -0.00215200, -0.00253500, -0.00306300],[ -0.02223800, -0.01970300, -0.01752700, -0.01616000, -0.01497500, -0.01380000, -0.01286700, -0.01201900, -0.01111200, -0.01018100, -0.00932400, -0.00848000, -0.00780500, -0.00708400, -0.00644500, -0.00589600, -0.00509800, -0.00419400, -0.00365300, -0.00273600, -0.00191500, -0.00085700, -0.00032600, -0.00002800, 0.00000000, 0.00004700, 0.00015400, 0.00011700, -0.00017700, -0.00052000, -0.00080400, -0.00109800, -0.00143900, -0.00174100, -0.00205900, -0.00218800, -0.00258700, -0.00316700],[ -0.02190800, -0.01945100, -0.01710800, -0.01575400, -0.01446300, -0.01333100, -0.01237000, -0.01157700, -0.01078000, -0.01008300, -0.00922800, -0.00847200, -0.00766500, -0.00680700, -0.00599800, -0.00521600, -0.00447700, -0.00390200, -0.00321400, -0.00267300, -0.00181900, -0.00089300, -0.00044400, -0.00019900, 0.00000000, 0.00008400, 0.00018900, 0.00037200, 0.00019800, 0.00001100, -0.00038600, -0.00064000, -0.00092100, -0.00123800, -0.00146100, -0.00176200, -0.00215100, -0.00270700],[ -0.02174900, -0.01939200, -0.01707200, -0.01569900, -0.01436600, -0.01337000, -0.01249800, -0.01176500, -0.01090100, -0.00995900, -0.00894500, -0.00785500, -0.00709400, -0.00641500, -0.00572500, -0.00518300, -0.00473000, -0.00399600, -0.00342600, -0.00278800, -0.00187000, -0.00106700, -0.00047900, -0.00017800, 0.00000000, 0.00020900, 0.00040200, 0.00034400, 0.00006000, -0.00028400, -0.00058100, -0.00089900, -0.00127900, -0.00148000, -0.00173800, -0.00200300, -0.00238800, -0.00289900],[ -0.02150900, -0.01919500, -0.01726900, -0.01597400, -0.01478200, -0.01355800, -0.01259100, -0.01167600, -0.01081800, -0.01002900, -0.00923600, -0.00852200, -0.00786400, -0.00711800, -0.00640400, -0.00572200, -0.00492800, -0.00416600, -0.00346900, -0.00272200, -0.00183700, -0.00090900, -0.00035300, -0.00014300, 0.00000000, -0.00002200, 0.00006300, 0.00016900, -0.00013600, -0.00036300, -0.00065600, -0.00098200, -0.00124200, -0.00151300, -0.00185800, -0.00205500, -0.00243200, -0.00295200],[ -0.02099500, -0.01877200, -0.01649600, -0.01511500, -0.01379800, -0.01280300, -0.01186100, -0.01106800, -0.01039500, -0.00965400, -0.00876800, -0.00796700, -0.00714100, -0.00625500, -0.00548800, -0.00482500, -0.00420000, -0.00365400, -0.00303800, -0.00252500, -0.00170100, -0.00083700, -0.00036700, -0.00018100, 0.00000000, 0.00020100, 0.00047200, 0.00062100, 0.00043500, 0.00015700, -0.00020100, -0.00040800, -0.00073000, -0.00095300, -0.00121600, -0.00142300, -0.00176100, -0.00225800],[ -0.02051200, -0.01815800, -0.01607600, -0.01489700, -0.01370500, -0.01271800, -0.01195300, -0.01129300, -0.01048800, -0.00954300, -0.00857700, -0.00766400, -0.00702200, -0.00639200, -0.00580300, -0.00532300, -0.00484800, -0.00416300, -0.00351100, -0.00277600, -0.00187000, -0.00105600, -0.00048900, -0.00014000, 0.00000000, 0.00005900, 0.00023200, 0.00030800, -0.00003200, -0.00039600, -0.00069100, -0.00095400, -0.00116800, -0.00131000, -0.00159800, -0.00172900, -0.00204100, -0.00254100],[ -0.01942600, -0.01734500, -0.01558100, -0.01437500, -0.01322300, -0.01209100, -0.01118200, -0.01032700, -0.00962800, -0.00895900, -0.00832200, -0.00763000, -0.00703700, -0.00628400, -0.00560800, -0.00496000, -0.00420100, -0.00347400, -0.00285700, -0.00231200, -0.00155200, -0.00066000, -0.00026200, -0.00011600, 0.00000000, -0.00001000, 0.00023600, 0.00032800, 0.00010000, -0.00005000, -0.00044700, -0.00062200, -0.00083600, -0.00102300, -0.00120100, -0.00145000, -0.00171400, -0.00216700],[ -0.01854800, -0.01648700, -0.01446800, -0.01333600, -0.01208600, -0.01122200, -0.01043000, -0.00983000, -0.00912600, -0.00852000, -0.00762700, -0.00677000, -0.00603800, -0.00529700, -0.00474700, -0.00411900, -0.00363900, -0.00328500, -0.00273300, -0.00223400, -0.00144300, -0.00077500, -0.00030800, -0.00008800, 0.00000000, 0.00027200, 0.00041500, 0.00052700, 0.00035100, -0.00002400, -0.00031200, -0.00049300, -0.00076100, -0.00093500, -0.00112700, -0.00130000, -0.00155000, -0.00188800],[ -0.01765400, -0.01564500, -0.01403900, -0.01303800, -0.01196800, -0.01099000, -0.01022500, -0.00956600, -0.00881300, -0.00804400, -0.00729100, -0.00668300, -0.00617000, -0.00555600, -0.00501700, -0.00459900, -0.00407300, -0.00334500, -0.00287200, -0.00208100, -0.00138500, -0.00069700, -0.00026700, -0.00009200, 0.00000000, -0.00009200, 0.00014500, 0.00017400, -0.00010600, -0.00042300, -0.00065100, -0.00090300, -0.00104500, -0.00111900, -0.00130100, -0.00143700, -0.00165800, -0.00203500],[ -0.01673400, -0.01491100, -0.01300300, -0.01189300, -0.01093100, -0.01004100, -0.00925400, -0.00863500, -0.00804900, -0.00746000, -0.00682700, -0.00624700, -0.00563000, -0.00497500, -0.00431500, -0.00375000, -0.00321600, -0.00271800, -0.00214700, -0.00181100, -0.00120300, -0.00047100, -0.00016100, -0.00000500, 0.00000000, 0.00013200, 0.00035700, 0.00047300, 0.00032800, 0.00011800, -0.00013500, -0.00027500, -0.00042200, -0.00057200, -0.00067600, -0.00086500, -0.00104000, -0.00138700],[ -0.01599600, -0.01392800, -0.01225900, -0.01130200, -0.01024100, -0.00941400, -0.00868900, -0.00819400, -0.00766400, -0.00705100, -0.00635700, -0.00560300, -0.00504300, -0.00442100, -0.00399200, -0.00353200, -0.00318000, -0.00274000, -0.00229600, -0.00176900, -0.00104300, -0.00052700, -0.00011200, -0.00002500, 0.00000000, 0.00014300, 0.00033400, 0.00040700, 0.00014600, -0.00019800, -0.00044400, -0.00061000, -0.00076700, -0.00078600, -0.00098300, -0.00108900, -0.00125100, -0.00157100],[ -0.01455400, -0.01309100, -0.01171000, -0.01078700, -0.00982700, -0.00887500, -0.00819400, -0.00751300, -0.00681900, -0.00614100, -0.00553000, -0.00500800, -0.00455000, -0.00411000, -0.00361900, -0.00322500, -0.00273300, -0.00220900, -0.00179600, -0.00131100, -0.00076300, -0.00019300, 0.00005000, 0.00010100, 0.00000000, 0.00001200, 0.00019400, 0.00024100, 0.00001900, -0.00021600, -0.00044200, -0.00063000, -0.00070000, -0.00071300, -0.00088200, -0.00099900, -0.00116000, -0.00141700],[ -0.01418500, -0.01247400, -0.01075200, -0.00972300, -0.00880100, -0.00812400, -0.00751600, -0.00699300, -0.00648300, -0.00603300, -0.00548900, -0.00489300, -0.00435300, -0.00376300, -0.00323800, -0.00280300, -0.00241900, -0.00209900, -0.00164400, -0.00131700, -0.00078500, -0.00029900, -0.00007900, -0.00000200, 0.00000000, 0.00006800, 0.00037900, 0.00052200, 0.00033800, 0.00011200, -0.00010000, -0.00027000, -0.00040300, -0.00045500, -0.00053600, -0.00066900, -0.00078300, -0.00101700],[ -0.01354500, -0.01182300, -0.01049200, -0.00954600, -0.00865700, -0.00786900, -0.00719200, -0.00674500, -0.00619300, -0.00561000, -0.00499000, -0.00439500, -0.00394800, -0.00356900, -0.00316100, -0.00277900, -0.00242300, -0.00204000, -0.00164600, -0.00120800, -0.00065900, -0.00024600, 0.00003200, 0.00008100, 0.00000000, 0.00004500, 0.00019700, 0.00017900, -0.00007800, -0.00039400, -0.00061300, -0.00078700, -0.00085000, -0.00087900, -0.00100400, -0.00112300, -0.00123000, -0.00149600],[ -0.01372200, -0.01218600, -0.01080300, -0.00993000, -0.00906800, -0.00831500, -0.00768500, -0.00710100, -0.00657000, -0.00592300, -0.00534100, -0.00476800, -0.00429400, -0.00391800, -0.00348700, -0.00312200, -0.00277700, -0.00227100, -0.00195300, -0.00143200, -0.00087400, -0.00052100, -0.00026100, -0.00006800, 0.00000000, 0.00014800, 0.00039600, 0.00055300, 0.00041500, 0.00015600, 0.00011200, -0.00001800, 0.00000000, 0.00007800, 0.00010000, -0.00001500, -0.00016300, -0.00048700],[ -0.01285500, -0.01126200, -0.00998500, -0.00910100, -0.00815500, -0.00742100, -0.00679500, -0.00634200, -0.00585600, -0.00540000, -0.00482700, -0.00437300, -0.00398000, -0.00342900, -0.00303000, -0.00253100, -0.00211600, -0.00172600, -0.00133800, -0.00107200, -0.00071400, -0.00036300, -0.00015900, -0.00006100, 0.00000000, 0.00015500, 0.00049100, 0.00072900, 0.00056800, 0.00052000, 0.00032300, 0.00031400, 0.00038600, 0.00051800, 0.00051100, 0.00044800, 0.00030700, 0.00000500],[ -0.01242700, -0.01090600, -0.00947400, -0.00861800, -0.00782000, -0.00710300, -0.00648400, -0.00600200, -0.00556300, -0.00505400, -0.00453700, -0.00399600, -0.00351500, -0.00299600, -0.00257200, -0.00229300, -0.00199800, -0.00170100, -0.00135500, -0.00100500, -0.00063300, -0.00033100, -0.00012800, -0.00006100, 0.00000000, 0.00013900, 0.00051000, 0.00072900, 0.00068700, 0.00050300, 0.00033700, 0.00029100, 0.00031700, 0.00051600, 0.00050100, 0.00041300, 0.00036800, 0.00007500],[ -0.01177000, -0.01018200, -0.00871700, -0.00794200, -0.00715200, -0.00657600, -0.00612500, -0.00578800, -0.00530500, -0.00477700, -0.00430600, -0.00381300, -0.00341800, -0.00310700, -0.00277800, -0.00239400, -0.00211300, -0.00164900, -0.00138800, -0.00103500, -0.00061300, -0.00035000, -0.00019600, -0.00005400, 0.00000000, 0.00018100, 0.00045000, 0.00065400, 0.00056000, 0.00045000, 0.00041300, 0.00038800, 0.00053300, 0.00068900, 0.00078500, 0.00070400, 0.00058100, 0.00031200],[ -0.01116700, -0.00980300, -0.00860300, -0.00778700, -0.00697200, -0.00619800, -0.00553000, -0.00504400, -0.00463500, -0.00426100, -0.00372800, -0.00330300, -0.00292000, -0.00243100, -0.00202900, -0.00169100, -0.00132800, -0.00108100, -0.00075400, -0.00052900, -0.00024900, -0.00008700, 0.00000500, 0.00002200, 0.00000000, 0.00016200, 0.00053100, 0.00075200, 0.00064800, 0.00057700, 0.00044100, 0.00043300, 0.00055200, 0.00069600, 0.00078400, 0.00073700, 0.00066600, 0.00042700],[ -0.01120300, -0.00958100, -0.00817600, -0.00733600, -0.00660000, -0.00599500, -0.00551100, -0.00512300, -0.00479200, -0.00431500, -0.00384300, -0.00336800, -0.00293200, -0.00258500, -0.00220600, -0.00198700, -0.00173100, -0.00141800, -0.00110700, -0.00076500, -0.00039900, -0.00020100, -0.00007800, -0.00001400, 0.00000000, 0.00016000, 0.00055100, 0.00080000, 0.00071200, 0.00053900, 0.00046100, 0.00047000, 0.00058000, 0.00083300, 0.00088700, 0.00084800, 0.00079600, 0.00058000],[ -0.01067800, -0.00918800, -0.00796300, -0.00719700, -0.00638800, -0.00573900, -0.00520000, -0.00479000, -0.00434200, -0.00395300, -0.00354800, -0.00314300, -0.00277700, -0.00237800, -0.00204100, -0.00168900, -0.00136300, -0.00102700, -0.00077900, -0.00052900, -0.00020700, -0.00006700, -0.00000300, 0.00002400, 0.00000000, 0.00015800, 0.00046400, 0.00065700, 0.00061300, 0.00056900, 0.00051600, 0.00053900, 0.00070100, 0.00092500, 0.00098100, 0.00096600, 0.00093000, 0.00068800],[ -0.01069800, -0.00913300, -0.00768000, -0.00688500, -0.00614500, -0.00556200, -0.00508500, -0.00470100, -0.00434000, -0.00392100, -0.00346300, -0.00302400, -0.00264800, -0.00221100, -0.00189200, -0.00156300, -0.00133400, -0.00108700, -0.00077400, -0.00059300, -0.00031300, -0.00016200, -0.00006100, 0.00000400, 0.00000000, 0.00015400, 0.00054900, 0.00078900, 0.00072900, 0.00062900, 0.00055300, 0.00064000, 0.00078300, 0.00102200, 0.00110500, 0.00107900, 0.00103800, 0.00082400],[ -0.01040800, -0.00898000, -0.00758900, -0.00683600, -0.00607300, -0.00546800, -0.00503800, -0.00474600, -0.00431100, -0.00382700, -0.00333200, -0.00292600, -0.00255400, -0.00219400, -0.00189500, -0.00162400, -0.00140300, -0.00107100, -0.00087400, -0.00064100, -0.00031400, -0.00016800, -0.00007100, 0.00000000, 0.00000000, 0.00017200, 0.00053800, 0.00080200, 0.00070000, 0.00060000, 0.00057800, 0.00064200, 0.00079200, 0.00105000, 0.00111800, 0.00108600, 0.00106100, 0.00086600],[ -0.01008100, -0.00878300, -0.00752400, -0.00674300, -0.00604900, -0.00543000, -0.00477800, -0.00428900, -0.00391900, -0.00353200, -0.00310300, -0.00271600, -0.00235100, -0.00196300, -0.00161200, -0.00132300, -0.00104700, -0.00075900, -0.00051000, -0.00029500, 0.00003100, 0.00013100, 0.00011000, 0.00008900, 0.00000000, 0.00012000, 0.00043700, 0.00064100, 0.00054700, 0.00047900, 0.00042200, 0.00048200, 0.00068300, 0.00094300, 0.00105500, 0.00101700, 0.00096800, 0.00075800],[ -0.01019000, -0.00859900, -0.00751700, -0.00680800, -0.00588000, -0.00514100, -0.00471700, -0.00433000, -0.00394300, -0.00356300, -0.00311100, -0.00269900, -0.00233200, -0.00192900, -0.00165500, -0.00131500, -0.00108900, -0.00080500, -0.00060300, -0.00033400, -0.00007600, 0.00000300, 0.00004600, 0.00005500, 0.00000000, 0.00017900, 0.00058500, 0.00081300, 0.00075600, 0.00069100, 0.00067000, 0.00080400, 0.00092500, 0.00115100, 0.00120200, 0.00111300, 0.00111200, 0.00097100],[ -0.00999800, -0.00856400, -0.00720400, -0.00642800, -0.00569100, -0.00515300, -0.00463100, -0.00431800, -0.00395700, -0.00356300, -0.00317800, -0.00278400, -0.00239700, -0.00197800, -0.00164300, -0.00135900, -0.00113000, -0.00083500, -0.00059000, -0.00042600, -0.00013700, 0.00000300, 0.00001200, 0.00005300, 0.00000000, 0.00005800, 0.00038300, 0.00063500, 0.00056000, 0.00051900, 0.00053800, 0.00068000, 0.00084800, 0.00106500, 0.00114700, 0.00110100, 0.00106100, 0.00090700],[ -0.00977900, -0.00837800, -0.00707900, -0.00631700, -0.00559500, -0.00501500, -0.00454700, -0.00419900, -0.00386300, -0.00347700, -0.00292400, -0.00245900, -0.00217500, -0.00190600, -0.00155800, -0.00129900, -0.00105600, -0.00083800, -0.00057500, -0.00034500, -0.00008500, 0.00000100, 0.00006000, 0.00002000, 0.00000000, 0.00014600, 0.00044900, 0.00054500, 0.00050100, 0.00044600, 0.00047700, 0.00058900, 0.00081100, 0.00106200, 0.00115100, 0.00109100, 0.00108400, 0.00091400],[ -0.00955400, -0.00819500, -0.00679100, -0.00596400, -0.00523700, -0.00484100, -0.00430600, -0.00396400, -0.00365100, -0.00327700, -0.00283300, -0.00247800, -0.00212000, -0.00175000, -0.00141300, -0.00112000, -0.00086100, -0.00056800, -0.00035800, -0.00020900, 0.00008800, 0.00016900, 0.00015000, 0.00015900, 0.00000000, 0.00002200, 0.00038100, 0.00059000, 0.00048700, 0.00047500, 0.00055300, 0.00073400, 0.00091300, 0.00113700, 0.00123400, 0.00119300, 0.00114400, 0.00101700],[ -0.00961600, -0.00808300, -0.00704300, -0.00639000, -0.00557100, -0.00474800, -0.00417900, -0.00399000, -0.00364600, -0.00327700, -0.00279500, -0.00237000, -0.00200700, -0.00160800, -0.00127500, -0.00100300, -0.00083300, -0.00063500, -0.00039100, -0.00022600, -0.00000500, 0.00005800, 0.00014300, 0.00013900, 0.00000000, 0.00006600, 0.00039000, 0.00053500, 0.00043000, 0.00037100, 0.00038100, 0.00048800, 0.00061800, 0.00085900, 0.00090100, 0.00082900, 0.00081800, 0.00070000],[ -0.00882300, -0.00773400, -0.00651700, -0.00581300, -0.00509700, -0.00453700, -0.00407500, -0.00358600, -0.00313900, -0.00270500, -0.00226500, -0.00188400, -0.00152300, -0.00115400, -0.00088800, -0.00063800, -0.00044800, -0.00010900, 0.00001100, 0.00019600, 0.00037100, 0.00033900, 0.00025100, 0.00017600, 0.00000000, 0.00003300, 0.00035000, 0.00052700, 0.00042700, 0.00033700, 0.00044600, 0.00060500, 0.00079900, 0.00106300, 0.00114600, 0.00106200, 0.00105700, 0.00092600],[ -0.00899500, -0.00758000, -0.00634800, -0.00562800, -0.00485900, -0.00425300, -0.00377200, -0.00341700, -0.00312700, -0.00276100, -0.00233400, -0.00197100, -0.00160200, -0.00120100, -0.00085700, -0.00056800, -0.00031100, -0.00009900, 0.00012100, 0.00017900, 0.00034400, 0.00032900, 0.00024500, 0.00015700, 0.00000000, 0.00004700, 0.00034900, 0.00055800, 0.00046900, 0.00042700, 0.00051700, 0.00066400, 0.00081500, 0.00102100, 0.00109000, 0.00105600, 0.00100100, 0.00092600],[ -0.00883200, -0.00739900, -0.00614400, -0.00544900, -0.00473200, -0.00418000, -0.00375700, -0.00351800, -0.00318100, -0.00276400, -0.00224900, -0.00180200, -0.00145100, -0.00105800, -0.00078600, -0.00061400, -0.00042800, -0.00022200, -0.00004400, 0.00010200, 0.00029300, 0.00023900, 0.00023200, 0.00014500, 0.00000000, 0.00002500, 0.00036600, 0.00049900, 0.00036800, 0.00027500, 0.00029100, 0.00042400, 0.00053700, 0.00076800, 0.00079400, 0.00077000, 0.00075500, 0.00065200],[ -0.00825300, -0.00710000, -0.00600300, -0.00533600, -0.00462200, -0.00405300, -0.00356400, -0.00315300, -0.00275100, -0.00236800, -0.00203500, -0.00168500, -0.00135500, -0.00100400, -0.00070100, -0.00041000, -0.00017100, 0.00017600, 0.00027600, 0.00043200, 0.00057500, 0.00057600, 0.00041800, 0.00027900, 0.00000000, -0.00009400, 0.00018500, 0.00029200, 0.00018400, 0.00012200, 0.00018800, 0.00025300, 0.00041800, 0.00059100, 0.00063200, 0.00053000, 0.00051300, 0.00044600],[ -0.00825000, -0.00692500, -0.00573600, -0.00500800, -0.00425600, -0.00370700, -0.00327000, -0.00298900, -0.00275200, -0.00241000, -0.00195600, -0.00156700, -0.00121100, -0.00080700, -0.00045400, -0.00015700, 0.00004700, 0.00019800, 0.00040900, 0.00036200, 0.00054300, 0.00048300, 0.00034000, 0.00023000, 0.00000000, 0.00004500, 0.00031000, 0.00047200, 0.00033100, 0.00026000, 0.00026200, 0.00036500, 0.00041700, 0.00052000, 0.00057100, 0.00046100, 0.00042700, 0.00036000],[ -0.00774100, -0.00673800, -0.00589200, -0.00524500, -0.00459900, -0.00391400, -0.00338300, -0.00303100, -0.00256100, -0.00209500, -0.00159400, -0.00118600, -0.00084500, -0.00048700, -0.00025000, -0.00013300, 0.00003500, 0.00016900, 0.00036200, 0.00056500, 0.00069900, 0.00055300, 0.00046900, 0.00030300, 0.00000000, -0.00011300, 0.00015900, 0.00024500, 0.00000100, -0.00016500, -0.00023900, -0.00022000, -0.00022500, -0.00004400, -0.00010800, -0.00020000, -0.00019000, -0.00028400],[ -0.00762000, -0.00652300, -0.00546900, -0.00482300, -0.00413100, -0.00357400, -0.00306500, -0.00266600, -0.00233100, -0.00201300, -0.00172400, -0.00139500, -0.00106700, -0.00073100, -0.00042200, -0.00008100, 0.00018500, 0.00057000, 0.00062200, 0.00067800, 0.00083200, 0.00074700, 0.00054100, 0.00034900, 0.00000000, -0.00007500, 0.00015900, 0.00031300, 0.00015800, 0.00006800, 0.00007500, 0.00004800, 0.00009900, 0.00016700, 0.00016100, -0.00000300, -0.00001200, -0.00009500],[ -0.00779600, -0.00654700, -0.00533100, -0.00467100, -0.00394200, -0.00341000, -0.00299500, -0.00280900, -0.00257100, -0.00222400, -0.00166400, -0.00127000, -0.00092400, -0.00047600, -0.00020900, 0.00005700, 0.00016600, 0.00016800, 0.00042600, 0.00039900, 0.00057600, 0.00049200, 0.00041700, 0.00024700, 0.00000000, 0.00000900, 0.00031200, 0.00042900, 0.00023700, 0.00013800, 0.00003100, 0.00004100, -0.00003000, -0.00006500, -0.00011400, -0.00022000, -0.00028400, -0.00030700],[ -0.00732900, -0.00622800, -0.00539800, -0.00477800, -0.00415000, -0.00356300, -0.00308500, -0.00275500, -0.00233800, -0.00183400, -0.00147800, -0.00109900, -0.00080300, -0.00055100, -0.00032900, -0.00023000, -0.00000500, 0.00031200, 0.00040000, 0.00067800, 0.00082100, 0.00074500, 0.00059100, 0.00037600, 0.00000000, -0.00012900, 0.00012600, 0.00021300, 0.00000600, -0.00021200, -0.00032500, -0.00039700, -0.00049000, -0.00036300, -0.00051600, -0.00066300, -0.00069500, -0.00078000],[ -0.00732500, -0.00629700, -0.00517100, -0.00449700, -0.00373400, -0.00319300, -0.00269700, -0.00244200, -0.00219000, -0.00194700, -0.00157400, -0.00129500, -0.00096800, -0.00058400, -0.00025100, 0.00015800, 0.00037700, 0.00064100, 0.00068200, 0.00062100, 0.00075900, 0.00069600, 0.00046100, 0.00032700, 0.00000000, -0.00004700, 0.00022900, 0.00039900, 0.00022000, 0.00018500, 0.00007400, -0.00000300, -0.00007800, -0.00022200, -0.00021600, -0.00046800, -0.00055700, -0.00058100],[ -0.00725700, -0.00602400, -0.00503300, -0.00439900, -0.00372300, -0.00313300, -0.00280300, -0.00267400, -0.00231900, -0.00200200, -0.00138600, -0.00099000, -0.00064900, -0.00022400, 0.00000700, 0.00017600, 0.00016300, 0.00006700, 0.00040600, 0.00045100, 0.00061900, 0.00046500, 0.00045000, 0.00026300, 0.00000000, -0.00000800, 0.00027400, 0.00037500, 0.00010200, -0.00014200, -0.00034400, -0.00042100, -0.00060800, -0.00064000, -0.00088400, -0.00096600, -0.00107400, -0.00110600],[ -0.00705300, -0.00581800, -0.00483600, -0.00431200, -0.00367700, -0.00316200, -0.00268700, -0.00231900, -0.00197600, -0.00157900, -0.00136200, -0.00110800, -0.00087800, -0.00061500, -0.00035100, -0.00018800, 0.00004800, 0.00053400, 0.00050800, 0.00077600, 0.00086100, 0.00084900, 0.00065300, 0.00038800, 0.00000000, -0.00020300, 0.00005000, 0.00015600, -0.00001900, -0.00021500, -0.00038700, -0.00051800, -0.00068600, -0.00060400, -0.00074100, -0.00100000, -0.00100400, -0.00112400],[ -0.00704700, -0.00585500, -0.00454900, -0.00392500, -0.00314100, -0.00262100, -0.00226100, -0.00214800, -0.00199700, -0.00185100, -0.00142400, -0.00107000, -0.00064900, -0.00024500, -0.00005200, 0.00041300, 0.00048400, 0.00061800, 0.00073900, 0.00054700, 0.00072400, 0.00060500, 0.00040400, 0.00029200, 0.00000000, -0.00003200, 0.00035000, 0.00053000, 0.00034900, 0.00023800, 0.00007700, -0.00006800, -0.00018000, -0.00045200, -0.00044700, -0.00077600, -0.00083400, -0.00085100],[ -0.00671300, -0.00537000, -0.00438800, -0.00390100, -0.00325100, -0.00273100, -0.00239200, -0.00227000, -0.00192500, -0.00140100, -0.00090100, -0.00057000, -0.00035700, -0.00010200, 0.00015500, 0.00011200, 0.00018000, 0.00017500, 0.00039600, 0.00063900, 0.00083300, 0.00065600, 0.00060600, 0.00033200, 0.00000000, -0.00003800, 0.00019400, 0.00026900, 0.00001200, -0.00025300, -0.00052800, -0.00065500, -0.00097500, -0.00094000, -0.00113500, -0.00127300, -0.00136300, -0.00147400],[ -0.00599900, -0.00506000, -0.00404000, -0.00345300, -0.00286000, -0.00233400, -0.00187200, -0.00151300, -0.00126700, -0.00107000, -0.00093900, -0.00075200, -0.00049800, -0.00017200, -0.00002700, 0.00028900, 0.00053800, 0.00100600, 0.00096900, 0.00103500, 0.00105200, 0.00105600, 0.00071700, 0.00048100, 0.00000000, -0.00015400, 0.00013700, 0.00031000, 0.00021600, 0.00001900, -0.00014800, -0.00040700, -0.00050500, -0.00044600, -0.00055300, -0.00079400, -0.00083600, -0.00090200],[ -0.00616700, -0.00503600, -0.00388600, -0.00334800, -0.00256200, -0.00204400, -0.00164200, -0.00170800, -0.00156800, -0.00138400, -0.00080100, -0.00051300, -0.00009200, 0.00036200, 0.00057000, 0.00077800, 0.00075900, 0.00074600, 0.00086200, 0.00063700, 0.00083400, 0.00058500, 0.00045700, 0.00031200, 0.00000000, 0.00008900, 0.00038800, 0.00055800, 0.00032600, 0.00012200, -0.00001900, -0.00022600, -0.00046900, -0.00066100, -0.00073300, -0.00095400, -0.00105000, -0.00097100],[ -0.00547900, -0.00426100, -0.00346100, -0.00304800, -0.00252600, -0.00202700, -0.00174400, -0.00149200, -0.00124700, -0.00077100, -0.00036200, -0.00012600, -0.00004600, 0.00012900, 0.00022200, 0.00018600, 0.00029600, 0.00046700, 0.00060300, 0.00091300, 0.00099300, 0.00088200, 0.00068400, 0.00040300, 0.00000000, -0.00009900, 0.00015200, 0.00019000, -0.00009200, -0.00030300, -0.00065800, -0.00076900, -0.00098000, -0.00080500, -0.00100400, -0.00106800, -0.00114700, -0.00126900],[ -0.00527400, -0.00418500, -0.00298300, -0.00237000, -0.00178500, -0.00141000, -0.00095500, -0.00080800, -0.00068600, -0.00067500, -0.00066000, -0.00045900, -0.00021600, 0.00013600, 0.00040200, 0.00075700, 0.00092200, 0.00130100, 0.00116700, 0.00102200, 0.00110200, 0.00094800, 0.00062600, 0.00033200, 0.00000000, -0.00020500, 0.00019700, 0.00047300, 0.00035500, 0.00023800, 0.00001200, -0.00017500, -0.00032700, -0.00025400, -0.00015600, -0.00054900, -0.00048500, -0.00051800],[ -0.00466600, -0.00361900, -0.00257900, -0.00220700, -0.00150100, -0.00106000, -0.00085200, -0.00090200, -0.00078100, -0.00050500, 0.00009400, 0.00049700, 0.00074200, 0.00112900, 0.00107000, 0.00118900, 0.00109700, 0.00088000, 0.00104400, 0.00088400, 0.00101900, 0.00069600, 0.00049900, 0.00035600, 0.00000000, 0.00020700, 0.00039700, 0.00057500, 0.00027900, 0.00010000, -0.00017300, -0.00037400, -0.00052800, -0.00059100, -0.00065200, -0.00076500, -0.00082300, -0.00082300],[ -0.00371300, -0.00266200, -0.00203300, -0.00165800, -0.00132000, -0.00080500, -0.00044200, -0.00023700, 0.00005800, 0.00031300, 0.00043500, 0.00049900, 0.00045300, 0.00054600, 0.00076200, 0.00074000, 0.00085700, 0.00116800, 0.00116700, 0.00147800, 0.00138200, 0.00117700, 0.00089600, 0.00045400, 0.00000000, -0.00016500, 0.00011500, 0.00018400, -0.00002200, -0.00028000, -0.00060600, -0.00086100, -0.00092400, -0.00059600, -0.00077400, -0.00082600, -0.00091200, -0.00095100],[ -0.00381700, -0.00289000, -0.00184000, -0.00128100, -0.00062200, -0.00024800, 0.00020700, 0.00014800, 0.00015900, 0.00011600, 0.00020400, 0.00042000, 0.00083100, 0.00118700, 0.00144500, 0.00172600, 0.00160400, 0.00182600, 0.00168400, 0.00120700, 0.00130200, 0.00105000, 0.00055800, 0.00039500, 0.00000000, -0.00001600, 0.00035100, 0.00064300, 0.00047100, 0.00033600, -0.00001500, -0.00026100, -0.00029800, -0.00028400, -0.00011900, -0.00049100, -0.00039300, -0.00032800],[ -0.00348000, -0.00241800, -0.00149200, -0.00133500, -0.00069500, -0.00011800, -0.00003400, -0.00024600, -0.00003000, 0.00024700, 0.00089200, 0.00117300, 0.00130800, 0.00133700, 0.00127400, 0.00120300, 0.00112600, 0.00085000, 0.00094900, 0.00116400, 0.00118200, 0.00068300, 0.00058300, 0.00021600, 0.00000000, 0.00005200, 0.00021800, 0.00025100, -0.00009100, -0.00029700, -0.00063900, -0.00081300, -0.00090300, -0.00078100, -0.00099300, -0.00095400, -0.00107600, -0.00103300],[ -0.00299100, -0.00217200, -0.00134100, -0.00098500, -0.00056400, -0.00012400, 0.00048000, 0.00083000, 0.00097600, 0.00113300, 0.00099700, 0.00103500, 0.00093600, 0.00111100, 0.00139400, 0.00153300, 0.00163200, 0.00209700, 0.00183800, 0.00181500, 0.00155600, 0.00147500, 0.00085100, 0.00049700, 0.00000000, -0.00034400, -0.00006200, 0.00015500, 0.00011700, -0.00012800, -0.00043900, -0.00066100, -0.00080300, -0.00039300, -0.00044200, -0.00056300, -0.00052400, -0.00059500],[ -0.00386000, -0.00260800, -0.00117500, -0.00076100, -0.00001100, 0.00029200, 0.00056600, 0.00030400, 0.00030800, 0.00016000, 0.00052200, 0.00087400, 0.00125500, 0.00170700, 0.00166500, 0.00185800, 0.00166600, 0.00145700, 0.00149100, 0.00100400, 0.00113100, 0.00067300, 0.00034400, 0.00032800, 0.00000000, 0.00017100, 0.00055000, 0.00073900, 0.00061300, 0.00053300, 0.00017700, 0.00002200, -0.00018800, -0.00006900, 0.00000900, -0.00028800, -0.00030900, -0.00014500],[ -0.00270300, -0.00170700, -0.00123700, -0.00106600, -0.00048700, 0.00021400, 0.00029000, 0.00024800, 0.00073800, 0.00112300, 0.00172600, 0.00177600, 0.00164400, 0.00174300, 0.00161200, 0.00153400, 0.00133900, 0.00132600, 0.00138700, 0.00163600, 0.00167200, 0.00110000, 0.00086400, 0.00038400, 0.00000000, -0.00010600, 0.00003400, -0.00009100, -0.00051600, -0.00083300, -0.00104000, -0.00133000, -0.00141700, -0.00135400, -0.00144400, -0.00147400, -0.00162700, -0.00166600]]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_taarray | [[ -0.12372700, -0.12827700, -0.12822200, -0.12468900, -0.11815000, -0.11273300, -0.10440200, -0.09735400, -0.09214700, -0.08930800, -0.08485100, -0.07841400, -0.07423000, -0.06723700, -0.06175800, -0.05414200, -0.04686900, -0.03784800, -0.03186100, -0.02754400, -0.02080900, -0.01662300, -0.01151600, -0.00257300, 0.00000000, 0.00389100, 0.00997700, 0.01842100, 0.02439200, 0.03187500, 0.04243000, 0.04802200, 0.05931000, 0.06695200, 0.07785200, 0.08651000, 0.09542200, 0.10223200],[ -0.10633300, -0.10811300, -0.10504300, -0.10115400, -0.09703400, -0.09312500, -0.08768100, -0.08269600, -0.07767100, -0.07500600, -0.07034800, -0.06601300, -0.06181600, -0.05549300, -0.05055600, -0.04391500, -0.03935200, -0.03603600, -0.02848900, -0.02505800, -0.01995400, -0.01664300, -0.00978900, -0.00437200, 0.00000000, 0.00360100, 0.00863700, 0.01471400, 0.01962000, 0.02679900, 0.03415100, 0.03923200, 0.04646500, 0.05353200, 0.06196800, 0.06882800, 0.07503500, 0.08065400],[ -0.07574900, -0.07646000, -0.07431000, -0.07218700, -0.06843900, -0.06530200, -0.06072300, -0.05771600, -0.05428800, -0.05241000, -0.04891100, -0.04652400, -0.04294600, -0.03848900, -0.03594900, -0.03183400, -0.02866700, -0.02486300, -0.02102900, -0.01791600, -0.01373400, -0.01123600, -0.00769700, -0.00283800, 0.00000000, 0.00224600, 0.00441700, 0.00970900, 0.01289100, 0.01795600, 0.02319400, 0.02639600, 0.03247600, 0.03732100, 0.04252900, 0.04669400, 0.05151300, 0.05362900],[ -0.04549500, -0.04539300, -0.04263000, -0.04066300, -0.03854200, -0.03653500, -0.03391900, -0.03208600, -0.03053300, -0.03006800, -0.02816000, -0.02670600, -0.02422400, -0.02187600, -0.01997800, -0.01700300, -0.01587900, -0.01350800, -0.01144400, -0.01084400, -0.00855500, -0.00701600, -0.00448700, -0.00150200, 0.00000000, 0.00140800, 0.00296300, 0.00566100, 0.00792700, 0.01165900, 0.01510300, 0.01692900, 0.02020100, 0.02271300, 0.02535400, 0.02782400, 0.02897500, 0.02986300],[ -0.02255300, -0.02183800, -0.01942800, -0.01770100, -0.01655700, -0.01568400, -0.01411600, -0.01368100, -0.01296300, -0.01327100, -0.01195700, -0.01147900, -0.01019800, -0.00899300, -0.00843600, -0.00753000, -0.00721200, -0.00661400, -0.00533200, -0.00524900, -0.00400400, -0.00350000, -0.00201100, -0.00070500, 0.00000000, 0.00097300, 0.00070600, 0.00192800, 0.00292800, 0.00517300, 0.00705700, 0.00810300, 0.00936100, 0.01001600, 0.01103000, 0.01163400, 0.01133000, 0.01060000],[ -0.00855400, -0.00805900, -0.00666100, -0.00528100, -0.00470200, -0.00412700, -0.00314800, -0.00267400, -0.00272600, -0.00329300, -0.00274500, -0.00268000, -0.00218900, -0.00190600, -0.00203100, -0.00159800, -0.00151800, -0.00134400, -0.00149700, -0.00192800, -0.00148600, -0.00159100, -0.00110900, -0.00007800, 0.00000000, -0.00047300, -0.00084300, -0.00056300, 0.00008100, 0.00138800, 0.00250900, 0.00249300, 0.00299200, 0.00308000, 0.00295800, 0.00280400, 0.00090300, -0.00085400],[ -0.00024400, -0.00048600, 0.00053900, 0.00182800, 0.00182700, 0.00240500, 0.00275900, 0.00302000, 0.00275400, 0.00196500, 0.00189900, 0.00219000, 0.00220400, 0.00218700, 0.00183300, 0.00205200, 0.00147500, 0.00129000, 0.00087100, -0.00044000, -0.00007400, -0.00024400, -0.00029500, 0.00018500, 0.00000000, -0.00040200, -0.00092800, -0.00124100, -0.00083800, 0.00003800, 0.00083700, 0.00040100, 0.00020800, -0.00007100, -0.00092100, -0.00194700, -0.00368600, -0.00573400],[ 0.00350000, 0.00318200, 0.00384700, 0.00465800, 0.00462700, 0.00482000, 0.00472700, 0.00459600, 0.00411100, 0.00355300, 0.00361200, 0.00367100, 0.00370200, 0.00362900, 0.00334400, 0.00280100, 0.00194400, 0.00146900, 0.00133700, 0.00036200, 0.00039900, 0.00001500, 0.00027700, 0.00011300, 0.00000000, -0.00028600, -0.00138700, -0.00190100, -0.00172600, -0.00080400, -0.00045400, -0.00080800, -0.00106100, -0.00162500, -0.00246800, -0.00350500, -0.00563000, -0.00764600],[ 0.00471700, 0.00452900, 0.00525500, 0.00581200, 0.00558100, 0.00570000, 0.00564200, 0.00540000, 0.00490800, 0.00440000, 0.00406200, 0.00382000, 0.00375200, 0.00363100, 0.00304000, 0.00300900, 0.00253400, 0.00216900, 0.00162900, 0.00061300, 0.00036300, 0.00018700, 0.00011800, 0.00038700, 0.00000000, -0.00073000, -0.00128600, -0.00168200, -0.00149100, -0.00095800, -0.00056600, -0.00099500, -0.00126800, -0.00166900, -0.00272200, -0.00367300, -0.00563700, -0.00749300],[ 0.00523600, 0.00521300, 0.00588400, 0.00659600, 0.00604100, 0.00624800, 0.00599300, 0.00572100, 0.00507100, 0.00436900, 0.00444700, 0.00426800, 0.00397200, 0.00401100, 0.00348500, 0.00325000, 0.00253700, 0.00204200, 0.00158800, 0.00051600, 0.00048700, 0.00009600, 0.00013600, 0.00024500, 0.00000000, -0.00042500, -0.00116200, -0.00166200, -0.00120000, -0.00096500, -0.00032000, -0.00082100, -0.00118500, -0.00146200, -0.00232800, -0.00328800, -0.00524500, -0.00694100],[ 0.00571500, 0.00556100, 0.00609800, 0.00657500, 0.00610100, 0.00621400, 0.00611100, 0.00567800, 0.00534800, 0.00467600, 0.00451500, 0.00430500, 0.00424600, 0.00396300, 0.00355900, 0.00331500, 0.00243300, 0.00214600, 0.00186800, 0.00107200, 0.00080000, 0.00045200, 0.00041400, 0.00050200, 0.00000000, -0.00041800, -0.00097500, -0.00138700, -0.00114900, -0.00066900, -0.00030200, -0.00063800, -0.00086100, -0.00107900, -0.00202600, -0.00266800, -0.00424800, -0.00597800],[ 0.00539500, 0.00517700, 0.00555300, 0.00590100, 0.00556600, 0.00579300, 0.00572900, 0.00541900, 0.00504500, 0.00454100, 0.00428900, 0.00411100, 0.00395100, 0.00367200, 0.00334700, 0.00311400, 0.00243100, 0.00211200, 0.00178500, 0.00091200, 0.00073100, 0.00040700, 0.00026600, 0.00034300, 0.00000000, -0.00052600, -0.00099100, -0.00132600, -0.00093300, -0.00053200, -0.00009900, -0.00026000, -0.00055600, -0.00083800, -0.00151000, -0.00219800, -0.00359200, -0.00497300],[ 0.00513500, 0.00532500, 0.00583600, 0.00608400, 0.00571200, 0.00580500, 0.00544200, 0.00500300, 0.00460000, 0.00411200, 0.00394300, 0.00369500, 0.00364500, 0.00337000, 0.00305600, 0.00278800, 0.00212900, 0.00177400, 0.00143400, 0.00067600, 0.00063600, 0.00023800, 0.00029600, 0.00012700, 0.00000000, -0.00033100, -0.00064200, -0.00109800, -0.00075800, -0.00021200, 0.00024500, 0.00011500, 0.00000200, -0.00022900, -0.00084600, -0.00148500, -0.00278800, -0.00403400],[ 0.00500300, 0.00508200, 0.00539400, 0.00547800, 0.00507700, 0.00534700, 0.00513600, 0.00487500, 0.00460300, 0.00404000, 0.00370200, 0.00356600, 0.00337800, 0.00321300, 0.00285000, 0.00251600, 0.00213300, 0.00186000, 0.00153200, 0.00083300, 0.00070400, 0.00041100, 0.00039700, 0.00033400, 0.00000000, -0.00035500, -0.00077600, -0.00094400, -0.00057100, -0.00002100, 0.00034000, 0.00026400, 0.00025600, 0.00010700, -0.00037800, -0.00089100, -0.00213400, -0.00331400],[ 0.00458400, 0.00472400, 0.00508600, 0.00518400, 0.00500500, 0.00497600, 0.00486300, 0.00457300, 0.00421600, 0.00372000, 0.00351900, 0.00326400, 0.00320000, 0.00303100, 0.00285000, 0.00260100, 0.00212300, 0.00171900, 0.00142400, 0.00075300, 0.00057100, 0.00029700, 0.00026100, 0.00029300, 0.00000000, -0.00033500, -0.00056200, -0.00078000, -0.00028100, 0.00023200, 0.00056400, 0.00056200, 0.00066900, 0.00067500, 0.00015300, -0.00029800, -0.00128200, -0.00245500],[ 0.00433100, 0.00453600, 0.00490600, 0.00492300, 0.00462000, 0.00469500, 0.00446000, 0.00410100, 0.00383300, 0.00334500, 0.00321800, 0.00307400, 0.00296200, 0.00271500, 0.00246400, 0.00226000, 0.00175800, 0.00149100, 0.00125600, 0.00070200, 0.00060400, 0.00033500, 0.00035700, 0.00028300, 0.00000000, -0.00019700, -0.00048600, -0.00063800, -0.00014400, 0.00037500, 0.00068300, 0.00076500, 0.00088700, 0.00090000, 0.00063100, 0.00009100, -0.00075600, -0.00174300],[ 0.00416900, 0.00427100, 0.00449600, 0.00446500, 0.00431400, 0.00427500, 0.00426800, 0.00394200, 0.00371600, 0.00335000, 0.00303700, 0.00283100, 0.00280000, 0.00255600, 0.00233300, 0.00210800, 0.00186300, 0.00145500, 0.00136900, 0.00077200, 0.00055800, 0.00038500, 0.00033900, 0.00033000, 0.00000000, -0.00016800, -0.00035000, -0.00049600, 0.00002800, 0.00063300, 0.00096400, 0.00108800, 0.00124300, 0.00135300, 0.00101200, 0.00067300, -0.00012500, -0.00112700],[ 0.00386400, 0.00398800, 0.00422100, 0.00409100, 0.00400200, 0.00407800, 0.00383900, 0.00362900, 0.00330800, 0.00295600, 0.00278600, 0.00266400, 0.00256200, 0.00251300, 0.00216400, 0.00197100, 0.00160700, 0.00130200, 0.00103700, 0.00052200, 0.00046600, 0.00021400, 0.00022100, 0.00025100, 0.00000000, -0.00014600, -0.00035000, -0.00036000, 0.00012600, 0.00074700, 0.00107500, 0.00121900, 0.00142900, 0.00154000, 0.00130200, 0.00100200, 0.00023700, -0.00055600],[ 0.00380900, 0.00397200, 0.00410100, 0.00399800, 0.00382800, 0.00381200, 0.00364700, 0.00349600, 0.00323600, 0.00289600, 0.00274200, 0.00257300, 0.00244700, 0.00225900, 0.00200400, 0.00178400, 0.00155600, 0.00121100, 0.00100300, 0.00066200, 0.00046700, 0.00028200, 0.00027900, 0.00023100, 0.00000000, -0.00021600, -0.00031100, -0.00035500, 0.00019500, 0.00064200, 0.00109000, 0.00125500, 0.00147500, 0.00162500, 0.00144500, 0.00113700, 0.00052300, -0.00025800],[ 0.00352700, 0.00384000, 0.00409400, 0.00401400, 0.00388100, 0.00377200, 0.00368800, 0.00336200, 0.00301600, 0.00268400, 0.00247800, 0.00230800, 0.00223100, 0.00204700, 0.00184700, 0.00166700, 0.00144500, 0.00126600, 0.00103600, 0.00051900, 0.00045300, 0.00029900, 0.00026900, 0.00018300, 0.00000000, -0.00015300, -0.00020900, -0.00012300, 0.00049200, 0.00097200, 0.00141000, 0.00166900, 0.00184800, 0.00200900, 0.00187800, 0.00162700, 0.00104300, 0.00029500],[ 0.00348100, 0.00363200, 0.00369700, 0.00356100, 0.00349000, 0.00350400, 0.00328300, 0.00305300, 0.00282100, 0.00256200, 0.00238800, 0.00225700, 0.00216400, 0.00203600, 0.00181100, 0.00156000, 0.00126900, 0.00107700, 0.00088000, 0.00053400, 0.00043700, 0.00023800, 0.00026600, 0.00023000, 0.00000000, -0.00009800, -0.00017700, -0.00014300, 0.00038300, 0.00088100, 0.00131500, 0.00154500, 0.00170100, 0.00183100, 0.00170800, 0.00148100, 0.00100100, 0.00033900],[ 0.00345500, 0.00355800, 0.00360500, 0.00342300, 0.00332900, 0.00328300, 0.00318400, 0.00299100, 0.00273200, 0.00251500, 0.00227500, 0.00206100, 0.00198100, 0.00175200, 0.00162000, 0.00145300, 0.00115400, 0.00104800, 0.00090300, 0.00055700, 0.00039900, 0.00030300, 0.00026500, 0.00021600, 0.00000000, -0.00011000, -0.00016400, -0.00006000, 0.00045400, 0.00092200, 0.00135800, 0.00156800, 0.00174300, 0.00191600, 0.00172500, 0.00160700, 0.00114800, 0.00054300],[ 0.00332300, 0.00337800, 0.00340600, 0.00325000, 0.00316800, 0.00316100, 0.00300700, 0.00278000, 0.00259700, 0.00226800, 0.00211300, 0.00199300, 0.00197000, 0.00182300, 0.00166100, 0.00147100, 0.00116100, 0.00108800, 0.00089100, 0.00048300, 0.00037100, 0.00019700, 0.00017500, 0.00017000, 0.00000000, -0.00011700, -0.00011300, 0.00000500, 0.00058500, 0.00098400, 0.00139000, 0.00156400, 0.00169100, 0.00185600, 0.00182200, 0.00158400, 0.00120600, 0.00074500],[ 0.00311500, 0.00332500, 0.00339600, 0.00321400, 0.00313400, 0.00303200, 0.00281200, 0.00258300, 0.00231900, 0.00204800, 0.00191200, 0.00171100, 0.00167700, 0.00150500, 0.00137300, 0.00122800, 0.00099200, 0.00080200, 0.00073700, 0.00048400, 0.00037300, 0.00021900, 0.00018900, 0.00022000, 0.00000000, -0.00006500, -0.00009000, 0.00000300, 0.00045100, 0.00092800, 0.00130000, 0.00151100, 0.00175500, 0.00187300, 0.00174400, 0.00161000, 0.00120000, 0.00073700],[ 0.00307300, 0.00306100, 0.00300500, 0.00280800, 0.00279100, 0.00278500, 0.00267700, 0.00251600, 0.00232900, 0.00211200, 0.00194200, 0.00177800, 0.00166300, 0.00156100, 0.00141700, 0.00131300, 0.00111600, 0.00094600, 0.00087800, 0.00057400, 0.00040400, 0.00025200, 0.00021700, 0.00014600, 0.00000000, -0.00012700, -0.00010400, 0.00001000, 0.00050000, 0.00094700, 0.00127700, 0.00144400, 0.00159600, 0.00174000, 0.00160500, 0.00147500, 0.00117500, 0.00074800],[ 0.00283700, 0.00292800, 0.00290300, 0.00269100, 0.00269500, 0.00265800, 0.00249400, 0.00227000, 0.00209900, 0.00185500, 0.00170500, 0.00161400, 0.00157100, 0.00143400, 0.00128900, 0.00119600, 0.00094300, 0.00075400, 0.00068000, 0.00041900, 0.00028700, 0.00017200, 0.00013400, 0.00014300, 0.00000000, -0.00011300, -0.00007100, 0.00006200, 0.00046700, 0.00084800, 0.00117500, 0.00131800, 0.00145500, 0.00151700, 0.00146100, 0.00131800, 0.00100800, 0.00062900],[ 0.00286000, 0.00289500, 0.00279800, 0.00259400, 0.00257600, 0.00250700, 0.00237100, 0.00219400, 0.00205800, 0.00186300, 0.00172100, 0.00160600, 0.00148100, 0.00130700, 0.00117500, 0.00104800, 0.00087500, 0.00079700, 0.00068300, 0.00051100, 0.00041300, 0.00023400, 0.00022500, 0.00014200, 0.00000000, -0.00011500, -0.00013700, -0.00004800, 0.00034500, 0.00067400, 0.00102500, 0.00111600, 0.00124800, 0.00129700, 0.00119700, 0.00107900, 0.00080200, 0.00047100],[ 0.00272000, 0.00280300, 0.00282100, 0.00262300, 0.00260500, 0.00251900, 0.00234900, 0.00225200, 0.00199100, 0.00175400, 0.00158000, 0.00150300, 0.00140900, 0.00131900, 0.00121100, 0.00111200, 0.00092100, 0.00084300, 0.00079400, 0.00050000, 0.00038500, 0.00026800, 0.00022100, 0.00016500, 0.00000000, -0.00010000, -0.00006000, 0.00004000, 0.00045600, 0.00076200, 0.00103300, 0.00115500, 0.00121100, 0.00127400, 0.00117400, 0.00105000, 0.00084600, 0.00048200],[ 0.00264100, 0.00268900, 0.00257500, 0.00236300, 0.00239500, 0.00233300, 0.00221400, 0.00202800, 0.00183000, 0.00163200, 0.00151900, 0.00138900, 0.00136600, 0.00122300, 0.00105500, 0.00094700, 0.00079500, 0.00067100, 0.00057700, 0.00039800, 0.00032700, 0.00018400, 0.00014400, 0.00015700, 0.00000000, -0.00009500, -0.00008800, -0.00008200, 0.00026700, 0.00057100, 0.00080900, 0.00089600, 0.00084900, 0.00089400, 0.00085400, 0.00075700, 0.00052200, 0.00022700],[ 0.00287300, 0.00281400, 0.00277200, 0.00253400, 0.00253500, 0.00240200, 0.00227200, 0.00214200, 0.00197700, 0.00181900, 0.00162500, 0.00147600, 0.00142600, 0.00126500, 0.00116600, 0.00104300, 0.00094800, 0.00082200, 0.00075300, 0.00054500, 0.00041100, 0.00025900, 0.00020000, 0.00014800, 0.00000000, -0.00017200, -0.00013900, -0.00013300, 0.00019800, 0.00051300, 0.00069600, 0.00080600, 0.00084700, 0.00081900, 0.00074800, 0.00064400, 0.00043100, 0.00014900],[ 0.00282400, 0.00278000, 0.00271900, 0.00253400, 0.00252800, 0.00241800, 0.00230800, 0.00214800, 0.00193500, 0.00173100, 0.00156300, 0.00145900, 0.00140100, 0.00128300, 0.00120700, 0.00107600, 0.00089600, 0.00085900, 0.00074900, 0.00051600, 0.00036300, 0.00022900, 0.00018500, 0.00016400, 0.00000000, -0.00014600, -0.00012300, -0.00007000, 0.00024200, 0.00045900, 0.00060500, 0.00067700, 0.00062900, 0.00065800, 0.00057400, 0.00048600, 0.00032500, 0.00008500],[ 0.00303000, 0.00293800, 0.00277000, 0.00256100, 0.00257300, 0.00247300, 0.00229900, 0.00213300, 0.00197500, 0.00181500, 0.00166600, 0.00149700, 0.00142900, 0.00130600, 0.00116200, 0.00104400, 0.00087000, 0.00078900, 0.00072600, 0.00058200, 0.00046700, 0.00029600, 0.00021500, 0.00019300, 0.00000000, -0.00009700, -0.00011200, -0.00010500, 0.00010700, 0.00032300, 0.00049100, 0.00053400, 0.00051800, 0.00047300, 0.00043600, 0.00032100, 0.00018300, -0.00006100],[ 0.00313300, 0.00300600, 0.00287700, 0.00264400, 0.00262500, 0.00252400, 0.00240100, 0.00224000, 0.00207700, 0.00188000, 0.00173900, 0.00155700, 0.00145900, 0.00133000, 0.00125500, 0.00109000, 0.00097600, 0.00089200, 0.00084800, 0.00065300, 0.00048600, 0.00034400, 0.00025400, 0.00018500, 0.00000000, -0.00011300, -0.00014400, -0.00012900, 0.00010800, 0.00030900, 0.00045700, 0.00044200, 0.00044700, 0.00044800, 0.00033200, 0.00026100, 0.00010700, -0.00011000],[ 0.00310500, 0.00298400, 0.00290000, 0.00269200, 0.00265000, 0.00251800, 0.00237400, 0.00217800, 0.00198500, 0.00180500, 0.00165800, 0.00150800, 0.00144400, 0.00131800, 0.00118600, 0.00105100, 0.00094000, 0.00079800, 0.00074600, 0.00057000, 0.00044000, 0.00026600, 0.00018000, 0.00016500, 0.00000000, -0.00013500, -0.00013800, -0.00014700, 0.00005100, 0.00018700, 0.00029700, 0.00032300, 0.00024700, 0.00028000, 0.00018500, 0.00011600, 0.00000400, -0.00018500],[ 0.00327600, 0.00322500, 0.00314400, 0.00292400, 0.00282500, 0.00268500, 0.00242700, 0.00222100, 0.00203900, 0.00185000, 0.00165300, 0.00148700, 0.00139400, 0.00123800, 0.00113200, 0.00098900, 0.00087900, 0.00080300, 0.00071200, 0.00060600, 0.00045400, 0.00028800, 0.00021500, 0.00017100, 0.00000000, -0.00008500, -0.00013200, -0.00013100, 0.00000900, 0.00016200, 0.00031400, 0.00029400, 0.00028700, 0.00027900, 0.00021100, 0.00013500, 0.00001400, -0.00015000],[ 0.00343800, 0.00319300, 0.00295400, 0.00275900, 0.00267800, 0.00262400, 0.00248600, 0.00235000, 0.00215100, 0.00193300, 0.00177200, 0.00161300, 0.00149600, 0.00134500, 0.00126000, 0.00113600, 0.00102100, 0.00093500, 0.00082700, 0.00065600, 0.00049100, 0.00033000, 0.00024800, 0.00017800, 0.00000000, -0.00016400, -0.00020200, -0.00022300, -0.00003100, 0.00007700, 0.00017600, 0.00018600, 0.00012000, 0.00010700, 0.00000100, -0.00006300, -0.00014600, -0.00030200],[ 0.00357200, 0.00329200, 0.00314000, 0.00291800, 0.00280800, 0.00268000, 0.00247200, 0.00230000, 0.00211000, 0.00196600, 0.00179000, 0.00167600, 0.00156100, 0.00140600, 0.00125300, 0.00113500, 0.00098600, 0.00087800, 0.00077700, 0.00063200, 0.00048700, 0.00030400, 0.00023000, 0.00018500, 0.00000000, -0.00015400, -0.00017000, -0.00017900, -0.00002500, 0.00009000, 0.00017200, 0.00015800, 0.00008900, 0.00012000, 0.00006100, 0.00000600, -0.00007400, -0.00021200],[ 0.00365700, 0.00333200, 0.00307700, 0.00286600, 0.00273500, 0.00265500, 0.00248200, 0.00233800, 0.00215000, 0.00196800, 0.00178900, 0.00163600, 0.00149300, 0.00131700, 0.00119200, 0.00107600, 0.00095400, 0.00088900, 0.00081500, 0.00067200, 0.00048800, 0.00033400, 0.00023800, 0.00014800, 0.00000000, -0.00016800, -0.00021200, -0.00024900, -0.00009400, 0.00002100, 0.00012600, 0.00011000, 0.00010400, 0.00006700, 0.00003800, -0.00001400, -0.00007200, -0.00019600],[ 0.00357400, 0.00332200, 0.00311100, 0.00290200, 0.00278700, 0.00269700, 0.00252600, 0.00237600, 0.00218500, 0.00194300, 0.00175500, 0.00162700, 0.00150800, 0.00136900, 0.00128600, 0.00116900, 0.00104000, 0.00091500, 0.00086700, 0.00068500, 0.00050600, 0.00034500, 0.00025300, 0.00017100, 0.00000000, -0.00014100, -0.00016400, -0.00017800, 0.00000100, 0.00013200, 0.00019200, 0.00020400, 0.00017800, 0.00019500, 0.00012300, 0.00011200, 0.00004600, -0.00006700],[ 0.00348800, 0.00327000, 0.00313500, 0.00292600, 0.00279100, 0.00260000, 0.00240200, 0.00217800, 0.00199900, 0.00179800, 0.00162500, 0.00149700, 0.00138800, 0.00123700, 0.00105500, 0.00095400, 0.00081800, 0.00073600, 0.00068400, 0.00053800, 0.00044600, 0.00027500, 0.00021800, 0.00017400, 0.00000000, -0.00014800, -0.00018700, -0.00020100, -0.00006200, 0.00006100, 0.00016400, 0.00018400, 0.00014600, 0.00018900, 0.00016400, 0.00010200, 0.00007200, -0.00004500],[ 0.00344400, 0.00314100, 0.00287800, 0.00278900, 0.00261100, 0.00246600, 0.00227300, 0.00209900, 0.00192600, 0.00175100, 0.00159900, 0.00143100, 0.00135100, 0.00120000, 0.00108000, 0.00094000, 0.00083600, 0.00076800, 0.00070500, 0.00060700, 0.00049100, 0.00035300, 0.00027300, 0.00020800, 0.00000000, -0.00017400, -0.00025300, -0.00030400, -0.00019600, -0.00012200, -0.00007300, -0.00008500, -0.00011800, -0.00009100, -0.00009900, -0.00013400, -0.00014800, -0.00021700],[ 0.00333100, 0.00306400, 0.00294000, 0.00285600, 0.00264000, 0.00245200, 0.00223200, 0.00207900, 0.00190600, 0.00171200, 0.00151600, 0.00135300, 0.00124200, 0.00109200, 0.00101800, 0.00091900, 0.00084000, 0.00079300, 0.00073100, 0.00059400, 0.00046300, 0.00036800, 0.00026700, 0.00020200, 0.00000000, -0.00018000, -0.00021400, -0.00023400, -0.00010200, 0.00002000, 0.00008600, 0.00009500, 0.00005900, 0.00011400, 0.00009500, 0.00010600, 0.00008800, 0.00002800],[ 0.00321500, 0.00297600, 0.00277200, 0.00264000, 0.00248700, 0.00237500, 0.00221600, 0.00202500, 0.00183600, 0.00166000, 0.00148200, 0.00135700, 0.00126900, 0.00111300, 0.00104400, 0.00095000, 0.00081600, 0.00075200, 0.00069800, 0.00056000, 0.00046000, 0.00035700, 0.00024800, 0.00019700, 0.00000000, -0.00014600, -0.00020700, -0.00025300, -0.00013800, -0.00005800, -0.00000700, 0.00001400, -0.00001200, 0.00003900, 0.00002100, 0.00000600, 0.00003800, -0.00001300],[ 0.00332500, 0.00297600, 0.00275400, 0.00261500, 0.00244400, 0.00230800, 0.00213800, 0.00202800, 0.00190100, 0.00176000, 0.00156300, 0.00144700, 0.00132800, 0.00117100, 0.00104500, 0.00093800, 0.00085700, 0.00080300, 0.00075800, 0.00064800, 0.00055200, 0.00042900, 0.00031300, 0.00021300, 0.00000000, -0.00018700, -0.00023300, -0.00029000, -0.00017200, -0.00007300, -0.00001000, 0.00000100, -0.00001000, 0.00004300, 0.00004700, 0.00006800, 0.00007900, 0.00003400],[ 0.00310800, 0.00286400, 0.00267200, 0.00257400, 0.00241200, 0.00228700, 0.00210500, 0.00198500, 0.00180300, 0.00161000, 0.00143100, 0.00128000, 0.00119800, 0.00107500, 0.00099500, 0.00091000, 0.00085000, 0.00078200, 0.00075400, 0.00063600, 0.00049200, 0.00039100, 0.00028900, 0.00021500, 0.00000000, -0.00014500, -0.00019400, -0.00024800, -0.00014700, -0.00003700, 0.00000800, 0.00003600, 0.00002300, 0.00005500, 0.00008400, 0.00008500, 0.00012500, 0.00010000],[ 0.00312400, 0.00281500, 0.00264100, 0.00249000, 0.00235300, 0.00221200, 0.00205300, 0.00188900, 0.00175500, 0.00162100, 0.00147300, 0.00137300, 0.00124000, 0.00114700, 0.00102700, 0.00093000, 0.00079900, 0.00074100, 0.00066400, 0.00060700, 0.00048700, 0.00036300, 0.00026100, 0.00020100, 0.00000000, -0.00016200, -0.00022000, -0.00026900, -0.00017900, -0.00014800, -0.00008700, -0.00009200, -0.00010900, -0.00005300, -0.00004100, 0.00000200, 0.00002100, -0.00000100],[ 0.00312100, 0.00277400, 0.00248100, 0.00236500, 0.00223100, 0.00213100, 0.00200800, 0.00193100, 0.00178600, 0.00166400, 0.00150200, 0.00135800, 0.00123900, 0.00113500, 0.00102900, 0.00090800, 0.00084300, 0.00081900, 0.00077400, 0.00068900, 0.00055600, 0.00043100, 0.00032800, 0.00021700, 0.00000000, -0.00018100, -0.00025700, -0.00033700, -0.00025400, -0.00020100, -0.00016300, -0.00016800, -0.00016200, -0.00012200, -0.00007900, -0.00007100, -0.00004300, -0.00006000],[ 0.00297500, 0.00270900, 0.00250500, 0.00239400, 0.00226900, 0.00215400, 0.00201200, 0.00188400, 0.00174300, 0.00160300, 0.00141500, 0.00130100, 0.00121400, 0.00110100, 0.00102500, 0.00094300, 0.00088000, 0.00079400, 0.00076900, 0.00064400, 0.00053100, 0.00039400, 0.00026100, 0.00019900, 0.00000000, -0.00016700, -0.00021500, -0.00027000, -0.00019000, -0.00016100, -0.00008200, -0.00009000, -0.00009100, -0.00004400, -0.00002000, -0.00001700, 0.00002800, 0.00003200],[ 0.00282600, 0.00271100, 0.00244600, 0.00233400, 0.00220500, 0.00210700, 0.00195900, 0.00181400, 0.00170300, 0.00151900, 0.00135400, 0.00120600, 0.00115400, 0.00102400, 0.00096000, 0.00087500, 0.00082200, 0.00077900, 0.00073800, 0.00066400, 0.00054800, 0.00037600, 0.00031300, 0.00021000, 0.00000000, -0.00015900, -0.00021100, -0.00029100, -0.00023500, -0.00021000, -0.00015200, -0.00014300, -0.00017900, -0.00009900, -0.00008200, -0.00004600, -0.00001300, -0.00001000],[ 0.00278100, 0.00263000, 0.00243100, 0.00227900, 0.00216700, 0.00209300, 0.00196000, 0.00182900, 0.00157600, 0.00144300, 0.00128100, 0.00111900, 0.00105900, 0.00093500, 0.00084500, 0.00076400, 0.00069000, 0.00067000, 0.00065000, 0.00062900, 0.00058100, 0.00043900, 0.00031100, 0.00022600, 0.00000000, -0.00020200, -0.00024500, -0.00030000, -0.00021700, -0.00021100, -0.00015500, -0.00011700, -0.00009800, -0.00003400, 0.00002000, 0.00005700, 0.00010500, 0.00011500],[ 0.00270800, 0.00259400, 0.00242700, 0.00228400, 0.00218000, 0.00210100, 0.00195500, 0.00175400, 0.00152400, 0.00139500, 0.00126300, 0.00115800, 0.00107700, 0.00100100, 0.00086100, 0.00079000, 0.00066700, 0.00060500, 0.00059300, 0.00052600, 0.00050800, 0.00036800, 0.00025500, 0.00019500, 0.00000000, -0.00017200, -0.00017600, -0.00023300, -0.00013800, -0.00013300, -0.00007000, -0.00002300, -0.00000300, 0.00006000, 0.00010300, 0.00014000, 0.00021700, 0.00024200],[ 0.00275400, 0.00267600, 0.00245100, 0.00226400, 0.00216000, 0.00209400, 0.00192000, 0.00183600, 0.00166700, 0.00148100, 0.00130000, 0.00116000, 0.00106400, 0.00097400, 0.00090200, 0.00083100, 0.00078900, 0.00081600, 0.00080900, 0.00071200, 0.00056400, 0.00040000, 0.00028600, 0.00021700, 0.00000000, -0.00019100, -0.00020400, -0.00023700, -0.00013500, -0.00010700, -0.00003800, -0.00000400, 0.00004000, 0.00013400, 0.00017500, 0.00021600, 0.00028300, 0.00029600],[ 0.00277500, 0.00257400, 0.00239100, 0.00219200, 0.00210400, 0.00201800, 0.00188900, 0.00180500, 0.00164500, 0.00151600, 0.00137200, 0.00122800, 0.00115700, 0.00103600, 0.00096900, 0.00086800, 0.00079600, 0.00074400, 0.00075400, 0.00064600, 0.00049800, 0.00036900, 0.00022500, 0.00018400, 0.00000000, -0.00018400, -0.00022200, -0.00025100, -0.00014300, -0.00006500, 0.00001400, 0.00006600, 0.00015000, 0.00026400, 0.00034000, 0.00039500, 0.00046900, 0.00049300],[ 0.00280000, 0.00259600, 0.00238100, 0.00218500, 0.00208500, 0.00201400, 0.00185400, 0.00173200, 0.00160800, 0.00147000, 0.00132100, 0.00122500, 0.00112600, 0.00101900, 0.00094900, 0.00085800, 0.00078200, 0.00074000, 0.00069400, 0.00060300, 0.00050100, 0.00034100, 0.00024700, 0.00017400, 0.00000000, -0.00013500, -0.00013400, -0.00011900, -0.00001600, -0.00002400, 0.00010900, 0.00015500, 0.00024300, 0.00035700, 0.00046700, 0.00051100, 0.00059600, 0.00062100],[ 0.00276500, 0.00254000, 0.00234000, 0.00213400, 0.00202100, 0.00190700, 0.00177700, 0.00167800, 0.00156500, 0.00145000, 0.00128900, 0.00116500, 0.00108400, 0.00094100, 0.00086600, 0.00079300, 0.00072700, 0.00070000, 0.00068100, 0.00062400, 0.00049000, 0.00035700, 0.00023700, 0.00016800, 0.00000000, -0.00017600, -0.00017800, -0.00016400, -0.00005800, 0.00003200, 0.00016100, 0.00028300, 0.00037400, 0.00053300, 0.00066200, 0.00072400, 0.00081000, 0.00083900],[ 0.00255300, 0.00236800, 0.00216600, 0.00197000, 0.00190100, 0.00182600, 0.00167500, 0.00156100, 0.00142200, 0.00127700, 0.00111700, 0.00100400, 0.00095300, 0.00085300, 0.00080300, 0.00071800, 0.00068100, 0.00061000, 0.00061200, 0.00051000, 0.00038700, 0.00028400, 0.00016600, 0.00014900, 0.00000000, -0.00015500, -0.00010100, -0.00006500, 0.00008500, 0.00018700, 0.00031400, 0.00045200, 0.00055800, 0.00071700, 0.00084300, 0.00092700, 0.00103100, 0.00107200],[ 0.00250700, 0.00229900, 0.00204200, 0.00182800, 0.00175800, 0.00168000, 0.00153100, 0.00142500, 0.00132800, 0.00122500, 0.00107300, 0.00095700, 0.00090700, 0.00081700, 0.00073100, 0.00065300, 0.00057300, 0.00055500, 0.00054900, 0.00050000, 0.00040700, 0.00026600, 0.00016400, 0.00015900, 0.00000000, -0.00011000, -0.00007100, -0.00003000, 0.00013500, 0.00020000, 0.00035400, 0.00047800, 0.00061000, 0.00080500, 0.00093500, 0.00103300, 0.00113500, 0.00114700],[ 0.00228400, 0.00211100, 0.00197700, 0.00176500, 0.00169000, 0.00156500, 0.00141500, 0.00129900, 0.00116700, 0.00106400, 0.00090700, 0.00079100, 0.00072200, 0.00063300, 0.00056800, 0.00050000, 0.00047600, 0.00047200, 0.00046100, 0.00041500, 0.00031900, 0.00022700, 0.00014600, 0.00013700, 0.00000000, -0.00011400, -0.00005600, 0.00002100, 0.00020800, 0.00033700, 0.00051000, 0.00064400, 0.00080100, 0.00101200, 0.00115600, 0.00124300, 0.00136600, 0.00137300],[ 0.00211400, 0.00189200, 0.00170300, 0.00149400, 0.00144500, 0.00138200, 0.00125100, 0.00113800, 0.00106400, 0.00092800, 0.00079100, 0.00069600, 0.00067800, 0.00059300, 0.00053700, 0.00047900, 0.00042800, 0.00042200, 0.00043200, 0.00036200, 0.00027000, 0.00014800, 0.00011100, 0.00010500, 0.00000000, -0.00009900, -0.00003200, 0.00004700, 0.00025800, 0.00036900, 0.00052000, 0.00066100, 0.00081000, 0.00100100, 0.00113700, 0.00121200, 0.00134900, 0.00138300],[ 0.00191200, 0.00176600, 0.00165400, 0.00145200, 0.00136200, 0.00126500, 0.00108000, 0.00096800, 0.00088800, 0.00078800, 0.00064200, 0.00054600, 0.00051200, 0.00043600, 0.00035700, 0.00029000, 0.00028300, 0.00030100, 0.00031400, 0.00029900, 0.00022500, 0.00012100, 0.00010000, 0.00011600, 0.00000000, -0.00009800, -0.00001700, 0.00006300, 0.00025500, 0.00039100, 0.00055000, 0.00070500, 0.00084100, 0.00106100, 0.00117500, 0.00126600, 0.00137300, 0.00141200],[ 0.00171400, 0.00159400, 0.00154000, 0.00134900, 0.00129700, 0.00118700, 0.00101000, 0.00091100, 0.00079400, 0.00069600, 0.00054700, 0.00045100, 0.00040300, 0.00035400, 0.00033800, 0.00028900, 0.00025000, 0.00027000, 0.00029700, 0.00026400, 0.00019200, 0.00010400, 0.00006300, 0.00009100, 0.00000000, -0.00008400, 0.00001300, 0.00011000, 0.00033300, 0.00044800, 0.00062500, 0.00073600, 0.00088100, 0.00104800, 0.00117300, 0.00125600, 0.00135400, 0.00141600],[ 0.00162900, 0.00153500, 0.00142500, 0.00125000, 0.00119300, 0.00111200, 0.00098100, 0.00089300, 0.00074000, 0.00065900, 0.00052300, 0.00046300, 0.00041600, 0.00035100, 0.00031600, 0.00025800, 0.00021400, 0.00023400, 0.00026700, 0.00024700, 0.00017900, 0.00011100, 0.00009300, 0.00011600, 0.00000000, -0.00006600, 0.00000600, 0.00009400, 0.00029100, 0.00040100, 0.00054600, 0.00066600, 0.00075300, 0.00090300, 0.00100100, 0.00105900, 0.00116900, 0.00121900],[ 0.00173100, 0.00158800, 0.00150200, 0.00130800, 0.00123100, 0.00115900, 0.00103000, 0.00092600, 0.00082000, 0.00074200, 0.00059500, 0.00052800, 0.00046900, 0.00039400, 0.00034000, 0.00027000, 0.00026100, 0.00028100, 0.00030800, 0.00028600, 0.00024300, 0.00015500, 0.00010000, 0.00012000, 0.00000000, -0.00007600, 0.00000700, 0.00008000, 0.00024400, 0.00033600, 0.00048300, 0.00059500, 0.00066600, 0.00081000, 0.00087300, 0.00094300, 0.00105600, 0.00106900],[ 0.00171600, 0.00161000, 0.00153200, 0.00136400, 0.00131800, 0.00123300, 0.00107300, 0.00095100, 0.00084300, 0.00074000, 0.00061100, 0.00051900, 0.00049800, 0.00043300, 0.00037400, 0.00031400, 0.00027900, 0.00029900, 0.00032300, 0.00028500, 0.00019400, 0.00012400, 0.00008200, 0.00011100, 0.00000000, -0.00007800, 0.00000900, 0.00007100, 0.00023500, 0.00033600, 0.00043300, 0.00050600, 0.00052500, 0.00061300, 0.00068600, 0.00074000, 0.00080700, 0.00086600],[ 0.00190600, 0.00173500, 0.00164100, 0.00148900, 0.00140800, 0.00131000, 0.00116800, 0.00102300, 0.00091300, 0.00082700, 0.00070500, 0.00060600, 0.00057300, 0.00049600, 0.00040700, 0.00032600, 0.00027400, 0.00027200, 0.00031600, 0.00027900, 0.00023000, 0.00012000, 0.00008300, 0.00011600, 0.00000000, -0.00008300, -0.00005200, 0.00003500, 0.00013100, 0.00017200, 0.00028600, 0.00031700, 0.00031900, 0.00038900, 0.00043300, 0.00046900, 0.00053600, 0.00059200],[ 0.00221800, 0.00201100, 0.00181000, 0.00162800, 0.00156800, 0.00152000, 0.00143500, 0.00134300, 0.00125200, 0.00112800, 0.00099600, 0.00089100, 0.00081500, 0.00072800, 0.00067400, 0.00060000, 0.00053800, 0.00054200, 0.00054600, 0.00048500, 0.00039500, 0.00023900, 0.00017100, 0.00014400, 0.00000000, -0.00012800, -0.00010500, -0.00007900, 0.00001900, 0.00004700, 0.00011200, 0.00011300, 0.00011500, 0.00015300, 0.00017800, 0.00020000, 0.00025600, 0.00032000],[ 0.00236200, 0.00210500, 0.00193400, 0.00175100, 0.00168700, 0.00166100, 0.00148100, 0.00138900, 0.00126400, 0.00117300, 0.00102100, 0.00095800, 0.00088200, 0.00078200, 0.00068200, 0.00058100, 0.00050300, 0.00050100, 0.00050800, 0.00043200, 0.00034500, 0.00020200, 0.00012400, 0.00012700, 0.00000000, -0.00015100, -0.00012500, -0.00011200, -0.00004400, -0.00003900, -0.00003600, -0.00004300, -0.00011900, -0.00007600, -0.00009600, -0.00009200, -0.00003700, 0.00001100],[ 0.00247000, 0.00224100, 0.00207800, 0.00190700, 0.00184200, 0.00178400, 0.00161800, 0.00150200, 0.00137900, 0.00128100, 0.00111900, 0.00103600, 0.00094800, 0.00081700, 0.00072300, 0.00062600, 0.00055600, 0.00055400, 0.00055800, 0.00049500, 0.00040400, 0.00026000, 0.00015300, 0.00013100, 0.00000000, -0.00015200, -0.00017200, -0.00016000, -0.00011400, -0.00015900, -0.00011500, -0.00017800, -0.00026500, -0.00024100, -0.00026100, -0.00026500, -0.00023600, -0.00019400],[ 0.00252700, 0.00235400, 0.00226200, 0.00210200, 0.00201900, 0.00192000, 0.00175900, 0.00164900, 0.00149800, 0.00138500, 0.00120300, 0.00111100, 0.00100500, 0.00091400, 0.00081500, 0.00072400, 0.00062500, 0.00058500, 0.00062700, 0.00054500, 0.00044700, 0.00027100, 0.00018300, 0.00015100, 0.00000000, -0.00016600, -0.00015200, -0.00019000, -0.00015000, -0.00015900, -0.00024800, -0.00028700, -0.00039100, -0.00036000, -0.00043000, -0.00042700, -0.00039600, -0.00036300],[ 0.00263900, 0.00248300, 0.00243800, 0.00228700, 0.00215900, 0.00206100, 0.00185100, 0.00172000, 0.00156800, 0.00146300, 0.00123800, 0.00113100, 0.00110700, 0.00096000, 0.00088000, 0.00074000, 0.00064100, 0.00059200, 0.00060900, 0.00054300, 0.00043100, 0.00023900, 0.00015100, 0.00015100, 0.00000000, -0.00014700, -0.00014600, -0.00022800, -0.00021000, -0.00025100, -0.00032700, -0.00038300, -0.00050700, -0.00053400, -0.00062000, -0.00058700, -0.00056600, -0.00049600],[ 0.00294200, 0.00268900, 0.00261400, 0.00243700, 0.00231700, 0.00220200, 0.00201200, 0.00187900, 0.00173000, 0.00161200, 0.00140000, 0.00131700, 0.00120900, 0.00103800, 0.00092600, 0.00079000, 0.00072500, 0.00070900, 0.00072500, 0.00064700, 0.00053000, 0.00033200, 0.00023500, 0.00019700, 0.00000000, -0.00014500, -0.00021200, -0.00026600, -0.00028100, -0.00035100, -0.00040900, -0.00051100, -0.00066100, -0.00066600, -0.00073000, -0.00071700, -0.00073100, -0.00065800],[ 0.00292700, 0.00274600, 0.00265200, 0.00250200, 0.00234800, 0.00227300, 0.00209900, 0.00195600, 0.00179200, 0.00167500, 0.00143000, 0.00131400, 0.00126900, 0.00112100, 0.00102500, 0.00086700, 0.00075800, 0.00074400, 0.00078700, 0.00067700, 0.00056000, 0.00035800, 0.00025000, 0.00018000, 0.00000000, -0.00017000, -0.00020700, -0.00028500, -0.00030900, -0.00041900, -0.00048100, -0.00056400, -0.00071400, -0.00079200, -0.00080100, -0.00084400, -0.00080400, -0.00071600],[ 0.00286500, 0.00265700, 0.00257400, 0.00241900, 0.00227100, 0.00220400, 0.00200400, 0.00184800, 0.00170100, 0.00155600, 0.00139100, 0.00125200, 0.00120000, 0.00102500, 0.00091200, 0.00078200, 0.00068500, 0.00067500, 0.00069200, 0.00060100, 0.00047300, 0.00031800, 0.00018600, 0.00019600, 0.00000000, -0.00017300, -0.00022100, -0.00031600, -0.00034700, -0.00043100, -0.00053400, -0.00062700, -0.00078700, -0.00081800, -0.00089800, -0.00087500, -0.00086800, -0.00078300],[ 0.00276700, 0.00258400, 0.00256200, 0.00246000, 0.00226200, 0.00217800, 0.00197300, 0.00179000, 0.00165600, 0.00156100, 0.00134900, 0.00128400, 0.00118300, 0.00102000, 0.00095400, 0.00076400, 0.00066800, 0.00065700, 0.00068300, 0.00060200, 0.00047700, 0.00029700, 0.00020600, 0.00024000, 0.00000000, -0.00018200, -0.00019700, -0.00027800, -0.00026800, -0.00038000, -0.00041300, -0.00049700, -0.00069300, -0.00068900, -0.00068800, -0.00070900, -0.00071800, -0.00058300],[ 0.00261400, 0.00241600, 0.00236000, 0.00223500, 0.00210800, 0.00201800, 0.00185600, 0.00171100, 0.00157300, 0.00145100, 0.00128200, 0.00118900, 0.00112700, 0.00096500, 0.00085900, 0.00076300, 0.00062700, 0.00062100, 0.00065100, 0.00055300, 0.00044300, 0.00025700, 0.00015200, 0.00018300, 0.00000000, -0.00022100, -0.00023900, -0.00033100, -0.00032900, -0.00043700, -0.00047100, -0.00053200, -0.00073000, -0.00076400, -0.00080800, -0.00077900, -0.00079200, -0.00070300],[ 0.00245300, 0.00231700, 0.00234900, 0.00221900, 0.00204000, 0.00202800, 0.00182900, 0.00166200, 0.00147200, 0.00139500, 0.00115800, 0.00105900, 0.00100800, 0.00090000, 0.00082400, 0.00061600, 0.00055000, 0.00048700, 0.00059900, 0.00053300, 0.00043900, 0.00022800, 0.00014100, 0.00018900, 0.00000000, -0.00017300, -0.00018500, -0.00029900, -0.00024700, -0.00033100, -0.00034000, -0.00043700, -0.00054500, -0.00057700, -0.00061400, -0.00057200, -0.00059500, -0.00048100],[ 0.00231600, 0.00227500, 0.00231800, 0.00218800, 0.00200000, 0.00198100, 0.00177400, 0.00157100, 0.00141200, 0.00135400, 0.00107400, 0.00106300, 0.00097600, 0.00088700, 0.00078400, 0.00066200, 0.00050700, 0.00054500, 0.00059600, 0.00052500, 0.00043200, 0.00017700, 0.00014000, 0.00019600, 0.00000000, -0.00019500, -0.00021000, -0.00026000, -0.00022400, -0.00029800, -0.00027100, -0.00030900, -0.00049900, -0.00047800, -0.00047600, -0.00041700, -0.00046300, -0.00035900],[ 0.00233200, 0.00220900, 0.00223700, 0.00210500, 0.00190500, 0.00190900, 0.00170300, 0.00157900, 0.00144500, 0.00135400, 0.00113800, 0.00099800, 0.00107000, 0.00087400, 0.00078100, 0.00057400, 0.00047900, 0.00050200, 0.00059200, 0.00046800, 0.00040000, 0.00018300, 0.00013400, 0.00014500, 0.00000000, -0.00020500, -0.00019300, -0.00025700, -0.00022500, -0.00029600, -0.00029800, -0.00034800, -0.00048400, -0.00048500, -0.00050400, -0.00043300, -0.00041800, -0.00028600],[ 0.00219800, 0.00220500, 0.00228300, 0.00214400, 0.00188800, 0.00194900, 0.00160000, 0.00151500, 0.00135200, 0.00132700, 0.00103400, 0.00093600, 0.00094600, 0.00082200, 0.00069200, 0.00053400, 0.00040700, 0.00046300, 0.00054000, 0.00042000, 0.00036200, 0.00017200, 0.00009500, 0.00013600, 0.00000000, -0.00019200, -0.00016200, -0.00024300, -0.00017300, -0.00025400, -0.00022000, -0.00021700, -0.00041000, -0.00036200, -0.00043000, -0.00029100, -0.00034900, -0.00019700],[ 0.00232200, 0.00230500, 0.00236800, 0.00222900, 0.00205200, 0.00200700, 0.00178100, 0.00161000, 0.00146700, 0.00139300, 0.00111600, 0.00108600, 0.00106900, 0.00091600, 0.00078400, 0.00068800, 0.00046200, 0.00050200, 0.00068100, 0.00052800, 0.00044200, 0.00015700, 0.00016200, 0.00025900, 0.00000000, -0.00023000, -0.00017400, -0.00025400, -0.00015300, -0.00022400, -0.00025100, -0.00019000, -0.00042100, -0.00042300, -0.00045100, -0.00027200, -0.00039700, -0.00021100]]