## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
CE02SHBP-MJ01C | SN0025 | 1 | 2014-09-08 | 14:04Z | N/A | 44° 38.221' N | 124° 18.350' W | 82 m | TN313 |  | 44.637 | -124.3058
CE02SHBP-LJ01D | SN0006 | 1 | 2014-09-08 | 14:04Z | N/A | 44° 38.221' N | 124° 18.350' W | 82 m | TN313 |  | 44.637 | -124.3058

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CE02SHBP-MJ01C-07-ZPLSCB101 | SN0025 | 1 | 001
CE02SHBP-MJ01C-08-CAMDSB107 | SN0025 | 1 | 0484-6002-100
CE02SHBP-LJ01D-11-HYDBBA106 | SN0006 | 1 | U1248 | CC_gain | 6
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_lat | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_lon | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_scale_factor1 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_scale_factor2 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_scale_factor3 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0006 | 1 | 18493 | CC_scale_factor4 | 0.45
CE02SHBP-LJ01D-06-CTDBPN106 | SN0006 | 1 | 7230 | CC_lat | 44.637
CE02SHBP-LJ01D-06-CTDBPN106 | SN0006 | 1 | 7230 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | SN0006 | 1 | 216 | CC_lat | 44.637
CE02SHBP-LJ01D-06-DOSTAD106 | SN0006 | 1 | 216 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | SN0006 | 1 | 216 | CC_csv | [3.15962E-03, 1.33694E-04, 2.59182E-06, 2.32254E02, -3.13933E-01, -5.74467E01, 4.54521E00]
CE02SHBP-LJ01D-07-VEL3DC108 | SN0006 | 1 | 8167 | CC_lat | 44.637
CE02SHBP-LJ01D-07-VEL3DC108 | SN0006 | 1 | 8167 | CC_lon | -124.3059
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_ea434 | 3073
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_ea620 | 44327
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_eb434 | 19706
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_eb620 | 34
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_calt | 14.9
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_cala | 0.0592
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_calb | 0.4372
CE02SHBP-LJ01D-09-PCO2WB103 | SN0006 | 1 | C0064 | CC_calc | -1.167
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_ea434 | 17533
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_eb434 | 2229
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_ea578 | 101
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_eb578 | 38502
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_ind_slp | 1
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_ind_off | 0
CE02SHBP-LJ01D-10-PHSEND103 | SN0006 | 1 | P0116 | CC_psal | 35
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_tcal | 18.7
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_cwlngth | [400.10000000, 403.70000000, 408.20000000, 412.50000000, 416.60000000, 421.50000000, 426.30000000, 430.90000000, 435.50000000, 440.10000000, 444.60000000, 449.90000000, 454.80000000, 459.60000000, 464.30000000, 469.40000000, 474.80000000, 479.90000000, 485.00000000, 489.90000000, 494.20000000, 499.30000000, 504.00000000, 509.20000000, 514.70000000, 519.40000000, 524.70000000, 529.40000000, 534.10000000, 538.70000000, 543.70000000, 548.30000000, 553.60000000, 558.60000000, 563.50000000, 568.10000000, 572.50000000, 576.90000000, 581.00000000, 585.10000000, 589.10000000, 593.80000000, 598.70000000, 602.90000000, 608.00000000, 612.70000000, 617.40000000, 621.70000000, 626.40000000, 630.90000000, 635.20000000, 639.20000000, 643.80000000, 648.30000000, 652.90000000, 657.50000000, 661.90000000, 666.50000000, 670.80000000, 675.00000000, 679.30000000, 683.20000000, 687.10000000, 691.10000000, 694.70000000, 698.40000000, 702.10000000, 705.70000000, 708.90000000, 712.30000000, 715.60000000, 719.20000000, 722.50000000, 725.60000000, 728.90000000, 731.90000000, 734.80000000, 737.50000000, 740.30000000, 742.30000000, 744.90000000, 746.80000000, 749.40000000]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_ccwo | [ -1.27454700, -1.13075800, -0.98906500, -0.86173100, -0.74250700, -0.63464600, -0.53703500, -0.44011700, -0.34939000, -0.26699300, -0.18573100, -0.11317400, -0.04695700, 0.01683200, 0.07561400, 0.13497900, 0.19359700, 0.24530300, 0.29787100, 0.34692700, 0.39173100, 0.43499700, 0.47463600, 0.51163700, 0.54739500, 0.57965700, 0.61343800, 0.64518000, 0.67371300, 0.70389200, 0.73262000, 0.76269600, 0.79247100, 0.81981300, 0.84780800, 0.87256700, 0.89376200, 0.91179200, 0.92459800, 0.93495800, 0.94329700, 0.92145500, 0.91493500, 0.91337300, 0.91815500, 0.93069200, 0.94677100, 0.96317000, 0.98075500, 0.99627400, 1.01087300, 1.02412200, 1.03527600, 1.04263400, 1.04629700, 1.04863900, 1.05160500, 1.05791800, 1.06553300, 1.07118100, 1.07345000, 1.06932200, 1.05685400, 1.03627900, 1.00445500, 0.96077100, 0.90543200, 0.83331800, 0.74392600, 0.63660400, 0.50730100, 0.35954400, 0.19038100, 0.00492100, -0.18398300, -0.36499000, -0.53256900, -0.66885600, -0.77249200, -0.83853200, -0.88851800, -0.91928800, -0.89907900]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_tbins | [ 1.82169700, 2.40381600, 3.48594800, 4.48767000, 5.47041700, 6.46827600, 7.49085100, 8.49225000, 9.48750000, 10.47294100, 11.47794100, 12.50363600, 13.50060600, 14.49700000, 15.48566700, 16.48733300, 17.49466700, 18.47900000, 19.47620700, 20.47148100, 21.47111100, 22.48115400, 23.47500000, 24.49892900, 25.51107100, 26.52090900, 27.51744200, 28.48636400, 29.49558100, 30.50025600, 31.49394700, 32.49675700, 33.50000000, 34.51027800, 35.32666700]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_awlngth | [400.00000000, 403.90000000, 408.50000000, 412.50000000, 416.50000000, 421.20000000, 425.80000000, 430.80000000, 435.00000000, 439.40000000, 444.60000000, 449.50000000, 454.60000000, 459.40000000, 464.10000000, 468.90000000, 474.10000000, 479.60000000, 484.60000000, 489.30000000, 493.90000000, 498.60000000, 503.40000000, 508.70000000, 513.90000000, 519.00000000, 524.10000000, 528.90000000, 533.50000000, 538.20000000, 543.00000000, 547.80000000, 552.80000000, 557.70000000, 562.70000000, 567.40000000, 571.70000000, 575.90000000, 580.20000000, 584.40000000, 588.30000000, 591.30000000, 595.90000000, 600.40000000, 605.00000000, 609.70000000, 614.30000000, 618.90000000, 623.50000000, 627.70000000, 632.00000000, 636.30000000, 640.60000000, 645.10000000, 649.60000000, 653.90000000, 658.30000000, 662.90000000, 667.30000000, 671.60000000, 675.80000000, 679.90000000, 683.80000000, 687.60000000, 691.60000000, 695.30000000, 698.40000000, 702.10000000, 705.80000000, 709.20000000, 712.40000000, 716.10000000, 719.30000000, 722.20000000, 725.90000000, 728.30000000, 731.80000000, 734.50000000, 737.20000000, 739.60000000, 742.10000000, 745.30000000, 746.80000000]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_acwo | [ -1.44444400, -1.10756900, -0.84134000, -0.63280100, -0.46742100, -0.33174700, -0.21126500, -0.10353000, -0.00124400, 0.09447100, 0.18448700, 0.27114800, 0.35403300, 0.43441900, 0.51363700, 0.58811600, 0.65914000, 0.72748700, 0.79321800, 0.85672900, 0.91835600, 0.97612600, 1.03166200, 1.08382600, 1.13472600, 1.18562500, 1.23516000, 1.28359700, 1.33051900, 1.37504800, 1.41794300, 1.45882400, 1.49755400, 1.53527500, 1.57123000, 1.60468000, 1.63436200, 1.65928900, 1.67943900, 1.69448400, 1.70428600, 1.70473800, 1.70683400, 1.70798000, 1.71389700, 1.72784700, 1.74798300, 1.77099900, 1.79426300, 1.81707600, 1.83939400, 1.86047200, 1.88024800, 1.89735700, 1.91061500, 1.92044400, 1.92923900, 1.93912400, 1.95155000, 1.96410600, 1.97398300, 1.97927900, 1.97789900, 1.96847100, 1.94942400, 1.91948900, 1.87745600, 1.82151900, 1.74972300, 1.65966900, 1.55057600, 1.42057200, 1.26808600, 1.09658500, 0.91138100, 0.72418000, 0.54551500, 0.38633300, 0.25989700, 0.16787500, 0.10422400, 0.06358200, 0.03854000]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_tcarray | SheetRef:ACS169_CC_tcarray
CE02SHBP-LJ01D-08-OPTAAD106 | SN0006 | 1 | 169 | CC_taarray | SheetRef:ACS169_CC_taarray

## ACS169_CC_tcarray
0.026871 | 0.025842 | 0.025129 | 0.024189 | 0.022731 | 0.020195 | 0.02011 | 0.019789 | 0.016731 | 0.016262 | 0.015652 | 0.014716 | 0.014041 | 0.012102 | 0.012764 | 0.01066 | 0.009161 | 0.008168 | 0.006133 | 0.00574 | 0.003381 | 0.002193 | 0.002083 | 0.000669 | 0 | -0.001077 | -0.001222 | -0.001921 | -0.004773 | -0.0072 | -0.008142 | -0.010789 | -0.01393 | -0.01461 | -0.015868
0.017729 | 0.018025 | 0.017081 | 0.015937 | 0.016637 | 0.01409 | 0.014174 | 0.013725 | 0.011991 | 0.010716 | 0.009714 | 0.009424 | 0.007742 | 0.006958 | 0.005904 | 0.00452 | 0.003231 | 0.003392 | 0.002457 | 0.002392 | 0.00141 | 0.001421 | 0.001274 | 0.000624 | 0 | -0.001186 | -0.003492 | -0.005213 | -0.006881 | -0.007352 | -0.008204 | -0.010619 | -0.012285 | -0.012895 | -0.01408
0.015032 | 0.015146 | 0.01399 | 0.013447 | 0.013595 | 0.011385 | 0.010459 | 0.010061 | 0.008348 | 0.007421 | 0.008273 | 0.00779 | 0.006952 | 0.006344 | 0.005746 | 0.005517 | 0.004189 | 0.004013 | 0.002885 | 0.002417 | 0.002421 | 0.001926 | 0.001482 | 0.000469 | 0 | -0.001637 | -0.001529 | -0.002459 | -0.003183 | -0.00521 | -0.005698 | -0.007964 | -0.009906 | -0.009328 | -0.010995
0.009051 | 0.008255 | 0.00878 | 0.007962 | 0.007274 | 0.006687 | 0.006707 | 0.007517 | 0.005698 | 0.005955 | 0.004811 | 0.0049 | 0.004298 | 0.003973 | 0.004 | 0.003146 | 0.002511 | 0.001874 | 0.001231 | 0.001049 | 0.000507 | 0.000184 | 0.000435 | 0.000102 | 0 | -0.000206 | -0.001119 | -0.001322 | -0.003539 | -0.00457 | -0.005264 | -0.007069 | -0.008367 | -0.009047 | -0.009907
0.006769 | 0.007088 | 0.006212 | 0.005352 | 0.0061 | 0.004779 | 0.004505 | 0.00439 | 0.003141 | 0.002786 | 0.002573 | 0.002044 | 0.001348 | 0.000499 | 0.000297 | -0.000423 | -0.000594 | -0.000351 | -0.000772 | -9.2e-05 | 4.2e-05 | 0.000416 | 0.00066 | -4.9e-05 | 0 | -0.001483 | -0.002555 | -0.003844 | -0.004093 | -0.004784 | -0.005483 | -0.007021 | -0.007906 | -0.007853 | -0.008464
0.007705 | 0.007236 | 0.006636 | 0.005803 | 0.005098 | 0.003845 | 0.00324 | 0.003181 | 0.002356 | 0.002432 | 0.002243 | 0.001784 | 0.001757 | 0.001412 | 0.00089 | 0.001343 | 0.000747 | 0.000818 | 0.000447 | 0.000643 | 0.001148 | 0.000688 | 0.000501 | 0.000506 | 0 | 2.7e-05 | -0.00034 | -0.000574 | -0.001512 | -0.003019 | -0.002954 | -0.004168 | -0.005608 | -0.00559 | -0.006862
0.004924 | 0.004473 | 0.004234 | 0.00359 | 0.003078 | 0.00223 | 0.002065 | 0.002054 | 0.001259 | 0.000879 | 0.000738 | 0.00075 | -1.2e-05 | -0.000604 | -0.000293 | -0.000745 | -0.001151 | -0.001221 | -0.001396 | -0.001232 | -0.002105 | -0.000718 | -0.00023 | -0.000571 | 0 | -0.000599 | -0.001175 | -0.001597 | -0.003086 | -0.003442 | -0.004109 | -0.005133 | -0.00587 | -0.006326 | -0.006689
0.003885 | 0.004158 | 0.003763 | 0.003176 | 0.003365 | 0.002564 | 0.001809 | 0.001169 | 0.000399 | 0.000118 | -0.000509 | -0.000572 | -0.00116 | -0.001207 | -0.001878 | -0.001812 | -0.001816 | -0.001936 | -0.001784 | -0.001099 | -0.000458 | -0.000171 | 0.000254 | 0.000242 | 0 | -0.000755 | -0.001501 | -0.002159 | -0.00226 | -0.003018 | -0.003115 | -0.004191 | -0.004736 | -0.004553 | -0.00515
0.003337 | 0.003247 | 0.003187 | 0.002793 | 0.002147 | 0.001379 | 0.000966 | 0.001273 | 0.000425 | 0.000259 | 0.000531 | 5.4e-05 | -0.000133 | -0.000561 | -0.00046 | -0.000484 | -0.000777 | -0.000792 | -0.000839 | -0.0009 | -0.00062 | -1.1e-05 | -0.000208 | -0.000195 | 0 | 5.6e-05 | -0.000224 | -0.000392 | -0.001214 | -0.002238 | -0.002666 | -0.003051 | -0.004014 | -0.004325 | -0.004878
0.001801 | 0.001752 | 0.001622 | 0.001231 | 0.001222 | 0.000646 | 0.000429 | 0.000376 | -0.000248 | -0.000338 | -0.000869 | -0.000927 | -0.001788 | -0.001846 | -0.001791 | -0.002287 | -0.002434 | -0.00259 | -0.002303 | -0.002125 | -0.001888 | -0.001 | -0.000375 | -4.7e-05 | 0 | -0.000485 | -0.00108 | -0.001687 | -0.002705 | -0.003054 | -0.003498 | -0.004414 | -0.004907 | -0.00527 | -0.005603
0.001238 | 0.00155 | 0.001185 | 0.000825 | 0.00083 | 9.6e-05 | -0.000333 | -0.000569 | -0.001036 | -0.0014 | -0.00135 | -0.001491 | -0.002001 | -0.002121 | -0.002404 | -0.002129 | -0.002046 | -0.001801 | -0.001904 | -0.001008 | -0.000374 | -1.7e-05 | 3e-06 | 0.000254 | 0 | -0.000326 | -0.000773 | -0.001186 | -0.00137 | -0.002069 | -0.002372 | -0.003008 | -0.003579 | -0.003563 | -0.003943
0.000384 | 0.000118 | 0.000281 | 4e-06 | -0.000561 | -0.001008 | -0.001113 | -0.00085 | -0.001558 | -0.001239 | -0.001526 | -0.001546 | -0.001803 | -0.00197 | -0.001704 | -0.001661 | -0.002028 | -0.001968 | -0.001878 | -0.001556 | -0.001393 | -0.000721 | -0.000591 | -0.000419 | 0 | 0.000145 | -0.000119 | -0.000358 | -0.001284 | -0.002127 | -0.002416 | -0.002885 | -0.003615 | -0.004031 | -0.004529
-0.000347 | -0.000147 | -0.000474 | -0.00065 | -0.000534 | -0.001046 | -0.001195 | -0.00146 | -0.001616 | -0.00199 | -0.0021 | -0.002198 | -0.002919 | -0.003086 | -0.003074 | -0.00318 | -0.002976 | -0.002932 | -0.002699 | -0.002258 | -0.001759 | -0.001014 | -0.000512 | -3.3e-05 | 0 | -0.000593 | -0.001356 | -0.001868 | -0.002426 | -0.002774 | -0.003161 | -0.003933 | -0.004533 | -0.00469 | -0.004707
-0.000968 | -0.000804 | -0.000953 | -0.001018 | -0.001269 | -0.00167 | -0.00203 | -0.00198 | -0.002296 | -0.002428 | -0.002395 | -0.002533 | -0.002584 | -0.002556 | -0.002596 | -0.00218 | -0.002252 | -0.001958 | -0.001865 | -0.001255 | -0.000457 | -0.000191 | -3.9e-05 | -4e-06 | 0 | -3.6e-05 | -0.000188 | -0.000491 | -0.000747 | -0.001528 | -0.001748 | -0.002522 | -0.002969 | -0.003127 | -0.00351
-0.001628 | -0.001828 | -0.001692 | -0.001791 | -0.002023 | -0.002281 | -0.002257 | -0.00222 | -0.002422 | -0.0023 | -0.002469 | -0.002401 | -0.002632 | -0.002917 | -0.002467 | -0.002481 | -0.002545 | -0.002715 | -0.002472 | -0.00225 | -0.002006 | -0.001404 | -0.00089 | -0.000599 | 0 | -4.1e-05 | -0.000514 | -0.00079 | -0.001879 | -0.002275 | -0.002579 | -0.003227 | -0.00393 | -0.004325 | -0.004672
-0.00146 | -0.001113 | -0.00136 | -0.001377 | -0.001251 | -0.001527 | -0.001796 | -0.001956 | -0.002257 | -0.002383 | -0.00256 | -0.002616 | -0.003116 | -0.003131 | -0.003284 | -0.003103 | -0.002905 | -0.002722 | -0.002556 | -0.001919 | -0.001342 | -0.000718 | -0.000438 | 0.000103 | 0 | -0.000565 | -0.001284 | -0.001557 | -0.001836 | -0.002214 | -0.002772 | -0.003358 | -0.003819 | -0.00393 | -0.004132
-0.000989 | -0.001009 | -0.000914 | -0.000925 | -0.001321 | -0.001605 | -0.001795 | -0.001833 | -0.001969 | -0.002051 | -0.002038 | -0.002159 | -0.002142 | -0.002315 | -0.002145 | -0.001752 | -0.001878 | -0.001841 | -0.001541 | -0.001268 | -0.000753 | -0.000464 | -0.000313 | -0.000263 | 0 | 0.000184 | 7.2e-05 | -0.000243 | -0.000701 | -0.001449 | -0.001779 | -0.002324 | -0.002968 | -0.003321 | -0.003646
-0.001801 | -0.001764 | -0.001676 | -0.001629 | -0.001703 | -0.001992 | -0.001966 | -0.001971 | -0.002196 | -0.002199 | -0.002473 | -0.002454 | -0.002769 | -0.003025 | -0.002853 | -0.00279 | -0.002741 | -0.002735 | -0.002589 | -0.002313 | -0.001877 | -0.001255 | -0.000875 | -0.000449 | 0 | -0.000363 | -0.000865 | -0.001236 | -0.002009 | -0.002392 | -0.002737 | -0.003409 | -0.003997 | -0.004507 | -0.004535
-0.00093 | -0.000626 | -0.000826 | -0.000826 | -0.000861 | -0.001192 | -0.001442 | -0.001724 | -0.001911 | -0.002139 | -0.002254 | -0.002531 | -0.002854 | -0.002672 | -0.002805 | -0.002651 | -0.00232 | -0.002162 | -0.002025 | -0.001449 | -0.000752 | -0.000462 | -0.000172 | 3.4e-05 | 0 | -0.00028 | -0.000695 | -0.001139 | -0.001257 | -0.00176 | -0.002196 | -0.002753 | -0.003218 | -0.00336 | -0.003667
-0.000786 | -0.000946 | -0.000802 | -0.000723 | -0.001137 | -0.001425 | -0.001635 | -0.001515 | -0.001802 | -0.001798 | -0.001847 | -0.001899 | -0.001981 | -0.00224 | -0.001963 | -0.001672 | -0.001769 | -0.001751 | -0.001684 | -0.001468 | -0.001046 | -0.000732 | -0.000459 | -0.000346 | 0 | 6.5e-05 | -0.000169 | -0.000364 | -0.001076 | -0.001697 | -0.001975 | -0.00255 | -0.003251 | -0.003632 | -0.003937
-0.001416 | -0.001288 | -0.001321 | -0.001277 | -0.001312 | -0.001579 | -0.001759 | -0.00187 | -0.001986 | -0.002113 | -0.002481 | -0.002383 | -0.00292 | -0.003029 | -0.002976 | -0.002889 | -0.002675 | -0.002645 | -0.002474 | -0.002053 | -0.001723 | -0.001011 | -0.000709 | -0.000158 | 0 | -0.000311 | -0.000991 | -0.001334 | -0.00187 | -0.002195 | -0.00259 | -0.003169 | -0.003633 | -0.004047 | -0.004072
-0.000881 | -0.00071 | -0.000836 | -0.000723 | -0.000912 | -0.00133 | -0.001603 | -0.001797 | -0.002065 | -0.002161 | -0.00216 | -0.002356 | -0.00246 | -0.002553 | -0.002534 | -0.002178 | -0.002081 | -0.001761 | -0.001671 | -0.001204 | -0.000526 | -0.0004 | -0.000147 | -5.7e-05 | 0 | -0.000138 | -0.000399 | -0.000666 | -0.000824 | -0.001378 | -0.001738 | -0.002308 | -0.002739 | -0.00294 | -0.003259
-0.001682 | -0.001801 | -0.001639 | -0.001474 | -0.00179 | -0.002035 | -0.00206 | -0.002042 | -0.002201 | -0.002083 | -0.002317 | -0.002333 | -0.002484 | -0.002707 | -0.002394 | -0.002235 | -0.002212 | -0.002124 | -0.002052 | -0.001794 | -0.001429 | -0.000924 | -0.000725 | -0.000405 | 0 | 5.5e-05 | -0.000287 | -0.000525 | -0.001244 | -0.00167 | -0.001992 | -0.002424 | -0.003075 | -0.003496 | -0.003592
-0.001899 | -0.001679 | -0.001757 | -0.001645 | -0.001587 | -0.001879 | -0.002029 | -0.002253 | -0.002328 | -0.002583 | -0.002834 | -0.002805 | -0.003225 | -0.003254 | -0.003177 | -0.00304 | -0.002767 | -0.002559 | -0.002377 | -0.001858 | -0.001358 | -0.000875 | -0.000533 | -0.000101 | 0 | -0.000431 | -0.000971 | -0.001362 | -0.001539 | -0.001864 | -0.002221 | -0.002796 | -0.003143 | -0.003367 | -0.003478
-0.001291 | -0.001256 | -0.001276 | -0.001101 | -0.001387 | -0.001696 | -0.001909 | -0.001986 | -0.002186 | -0.002279 | -0.002245 | -0.002439 | -0.002419 | -0.002568 | -0.002371 | -0.001987 | -0.001966 | -0.001728 | -0.001613 | -0.001178 | -0.000544 | -0.000401 | -0.000222 | -0.000149 | 0 | 0.00012 | -0.000126 | -0.000287 | -0.000612 | -0.00113 | -0.001388 | -0.001865 | -0.00236 | -0.002591 | -0.002801
-0.002144 | -0.002168 | -0.002051 | -0.001843 | -0.002033 | -0.002224 | -0.002264 | -0.002335 | -0.00243 | -0.002385 | -0.002656 | -0.002616 | -0.002848 | -0.003037 | -0.002766 | -0.002608 | -0.002547 | -0.002456 | -0.002199 | -0.002013 | -0.001644 | -0.001028 | -0.000721 | -0.000366 | 0 | -0.000191 | -0.000572 | -0.000886 | -0.001437 | -0.001726 | -0.002131 | -0.002573 | -0.003056 | -0.003383 | -0.003489
-0.000944 | -0.000768 | -0.000947 | -0.000848 | -0.000933 | -0.001244 | -0.001541 | -0.001752 | -0.001957 | -0.002139 | -0.002287 | -0.002437 | -0.002787 | -0.002808 | -0.002856 | -0.002622 | -0.002333 | -0.002088 | -0.001956 | -0.001436 | -0.000848 | -0.000534 | -0.000274 | -5.8e-05 | 0 | -0.000331 | -0.000833 | -0.001079 | -0.001245 | -0.001566 | -0.001887 | -0.002387 | -0.002697 | -0.00287 | -0.002958
-0.000923 | -0.00104 | -0.001009 | -0.000868 | -0.001253 | -0.001524 | -0.001708 | -0.001797 | -0.002024 | -0.002032 | -0.002119 | -0.002183 | -0.002173 | -0.002418 | -0.002175 | -0.001835 | -0.001855 | -0.001739 | -0.001561 | -0.001233 | -0.000776 | -0.000568 | -0.000411 | -0.000225 | 0 | 9e-06 | -0.000132 | -0.00029 | -0.000798 | -0.001256 | -0.001551 | -0.001939 | -0.002427 | -0.002688 | -0.002927
-0.001419 | -0.001413 | -0.001448 | -0.00132 | -0.001464 | -0.00167 | -0.001836 | -0.001982 | -0.00207 | -0.002215 | -0.00252 | -0.002478 | -0.002919 | -0.003042 | -0.002868 | -0.002769 | -0.002556 | -0.002393 | -0.002199 | -0.001945 | -0.001485 | -0.000873 | -0.000651 | -0.000267 | 0 | -0.000311 | -0.000851 | -0.001185 | -0.001553 | -0.001909 | -0.002236 | -0.002634 | -0.003053 | -0.003343 | -0.003311
-0.000161 | -0.000107 | -0.000336 | -0.000238 | -0.000497 | -0.000839 | -0.001213 | -0.001463 | -0.001671 | -0.001964 | -0.001975 | -0.002215 | -0.002423 | -0.002424 | -0.002458 | -0.002196 | -0.001945 | -0.001782 | -0.001618 | -0.001087 | -0.00053 | -0.000336 | -0.000136 | 1.7e-05 | 0 | -0.000217 | -0.000612 | -0.000748 | -0.000976 | -0.001352 | -0.001638 | -0.002117 | -0.002484 | -0.002601 | -0.002694
-2.6e-05 | -0.000271 | -0.000318 | -0.00021 | -0.000659 | -0.000977 | -0.001187 | -0.001295 | -0.00147 | -0.001499 | -0.001749 | -0.001836 | -0.001982 | -0.002288 | -0.002013 | -0.001768 | -0.00189 | -0.00178 | -0.001611 | -0.001403 | -0.000999 | -0.000641 | -0.000521 | -0.000316 | 0 | -3e-05 | -0.000312 | -0.000574 | -0.001093 | -0.001521 | -0.001859 | -0.002264 | -0.002681 | -0.003018 | -0.003102
-0.000103 | -9.5e-05 | -0.000315 | -0.000243 | -0.000457 | -0.000748 | -0.001031 | -0.001369 | -0.001487 | -0.001727 | -0.002032 | -0.002128 | -0.002561 | -0.002683 | -0.002657 | -0.00257 | -0.002309 | -0.002159 | -0.001974 | -0.001612 | -0.001128 | -0.000689 | -0.000432 | -0.000126 | 0 | -0.000351 | -0.000926 | -0.00127 | -0.001556 | -0.001868 | -0.002184 | -0.002561 | -0.002934 | -0.003139 | -0.003095
0.00074 | 0.000604 | 0.000353 | 0.000447 | 1.4e-05 | -0.000369 | -0.000798 | -0.000955 | -0.001271 | -0.001449 | -0.001617 | -0.001805 | -0.001927 | -0.002134 | -0.002028 | -0.00178 | -0.001673 | -0.001504 | -0.001411 | -0.000981 | -0.000443 | -0.000319 | -0.00019 | -9.1e-05 | 0 | -9.3e-05 | -0.000402 | -0.000551 | -0.00089 | -0.001345 | -0.001635 | -0.002065 | -0.00239 | -0.002636 | -0.002742
0.000406 | 0.000196 | 8.7e-05 | 0.000181 | -0.000235 | -0.000559 | -0.000786 | -0.001024 | -0.001174 | -0.001323 | -0.001612 | -0.001701 | -0.001982 | -0.002256 | -0.002082 | -0.001965 | -0.001984 | -0.001919 | -0.001752 | -0.001534 | -0.001148 | -0.000712 | -0.000575 | -0.000307 | 0 | -0.000162 | -0.000579 | -0.000877 | -0.001362 | -0.001728 | -0.002049 | -0.002444 | -0.002851 | -0.003161 | -0.003113
0.000739 | 0.000734 | 0.000428 | 0.000471 | 0.000175 | -0.000177 | -0.000565 | -0.000871 | -0.001091 | -0.001374 | -0.001625 | -0.001843 | -0.002178 | -0.002316 | -0.002378 | -0.002243 | -0.001961 | -0.001745 | -0.001658 | -0.001245 | -0.000787 | -0.000449 | -0.000254 | -6.6e-05 | 0 | -0.000312 | -0.000832 | -0.001093 | -0.001293 | -0.001654 | -0.001938 | -0.002291 | -0.002601 | -0.002767 | -0.002739
0.000628 | 0.000423 | 0.000266 | 0.000394 | -4.8e-05 | -0.000437 | -0.000773 | -0.000952 | -0.00122 | -0.001344 | -0.001566 | -0.001705 | -0.001843 | -0.002123 | -0.001937 | -0.001733 | -0.001744 | -0.001596 | -0.001442 | -0.001133 | -0.000684 | -0.000488 | -0.000317 | -0.000181 | 0 | -7.5e-05 | -0.000339 | -0.000524 | -0.000974 | -0.001384 | -0.00166 | -0.002099 | -0.002435 | -0.002633 | -0.002712
0.00016 | 3.8e-05 | -9.9e-05 | 2.7e-05 | -0.00031 | -0.000608 | -0.000871 | -0.001161 | -0.001289 | -0.001491 | -0.001793 | -0.001908 | -0.00222 | -0.002481 | -0.002401 | -0.002217 | -0.002155 | -0.002061 | -0.001884 | -0.001588 | -0.001127 | -0.000726 | -0.000511 | -0.00024 | 0 | -0.000251 | -0.00072 | -0.001031 | -0.001415 | -0.001757 | -0.00205 | -0.002388 | -0.002734 | -0.002908 | -0.002865
0.000609 | 0.000537 | 0.000228 | 0.000331 | -1.3e-05 | -0.000383 | -0.000773 | -0.001057 | -0.001335 | -0.001537 | -0.001731 | -0.001936 | -0.002214 | -0.002364 | -0.002335 | -0.002135 | -0.001928 | -0.001773 | -0.00165 | -0.00121 | -0.000758 | -0.00049 | -0.000297 | -0.0001 | 0 | -0.000225 | -0.000655 | -0.000879 | -0.001117 | -0.001516 | -0.001789 | -0.002202 | -0.002424 | -0.002568 | -0.002539
0.00083 | 0.0006 | 0.000451 | 0.000555 | 9.9e-05 | -0.000243 | -0.000582 | -0.000809 | -0.001005 | -0.001193 | -0.001434 | -0.001577 | -0.001762 | -0.002077 | -0.001905 | -0.001725 | -0.001763 | -0.001628 | -0.001538 | -0.001239 | -0.000829 | -0.000575 | -0.000417 | -0.000219 | 0 | -6.9e-05 | -0.000425 | -0.000676 | -0.001103 | -0.001488 | -0.001777 | -0.002142 | -0.002453 | -0.002611 | -0.002627
0.000897 | 0.000795 | 0.000545 | 0.000635 | 0.000279 | -7.7e-05 | -0.000421 | -0.000732 | -0.000952 | -0.001187 | -0.001475 | -0.001654 | -0.002004 | -0.002233 | -0.002216 | -0.002096 | -0.001962 | -0.001832 | -0.001678 | -0.001366 | -0.000917 | -0.000559 | -0.000362 | -0.000141 | 0 | -0.000249 | -0.000739 | -0.001074 | -0.001392 | -0.001737 | -0.002064 | -0.002395 | -0.002662 | -0.002794 | -0.002731
0.001322 | 0.001163 | 0.000909 | 0.000988 | 0.000538 | 0.000145 | -0.000268 | -0.000548 | -0.000825 | -0.001009 | -0.001244 | -0.00146 | -0.001727 | -0.001941 | -0.001924 | -0.001716 | -0.001635 | -0.001487 | -0.001419 | -0.001062 | -0.000642 | -0.000448 | -0.000273 | -0.000139 | 0 | -0.000185 | -0.00053 | -0.000745 | -0.001096 | -0.001536 | -0.001812 | -0.002221 | -0.002482 | -0.002617 | -0.00257
0.001121 | 0.000866 | 0.000651 | 0.000684 | 0.000214 | -0.000192 | -0.000534 | -0.000763 | -0.00097 | -0.001157 | -0.001357 | -0.001601 | -0.001828 | -0.002068 | -0.001887 | -0.001753 | -0.001648 | -0.001599 | -0.001507 | -0.001232 | -0.00091 | -0.000603 | -0.000394 | -0.000217 | 0 | -0.000155 | -0.000504 | -0.000715 | -0.001134 | -0.001505 | -0.001767 | -0.00209 | -0.002391 | -0.002555 | -0.002529
0.00155 | 0.001389 | 0.001071 | 0.001076 | 0.00069 | 0.000317 | -8.5e-05 | -0.000446 | -0.000683 | -0.000951 | -0.001239 | -0.001426 | -0.001735 | -0.002013 | -0.002007 | -0.001897 | -0.001819 | -0.001677 | -0.001594 | -0.001252 | -0.000798 | -0.000458 | -0.000339 | -0.0001 | 0 | -0.000205 | -0.000702 | -0.001002 | -0.001279 | -0.001599 | -0.001886 | -0.002196 | -0.002441 | -0.002538 | -0.00248
0.002004 | 0.001786 | 0.001494 | 0.001491 | 0.001001 | 0.00058 | 0.000159 | -0.00015 | -0.000421 | -0.000668 | -0.000939 | -0.001115 | -0.001435 | -0.001643 | -0.001599 | -0.001456 | -0.001378 | -0.001311 | -0.001253 | -0.000978 | -0.000611 | -0.000388 | -0.000259 | -0.00016 | 0 | -0.000172 | -0.000577 | -0.000814 | -0.001162 | -0.001545 | -0.001845 | -0.002193 | -0.002403 | -0.002552 | -0.002513
0.002023 | 0.001797 | 0.00154 | 0.001543 | 0.001101 | 0.000692 | 0.000322 | -6e-06 | -0.000237 | -0.000482 | -0.000753 | -0.000975 | -0.001272 | -0.001587 | -0.001519 | -0.001403 | -0.00136 | -0.001376 | -0.001336 | -0.001082 | -0.000733 | -0.000474 | -0.000339 | -0.000128 | 0 | -0.000231 | -0.000666 | -0.000988 | -0.00134 | -0.001707 | -0.002032 | -0.002331 | -0.002582 | -0.002701 | -0.002642
0.00234 | 0.002115 | 0.001739 | 0.001708 | 0.001242 | 0.000806 | 0.000402 | 5.2e-05 | -0.000181 | -0.000454 | -0.000741 | -0.000932 | -0.001252 | -0.001539 | -0.001538 | -0.001405 | -0.001346 | -0.001254 | -0.001228 | -0.000928 | -0.000574 | -0.000353 | -0.000238 | -9.8e-05 | 0 | -0.000212 | -0.00068 | -0.00099 | -0.001298 | -0.001697 | -0.002008 | -0.002342 | -0.002544 | -0.002662 | -0.002597
0.002494 | 0.002237 | 0.001967 | 0.00197 | 0.001501 | 0.001067 | 0.000627 | 0.000306 | 1.3e-05 | -0.000239 | -0.000534 | -0.000766 | -0.001087 | -0.001409 | -0.00133 | -0.001197 | -0.001183 | -0.001159 | -0.001122 | -0.000898 | -0.000574 | -0.000348 | -0.000238 | -0.000144 | 0 | -0.000196 | -0.000623 | -0.000909 | -0.001285 | -0.001674 | -0.001966 | -0.002298 | -0.002513 | -0.002606 | -0.002575
0.002451 | 0.002241 | 0.001933 | 0.001921 | 0.00149 | 0.001111 | 0.000735 | 0.000379 | 0.000129 | -0.0001 | -0.000374 | -0.00056 | -0.000861 | -0.001171 | -0.001213 | -0.001112 | -0.001134 | -0.001147 | -0.001194 | -0.001 | -0.000627 | -0.000338 | -0.000265 | -8.9e-05 | 0 | -0.000234 | -0.000697 | -0.001031 | -0.001354 | -0.001715 | -0.002026 | -0.002328 | -0.002512 | -0.002597 | -0.00255
0.002555 | 0.002315 | 0.001999 | 0.001986 | 0.001533 | 0.001114 | 0.000724 | 0.000427 | 0.000186 | -6.5e-05 | -0.000297 | -0.000453 | -0.000782 | -0.001087 | -0.000994 | -0.000923 | -0.000856 | -0.000843 | -0.000819 | -0.000608 | -0.000318 | -0.000293 | -0.000237 | -0.000109 | 0 | -0.000202 | -0.000609 | -0.000897 | -0.00126 | -0.001633 | -0.001964 | -0.002259 | -0.002469 | -0.002524 | -0.002462
0.002463 | 0.002231 | 0.001915 | 0.001887 | 0.001459 | 0.001079 | 0.000698 | 0.000385 | 0.000153 | -7.7e-05 | -0.000329 | -0.000519 | -0.000797 | -0.001081 | -0.00106 | -0.000939 | -0.000926 | -0.000881 | -0.000895 | -0.000648 | -0.000326 | -5.7e-05 | -0.000241 | -8.5e-05 | 0 | -0.000207 | -0.000664 | -0.000971 | -0.001321 | -0.001692 | -0.001977 | -0.002265 | -0.002448 | -0.002599 | -0.002515
0.002527 | 0.002294 | 0.001973 | 0.001931 | 0.001483 | 0.001099 | 0.000692 | 0.000392 | 0.000153 | -6.9e-05 | -0.000307 | -0.000455 | -0.000778 | -0.001021 | -0.00101 | -0.000875 | -0.000817 | -0.000763 | -0.000746 | -0.000538 | -0.00028 | -0.000278 | -0.000202 | -8.1e-05 | 0 | -0.000182 | -0.000616 | -0.000883 | -0.00121 | -0.001589 | -0.001885 | -0.002236 | -0.0024 | -0.002492 | -0.002417
0.00237 | 0.002108 | 0.001811 | 0.001754 | 0.001308 | 0.000898 | 0.000536 | 0.000276 | 7.1e-05 | -0.00012 | -0.000342 | -0.000457 | -0.000724 | -0.001024 | -0.000979 | -0.000882 | -0.000934 | -0.000987 | -0.001078 | -0.000856 | -0.000566 | -0.000357 | -0.000236 | -0.000102 | 0 | -0.000186 | -0.000608 | -0.000895 | -0.001259 | -0.001598 | -0.001879 | -0.002185 | -0.002379 | -0.002485 | -0.002433
0.002159 | 0.001933 | 0.001593 | 0.001536 | 0.001143 | 0.000749 | 0.000345 | 1.4e-05 | -0.000214 | -0.000461 | -0.000736 | -0.000899 | -0.001221 | -0.001461 | -0.001431 | -0.001292 | -0.001272 | -0.001183 | -0.001171 | -0.000919 | -0.000547 | -0.000328 | -0.000287 | -9.5e-05 | 0 | -0.000241 | -0.000654 | -0.000956 | -0.001238 | -0.001577 | -0.001878 | -0.002174 | -0.002342 | -0.002404 | -0.002332
0.002068 | 0.001769 | 0.001418 | 0.001305 | 0.000766 | 0.00039 | 1.4e-05 | -0.00019 | -0.000394 | -0.000584 | -0.000742 | -0.000866 | -0.001104 | -0.001302 | -0.001193 | -0.001064 | -0.001 | -0.001009 | -0.000985 | -0.000752 | -0.000467 | -0.000321 | -0.000197 | -8.9e-05 | 0 | -0.000149 | -0.000522 | -0.000723 | -0.001111 | -0.001471 | -0.001755 | -0.002085 | -0.002284 | -0.002384 | -0.002303
0.001712 | 0.00147 | 0.001179 | 0.001112 | 0.000727 | 0.000367 | 4.3e-05 | -0.000244 | -0.000395 | -0.000575 | -0.000801 | -0.000909 | -0.001139 | -0.001413 | -0.00129 | -0.001193 | -0.001138 | -0.001125 | -0.001126 | -0.000924 | -0.000596 | -0.000372 | -0.000295 | -0.000139 | 0 | -0.000234 | -0.000653 | -0.000987 | -0.001289 | -0.001631 | -0.001915 | -0.002236 | -0.002428 | -0.002496 | -0.002465
0.001866 | 0.001639 | 0.001278 | 0.001168 | 0.000744 | 0.000385 | 1.1e-05 | -0.000283 | -0.000506 | -0.000707 | -0.000843 | -0.000938 | -0.001218 | -0.001405 | -0.001368 | -0.001193 | -0.00112 | -0.00105 | -0.001058 | -0.000754 | -0.00041 | -0.000227 | -0.000173 | -5.4e-05 | 0 | -0.000188 | -0.000597 | -0.000841 | -0.001101 | -0.001427 | -0.001733 | -0.002017 | -0.002221 | -0.002296 | -0.002207
0.001575 | 0.001285 | 0.000995 | 0.000912 | 0.000457 | 7.4e-05 | -0.000257 | -0.000447 | -0.000628 | -0.000739 | -0.000907 | -0.001007 | -0.001206 | -0.00142 | -0.001275 | -0.001076 | -0.001057 | -0.001094 | -0.001029 | -0.000871 | -0.000571 | -0.000414 | -0.000267 | -0.000153 | 0 | -0.000136 | -0.000459 | -0.00072 | -0.001102 | -0.001456 | -0.001722 | -0.00206 | -0.002241 | -0.00237 | -0.002352
0.001165 | 0.000942 | 0.000614 | 0.000527 | 0.000174 | -0.000125 | -0.000445 | -0.000747 | -0.000897 | -0.001069 | -0.001246 | -0.001262 | -0.001493 | -0.001744 | -0.001602 | -0.001493 | -0.001362 | -0.001318 | -0.001337 | -0.001041 | -0.000665 | -0.000371 | -0.000331 | -0.000124 | 0 | -0.0002 | -0.000656 | -0.000953 | -0.001201 | -0.00152 | -0.001775 | -0.002057 | -0.002282 | -0.002319 | -0.002232
0.001314 | 0.001106 | 0.000803 | 0.00072 | 0.000294 | -4.9e-05 | -0.000392 | -0.000602 | -0.000802 | -0.000953 | -0.001044 | -0.001105 | -0.00131 | -0.001401 | -0.001359 | -0.001121 | -0.001061 | -0.000976 | -0.000946 | -0.000671 | -0.000406 | -0.000273 | -0.000172 | -7.9e-05 | 0 | -0.000136 | -0.000485 | -0.00069 | -0.001 | -0.001352 | -0.001613 | -0.001937 | -0.002115 | -0.002225 | -0.002188
0.001047 | 0.000739 | 0.000464 | 0.000386 | -1.6e-05 | -0.000357 | -0.000631 | -0.000824 | -0.000943 | -0.001015 | -0.001175 | -0.001233 | -0.001401 | -0.001662 | -0.001407 | -0.001242 | -0.001193 | -0.001194 | -0.001198 | -0.001013 | -0.000719 | -0.000469 | -0.000365 | -0.000183 | 0 | -0.000179 | -0.000524 | -0.000764 | -0.001146 | -0.001457 | -0.001743 | -0.002033 | -0.00226 | -0.002345 | -0.002317
0.001 | 0.000857 | 0.000502 | 0.000413 | 5.6e-05 | -0.000252 | -0.000577 | -0.000904 | -0.00103 | -0.001234 | -0.00136 | -0.001358 | -0.001639 | -0.001739 | -0.001739 | -0.001561 | -0.001433 | -0.0013 | -0.001286 | -0.000959 | -0.00054 | -0.000305 | -0.000269 | -7.1e-05 | 0 | -0.000226 | -0.000656 | -0.000998 | -0.001136 | -0.001454 | -0.001694 | -0.002036 | -0.002211 | -0.002225 | -0.002141
0.001275 | 0.000999 | 0.000725 | 0.000628 | 0.000132 | -0.000215 | -0.000571 | -0.000706 | -0.000917 | -0.000997 | -0.001071 | -0.001104 | -0.001294 | -0.001418 | -0.001214 | -0.000961 | -0.000902 | -0.000883 | -0.000872 | -0.000643 | -0.000411 | -0.000301 | -0.000214 | -0.000156 | 0 | -5.6e-05 | -0.000388 | -0.000507 | -0.00089 | -0.00121 | -0.001513 | -0.001789 | -0.002004 | -0.002125 | -0.002033
0.000955 | 0.000703 | 0.000393 | 0.000279 | -7.4e-05 | -0.000376 | -0.000649 | -0.000902 | -0.000985 | -0.001121 | -0.001286 | -0.001318 | -0.001491 | -0.00172 | -0.001495 | -0.001407 | -0.001335 | -0.00135 | -0.001262 | -0.001118 | -0.000792 | -0.000472 | -0.000342 | -0.000101 | 0 | -0.000179 | -0.000585 | -0.000923 | -0.001233 | -0.001488 | -0.001754 | -0.002074 | -0.002309 | -0.002374 | -0.002354
0.001357 | 0.001185 | 0.000773 | 0.000635 | 0.00023 | -0.000109 | -0.000456 | -0.000779 | -0.001022 | -0.001194 | -0.001234 | -0.001283 | -0.001524 | -0.001565 | -0.001561 | -0.001324 | -0.001188 | -0.000978 | -0.001046 | -0.000678 | -0.00029 | -0.000182 | -0.000175 | -7e-05 | 0 | -0.000211 | -0.000575 | -0.000749 | -0.000943 | -0.001305 | -0.001529 | -0.001822 | -0.001972 | -0.002036 | -0.001992
0.00158 | 0.001253 | 0.000992 | 0.00086 | 0.000366 | -2.5e-05 | -0.000401 | -0.000531 | -0.000692 | -0.000765 | -0.000862 | -0.000901 | -0.001057 | -0.001268 | -0.001014 | -0.000795 | -0.000769 | -0.000851 | -0.000772 | -0.000712 | -0.000512 | -0.000326 | -0.000169 | -0.00016 | 0 | -0.000103 | -0.000353 | -0.000609 | -0.000996 | -0.001344 | -0.001676 | -0.00199 | -0.002172 | -0.002366 | -0.002347
0.001477 | 0.001223 | 0.000814 | 0.000667 | 0.000301 | 4e-06 | -0.000319 | -0.000671 | -0.00083 | -0.001011 | -0.001156 | -0.001215 | -0.001419 | -0.00162 | -0.001498 | -0.00138 | -0.001325 | -0.001251 | -0.001232 | -0.00102 | -0.00061 | -0.000329 | -0.000293 | -3.9e-05 | 0 | -0.000263 | -0.000736 | -0.001061 | -0.001286 | -0.001551 | -0.001786 | -0.002145 | -0.002392 | -0.002397 | -0.002327
0.001784 | 0.001544 | 0.001095 | 0.000981 | 0.000431 | 5.3e-05 | -0.000381 | -0.000655 | -0.000899 | -0.00104 | -0.001108 | -0.001077 | -0.001309 | -0.001301 | -0.001314 | -0.000981 | -0.000894 | -0.000766 | -0.000758 | -0.000481 | -0.000223 | -8.7e-05 | -9.8e-05 | -0.000102 | 0 | -9.3e-05 | -0.00041 | -0.000551 | -0.000789 | -0.001108 | -0.001374 | -0.001689 | -0.001851 | -0.001972 | -0.001921
0.001439 | 0.001079 | 0.000812 | 0.000683 | 0.000246 | -0.00015 | -0.000492 | -0.000604 | -0.000767 | -0.000891 | -0.000995 | -0.001116 | -0.001177 | -0.001444 | -0.00114 | -0.000992 | -0.001026 | -0.001066 | -0.001022 | -0.000964 | -0.00066 | -0.000522 | -0.00035 | -0.000191 | 0 | -0.000125 | -0.000416 | -0.00069 | -0.001055 | -0.00133 | -0.001678 | -0.001954 | -0.002222 | -0.002338 | -0.002373
0.001237 | 0.001083 | 0.000606 | 0.000471 | 0.000133 | -0.000195 | -0.000545 | -0.000927 | -0.001063 | -0.001275 | -0.001426 | -0.001389 | -0.001671 | -0.001759 | -0.001758 | -0.001535 | -0.001402 | -0.001234 | -0.001199 | -0.000883 | -0.000469 | -0.000255 | -0.000209 | -4.4e-05 | 0 | -0.000213 | -0.000704 | -0.00098 | -0.001077 | -0.001369 | -0.001528 | -0.001897 | -0.002109 | -0.002138 | -0.002094
0.001907 | 0.001609 | 0.001265 | 0.001157 | 0.00059 | 0.000157 | -0.000269 | -0.000422 | -0.000693 | -0.000857 | -0.000893 | -0.000928 | -0.001052 | -0.001173 | -0.000983 | -0.000687 | -0.000678 | -0.000615 | -0.000634 | -0.000475 | -0.000252 | -0.000196 | -0.000102 | -0.000128 | 0 | 4e-06 | -0.000218 | -0.00034 | -0.00066 | -0.000981 | -0.001261 | -0.001525 | -0.001708 | -0.001892 | -0.00185
0.001241 | 0.000947 | 0.000623 | 0.000524 | 0.000122 | -0.000202 | -0.00055 | -0.000826 | -0.000915 | -0.001032 | -0.001218 | -0.00129 | -0.001427 | -0.001663 | -0.001371 | -0.001285 | -0.001234 | -0.001258 | -0.00115 | -0.001085 | -0.000721 | -0.000379 | -0.000259 | -0.000179 | 0 | -0.000173 | -0.000526 | -0.000833 | -0.001069 | -0.001281 | -0.001614 | -0.001911 | -0.002172 | -0.002219 | -0.002291
0.001505 | 0.001339 | 0.000898 | 0.000748 | 0.000331 | -4.1e-05 | -0.000464 | -0.000825 | -0.001062 | -0.001261 | -0.001326 | -0.001336 | -0.001579 | -0.00162 | -0.001612 | -0.001375 | -0.001177 | -0.001058 | -0.001074 | -0.000706 | -0.000255 | -0.000196 | -0.000212 | -2e-05 | 0 | -0.000184 | -0.00052 | -0.000697 | -0.000818 | -0.00109 | -0.001197 | -0.001573 | -0.001761 | -0.00185 | -0.001827
0.001719 | 0.001319 | 0.001027 | 0.00092 | 0.000386 | -5.7e-05 | -0.000494 | -0.000611 | -0.000826 | -0.000937 | -0.001032 | -0.001046 | -0.001213 | -0.001311 | -0.001111 | -0.000788 | -0.000886 | -0.000827 | -0.00077 | -0.000693 | -0.000529 | -0.000315 | -0.000139 | -0.000108 | 0 | 4.6e-05 | -0.000129 | -0.000295 | -0.000614 | -0.000886 | -0.001202 | -0.001494 | -0.001633 | -0.001878 | -0.001915
0.001229 | 0.001025 | 0.000601 | 0.000497 | 0.000128 | -0.000254 | -0.000585 | -0.000994 | -0.001092 | -0.001234 | -0.001474 | -0.001496 | -0.001633 | -0.001891 | -0.00168 | -0.001585 | -0.001434 | -0.001407 | -0.001336 | -0.001111 | -0.000768 | -0.00043 | -0.000452 | -0.000102 | 0 | -0.000216 | -0.000588 | -0.000902 | -0.001033 | -0.00113 | -0.001347 | -0.001615 | -0.0019 | -0.001877 | -0.001902
0.001822 | 0.001594 | 0.001176 | 0.001122 | 0.000547 | 0.000156 | -0.000264 | -0.000555 | -0.000895 | -0.001099 | -0.00111 | -0.001143 | -0.001388 | -0.001337 | -0.001386 | -0.001133 | -0.000987 | -0.000798 | -0.000844 | -0.000501 | -0.000209 | -0.000121 | -0.000142 | -1.3e-05 | 0 | -8.6e-05 | -0.000334 | -0.000391 | -0.000591 | -0.000922 | -0.001023 | -0.001395 | -0.001555 | -0.00166 | -0.001689
0.00174 | 0.001285 | 0.001007 | 0.000875 | 0.000398 | -4.1e-05 | -0.000508 | -0.000695 | -0.000854 | -0.000954 | -0.001096 | -0.001157 | -0.00123 | -0.001559 | -0.001207 | -0.001031 | -0.001038 | -0.00108 | -0.000968 | -0.000936 | -0.000696 | -0.00049 | -0.000357 | -0.000142 | 0 | 1.1e-05 | -0.000217 | -0.000455 | -0.000769 | -0.000931 | -0.00129 | -0.00154 | -0.001736 | -0.001932 | -0.001894
0.001487 | 0.001338 | 0.000863 | 0.000807 | 0.000422 | -1.7e-05 | -0.000327 | -0.00082 | -0.00099 | -0.001178 | -0.001374 | -0.001396 | -0.001654 | -0.001748 | -0.001678 | -0.001607 | -0.001377 | -0.001226 | -0.001231 | -0.001004 | -0.000572 | -0.000263 | -0.000204 | -4.1e-05 | 0 | -0.000214 | -0.000627 | -0.000875 | -0.000981 | -0.001155 | -0.00134 | -0.001658 | -0.001902 | -0.001945 | -0.001909
0.001863 | 0.001594 | 0.00123 | 0.001169 | 0.000577 | 0.000133 | -0.000399 | -0.00063 | -0.000857 | -0.001054 | -0.001115 | -0.001119 | -0.001301 | -0.001372 | -0.001273 | -0.001007 | -0.000936 | -0.000747 | -0.000836 | -0.000591 | -0.000255 | -0.000167 | -0.000296 | -0.000155 | 0 | -4.4e-05 | -0.000193 | -0.000286 | -0.000535 | -0.000829 | -0.000973 | -0.001314 | -0.001526 | -0.001653 | -0.001647
0.001373 | 0.00104 | 0.000814 | 0.000754 | 0.00037 | -8.4e-05 | -0.000412 | -0.000675 | -0.000857 | -0.000982 | -0.001184 | -0.001233 | -0.001392 | -0.001607 | -0.001232 | -0.001153 | -0.001092 | -0.001166 | -0.001023 | -0.00098 | -0.000711 | -0.000438 | -0.000225 | 1.3e-05 | 0 | 7.3e-05 | -0.000313 | -0.000527 | -0.000795 | -0.000892 | -0.001248 | -0.001453 | -0.001722 | -0.001762 | -0.001793
0.001661 | 0.00152 | 0.000988 | 0.000966 | 0.000569 | 0.000129 | -0.000319 | -0.000724 | -0.000975 | -0.001242 | -0.001317 | -0.001328 | -0.001587 | -0.001729 | -0.001675 | -0.001528 | -0.001424 | -0.001117 | -0.001185 | -0.000875 | -0.000385 | -0.000315 | -0.000243 | -2.2e-05 | 0 | -0.00015 | -0.000561 | -0.000701 | -0.000738 | -0.001039 | -0.001123 | -0.001483 | -0.001594 | -0.001753 | -0.001636
0.002165 | 0.001776 | 0.001488 | 0.001438 | 0.000892 | 0.000365 | -0.000155 | -0.000359 | -0.000668 | -0.000762 | -0.000861 | -0.000886 | -0.001046 | -0.001177 | -0.001007 | -0.000787 | -0.000755 | -0.000757 | -0.000648 | -0.000488 | -0.000416 | -0.000254 | -0.000216 | -0.000151 | 0 | 3.2e-05 | -0.000171 | -0.000217 | -0.000548 | -0.000803 | -0.001146 | -0.001386 | -0.00162 | -0.001694 | -0.001642
0.001697 | 0.001424 | 0.001053 | 0.001077 | 0.00069 | 0.000171 | -0.000165 | -0.000503 | -0.000661 | -0.000901 | -0.001134 | -0.001166 | -0.0014 | -0.001628 | -0.001391 | -0.001379 | -0.001282 | -0.001186 | -0.001153 | -0.001043 | -0.000653 | -0.000315 | -0.00027 | -3.4e-05 | 0 | -0.000124 | -0.000444 | -0.000771 | -0.00097 | -0.001038 | -0.001342 | -0.001494 | -0.001835 | -0.001852 | -0.001888
0.001028 | 0.001058 | 0.000647 | 0.000684 | 0.000361 | -0.000107 | -0.000552 | -0.000921 | -0.001201 | -0.001472 | -0.001467 | -0.001411 | -0.001661 | -0.001624 | -0.001767 | -0.001412 | -0.001151 | -0.000946 | -0.000815 | -0.000407 | -8.1e-05 | 0.000103 | -9.6e-05 | 0.000252 | 0 | -3e-06 | -0.000239 | -0.000253 | -0.00022 | -0.000674 | -0.000724 | -0.001055 | -0.001085 | -0.001201 | -0.001075

## ACS169_CC_taarray
0.038512 | 0.037356 | 0.035465 | 0.034086 | 0.032001 | 0.030441 | 0.029213 | 0.027366 | 0.026281 | 0.023391 | 0.021775 | 0.0212 | 0.020015 | 0.017647 | 0.016874 | 0.014426 | 0.012196 | 0.010542 | 0.008802 | 0.007759 | 0.006767 | 0.004943 | 0.003507 | 0.002967 | 0 | 0.000196 | -0.002749 | -0.003478 | -0.004014 | -0.005835 | -0.007336 | -0.007429 | -0.008622 | -0.010319 | -0.010913
0.035754 | 0.034876 | 0.03352 | 0.032613 | 0.03064 | 0.029381 | 0.027945 | 0.026904 | 0.025704 | 0.023298 | 0.021987 | 0.021646 | 0.019676 | 0.018436 | 0.017411 | 0.015372 | 0.013207 | 0.01146 | 0.009904 | 0.007868 | 0.006737 | 0.004825 | 0.003821 | 0.002537 | 0 | 0.000472 | -0.002007 | -0.002659 | -0.003414 | -0.005452 | -0.00717 | -0.007416 | -0.008728 | -0.010517 | -0.011382
0.036474 | 0.035695 | 0.034334 | 0.033497 | 0.031868 | 0.031104 | 0.029564 | 0.028387 | 0.026989 | 0.025389 | 0.02395 | 0.022635 | 0.021018 | 0.01945 | 0.018266 | 0.016081 | 0.013557 | 0.011907 | 0.010194 | 0.008197 | 0.006847 | 0.005327 | 0.003678 | 0.002106 | 0 | -0.000737 | -0.002784 | -0.004087 | -0.005378 | -0.006996 | -0.008892 | -0.009465 | -0.010992 | -0.013038 | -0.014275
0.039049 | 0.038668 | 0.037507 | 0.036413 | 0.03478 | 0.033741 | 0.032361 | 0.030742 | 0.029382 | 0.027539 | 0.025766 | 0.024864 | 0.022848 | 0.021255 | 0.019859 | 0.017658 | 0.015093 | 0.013584 | 0.011343 | 0.009429 | 0.008123 | 0.006126 | 0.004328 | 0.002394 | 0 | -0.000924 | -0.003185 | -0.004601 | -0.006146 | -0.007535 | -0.009613 | -0.010724 | -0.012358 | -0.014375 | -0.015803
0.040805 | 0.040547 | 0.039627 | 0.038684 | 0.037058 | 0.035856 | 0.034296 | 0.032697 | 0.031246 | 0.029274 | 0.027702 | 0.026398 | 0.024587 | 0.022484 | 0.021292 | 0.018932 | 0.016314 | 0.014256 | 0.012444 | 0.010185 | 0.008039 | 0.006124 | 0.004118 | 0.002393 | 0 | -0.001064 | -0.003458 | -0.00482 | -0.006789 | -0.008485 | -0.010555 | -0.011792 | -0.013811 | -0.016357 | -0.017755
0.040633 | 0.040502 | 0.039491 | 0.038591 | 0.037163 | 0.036041 | 0.034454 | 0.032922 | 0.031565 | 0.029569 | 0.02784 | 0.026403 | 0.024381 | 0.022726 | 0.021079 | 0.018798 | 0.016488 | 0.014483 | 0.012253 | 0.010321 | 0.008367 | 0.006217 | 0.004502 | 0.002521 | 0 | -0.001193 | -0.003385 | -0.00513 | -0.007066 | -0.008504 | -0.010712 | -0.011943 | -0.013952 | -0.016104 | -0.018132
0.039593 | 0.039392 | 0.038357 | 0.037362 | 0.035817 | 0.034837 | 0.033289 | 0.03189 | 0.030344 | 0.028674 | 0.026967 | 0.025684 | 0.023671 | 0.021992 | 0.020612 | 0.01835 | 0.016094 | 0.014348 | 0.012111 | 0.009996 | 0.008182 | 0.00628 | 0.004242 | 0.00219 | 0 | -0.001205 | -0.00335 | -0.00485 | -0.006691 | -0.008531 | -0.010293 | -0.011682 | -0.013624 | -0.015854 | -0.017427
0.037532 | 0.03719 | 0.03631 | 0.035335 | 0.033867 | 0.032861 | 0.031385 | 0.030176 | 0.028988 | 0.027317 | 0.025739 | 0.024449 | 0.022721 | 0.020861 | 0.019769 | 0.017573 | 0.015521 | 0.013614 | 0.011653 | 0.009647 | 0.007811 | 0.005692 | 0.00409 | 0.002109 | 0 | -0.001131 | -0.003129 | -0.004597 | -0.006394 | -0.008038 | -0.010003 | -0.011155 | -0.013037 | -0.015125 | -0.0166
0.036164 | 0.03579 | 0.034699 | 0.033806 | 0.032483 | 0.031414 | 0.030067 | 0.028673 | 0.027402 | 0.025807 | 0.024441 | 0.02311 | 0.02138 | 0.019782 | 0.018555 | 0.016479 | 0.01447 | 0.012816 | 0.010867 | 0.009032 | 0.007188 | 0.005445 | 0.003507 | 0.001981 | 0 | -0.001464 | -0.00328 | -0.004681 | -0.006286 | -0.007876 | -0.009448 | -0.010588 | -0.012452 | -0.014419 | -0.015669
0.034799 | 0.034316 | 0.03332 | 0.032282 | 0.030888 | 0.029941 | 0.02861 | 0.027396 | 0.026145 | 0.024695 | 0.023421 | 0.02218 | 0.020631 | 0.01916 | 0.01789 | 0.01595 | 0.014178 | 0.012489 | 0.010649 | 0.008899 | 0.007239 | 0.005428 | 0.003744 | 0.001958 | 0 | -0.001212 | -0.002851 | -0.004222 | -0.005662 | -0.007392 | -0.008908 | -0.010178 | -0.011624 | -0.013476 | -0.014663
0.033129 | 0.032656 | 0.03169 | 0.030682 | 0.029483 | 0.028431 | 0.027292 | 0.026099 | 0.025042 | 0.023547 | 0.022277 | 0.021094 | 0.019655 | 0.018079 | 0.017016 | 0.015182 | 0.01346 | 0.011788 | 0.010033 | 0.008255 | 0.006571 | 0.00506 | 0.003528 | 0.001673 | 0 | -0.001143 | -0.002782 | -0.004094 | -0.00566 | -0.007169 | -0.008633 | -0.009675 | -0.011186 | -0.012848 | -0.014011
0.031931 | 0.031477 | 0.030424 | 0.029432 | 0.028261 | 0.027284 | 0.026065 | 0.024895 | 0.023814 | 0.022504 | 0.02118 | 0.019966 | 0.018605 | 0.017202 | 0.016052 | 0.014286 | 0.012762 | 0.011162 | 0.00954 | 0.007937 | 0.006496 | 0.004895 | 0.003278 | 0.001596 | 0 | -0.001112 | -0.002734 | -0.003981 | -0.005278 | -0.006829 | -0.00816 | -0.009205 | -0.010611 | -0.01218 | -0.013217
0.030734 | 0.030278 | 0.029316 | 0.02838 | 0.027129 | 0.026185 | 0.025021 | 0.023987 | 0.022842 | 0.021644 | 0.020479 | 0.019359 | 0.017922 | 0.016731 | 0.015592 | 0.014018 | 0.012377 | 0.010916 | 0.009305 | 0.007724 | 0.006141 | 0.004591 | 0.003122 | 0.00149 | 0 | -0.000965 | -0.002432 | -0.003581 | -0.005095 | -0.006451 | -0.00778 | -0.008856 | -0.010083 | -0.011726 | -0.012668
0.029161 | 0.028719 | 0.027817 | 0.026859 | 0.025772 | 0.024881 | 0.02377 | 0.022687 | 0.021737 | 0.020592 | 0.019429 | 0.018371 | 0.017069 | 0.015796 | 0.014798 | 0.013151 | 0.011712 | 0.010238 | 0.008744 | 0.007165 | 0.00579 | 0.004284 | 0.002935 | 0.001508 | 0 | -0.001045 | -0.002368 | -0.0036 | -0.004869 | -0.00615 | -0.007472 | -0.008405 | -0.009708 | -0.011179 | -0.01211
0.028633 | 0.028179 | 0.027183 | 0.026256 | 0.025084 | 0.02422 | 0.023085 | 0.022038 | 0.020972 | 0.019936 | 0.018796 | 0.017769 | 0.016531 | 0.015344 | 0.014256 | 0.012822 | 0.011394 | 0.01011 | 0.00855 | 0.007159 | 0.005778 | 0.004323 | 0.002911 | 0.001481 | 0 | -0.001003 | -0.002241 | -0.003423 | -0.004658 | -0.005914 | -0.006999 | -0.008065 | -0.009265 | -0.010666 | -0.011495
0.027579 | 0.027068 | 0.026169 | 0.025267 | 0.024125 | 0.023236 | 0.022198 | 0.021245 | 0.020288 | 0.019246 | 0.018182 | 0.017113 | 0.015966 | 0.014764 | 0.013851 | 0.012493 | 0.010977 | 0.009713 | 0.008318 | 0.006817 | 0.005409 | 0.004017 | 0.002777 | 0.001326 | 0 | -0.000965 | -0.002165 | -0.003177 | -0.00448 | -0.005622 | -0.006787 | -0.007746 | -0.009002 | -0.010325 | -0.011208
0.026698 | 0.026203 | 0.025269 | 0.024339 | 0.023257 | 0.02241 | 0.021398 | 0.020344 | 0.019452 | 0.018425 | 0.017428 | 0.016387 | 0.015248 | 0.014186 | 0.013193 | 0.011822 | 0.010545 | 0.009238 | 0.007827 | 0.006486 | 0.005178 | 0.003959 | 0.002625 | 0.001323 | 0 | -0.000991 | -0.002151 | -0.003225 | -0.004398 | -0.005492 | -0.006582 | -0.007512 | -0.008737 | -0.009931 | -0.010802
0.025774 | 0.025298 | 0.024384 | 0.023519 | 0.022502 | 0.02164 | 0.020615 | 0.019722 | 0.018758 | 0.017792 | 0.016845 | 0.015821 | 0.014736 | 0.013749 | 0.012745 | 0.01152 | 0.010196 | 0.009002 | 0.007657 | 0.006364 | 0.005158 | 0.003862 | 0.002602 | 0.001289 | 0 | -0.000907 | -0.001963 | -0.002875 | -0.003997 | -0.005097 | -0.006201 | -0.007104 | -0.008236 | -0.0095 | -0.010317
0.02483 | 0.024337 | 0.023506 | 0.022606 | 0.021563 | 0.020711 | 0.019812 | 0.018888 | 0.018053 | 0.017146 | 0.016151 | 0.015257 | 0.014195 | 0.013085 | 0.012225 | 0.011055 | 0.009796 | 0.008599 | 0.007285 | 0.005991 | 0.004815 | 0.00353 | 0.002412 | 0.001166 | 0 | -0.000849 | -0.001932 | -0.002878 | -0.003982 | -0.004996 | -0.006041 | -0.006942 | -0.008082 | -0.009258 | -0.010066
0.023939 | 0.023517 | 0.022644 | 0.021808 | 0.020881 | 0.020064 | 0.019177 | 0.01827 | 0.017421 | 0.01652 | 0.015589 | 0.014666 | 0.013616 | 0.012656 | 0.011741 | 0.010587 | 0.009413 | 0.008323 | 0.007059 | 0.005851 | 0.004739 | 0.00358 | 0.002431 | 0.001199 | 0 | -0.000841 | -0.001843 | -0.002776 | -0.003745 | -0.004768 | -0.00575 | -0.00668 | -0.007764 | -0.008885 | -0.009663
0.023452 | 0.022963 | 0.022116 | 0.021272 | 0.020206 | 0.019394 | 0.018444 | 0.017624 | 0.01676 | 0.015884 | 0.015067 | 0.01419 | 0.013182 | 0.012269 | 0.011384 | 0.010319 | 0.009212 | 0.008115 | 0.00689 | 0.005721 | 0.004509 | 0.003383 | 0.002238 | 0.001073 | 0 | -0.000813 | -0.001742 | -0.002532 | -0.003544 | -0.004582 | -0.005526 | -0.006369 | -0.007423 | -0.008582 | -0.009326
0.022731 | 0.022251 | 0.021437 | 0.020609 | 0.019641 | 0.018892 | 0.017967 | 0.017161 | 0.016384 | 0.015485 | 0.014626 | 0.013793 | 0.012839 | 0.01184 | 0.011041 | 0.009953 | 0.008814 | 0.007769 | 0.006625 | 0.005464 | 0.004293 | 0.00328 | 0.002232 | 0.001062 | 0 | -0.000772 | -0.001671 | -0.002575 | -0.003538 | -0.004507 | -0.005445 | -0.006301 | -0.007344 | -0.008437 | -0.009157
0.022359 | 0.021892 | 0.021007 | 0.020158 | 0.019202 | 0.018387 | 0.017492 | 0.016663 | 0.015853 | 0.015009 | 0.014193 | 0.013377 | 0.012373 | 0.011529 | 0.010662 | 0.009599 | 0.008509 | 0.0075 | 0.006407 | 0.005308 | 0.004254 | 0.00318 | 0.002135 | 0.001048 | 0 | -0.000816 | -0.001668 | -0.002484 | -0.00334 | -0.004301 | -0.005171 | -0.006046 | -0.00708 | -0.008115 | -0.008794
0.021586 | 0.021083 | 0.020288 | 0.019464 | 0.018486 | 0.017721 | 0.016843 | 0.0161 | 0.015288 | 0.014557 | 0.013718 | 0.012905 | 0.012062 | 0.011145 | 0.010326 | 0.009387 | 0.008316 | 0.007281 | 0.006183 | 0.005105 | 0.004035 | 0.003022 | 0.002055 | 0.000964 | 0 | -0.000715 | -0.001545 | -0.002319 | -0.00322 | -0.004132 | -0.005031 | -0.005854 | -0.006841 | -0.007915 | -0.008615
0.021311 | 0.020832 | 0.019987 | 0.019166 | 0.018221 | 0.017431 | 0.016613 | 0.015783 | 0.01505 | 0.014244 | 0.013409 | 0.012632 | 0.01176 | 0.010869 | 0.010071 | 0.009033 | 0.008074 | 0.007057 | 0.006042 | 0.004944 | 0.003942 | 0.002976 | 0.002047 | 0.000986 | 0 | -0.000724 | -0.001572 | -0.002349 | -0.003207 | -0.004043 | -0.004945 | -0.005734 | -0.006703 | -0.007705 | -0.008397
0.020726 | 0.020239 | 0.019358 | 0.018552 | 0.017616 | 0.016849 | 0.015994 | 0.015226 | 0.01444 | 0.013703 | 0.012921 | 0.012177 | 0.011327 | 0.01051 | 0.009682 | 0.008756 | 0.007791 | 0.006894 | 0.005856 | 0.004878 | 0.003898 | 0.00289 | 0.001933 | 0.000923 | 0 | -0.000703 | -0.001458 | -0.002168 | -0.002991 | -0.00381 | -0.004647 | -0.005454 | -0.0064 | -0.007378 | -0.008072
0.020336 | 0.019797 | 0.018969 | 0.018155 | 0.017211 | 0.016435 | 0.015605 | 0.01488 | 0.014115 | 0.013411 | 0.01265 | 0.011855 | 0.011033 | 0.010197 | 0.00947 | 0.008556 | 0.007588 | 0.006638 | 0.005614 | 0.004663 | 0.003707 | 0.002714 | 0.001843 | 0.000877 | 0 | -0.000654 | -0.001429 | -0.002136 | -0.002969 | -0.003772 | -0.004639 | -0.005361 | -0.006295 | -0.007286 | -0.007942
0.019902 | 0.0194 | 0.018543 | 0.0177 | 0.016816 | 0.01602 | 0.015206 | 0.014412 | 0.01372 | 0.012992 | 0.012218 | 0.011466 | 0.010648 | 0.009853 | 0.009096 | 0.008179 | 0.007293 | 0.00637 | 0.005412 | 0.004452 | 0.003542 | 0.002668 | 0.001779 | 0.000848 | 0 | -0.000697 | -0.001419 | -0.002137 | -0.002906 | -0.003632 | -0.00444 | -0.005188 | -0.006084 | -0.006989 | -0.007673
0.019468 | 0.018937 | 0.018102 | 0.017288 | 0.016364 | 0.015579 | 0.014794 | 0.014038 | 0.01333 | 0.012645 | 0.01192 | 0.01119 | 0.010399 | 0.009649 | 0.008905 | 0.008052 | 0.007152 | 0.00631 | 0.00532 | 0.004409 | 0.003507 | 0.002593 | 0.001741 | 0.000801 | 0 | -0.000635 | -0.001305 | -0.001923 | -0.002708 | -0.003469 | -0.004195 | -0.00492 | -0.005834 | -0.006747 | -0.007371
0.018746 | 0.018212 | 0.017429 | 0.016636 | 0.015745 | 0.015007 | 0.014233 | 0.013514 | 0.012856 | 0.01214 | 0.011452 | 0.010738 | 0.009942 | 0.009193 | 0.008511 | 0.007678 | 0.006797 | 0.005924 | 0.005012 | 0.004124 | 0.003245 | 0.002408 | 0.001618 | 0.000741 | 0 | -0.000621 | -0.001317 | -0.001984 | -0.002717 | -0.0034 | -0.004164 | -0.004833 | -0.005716 | -0.006595 | -0.007207
0.018191 | 0.017714 | 0.0169 | 0.016099 | 0.015244 | 0.014517 | 0.013757 | 0.013037 | 0.01236 | 0.011711 | 0.011018 | 0.010366 | 0.009611 | 0.008865 | 0.008192 | 0.007378 | 0.006592 | 0.005778 | 0.004861 | 0.004062 | 0.003234 | 0.002415 | 0.001611 | 0.000754 | 0 | -0.000616 | -0.001238 | -0.001883 | -0.002515 | -0.003221 | -0.003917 | -0.004595 | -0.005418 | -0.006271 | -0.006842
0.018044 | 0.01752 | 0.016723 | 0.015933 | 0.015044 | 0.014306 | 0.013564 | 0.012885 | 0.012212 | 0.01158 | 0.010913 | 0.010203 | 0.009496 | 0.008773 | 0.008112 | 0.007303 | 0.006482 | 0.005696 | 0.004793 | 0.003942 | 0.003107 | 0.002292 | 0.00152 | 0.000735 | 0 | -0.000559 | -0.001173 | -0.001735 | -0.002421 | -0.003116 | -0.003773 | -0.004418 | -0.005215 | -0.006079 | -0.006635
0.017509 | 0.017021 | 0.016258 | 0.01548 | 0.01466 | 0.013955 | 0.013231 | 0.012518 | 0.011897 | 0.01126 | 0.010561 | 0.009916 | 0.009179 | 0.008444 | 0.007812 | 0.007016 | 0.006242 | 0.005441 | 0.004605 | 0.003805 | 0.003016 | 0.00223 | 0.001485 | 0.000731 | 0 | -0.000545 | -0.001188 | -0.001791 | -0.002417 | -0.003041 | -0.003734 | -0.004359 | -0.005121 | -0.005948 | -0.006457
0.017088 | 0.016611 | 0.015827 | 0.015053 | 0.014239 | 0.013511 | 0.012793 | 0.012114 | 0.011507 | 0.010872 | 0.010256 | 0.009607 | 0.008903 | 0.00826 | 0.0076 | 0.006812 | 0.006084 | 0.005338 | 0.004513 | 0.003744 | 0.002997 | 0.00219 | 0.001461 | 0.000697 | 0 | -0.00054 | -0.00111 | -0.001646 | -0.002259 | -0.002898 | -0.003517 | -0.004147 | -0.004872 | -0.005719 | -0.006158
0.016648 | 0.016163 | 0.015432 | 0.014688 | 0.013858 | 0.01316 | 0.012483 | 0.011838 | 0.011243 | 0.010626 | 0.010005 | 0.009383 | 0.008688 | 0.008026 | 0.00744 | 0.006645 | 0.005895 | 0.005165 | 0.004399 | 0.003589 | 0.002824 | 0.00203 | 0.001387 | 0.00065 | 0 | -0.000528 | -0.001099 | -0.001679 | -0.002311 | -0.002895 | -0.00354 | -0.004157 | -0.004829 | -0.005689 | -0.006128
0.016376 | 0.015915 | 0.015196 | 0.014462 | 0.013693 | 0.013021 | 0.012331 | 0.011678 | 0.011102 | 0.010478 | 0.009853 | 0.00926 | 0.008563 | 0.007891 | 0.007304 | 0.006498 | 0.005822 | 0.005102 | 0.0043 | 0.003556 | 0.002821 | 0.002066 | 0.001389 | 0.000664 | 0 | -0.00053 | -0.00111 | -0.001689 | -0.002302 | -0.002814 | -0.003457 | -0.004056 | -0.004719 | -0.005493 | -0.005922
0.016305 | 0.015811 | 0.015076 | 0.014322 | 0.013508 | 0.012809 | 0.012129 | 0.011468 | 0.010878 | 0.010284 | 0.009642 | 0.009056 | 0.008391 | 0.007746 | 0.007138 | 0.006408 | 0.00572 | 0.005028 | 0.00424 | 0.00351 | 0.002754 | 0.001957 | 0.001316 | 0.00063 | 0 | -0.000519 | -0.001094 | -0.001621 | -0.00224 | -0.002775 | -0.003361 | -0.004003 | -0.004601 | -0.005403 | -0.005772
0.016028 | 0.015549 | 0.014858 | 0.014129 | 0.013345 | 0.012675 | 0.012 | 0.011388 | 0.010823 | 0.010217 | 0.00959 | 0.009006 | 0.00833 | 0.007674 | 0.007135 | 0.006333 | 0.005673 | 0.004957 | 0.004177 | 0.003466 | 0.002685 | 0.001883 | 0.001275 | 0.000617 | 0 | -0.000523 | -0.001134 | -0.001727 | -0.002362 | -0.002809 | -0.003473 | -0.004087 | -0.004669 | -0.005468 | -0.005824
0.016165 | 0.015712 | 0.014983 | 0.014265 | 0.013518 | 0.012813 | 0.012135 | 0.011455 | 0.010913 | 0.010273 | 0.009636 | 0.009049 | 0.00838 | 0.007708 | 0.007121 | 0.006336 | 0.00572 | 0.004998 | 0.004211 | 0.003476 | 0.002701 | 0.001924 | 0.001317 | 0.000625 | 0 | -0.00055 | -0.001192 | -0.001763 | -0.002377 | -0.002849 | -0.003474 | -0.004121 | -0.004677 | -0.00543 | -0.005767
0.015986 | 0.015498 | 0.014793 | 0.014054 | 0.013262 | 0.012565 | 0.011896 | 0.011263 | 0.010723 | 0.01012 | 0.009513 | 0.008957 | 0.008302 | 0.007654 | 0.007083 | 0.006325 | 0.005685 | 0.00498 | 0.004197 | 0.00346 | 0.002675 | 0.001886 | 0.001251 | 0.000587 | 0 | -0.000543 | -0.001173 | -0.001742 | -0.002405 | -0.002875 | -0.003525 | -0.004157 | -0.004719 | -0.005466 | -0.005799
0.01599 | 0.015535 | 0.014859 | 0.014143 | 0.013403 | 0.012726 | 0.01203 | 0.011394 | 0.010864 | 0.010225 | 0.009604 | 0.009039 | 0.00836 | 0.007726 | 0.00713 | 0.006368 | 0.00572 | 0.004991 | 0.004205 | 0.003473 | 0.002678 | 0.001928 | 0.001245 | 0.000613 | 0 | -0.000563 | -0.001217 | -0.001819 | -0.002448 | -0.002919 | -0.003578 | -0.004188 | -0.004775 | -0.005472 | -0.005809
0.016852 | 0.016367 | 0.015607 | 0.014861 | 0.014089 | 0.013416 | 0.012715 | 0.01204 | 0.011426 | 0.010791 | 0.010106 | 0.009477 | 0.008759 | 0.008118 | 0.007483 | 0.006702 | 0.005997 | 0.005218 | 0.004391 | 0.003614 | 0.002859 | 0.002095 | 0.001399 | 0.000671 | 0 | -0.000565 | -0.001147 | -0.00172 | -0.002252 | -0.002803 | -0.003353 | -0.003856 | -0.004506 | -0.005169 | -0.005587
0.016938 | 0.016445 | 0.015664 | 0.014921 | 0.014128 | 0.013445 | 0.012698 | 0.012024 | 0.011404 | 0.010777 | 0.010123 | 0.00948 | 0.008795 | 0.008181 | 0.007508 | 0.006766 | 0.006041 | 0.005276 | 0.004462 | 0.003703 | 0.002941 | 0.002158 | 0.001442 | 0.00067 | 0 | -0.000553 | -0.001138 | -0.001718 | -0.002281 | -0.002831 | -0.003403 | -0.00393 | -0.004515 | -0.005185 | -0.005615
0.016766 | 0.016284 | 0.015576 | 0.014865 | 0.014082 | 0.01342 | 0.012728 | 0.012077 | 0.011474 | 0.010852 | 0.010207 | 0.009583 | 0.008903 | 0.008245 | 0.007635 | 0.006864 | 0.006086 | 0.005319 | 0.004496 | 0.003718 | 0.002907 | 0.002145 | 0.001425 | 0.000665 | 0 | -0.000562 | -0.001143 | -0.001717 | -0.002311 | -0.00287 | -0.003432 | -0.003955 | -0.00454 | -0.005195 | -0.005599
0.016587 | 0.016111 | 0.01535 | 0.014618 | 0.013877 | 0.013247 | 0.012552 | 0.011909 | 0.011306 | 0.010724 | 0.010058 | 0.009438 | 0.008766 | 0.00815 | 0.007502 | 0.006741 | 0.006029 | 0.005273 | 0.004452 | 0.003668 | 0.002888 | 0.00214 | 0.00144 | 0.000696 | 0 | -0.000591 | -0.001198 | -0.00178 | -0.002371 | -0.002905 | -0.003474 | -0.003977 | -0.004561 | -0.005176 | -0.005537
0.016474 | 0.01597 | 0.015227 | 0.014497 | 0.013755 | 0.013096 | 0.012409 | 0.011801 | 0.011193 | 0.010581 | 0.009962 | 0.009345 | 0.008679 | 0.008069 | 0.007462 | 0.006747 | 0.00602 | 0.005259 | 0.004451 | 0.003702 | 0.002937 | 0.002165 | 0.001455 | 0.000667 | 0 | -0.000565 | -0.001134 | -0.001735 | -0.002322 | -0.002893 | -0.003435 | -0.003973 | -0.004482 | -0.005085 | -0.005452
0.01619 | 0.015714 | 0.015017 | 0.014323 | 0.01359 | 0.01295 | 0.012288 | 0.011668 | 0.011084 | 0.010498 | 0.009874 | 0.009255 | 0.008595 | 0.007958 | 0.007361 | 0.00662 | 0.005869 | 0.005128 | 0.004346 | 0.003566 | 0.002802 | 0.00204 | 0.001368 | 0.000626 | 0 | -0.000546 | -0.001117 | -0.001697 | -0.0023 | -0.002822 | -0.003416 | -0.003889 | -0.004411 | -0.004982 | -0.005329
0.01595 | 0.01549 | 0.014767 | 0.014065 | 0.013363 | 0.012747 | 0.012076 | 0.0115 | 0.010907 | 0.010346 | 0.009739 | 0.009162 | 0.008538 | 0.007966 | 0.007333 | 0.006617 | 0.005913 | 0.005181 | 0.004374 | 0.003629 | 0.002887 | 0.002136 | 0.001424 | 0.00069 | 0 | -0.00058 | -0.001181 | -0.001758 | -0.002347 | -0.002866 | -0.003401 | -0.003846 | -0.004314 | -0.004852 | -0.005159
0.015356 | 0.015005 | 0.014325 | 0.013665 | 0.012942 | 0.012341 | 0.011705 | 0.011119 | 0.010559 | 0.010018 | 0.009431 | 0.008874 | 0.008268 | 0.007698 | 0.007125 | 0.006438 | 0.00574 | 0.005009 | 0.004254 | 0.003501 | 0.00277 | 0.002017 | 0.001352 | 0.000624 | 0 | -0.00056 | -0.001114 | -0.001689 | -0.002295 | -0.002856 | -0.003397 | -0.003867 | -0.00434 | -0.004893 | -0.005237
0.015021 | 0.014614 | 0.013932 | 0.01328 | 0.0126 | 0.012032 | 0.01142 | 0.010855 | 0.010328 | 0.009786 | 0.009199 | 0.008632 | 0.008028 | 0.00747 | 0.00693 | 0.006215 | 0.005572 | 0.004864 | 0.004119 | 0.003396 | 0.002662 | 0.001976 | 0.001335 | 0.000629 | 0 | -0.000546 | -0.001117 | -0.0017 | -0.00227 | -0.002792 | -0.003344 | -0.003765 | -0.004224 | -0.004724 | -0.004992
0.014703 | 0.014264 | 0.013581 | 0.01295 | 0.01227 | 0.01167 | 0.011072 | 0.010532 | 0.009988 | 0.009476 | 0.008958 | 0.008414 | 0.007845 | 0.007276 | 0.006742 | 0.006077 | 0.00545 | 0.004792 | 0.004043 | 0.003362 | 0.002673 | 0.001962 | 0.001333 | 0.000632 | 0 | -0.000513 | -0.001053 | -0.001578 | -0.002106 | -0.002613 | -0.003105 | -0.003532 | -0.00396 | -0.004452 | -0.004769
0.014148 | 0.013698 | 0.013052 | 0.012417 | 0.011739 | 0.011192 | 0.010605 | 0.010084 | 0.009584 | 0.009087 | 0.00857 | 0.008054 | 0.007501 | 0.006931 | 0.006438 | 0.005801 | 0.00517 | 0.00452 | 0.003838 | 0.003169 | 0.00249 | 0.001829 | 0.001235 | 0.000569 | 0 | -0.000479 | -0.000988 | -0.001518 | -0.002088 | -0.00258 | -0.003117 | -0.003532 | -0.00398 | -0.004476 | -0.004802
0.013742 | 0.01332 | 0.012672 | 0.012043 | 0.011401 | 0.010861 | 0.010289 | 0.009771 | 0.009279 | 0.008783 | 0.008268 | 0.007774 | 0.007246 | 0.006782 | 0.006284 | 0.005664 | 0.005093 | 0.004462 | 0.003782 | 0.003137 | 0.002485 | 0.001848 | 0.001256 | 0.000601 | 0 | -0.000504 | -0.001038 | -0.001566 | -0.002084 | -0.00257 | -0.003079 | -0.003503 | -0.003933 | -0.0044 | -0.00471
0.013398 | 0.012985 | 0.012373 | 0.011765 | 0.01113 | 0.010592 | 0.010025 | 0.009533 | 0.009055 | 0.00857 | 0.008094 | 0.007596 | 0.00709 | 0.00663 | 0.006151 | 0.005557 | 0.004979 | 0.004384 | 0.00371 | 0.003067 | 0.002436 | 0.00177 | 0.001204 | 0.000564 | 0 | -0.000495 | -0.000995 | -0.001505 | -0.002029 | -0.002539 | -0.003039 | -0.003481 | -0.003927 | -0.004394 | -0.004693
0.01318 | 0.012744 | 0.012119 | 0.011531 | 0.010887 | 0.01037 | 0.009829 | 0.009339 | 0.008868 | 0.00841 | 0.007933 | 0.007473 | 0.006972 | 0.006507 | 0.006039 | 0.005433 | 0.004855 | 0.004249 | 0.003616 | 0.00293 | 0.002327 | 0.001724 | 0.001189 | 0.00056 | 0 | -0.000442 | -0.000924 | -0.00141 | -0.001931 | -0.002392 | -0.002887 | -0.003282 | -0.003745 | -0.004211 | -0.004527
0.012757 | 0.01237 | 0.011747 | 0.011151 | 0.010537 | 0.010006 | 0.009466 | 0.008957 | 0.008489 | 0.008057 | 0.007585 | 0.007119 | 0.006604 | 0.006174 | 0.00572 | 0.005163 | 0.004629 | 0.004068 | 0.003475 | 0.002864 | 0.002268 | 0.001674 | 0.001144 | 0.000571 | 0 | -0.000474 | -0.000937 | -0.001426 | -0.001891 | -0.00237 | -0.002854 | -0.003273 | -0.003718 | -0.004195 | -0.004498
0.01242 | 0.01201 | 0.011402 | 0.010836 | 0.010231 | 0.00971 | 0.009188 | 0.008741 | 0.00827 | 0.007847 | 0.007405 | 0.006971 | 0.006502 | 0.006079 | 0.005648 | 0.005107 | 0.004569 | 0.004004 | 0.003397 | 0.002809 | 0.002231 | 0.00163 | 0.00112 | 0.000519 | 0 | -0.000428 | -0.000879 | -0.001328 | -0.001806 | -0.002266 | -0.002755 | -0.003155 | -0.003585 | -0.004091 | -0.004419
0.011869 | 0.011476 | 0.010884 | 0.010339 | 0.009751 | 0.009264 | 0.008779 | 0.008312 | 0.007891 | 0.00746 | 0.007019 | 0.006625 | 0.006162 | 0.005747 | 0.005338 | 0.004806 | 0.004308 | 0.003784 | 0.003195 | 0.002631 | 0.002072 | 0.001527 | 0.001039 | 0.000509 | 0 | -0.000408 | -0.00084 | -0.001307 | -0.001799 | -0.002213 | -0.002712 | -0.0031 | -0.00355 | -0.004041 | -0.004343
0.011555 | 0.011195 | 0.010633 | 0.010119 | 0.009568 | 0.009096 | 0.0086 | 0.008153 | 0.007727 | 0.007325 | 0.006909 | 0.00649 | 0.006048 | 0.005663 | 0.005241 | 0.004741 | 0.004268 | 0.003755 | 0.003166 | 0.002653 | 0.002106 | 0.00157 | 0.001089 | 0.000518 | 0 | -0.000394 | -0.000825 | -0.001239 | -0.001707 | -0.002134 | -0.002606 | -0.00303 | -0.003483 | -0.003991 | -0.004284
0.011247 | 0.010888 | 0.010348 | 0.00983 | 0.00926 | 0.008809 | 0.008334 | 0.00789 | 0.007481 | 0.007088 | 0.006702 | 0.006309 | 0.005907 | 0.005487 | 0.005104 | 0.004603 | 0.004128 | 0.003615 | 0.003072 | 0.002536 | 0.002004 | 0.001488 | 0.00102 | 0.000467 | 0 | -0.000373 | -0.000769 | -0.001185 | -0.001662 | -0.002083 | -0.002541 | -0.002952 | -0.003438 | -0.003956 | -0.004286
0.010826 | 0.010475 | 0.009953 | 0.009445 | 0.008914 | 0.008472 | 0.008005 | 0.007587 | 0.00719 | 0.006818 | 0.006417 | 0.006036 | 0.005598 | 0.005228 | 0.004856 | 0.004383 | 0.003925 | 0.003427 | 0.002917 | 0.002411 | 0.001906 | 0.001434 | 0.000963 | 0.000458 | 0 | -0.000351 | -0.000776 | -0.001182 | -0.001621 | -0.00203 | -0.002498 | -0.002876 | -0.00337 | -0.00387 | -0.004221
0.010554 | 0.010221 | 0.009713 | 0.009246 | 0.008726 | 0.008302 | 0.007836 | 0.007442 | 0.00706 | 0.006705 | 0.006326 | 0.005956 | 0.00554 | 0.005171 | 0.004788 | 0.004349 | 0.00388 | 0.003421 | 0.002905 | 0.002405 | 0.001918 | 0.001416 | 0.000995 | 0.000465 | 0 | -0.000361 | -0.000723 | -0.001111 | -0.00155 | -0.001961 | -0.002421 | -0.002804 | -0.003288 | -0.003807 | -0.004142
0.010213 | 0.009891 | 0.009417 | 0.008952 | 0.008445 | 0.008026 | 0.007604 | 0.007222 | 0.006862 | 0.006497 | 0.006131 | 0.005789 | 0.005392 | 0.005017 | 0.004694 | 0.00422 | 0.003765 | 0.003314 | 0.002804 | 0.002331 | 0.001827 | 0.001346 | 0.000912 | 0.000438 | 0 | -0.00034 | -0.000714 | -0.001107 | -0.001523 | -0.001969 | -0.002391 | -0.002817 | -0.003302 | -0.003841 | -0.004191
0.010081 | 0.009765 | 0.009269 | 0.008799 | 0.008283 | 0.007899 | 0.007456 | 0.007079 | 0.006723 | 0.006373 | 0.005989 | 0.005649 | 0.00524 | 0.004908 | 0.004553 | 0.004092 | 0.003672 | 0.00323 | 0.002746 | 0.002262 | 0.001782 | 0.00135 | 0.000935 | 0.000435 | 0 | -0.000337 | -0.000716 | -0.001111 | -0.00151 | -0.001902 | -0.002345 | -0.002746 | -0.003217 | -0.003776 | -0.004113
0.010167 | 0.009857 | 0.009383 | 0.008937 | 0.008433 | 0.008028 | 0.007586 | 0.007195 | 0.006826 | 0.006463 | 0.006085 | 0.005744 | 0.005336 | 0.004987 | 0.004613 | 0.004204 | 0.00373 | 0.003273 | 0.002771 | 0.002303 | 0.001834 | 0.001365 | 0.000935 | 0.000459 | 0 | -0.000321 | -0.000699 | -0.001055 | -0.00148 | -0.001897 | -0.002334 | -0.002756 | -0.003237 | -0.003774 | -0.004167
0.009997 | 0.009666 | 0.00919 | 0.008731 | 0.008244 | 0.007845 | 0.007404 | 0.007043 | 0.00669 | 0.006319 | 0.005957 | 0.005618 | 0.00523 | 0.004882 | 0.004562 | 0.004093 | 0.003646 | 0.003194 | 0.002711 | 0.002232 | 0.00178 | 0.001315 | 0.000916 | 0.000421 | 0 | -0.000328 | -0.000692 | -0.001087 | -0.00147 | -0.001898 | -0.002346 | -0.002757 | -0.003276 | -0.003809 | -0.00417
0.009835 | 0.009522 | 0.009033 | 0.008605 | 0.008118 | 0.00773 | 0.007302 | 0.006918 | 0.006542 | 0.006211 | 0.005862 | 0.005508 | 0.005088 | 0.004788 | 0.004449 | 0.003986 | 0.003559 | 0.003156 | 0.002645 | 0.002195 | 0.001749 | 0.001304 | 0.000906 | 0.000453 | 0 | -0.000308 | -0.000681 | -0.001043 | -0.001431 | -0.001837 | -0.002284 | -0.002665 | -0.003173 | -0.003713 | -0.004083
0.009779 | 0.00945 | 0.008973 | 0.008525 | 0.008029 | 0.007639 | 0.007215 | 0.006843 | 0.006486 | 0.006153 | 0.005786 | 0.00547 | 0.005088 | 0.004743 | 0.004425 | 0.003984 | 0.003556 | 0.00312 | 0.002604 | 0.002179 | 0.001736 | 0.001315 | 0.000916 | 0.00043 | 0 | -0.000314 | -0.000673 | -0.001008 | -0.001408 | -0.001823 | -0.002268 | -0.002659 | -0.003148 | -0.0037 | -0.00405
0.009523 | 0.009205 | 0.008769 | 0.008343 | 0.007852 | 0.007498 | 0.007075 | 0.006699 | 0.006369 | 0.006045 | 0.005685 | 0.005351 | 0.004991 | 0.004643 | 0.004328 | 0.003895 | 0.003463 | 0.003037 | 0.002591 | 0.002123 | 0.001684 | 0.001245 | 0.00088 | 0.000399 | 0 | -0.000287 | -0.00068 | -0.001023 | -0.001407 | -0.001785 | -0.00226 | -0.002625 | -0.003131 | -0.003694 | -0.004052
0.009414 | 0.009102 | 0.008651 | 0.008223 | 0.00772 | 0.007387 | 0.006974 | 0.006582 | 0.006262 | 0.005963 | 0.005593 | 0.005277 | 0.004889 | 0.004566 | 0.004237 | 0.003836 | 0.003378 | 0.002973 | 0.002541 | 0.002099 | 0.001664 | 0.00122 | 0.000895 | 0.000418 | 0 | -0.000286 | -0.000631 | -0.000983 | -0.001358 | -0.001726 | -0.002172 | -0.002561 | -0.003041 | -0.0036 | -0.003966
0.009338 | 0.009004 | 0.008546 | 0.008127 | 0.007625 | 0.007258 | 0.006821 | 0.006468 | 0.006128 | 0.00581 | 0.005479 | 0.00516 | 0.004808 | 0.004481 | 0.004183 | 0.00378 | 0.003346 | 0.002951 | 0.002489 | 0.002078 | 0.001634 | 0.001245 | 0.000845 | 0.000408 | 0 | -0.000263 | -0.000581 | -0.000915 | -0.001308 | -0.001619 | -0.002078 | -0.002453 | -0.002931 | -0.003502 | -0.003791
0.008978 | 0.008674 | 0.008229 | 0.007807 | 0.007349 | 0.007018 | 0.006602 | 0.006257 | 0.005919 | 0.005638 | 0.005288 | 0.004975 | 0.004645 | 0.004301 | 0.004022 | 0.003639 | 0.003208 | 0.002829 | 0.002351 | 0.001933 | 0.001561 | 0.001137 | 0.000786 | 0.000354 | 0 | -0.000279 | -0.000618 | -0.000924 | -0.001292 | -0.001661 | -0.002047 | -0.002371 | -0.002891 | -0.003422 | -0.003768
0.008739 | 0.008446 | 0.008003 | 0.007612 | 0.007135 | 0.006798 | 0.006405 | 0.006054 | 0.00575 | 0.005467 | 0.005151 | 0.004824 | 0.004479 | 0.004172 | 0.003941 | 0.003518 | 0.003109 | 0.002742 | 0.002296 | 0.001921 | 0.001534 | 0.001121 | 0.000786 | 0.000374 | 0 | -0.000293 | -0.000589 | -0.000902 | -0.001239 | -0.001582 | -0.002006 | -0.00231 | -0.002809 | -0.003287 | -0.0036
0.008675 | 0.008352 | 0.00791 | 0.007539 | 0.007029 | 0.006737 | 0.006333 | 0.005988 | 0.005709 | 0.005389 | 0.005082 | 0.0048 | 0.004449 | 0.004158 | 0.003901 | 0.003487 | 0.00308 | 0.002738 | 0.002277 | 0.001922 | 0.001516 | 0.001143 | 0.00084 | 0.000415 | 0 | -0.000196 | -0.000522 | -0.000816 | -0.001165 | -0.001528 | -0.00193 | -0.002227 | -0.002658 | -0.003171 | -0.003469
0.0084 | 0.008098 | 0.007668 | 0.007271 | 0.006799 | 0.00649 | 0.00611 | 0.005756 | 0.005475 | 0.005183 | 0.004865 | 0.004588 | 0.004198 | 0.003969 | 0.003722 | 0.003293 | 0.002918 | 0.00255 | 0.00211 | 0.001728 | 0.001398 | 0.001007 | 0.000711 | 0.000366 | 0 | -0.000291 | -0.000586 | -0.000873 | -0.001203 | -0.001506 | -0.001897 | -0.002196 | -0.002626 | -0.003092 | -0.003404
0.008324 | 0.008018 | 0.007589 | 0.007202 | 0.00672 | 0.006439 | 0.006031 | 0.005719 | 0.005407 | 0.005124 | 0.004792 | 0.004529 | 0.004215 | 0.003976 | 0.003711 | 0.003317 | 0.002926 | 0.002615 | 0.00217 | 0.001812 | 0.001479 | 0.001095 | 0.000831 | 0.00037 | 0 | -0.000238 | -0.000476 | -0.000776 | -0.001083 | -0.001382 | -0.001762 | -0.00202 | -0.002412 | -0.002912 | -0.003174
0.008132 | 0.007816 | 0.007387 | 0.00703 | 0.006604 | 0.006294 | 0.005901 | 0.005605 | 0.005329 | 0.005057 | 0.004771 | 0.004526 | 0.004168 | 0.003901 | 0.003682 | 0.003247 | 0.002917 | 0.002573 | 0.002168 | 0.001784 | 0.001396 | 0.001063 | 0.000784 | 0.000355 | 0 | -0.000196 | -0.000484 | -0.000776 | -0.001137 | -0.001442 | -0.001819 | -0.002103 | -0.002518 | -0.003004 | -0.003242
0.008231 | 0.007949 | 0.007535 | 0.007172 | 0.006705 | 0.006415 | 0.006022 | 0.005749 | 0.005467 | 0.005214 | 0.004849 | 0.004653 | 0.004261 | 0.003992 | 0.00378 | 0.003365 | 0.002942 | 0.002651 | 0.002221 | 0.001872 | 0.00149 | 0.001088 | 0.000823 | 0.000408 | 0 | -0.0002 | -0.000497 | -0.000771 | -0.00111 | -0.001446 | -0.001805 | -0.002145 | -0.002511 | -0.003017 | -0.003282
0.00776 | 0.007485 | 0.007124 | 0.006863 | 0.006399 | 0.006156 | 0.005796 | 0.00551 | 0.005215 | 0.005 | 0.004735 | 0.00448 | 0.004168 | 0.0039 | 0.003724 | 0.003309 | 0.002951 | 0.002637 | 0.002172 | 0.001794 | 0.001419 | 0.001077 | 0.000792 | 0.000354 | 0 | -0.000206 | -0.000447 | -0.00074 | -0.001126 | -0.001396 | -0.001793 | -0.002028 | -0.002405 | -0.002954 | -0.003187
0.007886 | 0.007604 | 0.007241 | 0.006884 | 0.006431 | 0.006197 | 0.005826 | 0.005559 | 0.00528 | 0.005011 | 0.004747 | 0.004498 | 0.004171 | 0.003843 | 0.003722 | 0.003282 | 0.002872 | 0.002585 | 0.002135 | 0.001805 | 0.001398 | 0.001062 | 0.000761 | 0.000362 | 0 | -0.000206 | -0.000514 | -0.000784 | -0.001153 | -0.001452 | -0.001845 | -0.002079 | -0.002483 | -0.002918 | -0.003197
0.007753 | 0.007483 | 0.007128 | 0.006798 | 0.00637 | 0.006098 | 0.005772 | 0.00545 | 0.005175 | 0.004946 | 0.004641 | 0.004414 | 0.004131 | 0.003895 | 0.003687 | 0.003281 | 0.002926 | 0.002669 | 0.002182 | 0.0018 | 0.001494 | 0.001121 | 0.000842 | 0.000406 | 0 | -0.000161 | -0.000435 | -0.000721 | -0.001059 | -0.001375 | -0.00175 | -0.001955 | -0.002306 | -0.002752 | -0.003022
0.007787 | 0.007489 | 0.007156 | 0.006866 | 0.006408 | 0.00617 | 0.005838 | 0.005577 | 0.005323 | 0.005072 | 0.004826 | 0.004557 | 0.004226 | 0.003953 | 0.003813 | 0.003294 | 0.002979 | 0.002664 | 0.002153 | 0.001851 | 0.001475 | 0.001036 | 0.000811 | 0.000355 | 0 | -0.000139 | -0.000485 | -0.000746 | -0.001101 | -0.001411 | -0.001847 | -0.002033 | -0.002395 | -0.002937 | -0.003069
0.007709 | 0.007423 | 0.0071 | 0.006743 | 0.006324 | 0.006113 | 0.005713 | 0.005423 | 0.005195 | 0.004934 | 0.004642 | 0.004479 | 0.004109 | 0.003846 | 0.003727 | 0.003274 | 0.002884 | 0.002586 | 0.002164 | 0.001773 | 0.001401 | 0.00105 | 0.000858 | 0.00038 | 0 | -0.000205 | -0.000448 | -0.00077 | -0.001084 | -0.001367 | -0.001706 | -0.001959 | -0.002348 | -0.002759 | -0.003