## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
CE02SHBP-MJ01C | SN0025 | 2 | 2015-08-02 | 00:00:00Z | N/A | 44° 38.221' N | 124° 18.350' W | 82 m | TN326 |  | 44.637 | -124.3058 | Did not change Node - But Changed the Instruments
CE02SHBP-LJ01D | SN0009 | 2 | 2015-08-02 | 00:00:00Z | N/A | 44° 38.221' N | 124° 18.350' W | 82 m | TN326 |  | 44.637 | -124.3058

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
CE02SHBP-MJ01C-07-ZPLSCB101 | SN0025 | 2 | 5
CE02SHBP-MJ01C-08-CAMDSB107 | SN0025 | 2 | 0484-6002-108
CE02SHBP-LJ01D-11-HYDBBA106 | SN0009 | 2 | U1411 | CC_gain | 6
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_lat | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_lon | 44.637
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_scale_factor1 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_scale_factor2 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_scale_factor3 | 0.45
CE02SHBP-LJ01D-05-ADCPTB104 | SN0009 | 2 | 19003 | CC_scale_factor4 | 0.45
CE02SHBP-LJ01D-06-CTDBPN106 | SN0009 | 2 | 16-50114 | CC_lat | 44.637
CE02SHBP-LJ01D-06-CTDBPN106 | SN0009 | 2 | 16-50114 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | SN0009 | 2 | 311 | CC_lat | 44.637
CE02SHBP-LJ01D-06-DOSTAD106 | SN0009 | 2 | 311 | CC_lon | -124.3059
CE02SHBP-LJ01D-06-DOSTAD106 | SN0009 | 2 | 311 | CC_csv | [2.85346E-03, 1.20489E-04, 2.38822E-06, 2.30826E02, -3.41844E-01, -5.57001E01, 4.56542E00] | SUVFoilCoef? No temp coef?
CE02SHBP-LJ01D-07-VEL3DC108 | SN0009 | 2 | 5157 | CC_lat | 44.637
CE02SHBP-LJ01D-07-VEL3DC108 | SN0009 | 2 | 5157 | CC_lon | -124.3059
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_ea434 | 3073
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_ea620 | 44327
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_eb434 | 19706
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_eb620 | 34
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_calt | 14.635
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_cala | 0.0767
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_calb | 0.4333
CE02SHBP-LJ01D-09-PCO2WB103 | SN0009 | 2 | C0118 | CC_calc | -1.2901
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_ea434 | 17533 | Same values as before
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_eb434 | 2229 | Same values as before
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_ea578 | 101 | Same values as before
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_eb578 | 38502 | Same values as before
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_ind_slp | 1 | Same values as before
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_ind_off | 0
CE02SHBP-LJ01D-10-PHSEND103 | SN0009 | 2 | P0159 | CC_psal | 35
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_tcal | 19.2
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_cwlngth | [399.80000000, 403.00000000, 406.60000000, 409.80000000, 413.20000000, 416.90000000, 420.50000000, 424.70000000, 428.60000000, 432.40000000, 436.40000000, 440.20000000, 444.60000000, 448.80000000, 453.00000000, 457.60000000, 461.50000000, 465.70000000, 470.80000000, 475.40000000, 479.90000000, 483.90000000, 488.50000000, 492.70000000, 496.70000000, 500.80000000, 505.40000000, 509.70000000, 514.40000000, 519.90000000, 524.20000000, 528.50000000, 532.50000000, 536.50000000, 540.80000000, 544.70000000, 549.20000000, 552.90000000, 557.50000000, 562.00000000, 565.60000000, 569.60000000, 573.40000000, 576.90000000, 581.40000000, 585.30000000, 589.00000000, 592.70000000, 596.60000000, 601.10000000, 604.80000000, 609.30000000, 613.70000000, 617.70000000, 622.20000000, 626.00000000, 629.90000000, 634.00000000, 637.70000000, 641.60000000, 645.80000000, 649.90000000, 653.90000000, 658.10000000, 662.30000000, 666.20000000, 670.80000000, 674.20000000, 677.80000000, 681.90000000, 685.50000000, 688.70000000, 692.30000000, 696.00000000, 698.90000000, 702.30000000, 705.50000000, 708.70000000, 712.10000000, 715.00000000, 718.20000000, 721.30000000, 723.80000000, 727.00000000, 730.20000000, 732.40000000, 734.20000000, 737.30000000]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_ccwo | [ -2.30010400, -2.13803500, -1.97219000, -1.83434400, -1.69723400, -1.56776900, -1.44211200, -1.32798200, -1.22045900, -1.12445400, -1.02778800, -0.92560300, -0.83038200, -0.74685800, -0.68071400, -0.60674200, -0.53064000, -0.47260400, -0.40306900, -0.33715900, -0.28611600, -0.23909100, -0.18816600, -0.14346500, -0.09782400, -0.04940200, -0.01438300, 0.01782200, 0.04984200, 0.08789400, 0.12007900, 0.15448000, 0.18231000, 0.20365800, 0.23044700, 0.25738500, 0.28394400, 0.29988700, 0.31813000, 0.34558600, 0.36094900, 0.37337100, 0.38412900, 0.39638100, 0.39674000, 0.39737500, 0.39908400, 0.39509600, 0.37894600, 0.37098300, 0.36579500, 0.36864800, 0.38477500, 0.39111200, 0.40084600, 0.41070000, 0.41901500, 0.42820700, 0.43550700, 0.43878400, 0.44392500, 0.44253500, 0.44053900, 0.43623900, 0.43950300, 0.44160300, 0.44239400, 0.44382400, 0.44416500, 0.43643100, 0.41887700, 0.40253400, 0.37534500, 0.33293500, 0.28840900, 0.22912700, 0.15196000, 0.06286800, -0.04426200, -0.16706800, -0.30108800, -0.44226600, -0.60545800, -0.77842900, -0.95332000, -1.09994300, -1.21709500, -1.32610700]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_tbins | [ 1.55679100, 2.42048400, 3.47816900, 4.48092300, 5.47357100, 6.45588200, 7.48296300, 8.48956500, 9.49950000, 10.50750000, 11.50636400, 12.48826100, 13.45695700, 14.46500000, 15.49052600, 16.51705900, 17.49750000, 18.49058800, 19.50937500, 20.51625000, 21.52111100, 22.51178600, 23.47892900, 24.47076900, 25.49000000, 26.46740700, 27.45884600, 28.50125000, 29.47952400, 30.46526300, 31.48950000, 32.49650000, 33.49500000, 34.48500000, 35.31571400]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_awlngth | [401.20000000, 404.80000000, 408.00000000, 411.00000000, 414.40000000, 418.00000000, 422.20000000, 426.20000000, 430.10000000, 433.80000000, 437.90000000, 442.10000000, 446.50000000, 450.60000000, 454.80000000, 459.40000000, 463.30000000, 467.80000000, 473.10000000, 477.30000000, 481.70000000, 486.20000000, 490.20000000, 494.40000000, 498.80000000, 502.80000000, 507.40000000, 511.80000000, 517.10000000, 521.50000000, 526.50000000, 530.40000000, 534.10000000, 538.20000000, 542.50000000, 546.40000000, 550.90000000, 554.50000000, 559.30000000, 563.50000000, 567.30000000, 571.20000000, 574.70000000, 578.50000000, 581.90000000, 585.60000000, 589.50000000, 593.20000000, 596.90000000, 601.40000000, 605.50000000, 610.50000000, 614.30000000, 618.90000000, 622.90000000, 626.50000000, 630.40000000, 634.40000000, 638.50000000, 642.30000000, 646.40000000, 650.70000000, 654.90000000, 658.80000000, 662.90000000, 667.20000000, 671.40000000, 674.90000000, 678.90000000, 682.70000000, 685.90000000, 689.70000000, 692.80000000, 696.50000000, 699.60000000, 703.10000000, 706.50000000, 709.70000000, 712.90000000, 716.00000000, 718.70000000, 721.70000000, 724.40000000, 728.10000000, 731.10000000, 733.20000000, 735.30000000, 738.10000000]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_acwo | [ -2.15331100, -1.90306500, -1.71626700, -1.57814200, -1.47290300, -1.38719800, -1.31623600, -1.25316100, -1.19257300, -1.13251700, -1.07338400, -1.01616300, -0.96293500, -0.91249700, -0.85939600, -0.80618900, -0.75563800, -0.70232900, -0.65124800, -0.60578800, -0.56095900, -0.51572300, -0.47197600, -0.42792900, -0.38662900, -0.34956700, -0.31314600, -0.27550500, -0.23652000, -0.19826400, -0.15984200, -0.12486100, -0.09200700, -0.05890600, -0.02715900, 0.00317400, 0.02996000, 0.05762700, 0.08547200, 0.10959900, 0.13138800, 0.15173300, 0.16942400, 0.18294800, 0.19196400, 0.19869400, 0.20105300, 0.20059600, 0.20029400, 0.20238400, 0.21212900, 0.22801700, 0.24831600, 0.26881300, 0.28593600, 0.30312400, 0.32120400, 0.33863700, 0.35423400, 0.36827600, 0.37913400, 0.38771100, 0.39438200, 0.40113600, 0.40933500, 0.42014900, 0.43066500, 0.43850600, 0.44263900, 0.44200400, 0.43526200, 0.42074400, 0.39700600, 0.36340900, 0.31934900, 0.26236600, 0.19049600, 0.10026200, -0.00512700, -0.12349200, -0.25476500, -0.40158800, -0.56291200, -0.73447200, -0.89407400, -1.02616400, -1.14432600, -1.24641300]
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_tcarray | SheetRef:ACS221_CC_tcarray
CE02SHBP-LJ01D-08-OPTAAD106 | SN0009 | 2 | 221 | CC_taarray | SheetRef:ACS221_CC_taarray

## ACS221_CC_tcarray
0.060013 | 0.058375 | 0.056109 | 0.053621 | 0.051757 | 0.049471 | 0.046729 | 0.042994 | 0.041902 | 0.038973 | 0.034977 | 0.033721 | 0.031292 | 0.027435 | 0.024818 | 0.02304 | 0.020555 | 0.016793 | 0.014544 | 0.012795 | 0.011307 | 0.008197 | 0.005898 | 0.003265 | 0 | -0.002031 | -0.006038 | -0.008193 | -0.011774 | -0.013138 | -0.016451 | -0.02018 | -0.023194 | -0.026315 | -0.027512
0.048201 | 0.047572 | 0.046057 | 0.044262 | 0.042579 | 0.04115 | 0.040173 | 0.036868 | 0.034524 | 0.032782 | 0.030886 | 0.027632 | 0.02617 | 0.024347 | 0.021589 | 0.019336 | 0.016399 | 0.014375 | 0.012347 | 0.010489 | 0.010036 | 0.007244 | 0.004443 | 0.002276 | 0 | -0.001922 | -0.005154 | -0.006974 | -0.011053 | -0.011416 | -0.013977 | -0.018045 | -0.020425 | -0.023351 | -0.025418
0.040974 | 0.040902 | 0.039043 | 0.037807 | 0.036424 | 0.035592 | 0.033598 | 0.031834 | 0.030065 | 0.027717 | 0.025526 | 0.024746 | 0.022121 | 0.020725 | 0.017538 | 0.016788 | 0.014188 | 0.012234 | 0.010744 | 0.00916 | 0.008269 | 0.00543 | 0.003797 | 0.001719 | 0 | -0.001923 | -0.004026 | -0.005962 | -0.009088 | -0.010603 | -0.012673 | -0.016454 | -0.018421 | -0.020625 | -0.023154
0.033595 | 0.033879 | 0.033018 | 0.032227 | 0.031093 | 0.030261 | 0.029283 | 0.026791 | 0.025762 | 0.023986 | 0.022163 | 0.020857 | 0.019183 | 0.017872 | 0.015776 | 0.013984 | 0.012873 | 0.010547 | 0.008536 | 0.007625 | 0.007099 | 0.005214 | 0.003513 | 0.001948 | 0 | -0.001648 | -0.003995 | -0.005393 | -0.0083 | -0.008875 | -0.011113 | -0.013771 | -0.015383 | -0.01831 | -0.019841
0.027565 | 0.027883 | 0.027497 | 0.02683 | 0.025903 | 0.02569 | 0.024838 | 0.022877 | 0.021998 | 0.020856 | 0.018356 | 0.017613 | 0.016912 | 0.015044 | 0.013619 | 0.012364 | 0.010198 | 0.008295 | 0.008141 | 0.006446 | 0.00559 | 0.003728 | 0.002261 | 0.000944 | 0 | -0.00149 | -0.003531 | -0.004931 | -0.007594 | -0.008026 | -0.010363 | -0.012488 | -0.014902 | -0.01657 | -0.018324
0.021937 | 0.023184 | 0.022723 | 0.022473 | 0.022363 | 0.021999 | 0.021182 | 0.019475 | 0.0191 | 0.017705 | 0.016307 | 0.015567 | 0.01425 | 0.013574 | 0.011379 | 0.011153 | 0.009438 | 0.008241 | 0.006651 | 0.006281 | 0.004569 | 0.003796 | 0.002803 | 0.001514 | 0 | -0.001113 | -0.002438 | -0.00393 | -0.005716 | -0.006544 | -0.008113 | -0.010567 | -0.012095 | -0.014228 | -0.015428
0.018361 | 0.019528 | 0.019513 | 0.019446 | 0.018989 | 0.018779 | 0.018441 | 0.01663 | 0.016435 | 0.015131 | 0.013967 | 0.013382 | 0.012474 | 0.01167 | 0.010181 | 0.008876 | 0.008172 | 0.006704 | 0.006026 | 0.004657 | 0.004629 | 0.00349 | 0.002241 | 0.001159 | 0 | -0.001139 | -0.002489 | -0.003299 | -0.005354 | -0.005996 | -0.007268 | -0.00932 | -0.010619 | -0.012363 | -0.013987
0.014359 | 0.015886 | 0.016114 | 0.016238 | 0.015991 | 0.016104 | 0.015737 | 0.014572 | 0.014192 | 0.013416 | 0.012449 | 0.01137 | 0.010972 | 0.010287 | 0.009071 | 0.008155 | 0.007222 | 0.005777 | 0.00541 | 0.004606 | 0.003592 | 0.002605 | 0.002069 | 0.000903 | 0 | -0.000545 | -0.002173 | -0.003355 | -0.004855 | -0.005069 | -0.006573 | -0.008492 | -0.010113 | -0.011716 | -0.012633
0.011525 | 0.013045 | 0.013445 | 0.013565 | 0.01387 | 0.013846 | 0.013332 | 0.01268 | 0.012006 | 0.011017 | 0.010086 | 0.010235 | 0.009303 | 0.008862 | 0.007746 | 0.007428 | 0.006356 | 0.005601 | 0.004344 | 0.004109 | 0.003484 | 0.002843 | 0.001999 | 0.001107 | 0 | -0.000809 | -0.001973 | -0.002761 | -0.004012 | -0.005033 | -0.005903 | -0.007301 | -0.008831 | -0.010402 | -0.011909
0.009671 | 0.011113 | 0.011493 | 0.011818 | 0.011615 | 0.011672 | 0.011828 | 0.010901 | 0.010642 | 0.009805 | 0.009222 | 0.008707 | 0.008354 | 0.00792 | 0.006894 | 0.006295 | 0.005405 | 0.004463 | 0.004058 | 0.003201 | 0.00266 | 0.001825 | 0.001311 | 0.000539 | 0 | -0.000539 | -0.001857 | -0.002587 | -0.00366 | -0.004269 | -0.005547 | -0.007376 | -0.008026 | -0.009693 | -0.010935
0.007134 | 0.008907 | 0.009376 | 0.00985 | 0.010061 | 0.010359 | 0.010047 | 0.009501 | 0.009134 | 0.008716 | 0.007694 | 0.007773 | 0.007406 | 0.007053 | 0.005976 | 0.005617 | 0.005012 | 0.004257 | 0.003613 | 0.002985 | 0.002691 | 0.001983 | 0.001488 | 0.000722 | 0 | -0.000507 | -0.001556 | -0.002281 | -0.003531 | -0.004219 | -0.005261 | -0.006381 | -0.007396 | -0.008787 | -0.009728
0.005517 | 0.007174 | 0.007853 | 0.008278 | 0.008892 | 0.008922 | 0.008889 | 0.008263 | 0.007962 | 0.007606 | 0.006897 | 0.006763 | 0.006499 | 0.006165 | 0.005554 | 0.005091 | 0.004516 | 0.004112 | 0.003485 | 0.002944 | 0.002478 | 0.001754 | 0.001389 | 0.00078 | 0 | -0.000511 | -0.001399 | -0.001821 | -0.002879 | -0.00331 | -0.004164 | -0.005463 | -0.006736 | -0.007649 | -0.008889
0.00348 | 0.005395 | 0.006192 | 0.006755 | 0.00688 | 0.007214 | 0.007484 | 0.006812 | 0.006786 | 0.006353 | 0.005807 | 0.005623 | 0.005599 | 0.005514 | 0.004817 | 0.004333 | 0.003808 | 0.003051 | 0.003 | 0.002107 | 0.00192 | 0.001323 | 0.001182 | 0.000444 | 0 | -0.000404 | -0.001342 | -0.001912 | -0.002926 | -0.003401 | -0.004322 | -0.005575 | -0.006154 | -0.007163 | -0.008462
0.002895 | 0.004728 | 0.005447 | 0.005979 | 0.006516 | 0.006844 | 0.006641 | 0.006419 | 0.006215 | 0.005716 | 0.005497 | 0.005349 | 0.005201 | 0.004963 | 0.004469 | 0.004175 | 0.003658 | 0.00332 | 0.002852 | 0.00262 | 0.002042 | 0.001586 | 0.001203 | 0.000849 | 0 | -2e-05 | -0.000948 | -0.001249 | -0.002116 | -0.00268 | -0.003479 | -0.004322 | -0.005388 | -0.006303 | -0.007049
0.001697 | 0.003469 | 0.004178 | 0.004732 | 0.005217 | 0.00568 | 0.005836 | 0.005285 | 0.005325 | 0.004891 | 0.004539 | 0.004398 | 0.004297 | 0.004204 | 0.003798 | 0.003661 | 0.003193 | 0.002563 | 0.002405 | 0.001757 | 0.001398 | 0.001066 | 0.000863 | 0.000223 | 0 | -0.000519 | -0.001195 | -0.001508 | -0.002121 | -0.00268 | -0.003489 | -0.004449 | -0.005219 | -0.006145 | -0.007094
0.000623 | 0.002551 | 0.003492 | 0.004097 | 0.004524 | 0.004787 | 0.005041 | 0.004914 | 0.004892 | 0.004411 | 0.004055 | 0.003964 | 0.004224 | 0.004083 | 0.003639 | 0.003271 | 0.003119 | 0.002422 | 0.002301 | 0.001849 | 0.001509 | 0.000925 | 0.000792 | 0.000338 | 0 | -0.000239 | -0.000929 | -0.001169 | -0.002158 | -0.002401 | -0.003104 | -0.004083 | -0.004638 | -0.005606 | -0.006446
-8.9e-05 | 0.001807 | 0.002569 | 0.003271 | 0.003945 | 0.004371 | 0.004135 | 0.004034 | 0.004003 | 0.00362 | 0.003273 | 0.003334 | 0.003333 | 0.003318 | 0.002994 | 0.002769 | 0.002513 | 0.002386 | 0.001851 | 0.001629 | 0.001257 | 0.000987 | 0.000898 | 0.000426 | 0 | -0.000284 | -0.000824 | -0.00105 | -0.001655 | -0.002251 | -0.002725 | -0.003429 | -0.004268 | -0.005241 | -0.005801
-0.000231 | 0.001479 | 0.002328 | 0.003026 | 0.003354 | 0.003778 | 0.004209 | 0.003781 | 0.003725 | 0.003718 | 0.003219 | 0.003346 | 0.003379 | 0.003371 | 0.003048 | 0.002714 | 0.00246 | 0.00198 | 0.002054 | 0.001439 | 0.001123 | 0.000781 | 0.000743 | 0.000377 | 0 | -0.000201 | -0.000775 | -0.000992 | -0.001535 | -0.001891 | -0.002584 | -0.003407 | -0.003944 | -0.00469 | -0.005537
-0.001123 | 0.00089 | 0.001751 | 0.002257 | 0.002898 | 0.003256 | 0.003391 | 0.003384 | 0.003301 | 0.003014 | 0.002747 | 0.002777 | 0.003118 | 0.002904 | 0.002625 | 0.002499 | 0.002159 | 0.00176 | 0.001512 | 0.00133 | 0.001081 | 0.000732 | 0.000613 | 0.000256 | 0 | -4.7e-05 | -0.000564 | -0.000788 | -0.001351 | -0.001743 | -0.002351 | -0.003028 | -0.003463 | -0.004241 | -0.005129
-0.001686 | 0.000224 | 0.001066 | 0.001766 | 0.0024 | 0.002823 | 0.002857 | 0.002583 | 0.002498 | 0.0024 | 0.00213 | 0.002342 | 0.002178 | 0.002304 | 0.0022 | 0.002017 | 0.002005 | 0.001748 | 0.001334 | 0.001258 | 0.000969 | 0.00073 | 0.00058 | 0.000251 | 0 | -8.1e-05 | -0.000574 | -0.000742 | -0.001108 | -0.001561 | -0.001973 | -0.002586 | -0.003288 | -0.003995 | -0.004585
-0.001909 | -0.000162 | 0.000744 | 0.001399 | 0.001775 | 0.002193 | 0.002547 | 0.002495 | 0.002542 | 0.002386 | 0.002039 | 0.002046 | 0.002312 | 0.002414 | 0.002169 | 0.001979 | 0.00179 | 0.00146 | 0.001458 | 0.000915 | 0.000551 | 0.000367 | 0.000355 | 0.000216 | 0 | -8.9e-05 | -0.000588 | -0.000831 | -0.001183 | -0.001528 | -0.002078 | -0.00273 | -0.003088 | -0.003884 | -0.004569
-0.002287 | -0.000318 | 0.000584 | 0.001136 | 0.001913 | 0.002326 | 0.002381 | 0.002227 | 0.002351 | 0.002167 | 0.002047 | 0.002168 | 0.00235 | 0.002387 | 0.002077 | 0.001905 | 0.001794 | 0.001504 | 0.001207 | 0.001091 | 0.000712 | 0.000521 | 0.000595 | 0.000246 | 0 | -3.3e-05 | -0.00038 | -0.000498 | -0.000926 | -0.001267 | -0.001691 | -0.002367 | -0.002821 | -0.003418 | -0.004058
-0.002665 | -0.000816 | 8.6e-05 | 0.000803 | 0.001289 | 0.00173 | 0.001938 | 0.001814 | 0.001708 | 0.001581 | 0.00136 | 0.001471 | 0.001409 | 0.001681 | 0.00152 | 0.001462 | 0.001224 | 0.00116 | 0.001019 | 0.000739 | 0.000515 | 0.000336 | 0.00028 | 0.000111 | 0 | -2.9e-05 | -0.00042 | -0.000576 | -0.000878 | -0.001214 | -0.001654 | -0.002146 | -0.002711 | -0.00331 | -0.003844
-0.002714 | -0.00085 | 5e-06 | 0.000652 | 0.001044 | 0.001555 | 0.001777 | 0.001736 | 0.001734 | 0.001637 | 0.001366 | 0.001432 | 0.001772 | 0.001736 | 0.001554 | 0.001443 | 0.001389 | 0.000946 | 0.000875 | 0.000645 | 0.000335 | 0.000252 | 0.0002 | 0.000146 | 0 | -5.7e-05 | -0.000426 | -0.000573 | -0.000847 | -0.001205 | -0.001603 | -0.002189 | -0.002572 | -0.003346 | -0.003975
-0.003676 | -0.00167 | -0.000659 | 5.5e-05 | 0.000899 | 0.001273 | 0.001398 | 0.00144 | 0.001373 | 0.001238 | 0.001163 | 0.001373 | 0.001489 | 0.001649 | 0.001479 | 0.001407 | 0.001363 | 0.001019 | 0.00092 | 0.000659 | 0.000452 | 0.000305 | 0.000327 | 9e-05 | 0 | -1e-06 | -0.000297 | -0.000307 | -0.000691 | -0.00093 | -0.001318 | -0.001745 | -0.002228 | -0.002781 | -0.003164
-0.003477 | -0.001624 | -0.000717 | 3.3e-05 | 0.00052 | 0.001059 | 0.001276 | 0.001203 | 0.001212 | 0.001173 | 0.000948 | 0.001036 | 0.001222 | 0.001341 | 0.001188 | 0.001198 | 0.001068 | 0.000952 | 0.000848 | 0.000478 | 0.000269 | 0.000177 | 0.000196 | 0.000156 | 0 | 0.000117 | -0.000205 | -0.000293 | -0.000639 | -0.000902 | -0.001223 | -0.001745 | -0.002099 | -0.00265 | -0.003264
-0.003766 | -0.001693 | -0.000744 | -0.000119 | 0.000435 | 0.000901 | 0.001078 | 0.001076 | 0.001047 | 0.000924 | 0.000738 | 0.000842 | 0.001097 | 0.001151 | 0.001015 | 0.000958 | 0.000878 | 0.000597 | 0.00052 | 0.000507 | 0.00021 | 8.3e-05 | 0.000198 | 9.7e-05 | 0 | 5.7e-05 | -0.000203 | -0.000215 | -0.000491 | -0.000849 | -0.001121 | -0.001714 | -0.002038 | -0.002637 | -0.003232
-0.003996 | -0.002042 | -0.001162 | -0.000524 | 0.000166 | 0.000605 | 0.000713 | 0.000784 | 0.000811 | 0.000742 | 0.000632 | 0.000796 | 0.000873 | 0.001049 | 0.000995 | 0.001031 | 0.000915 | 0.000821 | 0.000668 | 0.000497 | 0.000287 | 0.000224 | 0.00028 | 0.000121 | 0 | 0.000127 | -0.000122 | -8.2e-05 | -0.000409 | -0.000686 | -0.000958 | -0.001318 | -0.001759 | -0.002319 | -0.002751
-0.004175 | -0.002269 | -0.001278 | -0.000523 | -7e-06 | 0.000515 | 0.000764 | 0.000695 | 0.000814 | 0.000856 | 0.000637 | 0.000762 | 0.001043 | 0.001074 | 0.000976 | 0.000979 | 0.000821 | 0.000613 | 0.000569 | 0.000258 | 2.8e-05 | -2.8e-05 | 8.6e-05 | 4e-05 | 0 | 9.2e-05 | -0.000147 | -0.000202 | -0.00041 | -0.000651 | -0.001048 | -0.001473 | -0.001747 | -0.002283 | -0.002839
-0.004491 | -0.002427 | -0.00145 | -0.000838 | -0.000211 | 0.000253 | 0.000371 | 0.000471 | 0.000464 | 0.000386 | 0.000263 | 0.000413 | 0.000645 | 0.00075 | 0.000707 | 0.00064 | 0.000632 | 0.000419 | 0.000396 | 0.000232 | 0.000138 | 1.3e-05 | 8.7e-05 | 2.2e-05 | 0 | 0.000113 | -7.3e-05 | -0.000141 | -0.000415 | -0.000643 | -0.000887 | -0.001408 | -0.001656 | -0.002242 | -0.002665
-0.004039 | -0.0021 | -0.001219 | -0.000575 | -2.7e-05 | 0.000371 | 0.000497 | 0.000485 | 0.000421 | 0.000409 | 0.000194 | 0.000276 | 0.00042 | 0.000564 | 0.000516 | 0.000641 | 0.000515 | 0.000443 | 0.000428 | 0.000211 | -7e-06 | 1.8e-05 | 8.7e-05 | 4.1e-05 | 0 | 0.000108 | -0.000101 | -9.5e-05 | -0.000299 | -0.000552 | -0.000784 | -0.0012 | -0.001686 | -0.002083 | -0.002603
-0.004357 | -0.002431 | -0.001552 | -0.000878 | -0.00038 | 9.8e-05 | 0.000446 | 0.000426 | 0.000501 | 0.000484 | 0.000363 | 0.000511 | 0.000757 | 0.000903 | 0.000786 | 0.00073 | 0.000625 | 0.000484 | 0.000385 | 0.000169 | -8.2e-05 | -0.000119 | 2.2e-05 | 3.3e-05 | 0 | 8.4e-05 | -9.4e-05 | -0.000101 | -0.000298 | -0.000584 | -0.000847 | -0.001283 | -0.001534 | -0.00199 | -0.002581
-0.004347 | -0.002371 | -0.001433 | -0.000779 | -8.5e-05 | 0.000351 | 0.000466 | 0.000544 | 0.000646 | 0.000571 | 0.000613 | 0.000768 | 0.001039 | 0.001032 | 0.001029 | 0.000969 | 0.00085 | 0.00067 | 0.000474 | 0.000351 | 0.000105 | 5.2e-05 | 8e-05 | 4.8e-05 | 0 | 0.000156 | 5e-06 | 1.3e-05 | -0.000205 | -0.000427 | -0.0007 | -0.001074 | -0.001377 | -0.001846 | -0.002207
-0.00422 | -0.002277 | -0.001368 | -0.00068 | -0.000195 | 0.000295 | 0.000501 | 0.00049 | 0.00048 | 0.000452 | 0.000266 | 0.000371 | 0.000502 | 0.000705 | 0.000612 | 0.000676 | 0.000618 | 0.000463 | 0.000534 | 0.000151 | -3e-05 | -4.4e-05 | 4.2e-05 | 2.1e-05 | 0 | 0.000129 | -8e-05 | -6.9e-05 | -0.00028 | -0.000551 | -0.000738 | -0.001124 | -0.001568 | -0.001971 | -0.0024
-0.003784 | -0.001847 | -0.000991 | -0.000472 | -1e-06 | 0.000358 | 0.000586 | 0.000618 | 0.00058 | 0.00053 | 0.000334 | 0.000415 | 0.000602 | 0.00073 | 0.000598 | 0.000589 | 0.000611 | 0.00035 | 0.000297 | 0.000134 | 6.7e-05 | -4.9e-05 | 6.5e-05 | 1e-05 | 0 | 9.6e-05 | -7.8e-05 | -0.000163 | -0.000316 | -0.000573 | -0.000859 | -0.001246 | -0.001449 | -0.00201 | -0.00257
-0.003733 | -0.001777 | -0.000916 | -0.00034 | 0.000291 | 0.000648 | 0.000775 | 0.000831 | 0.000838 | 0.000774 | 0.000654 | 0.000771 | 0.001004 | 0.001053 | 0.001013 | 0.000958 | 0.000828 | 0.000697 | 0.000541 | 0.000361 | 0.000138 | 0.000108 | 0.000148 | 1.4e-05 | 0 | 0.000115 | -4e-06 | -1e-05 | -0.000216 | -0.000469 | -0.000626 | -0.000983 | -0.001384 | -0.001778 | -0.002132
-0.003607 | -0.001842 | -0.000954 | -0.000267 | 0.000262 | 0.000698 | 0.00097 | 0.000975 | 0.001057 | 0.001084 | 0.000984 | 0.001137 | 0.001299 | 0.001434 | 0.001333 | 0.001229 | 0.001079 | 0.000856 | 0.000713 | 0.000314 | 0.000106 | 1e-06 | 8.7e-05 | 6.1e-05 | 0 | 7.5e-05 | -8.5e-05 | -8.4e-05 | -0.000285 | -0.000466 | -0.000771 | -0.001107 | -0.001362 | -0.001759 | -0.00218
-0.003574 | -0.001715 | -0.000846 | -0.000201 | 0.000373 | 0.000757 | 0.001024 | 0.001079 | 0.001198 | 0.001139 | 0.001048 | 0.001215 | 0.001408 | 0.001444 | 0.001309 | 0.001217 | 0.001128 | 0.000838 | 0.000649 | 0.000468 | 0.000211 | 9.9e-05 | 0.000148 | 7.5e-05 | 0 | 0.00011 | 3e-06 | -2.7e-05 | -0.000204 | -0.000518 | -0.000746 | -0.001088 | -0.001305 | -0.001775 | -0.002162
-0.002981 | -0.001186 | -0.000357 | 0.00018 | 0.000721 | 0.001067 | 0.001199 | 0.001155 | 0.001103 | 0.001058 | 0.000881 | 0.000914 | 0.001057 | 0.001091 | 0.001093 | 0.00104 | 0.00089 | 0.000771 | 0.000704 | 0.000481 | 0.00022 | 0.000144 | 0.000139 | 6.1e-05 | 0 | 0.000113 | -0.000105 | -9.1e-05 | -0.000293 | -0.000489 | -0.000696 | -0.001044 | -0.001469 | -0.00183 | -0.002242
-0.002933 | -0.001128 | -0.000324 | 0.000229 | 0.000567 | 0.000983 | 0.001169 | 0.00118 | 0.001142 | 0.001065 | 0.000874 | 0.000869 | 0.000973 | 0.001084 | 0.000958 | 0.000915 | 0.000834 | 0.000648 | 0.00059 | 0.000401 | 0.00015 | 6.3e-05 | 0.000118 | 2e-06 | 0 | 4.1e-05 | -0.000114 | -0.00019 | -0.000346 | -0.000567 | -0.000846 | -0.00114 | -0.001494 | -0.001929 | -0.002406
-0.002676 | -0.000907 | -0.000165 | 0.000363 | 0.000905 | 0.001188 | 0.001342 | 0.001347 | 0.001364 | 0.001287 | 0.001223 | 0.001327 | 0.001458 | 0.001473 | 0.001374 | 0.001296 | 0.001154 | 0.000945 | 0.00074 | 0.00051 | 0.000296 | 0.000164 | 0.000177 | 6.4e-05 | 0 | 0.000113 | -1.8e-05 | -8e-06 | -0.00019 | -0.000424 | -0.000655 | -0.000995 | -0.001234 | -0.001696 | -0.002069
-0.003052 | -0.00133 | -0.000467 | 0.000166 | 0.000688 | 0.001119 | 0.001322 | 0.001387 | 0.001332 | 0.001393 | 0.001326 | 0.001453 | 0.001619 | 0.001672 | 0.001581 | 0.001509 | 0.001322 | 0.000999 | 0.000851 | 0.000524 | 0.000208 | 0.000108 | 0.000119 | 5.9e-05 | 0 | 6.3e-05 | -6.3e-05 | -5.4e-05 | -0.000247 | -0.000456 | -0.000689 | -0.000969 | -0.001319 | -0.001665 | -0.001983
-0.003226 | -0.001504 | -0.000667 | -3.6e-05 | 0.000481 | 0.000897 | 0.00112 | 0.001162 | 0.001258 | 0.001226 | 0.001189 | 0.001343 | 0.001451 | 0.001523 | 0.001423 | 0.001297 | 0.00117 | 0.000976 | 0.000747 | 0.000539 | 0.000236 | 0.000115 | 0.00016 | 7e-05 | 0 | 5.6e-05 | -7.6e-05 | -9.8e-05 | -0.000241 | -0.000478 | -0.000748 | -0.001045 | -0.001251 | -0.00167 | -0.002088
-0.002896 | -0.001246 | -0.000494 | 3.8e-05 | 0.000553 | 0.00088 | 0.001018 | 0.001023 | 0.001021 | 0.000921 | 0.000792 | 0.000868 | 0.001008 | 0.001094 | 0.000987 | 0.000967 | 0.000899 | 0.000723 | 0.000585 | 0.00043 | 0.000209 | 0.00013 | 0.000172 | 3.2e-05 | 0 | 0.000104 | -5.9e-05 | -0.0001 | -0.00025 | -0.000442 | -0.000663 | -0.000977 | -0.001259 | -0.00171 | -0.00209
-0.003557 | -0.001728 | -0.000949 | -0.000503 | -3.9e-05 | 0.000224 | 0.000369 | 0.00036 | 0.000403 | 0.000266 | 8.1e-05 | 0.000124 | 0.000266 | 0.00037 | 0.000374 | 0.000421 | 0.000436 | 0.000382 | 0.000361 | 0.00025 | 0.000121 | 5.7e-05 | 0.000103 | 6.8e-05 | 0 | 5.9e-05 | -9.7e-05 | -7.9e-05 | -0.000226 | -0.000438 | -0.000636 | -0.000913 | -0.001205 | -0.00169 | -0.002062
-0.003455 | -0.001776 | -0.001061 | -0.00055 | -0.000221 | 9.8e-05 | 0.000283 | 0.000248 | 0.000256 | 0.000229 | 6.7e-05 | 0.000169 | 0.000302 | 0.000414 | 0.000371 | 0.000448 | 0.000365 | 0.000248 | 0.000257 | 0.000151 | -7.8e-05 | -8.3e-05 | -9e-06 | 3.1e-05 | 0 | 0.000107 | -3.7e-05 | 1.2e-05 | -0.000134 | -0.000388 | -0.000596 | -0.000893 | -0.001126 | -0.00158 | -0.001906
-0.003859 | -0.00222 | -0.001411 | -0.000854 | -0.000323 | 8.9e-05 | 0.000308 | 0.000389 | 0.000451 | 0.000491 | 0.000425 | 0.000576 | 0.00076 | 0.000912 | 0.000845 | 0.00081 | 0.00074 | 0.000596 | 0.000466 | 0.000297 | 5.8e-05 | -1.5e-05 | 8.2e-05 | 8.9e-05 | 0 | 4.2e-05 | -5.5e-05 | -6.6e-05 | -0.000194 | -0.00039 | -0.000617 | -0.000904 | -0.001106 | -0.0015 | -0.001816
-0.004154 | -0.002431 | -0.001607 | -0.001034 | -0.000502 | -0.000118 | 8.8e-05 | 0.000158 | 0.000271 | 0.000368 | 0.0004 | 0.000604 | 0.000806 | 0.000959 | 0.00094 | 0.000924 | 0.000847 | 0.000671 | 0.00053 | 0.000316 | 8.8e-05 | 4.8e-05 | 0.000101 | 9.1e-05 | 0 | 3.6e-05 | -9.2e-05 | -3.8e-05 | -0.000167 | -0.000434 | -0.000592 | -0.000883 | -0.001085 | -0.001444 | -0.001744
-0.004159 | -0.002537 | -0.001752 | -0.001108 | -0.000603 | -0.000228 | -1e-05 | 5.7e-05 | 9.4e-05 | 0.000117 | 1.3e-05 | 0.000108 | 0.00028 | 0.000395 | 0.000424 | 0.000479 | 0.000449 | 0.000329 | 0.000289 | 0.000149 | 7e-06 | -2.6e-05 | 3.6e-05 | 6.1e-05 | 0 | 2.8e-05 | -0.000135 | -0.000137 | -0.000231 | -0.000453 | -0.000689 | -0.000985 | -0.001214 | -0.001572 | -0.001921
-0.004009 | -0.002349 | -0.001633 | -0.001166 | -0.000769 | -0.000429 | -0.000276 | -0.000269 | -0.000292 | -0.000367 | -0.00055 | -0.000466 | -0.000312 | -0.000132 | -9.5e-05 | -2.7e-05 | 6.1e-05 | 8.1e-05 | 0.00014 | 0.000113 | 5.5e-05 | 3.9e-05 | 0.0001 | 9.2e-05 | 0 | 1.6e-05 | -0.000182 | -0.000227 | -0.000355 | -0.000568 | -0.000735 | -0.001051 | -0.001336 | -0.001723 | -0.002113
-0.003758 | -0.002114 | -0.001443 | -0.001012 | -0.000677 | -0.000423 | -0.000263 | -0.000284 | -0.000284 | -0.000392 | -0.000543 | -0.000488 | -0.000341 | -0.000183 | -0.000111 | -1.9e-05 | 7.6e-05 | 4.5e-05 | 0.000154 | 0.000108 | 2.8e-05 | 3.3e-05 | 0.000118 | 0.000101 | 0 | 5e-06 | -0.000235 | -0.00027 | -0.000435 | -0.000618 | -0.000806 | -0.001121 | -0.001403 | -0.001797 | -0.002198
-0.004126 | -0.002529 | -0.001824 | -0.001338 | -0.000896 | -0.000524 | -0.000364 | -0.000299 | -0.000266 | -0.00025 | -0.000343 | -0.000205 | 7e-06 | 0.00023 | 0.000261 | 0.000271 | 0.000326 | 0.000275 | 0.000307 | 0.000179 | 7.4e-05 | 4.3e-05 | 0.000128 | 0.000115 | 0 | 2.2e-05 | -0.000206 | -0.00024 | -0.000385 | -0.000608 | -0.00082 | -0.001069 | -0.001255 | -0.001663 | -0.002015
-0.004507 | -0.002858 | -0.002176 | -0.001609 | -0.00107 | -0.000685 | -0.000458 | -0.000357 | -0.000206 | -0.000133 | -7.5e-05 | 0.00015 | 0.000367 | 0.000566 | 0.000552 | 0.000557 | 0.000586 | 0.000471 | 0.000404 | 0.000223 | 3.3e-05 | 1e-06 | 9e-05 | 0.000113 | 0 | -1e-05 | -0.000165 | -0.000162 | -0.000294 | -0.000524 | -0.000713 | -0.000951 | -0.001126 | -0.001446 | -0.001767
-0.004854 | -0.00326 | -0.002393 | -0.001755 | -0.001195 | -0.000799 | -0.000584 | -0.000503 | -0.000318 | -0.00024 | -0.000234 | -8e-06 | 0.000234 | 0.000407 | 0.000455 | 0.000507 | 0.000463 | 0.000355 | 0.000321 | 0.000163 | -2.7e-05 | -2.1e-05 | 5.8e-05 | 0.000104 | 0 | 1e-05 | -0.000126 | -0.000109 | -0.000261 | -0.000474 | -0.000659 | -0.000881 | -0.001078 | -0.001385 | -0.001634
-0.004857 | -0.003194 | -0.002409 | -0.001846 | -0.001336 | -0.000913 | -0.000675 | -0.000548 | -0.000434 | -0.000466 | -0.000571 | -0.000413 | -0.000226 | -9e-06 | 8.6e-05 | 0.000133 | 0.00021 | 0.000205 | 0.00025 | 0.000125 | 2e-06 | 2.6e-05 | 0.000115 | 0.000107 | 0 | 3.1e-05 | -0.000133 | -0.000149 | -0.000266 | -0.000418 | -0.000606 | -0.000848 | -0.00103 | -0.001384 | -0.001728
-0.004774 | -0.003079 | -0.002364 | -0.001883 | -0.001489 | -0.001177 | -0.000972 | -0.000944 | -0.000969 | -0.000941 | -0.001044 | -0.000966 | -0.000726 | -0.000559 | -0.000446 | -0.000282 | -0.000204 | -0.000112 | 1.6e-05 | 8e-06 | -8.9e-05 | -8.5e-05 | 5e-05 | 9.3e-05 | 0 | 7.4e-05 | -0.000135 | -0.000143 | -0.000277 | -0.000452 | -0.000634 | -0.000862 | -0.001139 | -0.001507 | -0.001853
-0.004667 | -0.003002 | -0.002324 | -0.001901 | -0.001571 | -0.00128 | -0.001113 | -0.001014 | -0.000923 | -0.000945 | -0.001096 | -0.000974 | -0.000786 | -0.000579 | -0.000475 | -0.000348 | -0.000267 | -0.00014 | -6.7e-05 | -6.7e-05 | -8.1e-05 | -9.3e-05 | 1e-05 | 4.1e-05 | 0 | 1.2e-05 | -0.000166 | -0.000191 | -0.000303 | -0.000461 | -0.000655 | -0.000875 | -0.001135 | -0.001483 | -0.001843
-0.00472 | -0.003136 | -0.002451 | -0.001945 | -0.001457 | -0.001074 | -0.000842 | -0.000768 | -0.000713 | -0.000683 | -0.000717 | -0.000575 | -0.000338 | -0.000148 | -6.2e-05 | 1.2e-05 | 5.6e-05 | 6.4e-05 | 8.8e-05 | -8e-06 | -8.8e-05 | -5.9e-05 | 3.5e-05 | 6.1e-05 | 0 | 2.9e-05 | -5.9e-05 | -3.9e-05 | -0.000163 | -0.000331 | -0.000486 | -0.000697 | -0.000893 | -0.001231 | -0.00153
-0.004982 | -0.003341 | -0.002604 | -0.002016 | -0.001483 | -0.001066 | -0.00081 | -0.00067 | -0.000545 | -0.000426 | -0.000312 | -8e-05 | 0.000177 | 0.00038 | 0.000426 | 0.000416 | 0.00043 | 0.000278 | 0.000233 | 9.9e-05 | -9.1e-05 | -9.8e-05 | 0 | 4.2e-05 | 0 | 8.5e-05 | -4.7e-05 | 5e-06 | -7e-05 | -0.000269 | -0.000399 | -0.000614 | -0.000756 | -0.00104 | -0.001312
-0.00531 | -0.003694 | -0.002862 | -0.002215 | -0.001599 | -0.001135 | -0.00088 | -0.000702 | -0.000546 | -0.000396 | -0.000311 | -1.6e-05 | 0.000208 | 0.000425 | 0.000446 | 0.000489 | 0.000464 | 0.000403 | 0.000277 | 8.7e-05 | -7.8e-05 | -0.000113 | 2.7e-05 | 5.3e-05 | 0 | 4.9e-05 | -2.9e-05 | 6.2e-05 | -6.5e-05 | -0.000204 | -0.000372 | -0.000541 | -0.000706 | -0.000931 | -0.001212
-0.005133 | -0.003513 | -0.002709 | -0.002097 | -0.001597 | -0.001195 | -0.000863 | -0.000758 | -0.000624 | -0.00053 | -0.000517 | -0.000328 | -8.2e-05 | 0.000109 | 0.000171 | 0.000232 | 0.000241 | 0.000151 | 0.000156 | -2.9e-05 | -0.000193 | -0.000136 | -1.8e-05 | 8e-06 | 0 | 5.6e-05 | -1.8e-05 | 5.4e-05 | -5e-05 | -0.000187 | -0.000327 | -0.000526 | -0.000685 | -0.000986 | -0.001222
-0.005008 | -0.003361 | -0.002651 | -0.002154 | -0.001682 | -0.001276 | -0.00108 | -0.000989 | -0.000933 | -0.00093 | -0.001002 | -0.000866 | -0.000669 | -0.000437 | -0.000359 | -0.000287 | -0.000172 | -0.000142 | -4.9e-05 | -7.8e-05 | -0.000149 | -0.000143 | -5.2e-05 | -7e-06 | 0 | 0.000121 | -4.8e-05 | -4e-06 | -8.1e-05 | -0.000222 | -0.000343 | -0.000542 | -0.000713 | -0.001052 | -0.001401
-0.004729 | -0.003099 | -0.002399 | -0.001939 | -0.001537 | -0.001253 | -0.00106 | -0.001009 | -0.000961 | -0.001033 | -0.001189 | -0.001073 | -0.000899 | -0.000672 | -0.000582 | -0.000449 | -0.000333 | -0.0002 | -0.000112 | -0.000158 | -0.000142 | -0.000139 | -2e-06 | 3.3e-05 | 0 | 0.000101 | -9e-06 | 1e-05 | -4.6e-05 | -0.000152 | -0.000257 | -0.000485 | -0.000673 | -0.001044 | -0.001383
-0.004586 | -0.002968 | -0.002281 | -0.001849 | -0.001493 | -0.001198 | -0.000996 | -0.000923 | -0.00086 | -0.0009 | -0.000985 | -0.000885 | -0.000678 | -0.000508 | -0.000405 | -0.000284 | -0.00023 | -0.000225 | -0.000112 | -0.000127 | -0.000209 | -0.000117 | -3.6e-05 | -1.4e-05 | 0 | 0.000127 | 2e-06 | 4.3e-05 | -3.7e-05 | -0.000146 | -0.000255 | -0.000465 | -0.000641 | -0.000992 | -0.001279
-0.004783 | -0.003214 | -0.002549 | -0.002074 | -0.0016 | -0.001255 | -0.00107 | -0.00097 | -0.000827 | -0.000758 | -0.000748 | -0.000501 | -0.000308 | -8.7e-05 | -6.5e-05 | -4.9e-05 | 3.7e-05 | -1.7e-05 | -1e-05 | -0.000107 | -0.000127 | -0.000194 | -5.7e-05 | 1.1e-05 | 0 | 0.000138 | 5.8e-05 | 0.000126 | 6.1e-05 | -5.8e-05 | -0.000198 | -0.000349 | -0.000466 | -0.000759 | -0.001034
-0.00536 | -0.003743 | -0.002941 | -0.002281 | -0.001706 | -0.001249 | -0.000918 | -0.000797 | -0.000591 | -0.000455 | -0.000361 | -0.000162 | 0.000131 | 0.00034 | 0.000347 | 0.000392 | 0.000304 | 0.000304 | 0.000204 | -3.4e-05 | -0.000143 | -0.000168 | -2.7e-05 | 2.2e-05 | 0 | 5.7e-05 | 5.8e-05 | 0.000191 | 0.000122 | -6e-06 | -8.9e-05 | -0.000248 | -0.000387 | -0.000606 | -0.000821
-0.005278 | -0.003708 | -0.002874 | -0.002247 | -0.001701 | -0.001234 | -0.000941 | -0.000731 | -0.000568 | -0.000348 | -0.000246 | 8e-06 | 0.000304 | 0.000485 | 0.000514 | 0.000479 | 0.00043 | 0.000222 | 0.000146 | -2e-05 | -0.000217 | -0.000177 | -8.6e-05 | -3.7e-05 | 0 | 0.000141 | 0.0001 | 0.000187 | 0.000168 | -1.8e-05 | -0.000112 | -0.00029 | -0.000351 | -0.000595 | -0.000767
-0.00554 | -0.003895 | -0.003121 | -0.002471 | -0.001831 | -0.001357 | -0.00114 | -0.000969 | -0.00083 | -0.000717 | -0.000682 | -0.000377 | -0.000182 | 4.6e-05 | 7.1e-05 | 5.9e-05 | 0.000121 | 0.00011 | 4.7e-05 | -0.0001 | -0.000137 | -0.000202 | -6.5e-05 | 6e-06 | 0 | 9.5e-05 | 7.5e-05 | 0.00017 | 0.000146 | 2.8e-05 | -0.000122 | -0.00021 | -0.000317 | -0.000567 | -0.000845
-0.005153 | -0.00355 | -0.002748 | -0.00222 | -0.001808 | -0.001436 | -0.001122 | -0.001026 | -0.000907 | -0.000887 | -0.000935 | -0.000836 | -0.000579 | -0.000369 | -0.000274 | -0.000137 | -0.000157 | -0.000108 | -6.5e-05 | -0.000147 | -0.000235 | -0.000176 | -5e-05 | 4.7e-05 | 0 | 0.000132 | 8.8e-05 | 0.000182 | 0.000125 | 4.9e-05 | -4.8e-05 | -0.000243 | -0.000397 | -0.000679 | -0.000901
-0.005007 | -0.003343 | -0.002646 | -0.002229 | -0.001778 | -0.001469 | -0.001311 | -0.001175 | -0.001181 | -0.001236 | -0.001332 | -0.001169 | -0.000968 | -0.000751 | -0.000684 | -0.000573 | -0.000424 | -0.000419 | -0.000268 | -0.000209 | -0.000287 | -0.000203 | -8.4e-05 | -8.8e-05 | 0 | 0.000206 | 0.000104 | 0.000132 | 9.3e-05 | -4.8e-05 | -0.000114 | -0.000318 | -0.000448 | -0.000823 | -0.001126
-0.004932 | -0.003279 | -0.002628 | -0.002174 | -0.001772 | -0.001473 | -0.001325 | -0.001276 | -0.001197 | -0.001242 | -0.001355 | -0.001264 | -0.001129 | -0.00087 | -0.000816 | -0.000674 | -0.000523 | -0.000379 | -0.000337 | -0.000289 | -0.000201 | -0.000284 | -9e-05 | -4.7e-05 | 0 | 0.000127 | 2e-06 | 8.1e-05 | 8.2e-05 | 0 | -0.00017 | -0.00029 | -0.000476 | -0.000766 | -0.001137
-0.00497 | -0.003349 | -0.002634 | -0.002217 | -0.001874 | -0.001546 | -0.00124 | -0.001146 | -0.001067 | -0.001039 | -0.001147 | -0.001043 | -0.000743 | -0.000524 | -0.000444 | -0.000324 | -0.000338 | -0.000281 | -0.000224 | -0.000256 | -0.000386 | -0.000225 | -5.9e-05 | -5.7e-05 | 0 | 0.000146 | 9.2e-05 | 0.000152 | 0.000112 | 1.1e-05 | -7.3e-05 | -0.000243 | -0.000354 | -0.000719 | -0.000959
-0.005125 | -0.003468 | -0.002775 | -0.002214 | -0.001694 | -0.00133 | -0.001141 | -0.000993 | -0.00084 | -0.00076 | -0.0007 | -0.000449 | -0.000216 | -3e-06 | -6e-06 | 1e-06 | 8.6e-05 | -6e-06 | -3.2e-05 | -0.000119 | -0.000231 | -0.000188 | -0.000106 | -3.9e-05 | 0 | 0.000218 | 0.000153 | 0.000248 | 0.000204 | 6e-05 | -1.7e-05 | -0.000151 | -0.000284 | -0.000567 | -0.000756
-0.005735 | -0.004062 | -0.003231 | -0.002568 | -0.001948 | -0.001495 | -0.001168 | -0.001061 | -0.000844 | -0.000661 | -0.000553 | -0.000263 | -1.2e-05 | 0.000214 | 0.000191 | 0.000223 | 0.000195 | 0.000163 | 4.6e-05 | -0.000148 | -0.000186 | -0.000298 | -0.000128 | -1.3e-05 | 0 | 9.3e-05 | 0.000109 | 0.00023 | 0.0002 | 0.000112 | -3e-06 | -0.00015 | -0.000228 | -0.000452 | -0.000672
-0.005702 | -0.004024 | -0.003125 | -0.002499 | -0.001908 | -0.00141 | -0.001041 | -0.000828 | -0.000571 | -0.00039 | -0.000289 | -1.8e-05 | 0.000362 | 0.000549 | 0.000555 | 0.000509 | 0.000461 | 0.000166 | 0.000132 | -0.000117 | -0.000308 | -0.000183 | -3.8e-05 | -3.9e-05 | 0 | 0.000144 | 0.000206 | 0.000288 | 0.000221 | 8.3e-05 | -3.2e-05 | -0.000154 | -0.000219 | -0.000486 | -0.000643
-0.005649 | -0.003893 | -0.003077 | -0.002356 | -0.001668 | -0.001189 | -0.000973 | -0.000822 | -0.000649 | -0.000446 | -0.000334 | 1.1e-05 | 0.000206 | 0.000397 | 0.000378 | 0.00042 | 0.000394 | 0.000248 | 0.000141 | -8e-06 | -9.3e-05 | -0.000194 | -0.000108 | -5.9e-05 | 0 | 0.000187 | 0.000105 | 0.00031 | 0.000254 | 0.000107 | 5e-06 | -0.000132 | -0.000182 | -0.000457 | -0.000647
-0.005091 | -0.003434 | -0.002609 | -0.002011 | -0.001516 | -0.001088 | -0.00081 | -0.000718 | -0.000517 | -0.000431 | -0.000458 | -0.000357 | -8.8e-05 | 0.000165 | 0.00017 | 0.000165 | 0.000156 | 0.000151 | 0.000156 | -9.6e-05 | -0.000187 | -0.00025 | -9e-05 | 7e-06 | 0 | 9.3e-05 | 5.4e-05 | 0.000145 | 8.7e-05 | 7.2e-05 | -0.000123 | -0.000232 | -0.000412 | -0.000591 | -0.000924
-0.004801 | -0.003108 | -0.002302 | -0.001841 | -0.001353 | -0.001 | -0.000795 | -0.00067 | -0.000569 | -0.00058 | -0.000662 | -0.000538 | -0.000298 | -0.00011 | -5.5e-05 | -4e-05 | -8e-06 | -9.4e-05 | -1.6e-05 | -0.000111 | -0.000252 | -0.000141 | -5.1e-05 | -8.8e-05 | 0 | 0.000145 | 9.1e-05 | 0.000125 | 0.000104 | -7e-05 | -9.6e-05 | -0.000302 | -0.000417 | -0.000831 | -0.000995
-0.004389 | -0.002691 | -0.002037 | -0.001541 | -0.001108 | -0.000768 | -0.000605 | -0.000615 | -0.000537 | -0.000626 | -0.000756 | -0.000632 | -0.000551 | -0.000382 | -0.000353 | -0.000376 | -0.000181 | -0.000136 | -3.8e-05 | -9e-05 | -4.3e-05 | -0.000213 | -9.3e-05 | -4.3e-05 | 0 | 0.000154 | 6e-05 | 0.000124 | 6.1e-05 | -1.3e-05 | -0.000193 | -0.000257 | -0.000488 | -0.000739 | -0.001116
-0.004299 | -0.002607 | -0.001856 | -0.00151 | -0.001249 | -0.0009 | -0.000656 | -0.000674 | -0.000538 | -0.000625 | -0.000857 | -0.000799 | -0.000636 | -0.000432 | -0.000388 | -0.000252 | -0.000256 | -0.000152 | -7.4e-05 | -0.0002 | -0.000249 | -0.000169 | -8.4e-05 | -5.2e-05 | 0 | 0.000106 | 3.6e-05 | 0.000127 | 7.9e-05 | 1e-05 | -6.1e-05 | -0.00037 | -0.000472 | -0.000825 | -0.001144
-0.003962 | -0.002251 | -0.001533 | -0.001195 | -0.000747 | -0.000522 | -0.000408 | -0.000367 | -0.000316 | -0.000421 | -0.000502 | -0.000322 | -0.000179 | -4.4e-05 | -0.00011 | -1.5e-05 | 6.1e-05 | -5e-06 | 2.9e-05 | 0.000101 | -8.4e-05 | -1.4e-05 | 2.4e-05 | -3.3e-05 | 0 | 0.000259 | 0.000149 | 0.000221 | 0.000204 | -7.1e-05 | -2.2e-05 | -0.000236 | -0.000336 | -0.000746 | -0.001033
-0.004044 | -0.002418 | -0.001771 | -0.001284 | -0.000925 | -0.000577 | -0.000396 | -0.000444 | -0.000328 | -0.000286 | -0.000438 | -0.000347 | -0.000172 | 3e-05 | -2e-05 | -1.7e-05 | 1.7e-05 | -1.5e-05 | 9.4e-05 | -0.000109 | -0.000132 | -0.000251 | -0.000122 | -4e-05 | 0 | 0.000158 | 1.1e-05 | 0.000203 | 0.000112 | 8.7e-05 | -0.000104 | -0.00024 | -0.000377 | -0.000627 | -0.000952
-0.004636 | -0.0029 | -0.002088 | -0.001591 | -0.001158 | -0.000736 | -0.00049 | -0.000353 | -0.000164 | -0.000133 | -0.000132 | 2e-05 | 0.000283 | 0.00053 | 0.000468 | 0.000419 | 0.000361 | 0.000219 | 0.000125 | -2.9e-05 | -0.000176 | -0.000147 | -1.9e-05 | 6e-06 | 0 | 0.000132 | 0.000132 | 0.000146 | 0.000169 | 7.1e-05 | -1.7e-05 | -0.000218 | -0.000322 | -0.000608 | -0.000936
-0.004332 | -0.002671 | -0.001915 | -0.001413 | -0.000783 | -0.000387 | -0.000248 | -0.00016 | -2.3e-05 | 0.000111 | 0.000212 | 0.000559 | 0.000724 | 0.000825 | 0.00077 | 0.000705 | 0.000663 | 0.00035 | 0.000306 | 0.00012 | -0.000108 | -4.4e-05 | 4e-06 | 2.8e-05 | 0 | 0.000267 | 0.000203 | 0.000296 | 0.000279 | 0.000141 | 2.4e-05 | -5.9e-05 | -0.000184 | -0.000496 | -0.000577
-0.004986 | -0.003378 | -0.00258 | -0.001858 | -0.001342 | -0.000858 | -0.000517 | -0.000377 | -0.00015 | -1.5e-05 | 8.2e-05 | 0.000386 | 0.000545 | 0.00088 | 0.000774 | 0.00065 | 0.000627 | 0.000371 | 0.00029 | 4e-05 | -8.5e-05 | -0.00027 | -0.000127 | 1.8e-05 | 0 | 6.9e-05 | 3.4e-05 | 0.000227 | 0.000246 | 0.000134 | -3.8e-05 | -0.000135 | -0.000221 | -0.000399 | -0.000646
-0.005023 | -0.003336 | -0.002446 | -0.001843 | -0.001231 | -0.000709 | -0.000451 | -0.000331 | -1.2e-05 | 0.000129 | 0.000208 | 0.00057 | 0.000895 | 0.00106 | 0.000977 | 0.000934 | 0.000749 | 0.0005 | 0.000317 | -5.7e-05 | -0.000173 | -0.000216 | 4.4e-05 | -3.4e-05 | 0 | 0.000169 | 0.000171 | 0.000312 | 0.000182 | 6.3e-05 | -3.6e-05 | -0.000166 | -0.000122 | -0.000416 | -0.000691
-0.005228 | -0.003543 | -0.00267 | -0.001944 | -0.001341 | -0.000816 | -0.000612 | -0.000528 | -0.000324 | -6.3e-05 | 1.9e-05 | 0.000363 | 0.000572 | 0.00075 | 0.000616 | 0.000608 | 0.000618 | 0.000318 | 0.000271 | 4e-05 | -0.000173 | -0.000156 | -5.3e-05 | -4.2e-05 | 0 | 0.000165 | 0.000167 | 0.00033 | 0.000325 | 0.000149 | 7.5e-05 | -4.2e-05 | -9e-05 | -0.000378 | -0.000478
-0.005254 | -0.003681 | -0.002797 | -0.002121 | -0.001612 | -0.001159 | -0.000803 | -0.000683 | -0.000387 | -0.000303 | -0.000218 | -4.7e-05 | 0.000242 | 0.000544 | 0.000483 | 0.00036 | 0.000208 | 0.000255 | 0.000143 | -0.000132 | -0.000132 | -0.000354 | -0.000141 | 3e-05 | 0 | 2.9e-05 | 3.3e-05 | 0.000111 | 0.000155 | 0.000146 | -7.8e-05 | -0.000121 | -0.000181 | -0.000435 | -0.000746

## ACS221_CC_taarray
-0.087528 | -0.086562 | -0.085295 | -0.082913 | -0.079871 | -0.076132 | -0.072702 | -0.070723 | -0.065174 | -0.061166 | -0.058128 | -0.054501 | -0.050623 | -0.046623 | -0.04156 | -0.037794 | -0.03246 | -0.027343 | -0.025503 | -0.020314 | -0.017305 | -0.011382 | -0.009008 | -0.003408 | 0 | 0.003117 | 0.006508 | 0.011287 | 0.016007 | 0.01804 | 0.022426 | 0.027309 | 0.0299 | 0.032716 | 0.033688
-0.076688 | -0.074697 | -0.072644 | -0.070616 | -0.067794 | -0.064716 | -0.061605 | -0.059821 | -0.055293 | -0.052038 | -0.049845 | -0.046329 | -0.043271 | -0.03977 | -0.036165 | -0.032716 | -0.028078 | -0.023726 | -0.022128 | -0.01824 | -0.014334 | -0.009968 | -0.007914 | -0.002742 | 0 | 0.001468 | 0.004026 | 0.008336 | 0.011651 | 0.01314 | 0.016687 | 0.020283 | 0.022335 | 0.02473 | 0.025154
-0.062667 | -0.060064 | -0.058321 | -0.056407 | -0.054054 | -0.051786 | -0.049374 | -0.047627 | -0.043614 | -0.041252 | -0.039548 | -0.037025 | -0.034345 | -0.031239 | -0.02831 | -0.025886 | -0.022413 | -0.018717 | -0.017225 | -0.014325 | -0.011448 | -0.007832 | -0.006125 | -0.001946 | 0 | 0.001643 | 0.003578 | 0.006367 | 0.00889 | 0.009568 | 0.012405 | 0.015242 | 0.016001 | 0.018185 | 0.018484
-0.050473 | -0.047855 | -0.046402 | -0.044661 | -0.043074 | -0.040964 | -0.039116 | -0.038036 | -0.035364 | -0.033029 | -0.031734 | -0.028959 | -0.027463 | -0.025243 | -0.022976 | -0.020836 | -0.017953 | -0.014451 | -0.014003 | -0.01144 | -0.009203 | -0.005775 | -0.004691 | -0.001659 | 0 | 0.000848 | 0.001713 | 0.003929 | 0.005507 | 0.005567 | 0.007527 | 0.009973 | 0.010669 | 0.011592 | 0.011938
-0.040951 | -0.03825 | -0.036773 | -0.035445 | -0.034135 | -0.032691 | -0.030999 | -0.030386 | -0.028036 | -0.026569 | -0.025358 | -0.023458 | -0.021832 | -0.019937 | -0.018393 | -0.016997 | -0.014635 | -0.012258 | -0.011136 | -0.009163 | -0.007347 | -0.004887 | -0.003802 | -0.001327 | 0 | 0.00048 | 0.001281 | 0.002697 | 0.003111 | 0.003314 | 0.004428 | 0.006309 | 0.006153 | 0.006916 | 0.006886
-0.033568 | -0.030998 | -0.029943 | -0.028733 | -0.027777 | -0.026386 | -0.02526 | -0.024619 | -0.022667 | -0.02132 | -0.020278 | -0.019366 | -0.017666 | -0.01627 | -0.014902 | -0.013781 | -0.011786 | -0.009493 | -0.008944 | -0.007273 | -0.005859 | -0.003575 | -0.002877 | -0.000814 | 0 | 0.000324 | 0.000717 | 0.001827 | 0.002353 | 0.00184 | 0.002665 | 0.003724 | 0.004025 | 0.004142 | 0.003796
-0.029449 | -0.026979 | -0.026105 | -0.025064 | -0.024231 | -0.023085 | -0.022124 | -0.021726 | -0.019883 | -0.01896 | -0.017917 | -0.016961 | -0.015647 | -0.014279 | -0.013237 | -0.012467 | -0.010275 | -0.008558 | -0.00778 | -0.006462 | -0.005183 | -0.003275 | -0.002482 | -0.000656 | 0 | 7e-06 | 0.000382 | 0.000926 | 0.0012 | 0.000445 | 0.001152 | 0.002176 | 0.001851 | 0.002297 | 0.002051
-0.026451 | -0.024334 | -0.02338 | -0.02261 | -0.021838 | -0.020761 | -0.020044 | -0.019554 | -0.017799 | -0.016968 | -0.016325 | -0.015158 | -0.014073 | -0.013023 | -0.012107 | -0.011312 | -0.009636 | -0.008005 | -0.007586 | -0.006333 | -0.004708 | -0.00339 | -0.00259 | -0.000558 | 0 | -0.000216 | -4.5e-05 | 0.000361 | 0.000552 | 5e-06 | 0.000413 | 0.000902 | 0.000891 | 0.001156 | 0.000876
-0.02458 | -0.02242 | -0.021587 | -0.020792 | -0.020179 | -0.01931 | -0.018397 | -0.017778 | -0.016439 | -0.015488 | -0.014865 | -0.014115 | -0.01294 | -0.012043 | -0.011096 | -0.010334 | -0.008626 | -0.007088 | -0.006718 | -0.005609 | -0.004507 | -0.002805 | -0.002322 | -0.000522 | 0 | 0.000199 | 7.3e-05 | 0.000409 | 0.000518 | -0.000391 | 5.5e-05 | 0.000661 | 0.000586 | 0.000667 | 0.000409
-0.023085 | -0.021022 | -0.020168 | -0.019472 | -0.018825 | -0.018008 | -0.017116 | -0.016746 | -0.015414 | -0.014709 | -0.014045 | -0.013047 | -0.012185 | -0.011384 | -0.010456 | -0.009884 | -0.008318 | -0.006814 | -0.006254 | -0.005262 | -0.00423 | -0.002744 | -0.001879 | -0.0003 | 0 | -0.000152 | 3.8e-05 | 0.00019 | 2.9e-05 | -0.000324 | -0.000176 | 0.000462 | 0.000171 | 0.000452 | 9.2e-05
-0.021699 | -0.019758 | -0.018907 | -0.018308 | -0.017761 | -0.016991 | -0.016033 | -0.015736 | -0.014336 | -0.01377 | -0.013033 | -0.012601 | -0.011451 | -0.01062 | -0.009835 | -0.009343 | -0.007792 | -0.006501 | -0.005857 | -0.004809 | -0.00394 | -0.002584 | -0.002036 | -0.000686 | 0 | -0.000199 | -0.000261 | -9.4e-05 | -0.000161 | -0.000641 | -0.000535 | -7.1e-05 | -0.000209 | -0.000125 | -0.000131
-0.020353 | -0.018427 | -0.017649 | -0.017017 | -0.016387 | -0.015597 | -0.014938 | -0.014545 | -0.013491 | -0.012903 | -0.012283 | -0.011558 | -0.010665 | -0.009975 | -0.009275 | -0.008572 | -0.007247 | -0.005878 | -0.005367 | -0.004203 | -0.003389 | -0.002232 | -0.00162 | -0.000414 | 0 | -4.1e-05 | -0.000162 | 8.2e-05 | -3.8e-05 | -0.000593 | -0.000484 | -7e-05 | -0.000242 | -0.000143 | -0.000336
-0.019376 | -0.01752 | -0.016755 | -0.016199 | -0.015765 | -0.014894 | -0.014149 | -0.01374 | -0.012798 | -0.012255 | -0.011647 | -0.01101 | -0.010216 | -0.009541 | -0.008564 | -0.008059 | -0.006836 | -0.005746 | -0.005094 | -0.004009 | -0.003173 | -0.001953 | -0.001394 | -0.000139 | 0 | -4.4e-05 | 0 | 6.7e-05 | -0.00019 | -0.000731 | -0.000401 | -0.00015 | -0.000331 | -0.000284 | -0.000378
-0.018658 | -0.01686 | -0.016133 | -0.015549 | -0.015116 | -0.014403 | -0.013703 | -0.013314 | -0.012435 | -0.011682 | -0.011246 | -0.010614 | -0.009821 | -0.009015 | -0.008328 | -0.007689 | -0.006665 | -0.005327 | -0.004836 | -0.003739 | -0.003146 | -0.001849 | -0.001238 | -0.0003 | 0 | -6.5e-05 | -0.000175 | -6.5e-05 | -0.000283 | -0.000763 | -0.000638 | -0.000374 | -0.000543 | -0.000442 | -0.000633
-0.01791 | -0.016197 | -0.015489 | -0.014971 | -0.014472 | -0.013834 | -0.013032 | -0.012717 | -0.011981 | -0.011288 | -0.010874 | -0.010116 | -0.00934 | -0.008589 | -0.008021 | -0.007373 | -0.006278 | -0.005119 | -0.004607 | -0.003489 | -0.00282 | -0.001657 | -0.001297 | -0.000316 | 0 | -0.0001 | -0.000266 | -0.000262 | -0.000336 | -0.000832 | -0.000713 | -0.000389 | -0.000634 | -0.000431 | -0.000713
-0.017207 | -0.015602 | -0.014898 | -0.014429 | -0.014012 | -0.013254 | -0.012609 | -0.012274 | -0.011523 | -0.010896 | -0.010406 | -0.009766 | -0.008987 | -0.008201 | -0.007768 | -0.007119 | -0.00591 | -0.004916 | -0.004446 | -0.003413 | -0.002642 | -0.00163 | -0.001087 | -0.000161 | 0 | -0.000141 | -0.000334 | -0.000293 | -0.000607 | -0.000943 | -0.000898 | -0.000614 | -0.000677 | -0.000599 | -0.000813
-0.016527 | -0.014904 | -0.014248 | -0.01379 | -0.013458 | -0.012703 | -0.012128 | -0.011741 | -0.011009 | -0.010413 | -0.009858 | -0.00937 | -0.008554 | -0.007839 | -0.00732 | -0.006672 | -0.005665 | -0.004567 | -0.004032 | -0.003045 | -0.0024 | -0.001389 | -0.000993 | -0.000131 | 0 | -0.000115 | -0.000226 | -0.000289 | -0.000528 | -0.00088 | -0.000846 | -0.000688 | -0.000692 | -0.000711 | -0.000802
-0.016006 | -0.014449 | -0.013801 | -0.0133 | -0.012968 | -0.012285 | -0.011663 | -0.011279 | -0.010641 | -0.010014 | -0.009583 | -0.009016 | -0.008309 | -0.007648 | -0.007141 | -0.006446 | -0.005419 | -0.004432 | -0.003942 | -0.002928 | -0.00233 | -0.001317 | -0.000951 | -0.000124 | 0 | -0.000101 | -0.000359 | -0.000284 | -0.000578 | -0.000831 | -0.000879 | -0.000675 | -0.000779 | -0.000637 | -0.000757
-0.015345 | -0.013895 | -0.013246 | -0.012786 | -0.012512 | -0.011832 | -0.011152 | -0.010844 | -0.01023 | -0.009601 | -0.009184 | -0.0087 | -0.007955 | -0.007211 | -0.006726 | -0.006183 | -0.00507 | -0.004219 | -0.003668 | -0.002789 | -0.002101 | -0.001153 | -0.000755 | -1.4e-05 | 0 | -0.000125 | -0.000381 | -0.000389 | -0.000557 | -0.00094 | -0.000915 | -0.000705 | -0.000845 | -0.00067 | -0.000844
-0.015084 | -0.013657 | -0.013003 | -0.012625 | -0.012299 | -0.011581 | -0.011015 | -0.010632 | -0.010044 | -0.009539 | -0.009077 | -0.008494 | -0.007797 | -0.007124 | -0.006612 | -0.006045 | -0.005079 | -0.004146 | -0.003521 | -0.00274 | -0.002051 | -0.001179 | -0.000763 | -0.000163 | 0 | -0.000217 | -0.000414 | -0.000479 | -0.000672 | -0.001056 | -0.000954 | -0.000821 | -0.000877 | -0.00079 | -0.000829
-0.014711 | -0.013276 | -0.012677 | -0.012248 | -0.011995 | -0.011346 | -0.010681 | -0.010393 | -0.009788 | -0.009215 | -0.008826 | -0.00826 | -0.007505 | -0.006929 | -0.006382 | -0.005754 | -0.004868 | -0.003986 | -0.003379 | -0.00252 | -0.001906 | -0.001081 | -0.000715 | -0.000121 | 0 | -0.000131 | -0.000381 | -0.000414 | -0.000635 | -0.00095 | -0.000965 | -0.000802 | -0.000843 | -0.000714 | -0.00081
-0.014283 | -0.01296 | -0.012333 | -0.011937 | -0.011659 | -0.011005 | -0.010433 | -0.010094 | -0.009471 | -0.008973 | -0.008528 | -0.008083 | -0.007298 | -0.00673 | -0.006217 | -0.005606 | -0.004715 | -0.003836 | -0.003158 | -0.00243 | -0.001844 | -0.000943 | -0.000652 | -3.9e-05 | 0 | -0.000179 | -0.000311 | -0.000476 | -0.000747 | -0.000943 | -0.000853 | -0.000753 | -0.000803 | -0.000636 | -0.000883
-0.014085 | -0.01276 | -0.012128 | -0.011743 | -0.011539 | -0.010811 | -0.010271 | -0.009855 | -0.009342 | -0.008827 | -0.0084 | -0.007842 | -0.00715 | -0.006661 | -0.006164 | -0.005471 | -0.004555 | -0.003745 | -0.003158 | -0.002292 | -0.001787 | -0.000961 | -0.00059 | -0.000119 | 0 | -0.000133 | -0.000339 | -0.000406 | -0.000644 | -0.000952 | -0.000894 | -0.000746 | -0.000814 | -0.00071 | -0.000757
-0.013793 | -0.012548 | -0.011922 | -0.011518 | -0.011283 | -0.010613 | -0.010069 | -0.009635 | -0.009139 | -0.008633 | -0.008261 | -0.007642 | -0.00699 | -0.006481 | -0.00598 | -0.005319 | -0.004512 | -0.003649 | -0.003015 | -0.002169 | -0.001701 | -0.000901 | -0.000545 | -5.6e-05 | 0 | -0.000161 | -0.000321 | -0.000417 | -0.000624 | -0.000873 | -0.000907 | -0.000723 | -0.000757 | -0.000634 | -0.000677
-0.013485 | -0.012285 | -0.011663 | -0.011335 | -0.011086 | -0.010381 | -0.009861 | -0.009475 | -0.008951 | -0.008492 | -0.008051 | -0.007512 | -0.00689 | -0.006296 | -0.005797 | -0.005172 | -0.004357 | -0.003521 | -0.002926 | -0.002171 | -0.001585 | -0.000838 | -0.000496 | -6e-06 | 0 | -0.000157 | -0.000383 | -0.000474 | -0.00058 | -0.000866 | -0.000817 | -0.000701 | -0.000699 | -0.00059 | -0.000678
-0.013447 | -0.012265 | -0.011652 | -0.011245 | -0.010974 | -0.010301 | -0.009762 | -0.009391 | -0.008951 | -0.008439 | -0.007973 | -0.007469 | -0.006818 | -0.006236 | -0.005737 | -0.005066 | -0.004256 | -0.003503 | -0.002834 | -0.00214 | -0.001544 | -0.000764 | -0.000449 | -3.6e-05 | 0 | -0.000155 | -0.00035 | -0.000424 | -0.000586 | -0.000862 | -0.000778 | -0.000647 | -0.000661 | -0.000576 | -0.000572
-0.013352 | -0.012194 | -0.011624 | -0.011197 | -0.010997 | -0.010254 | -0.009718 | -0.009379 | -0.008872 | -0.008367 | -0.007984 | -0.007389 | -0.006761 | -0.006226 | -0.005691 | -0.00504 | -0.004268 | -0.003478 | -0.002779 | -0.002074 | -0.00151 | -0.000804 | -0.000495 | -5.2e-05 | 0 | -0.000173 | -0.000329 | -0.000407 | -0.000544 | -0.000742 | -0.000748 | -0.000619 | -0.000617 | -0.000503 | -0.000527
-0.013424 | -0.012264 | -0.011642 | -0.011257 | -0.010957 | -0.010274 | -0.0097 | -0.009386 | -0.008808 | -0.008373 | -0.007882 | -0.007341 | -0.006712 | -0.006143 | -0.005608 | -0.004914 | -0.004183 | -0.003357 | -0.00274 | -0.001989 | -0.001431 | -0.000719 | -0.000419 | -4e-05 | 0 | -0.000129 | -0.000259 | -0.000339 | -0.000479 | -0.000688 | -0.00056 | -0.000435 | -0.000437 | -0.000331 | -0.000383
-0.013378 | -0.012234 | -0.011636 | -0.011218 | -0.010963 | -0.010264 | -0.009691 | -0.00933 | -0.008871 | -0.00835 | -0.007925 | -0.007353 | -0.006723 | -0.006172 | -0.005591 | -0.004904 | -0.004184 | -0.003399 | -0.002709 | -0.002067 | -0.001536 | -0.000774 | -0.000439 | -5.3e-05 | 0 | -0.000134 | -0.000274 | -0.00031 | -0.000479 | -0.000618 | -0.00054 | -0.000438 | -0.00039 | -0.000325 | -0.000364
-0.013437 | -0.01232 | -0.011711 | -0.011314 | -0.011052 | -0.010318 | -0.009757 | -0.009371 | -0.008893 | -0.008361 | -0.007907 | -0.007371 | -0.006761 | -0.00612 | -0.005585 | -0.004933 | -0.004167 | -0.003423 | -0.002736 | -0.002056 | -0.001458 | -0.000791 | -0.000441 | -1.7e-05 | 0 | -8.5e-05 | -0.000229 | -0.0003 | -0.000422 | -0.000529 | -0.000486 | -0.000318 | -0.000279 | -0.00019 | -0.00021
-0.01358 | -0.01246 | -0.011822 | -0.011409 | -0.011112 | -0.010415 | -0.009825 | -0.009495 | -0.008921 | -0.008439 | -0.008011 | -0.00744 | -0.006833 | -0.006245 | -0.005627 | -0.004945 | -0.004206 | -0.003422 | -0.002752 | -0.002107 | -0.001452 | -0.000795 | -0.000421 | -3.6e-05 | 0 | -9.9e-05 | -0.000218 | -0.000221 | -0.00034 | -0.000423 | -0.000412 | -0.000235 | -0.000159 | -0.00011 | -0.000103
-0.013743 | -0.012591 | -0.011951 | -0.011497 | -0.01123 | -0.01054 | -0.009959 | -0.00956 | -0.009065 | -0.008512 | -0.00808 | -0.007523 | -0.006908 | -0.006307 | -0.005704 | -0.005084 | -0.004296 | -0.003558 | -0.002756 | -0.002121 | -0.001546 | -0.00085 | -0.000506 | -7.8e-05 | 0 | -7.8e-05 | -0.000164 | -0.000202 | -0.00031 | -0.000375 | -0.000325 | -0.000158 | -0.000134 | -2.5e-05 | 0
-0.01391 | -0.012691 | -0.012036 | -0.011609 | -0.011317 | -0.010602 | -0.010013 | -0.009624 | -0.009089 | -0.008647 | -0.008156 | -0.007562 | -0.006947 | -0.006338 | -0.005747 | -0.00508 | -0.004302 | -0.003498 | -0.002811 | -0.002129 | -0.001515 | -0.000846 | -0.000462 | -5.6e-05 | 0 | -3e-05 | -0.000106 | -0.000152 | -0.000188 | -0.000316 | -0.00024 | -7.9e-05 | 1.5e-05 | 9e-05 | 8.3e-05
-0.014282 | -0.012974 | -0.012248 | -0.011802 | -0.011483 | -0.010765 | -0.010213 | -0.009796 | -0.009272 | -0.008799 | -0.008301 | -0.007708 | -0.007094 | -0.006535 | -0.005902 | -0.005138 | -0.004454 | -0.003628 | -0.002873 | -0.002205 | -0.001626 | -0.000915 | -0.000487 | -0.000101 | 0 | -3.9e-05 | -6.3e-05 | -8.8e-05 | -0.000195 | -0.00019 | -0.000142 | 2.1e-05 | 8.7e-05 | 0.000157 | 0.000184
-0.014681 | -0.01323 | -0.012462 | -0.011993 | -0.011677 | -0.01098 | -0.010382 | -0.009966 | -0.009451 | -0.008949 | -0.008464 | -0.007865 | -0.007245 | -0.006631 | -0.006002 | -0.005284 | -0.004571 | -0.003741 | -0.002961 | -0.002315 | -0.001699 | -0.000983 | -0.000575 | -0.000144 | 0 | -4.9e-05 | -6.8e-05 | -7.2e-05 | -0.000129 | -0.000175 | -0.000113 | 8.1e-05 | 9.7e-05 | 0.000218 | 0.000258
-0.014912 | -0.013347 | -0.012549 | -0.012062 | -0.011753 | -0.011024 | -0.01043 | -0.009998 | -0.009472 | -0.008997 | -0.008524 | -0.007943 | -0.007291 | -0.006694 | -0.006058 | -0.005344 | -0.004626 | -0.003749 | -0.003018 | -0.002346 | -0.001705 | -0.001014 | -0.000571 | -0.000145 | 0 | 1.7e-05 | 7e-06 | 2.6e-05 | 5e-06 | -5.3e-05 | -1.7e-05 | 0.00017 | 0.00021 | 0.000316 | 0.000342
-0.015105 | -0.013442 | -0.012593 | -0.01212 | -0.011769 | -0.011064 | -0.010468 | -0.010049 | -0.009553 | -0.009082 | -0.008547 | -0.007974 | -0.007354 | -0.006778 | -0.006093 | -0.0054 | -0.004633 | -0.003809 | -0.003081 | -0.00241 | -0.001804 | -0.001081 | -0.000642 | -0.000201 | 0 | 3.7e-05 | 3e-05 | 7e-05 | -3.1e-05 | -5.7e-05 | 1.9e-05 | 0.000142 | 0.000199 | 0.000287 | 0.000331
-0.014966 | -0.013286 | -0.012416 | -0.011946 | -0.01162 | -0.010954 | -0.010364 | -0.009958 | -0.009428 | -0.008962 | -0.008447 | -0.007855 | -0.007279 | -0.006666 | -0.006053 | -0.00537 | -0.004593 | -0.003779 | -0.003064 | -0.002398 | -0.00177 | -0.001112 | -0.000627 | -0.000196 | 0 | 5.4e-05 | 9.1e-05 | 9.1e-05 | 5.9e-05 | -3.2e-05 | 4e-05 | 0.000173 | 0.000185 | 0.000316 | 0.000345
-0.0147 | -0.012991 | -0.012165 | -0.011712 | -0.011412 | -0.010703 | -0.010164 | -0.009773 | -0.009289 | -0.008825 | -0.008311 | -0.007732 | -0.007157 | -0.006572 | -0.005929 | -0.005236 | -0.004554 | -0.003706 | -0.003032 | -0.002349 | -0.001749 | -0.001134 | -0.000666 | -0.000208 | 0 | 7e-05 | 9.7e-05 | 0.000125 | 6.5e-05 | -1e-06 | 2.7e-05 | 0.000142 | 0.000157 | 0.000243 | 0.000274
-0.014262 | -0.0126 | -0.011789 | -0.011339 | -0.011054 | -0.010395 | -0.009843 | -0.009436 | -0.009014 | -0.008548 | -0.008063 | -0.007539 | -0.006934 | -0.00638 | -0.005764 | -0.005121 | -0.004424 | -0.003651 | -0.002914 | -0.002324 | -0.001754 | -0.001128 | -0.000675 | -0.000232 | 0 | 4.9e-05 | 8.2e-05 | 7.2e-05 | 1e-05 | -6.7e-05 | -7.7e-05 | 3.2e-05 | 5.6e-05 | 0.000129 | 0.000128
-0.013725 | -0.01211 | -0.011326 | -0.010879 | -0.010618 | -0.009974 | -0.009477 | -0.009085 | -0.008618 | -0.008189 | -0.007753 | -0.007222 | -0.006635 | -0.006066 | -0.005534 | -0.00489 | -0.004189 | -0.003472 | -0.002807 | -0.002203 | -0.001688 | -0.001115 | -0.000665 | -0.000207 | 0 | 5.1e-05 | 8e-05 | 5.2e-05 | -1.1e-05 | -0.00016 | -0.000157 | -0.000101 | -7.5e-05 | -3.9e-05 | -2.3e-05
-0.013109 | -0.011561 | -0.010809 | -0.010412 | -0.01016 | -0.009551 | -0.009032 | -0.008675 | -0.008259 | -0.007864 | -0.007385 | -0.006896 | -0.006327 | -0.005797 | -0.005232 | -0.00466 | -0.003993 | -0.003258 | -0.002648 | -0.002089 | -0.00159 | -0.001061 | -0.000617 | -0.000181 | 0 | 4.9e-05 | 5.8e-05 | 2.5e-05 | -0.000101 | -0.000237 | -0.000267 | -0.00021 | -0.000192 | -0.000141 | -0.000201
-0.012473 | -0.010998 | -0.010284 | -0.009876 | -0.009658 | -0.009073 | -0.008585 | -0.008244 | -0.007817 | -0.007434 | -0.007007 | -0.006559 | -0.006009 | -0.005458 | -0.004947 | -0.00439 | -0.003803 | -0.003116 | -0.002487 | -0.001928 | -0.001474 | -0.000996 | -0.000569 | -0.000148 | 0 | 7.1e-05 | 1.8e-05 | -3.7e-05 | -0.000172 | -0.000317 | -0.000391 | -0.000314 | -0.000298 | -0.000302 | -0.0003
-0.01193 | -0.01054 | -0.009842 | -0.009463 | -0.009269 | -0.008688 | -0.008243 | -0.007886 | -0.007454 | -0.007124 | -0.006717 | -0.006223 | -0.00572 | -0.005217 | -0.004688 | -0.004216 | -0.003569 | -0.002916 | -0.002331 | -0.001809 | -0.001376 | -0.000881 | -0.000527 | -0.000141 | 0 | -6e-06 | -4.1e-05 | -0.000113 | -0.000288 | -0.000414 | -0.000502 | -0.000456 | -0.000477 | -0.000458 | -0.000466
-0.011349 | -0.010186 | -0.009517 | -0.009122 | -0.008854 | -0.008267 | -0.00779 | -0.007427 | -0.006969 | -0.006642 | -0.006235 | -0.005755 | -0.005222 | -0.004779 | -0.004349 | -0.003859 | -0.003375 | -0.002756 | -0.002227 | -0.001697 | -0.001216 | -0.000741 | -0.000456 | -0.000104 | 0 | -0.000142 | -0.000246 | -0.000311 | -0.000514 | -0.000694 | -0.000783 | -0.000719 | -0.000726 | -0.000684 | -0.000709
-0.010893 | -0.009745 | -0.009083 | -0.008696 | -0.008434 | -0.00786 | -0.007405 | -0.007077 | -0.006663 | -0.006347 | -0.005933 | -0.005489 | -0.004987 | -0.004555 | -0.004152 | -0.003709 | -0.003195 | -0.002624 | -0.002107 | -0.001557 | -0.00112 | -0.000707 | -0.000393 | -6.4e-05 | 0 | -0.000121 | -0.000229 | -0.000352 | -0.000545 | -0.000708 | -0.000822 | -0.000798 | -0.000812 | -0.00078 | -0.000785
-0.010513 | -0.009439 | -0.008834 | -0.008454 | -0.008211 | -0.007615 | -0.007178 | -0.006817 | -0.006462 | -0.006129 | -0.005776 | -0.005344 | -0.004857 | -0.00443 | -0.004014 | -0.003603 | -0.003101 | -0.00255 | -0.002021 | -0.001533 | -0.001124 | -0.000676 | -0.000432 | -7.6e-05 | 0 | -0.000133 | -0.000285 | -0.000402 | -0.000615 | -0.000828 | -0.000962 | -0.000948 | -0.000962 | -0.00094 | -0.000975
-0.010031 | -0.009021 | -0.008431 | -0.008071 | -0.007827 | -0.007285 | -0.006871 | -0.006554 | -0.006161 | -0.005876 | -0.005495 | -0.005088 | -0.004617 | -0.00422 | -0.003869 | -0.003418 | -0.002932 | -0.002431 | -0.001912 | -0.001452 | -0.001084 | -0.000621 | -0.000366 | -3.7e-05 | 0 | -8.1e-05 | -0.000207 | -0.000359 | -0.000608 | -0.000837 | -0.000974 | -0.000946 | -0.000954 | -0.000948 | -0.000975
-0.00974 | -0.008743 | -0.008161 | -0.007822 | -0.007601 | -0.007071 | -0.006664 | -0.006325 | -0.006003 | -0.005687 | -0.005294 | -0.004935 | -0.004472 | -0.004098 | -0.003729 | -0.003304 | -0.002864 | -0.00233 | -0.001873 | -0.00138 | -0.001024 | -0.000614 | -0.000401 | -5.4e-05 | 0 | -0.000125 | -0.000254 | -0.000403 | -0.000657 | -0.000869 | -0.000963 | -0.000956 | -0.001015 | -0.000979 | -0.001012
-0.009503 | -0.008554 | -0.007994 | -0.007638 | -0.007425 | -0.006922 | -0.006477 | -0.0062 | -0.005851 | -0.00556 | -0.005184 | -0.004829 | -0.004367 | -0.003966 | -0.003634 | -0.003251 | -0.002777 | -0.002273 | -0.001831 | -0.001394 | -0.001012 | -0.000606 | -0.000374 | -4.5e-05 | 0 | -0.000102 | -0.000265 | -0.000406 | -0.000624 | -0.000855 | -0.000983 | -0.000978 | -0.001006 | -0.000988 | -0.001038
-0.009474 | -0.008527 | -0.007957 | -0.00763 | -0.007386 | -0.006869 | -0.006467 | -0.006136 | -0.005819 | -0.005507 | -0.005162 | -0.004796 | -0.004306 | -0.00396 | -0.003649 | -0.003218 | -0.002785 | -0.002261 | -0.001837 | -0.001406 | -0.001031 | -0.000645 | -0.000426 | -6.8e-05 | 0 | -0.000114 | -0.000244 | -0.00035 | -0.000569 | -0.00079 | -0.000912 | -0.000917 | -0.000889 | -0.000899 | -0.000911
-0.0095 | -0.008561 | -0.008005 | -0.007673 | -0.007441 | -0.00693 | -0.006522 | -0.006213 | -0.005897 | -0.005571 | -0.005221 | -0.004844 | -0.004397 | -0.004003 | -0.003699 | -0.003283 | -0.002807 | -0.002323 | -0.001876 | -0.001412 | -0.001052 | -0.000683 | -0.000444 | -9.7e-05 | 0 | -0.000137 | -0.000214 | -0.00032 | -0.000546 | -0.000755 | -0.000813 | -0.000843 | -0.000844 | -0.000824 | -0.000839
-0.00974 | -0.008784 | -0.008217 | -0.007868 | -0.007646 | -0.007096 | -0.006672 | -0.006365 | -0.006064 | -0.005712 | -0.005369 | -0.004996 | -0.004504 | -0.004115 | -0.003782 | -0.003409 | -0.002901 | -0.002408 | -0.001936 | -0.001491 | -0.001138 | -0.000723 | -0.000472 | -0.000111 | 0 | -9.7e-05 | -0.000181 | -0.000265 | -0.000444 | -0.00062 | -0.000703 | -0.000687 | -0.000651 | -0.000642 | -0.000686
-0.009832 | -0.008879 | -0.008308 | -0.007958 | -0.007691 | -0.007186 | -0.006774 | -0.006451 | -0.006101 | -0.005776 | -0.005418 | -0.005056 | -0.004573 | -0.004183 | -0.00386 | -0.003451 | -0.002968 | -0.002453 | -0.001988 | -0.001513 | -0.001153 | -0.000756 | -0.000477 | -0.00012 | 0 | -8e-05 | -0.000122 | -0.000182 | -0.000345 | -0.000522 | -0.000567 | -0.000546 | -0.000544 | -0.000529 | -0.00052
-0.009945 | -0.009007 | -0.008434 | -0.008049 | -0.007809 | -0.007269 | -0.006825 | -0.006535 | -0.006194 | -0.005815 | -0.005483 | -0.005075 | -0.00461 | -0.004194 | -0.003897 | -0.003431 | -0.002965 | -0.002469 | -0.001992 | -0.001502 | -0.001151 | -0.000747 | -0.00045 | -0.000131 | 0 | -5.2e-05 | -0.000112 | -0.000169 | -0.000316 | -0.000484 | -0.000544 | -0.000483 | -0.000486 | -0.000477 | -0.000445
-0.010177 | -0.009146 | -0.008539 | -0.008176 | -0.007906 | -0.007382 | -0.006931 | -0.006604 | -0.006243 | -0.005898 | -0.005571 | -0.005153 | -0.004692 | -0.004295 | -0.003961 | -0.003525 | -0.003002 | -0.002502 | -0.002023 | -0.001524 | -0.001138 | -0.000735 | -0.000467 | -9.8e-05 | 0 | -7.1e-05 | -8.8e-05 | -0.000163 | -0.000296 | -0.000423 | -0.000493 | -0.000427 | -0.000395 | -0.000377 | -0.000364
-0.010525 | -0.009494 | -0.008853 | -0.008448 | -0.008163 | -0.007608 | -0.007183 | -0.006832 | -0.006449 | -0.006126 | -0.005748 | -0.005305 | -0.00481 | -0.004414 | -0.004067 | -0.003602 | -0.003093 | -0.002568 | -0.002108 | -0.001577 | -0.001195 | -0.000783 | -0.00051 | -0.000108 | 0 | -3.5e-05 | -7.5e-05 | -5.9e-05 | -0.000221 | -0.000333 | -0.000363 | -0.000295 | -0.00027 | -0.00022 | -0.000221
-0.010813 | -0.00976 | -0.009107 | -0.008684 | -0.008404 | -0.007809 | -0.007353 | -0.006974 | -0.00665 | -0.006241 | -0.005892 | -0.005449 | -0.004937 | -0.004536 | -0.004142 | -0.003702 | -0.003192 | -0.002666 | -0.00213 | -0.001609 | -0.001251 | -0.000792 | -0.000511 | -0.000143 | 0 | -4.6e-05 | -6.1e-05 | -9.1e-05 | -0.000204 | -0.000296 | -0.000339 | -0.000251 | -0.000238 | -0.000166 | -0.000196
-0.011054 | -0.00996 | -0.009295 | -0.008852 | -0.008511 | -0.007952 | -0.007497 | -0.007096 | -0.00675 | -0.006371 | -0.005972 | -0.005525 | -0.005018 | -0.004592 | -0.00423 | -0.003735 | -0.003213 | -0.002703 | -0.002185 | -0.001622 | -0.001244 | -0.000797 | -0.000519 | -0.000146 | 0 | -4.8e-05 | -6e-05 | -4.3e-05 | -0.000172 | -0.000253 | -0.000256 | -0.000196 | -0.000141 | -0.000101 | -8.7e-05
-0.011266 | -0.01015 | -0.009463 | -0.009002 | -0.008692 | -0.008094 | -0.007605 | -0.007245 | -0.006892 | -0.006479 | -0.006086 | -0.005635 | -0.005117 | -0.004667 | -0.004262 | -0.003767 | -0.003235 | -0.002717 | -0.002165 | -0.001612 | -0.00124 | -0.000776 | -0.000524 | -0.000119 | 0 | -8e-06 | -3.4e-05 | -2.6e-05 | -0.00011 | -0.000202 | -0.000212 | -0.000107 | -7.2e-05 | 1e-06 | 1.5e-05
-0.01147 | -0.010331 | -0.009644 | -0.009151 | -0.008825 | -0.00822 | -0.007725 | -0.007332 | -0.006988 | -0.006533 | -0.006145 | -0.005682 | -0.00517 | -0.004704 | -0.00428 | -0.003806 | -0.00328 | -0.002713 | -0.00217 | -0.001606 | -0.001229 | -0.000786 | -0.000527 | -0.000128 | 0 | -2.7e-05 | -2.7e-05 | -3.3e-05 | -0.000109 | -0.000168 | -0.000216 | -8.1e-05 | -4.1e-05 | 3e-06 | 4.3e-05
-0.011591 | -0.010411 | -0.009699 | -0.00923 | -0.008858 | -0.008238 | -0.007738 | -0.007371 | -0.006965 | -0.006574 | -0.006171 | -0.005716 | -0.005134 | -0.004685 | -0.004285 | -0.003775 | -0.003241 | -0.002681 | -0.002138 | -0.001612 | -0.001183 | -0.00074 | -0.00051 | -0.00012 | 0 | -1.8e-05 | -5e-06 | 1e-06 | -0.000102 | -0.000134 | -0.00018 | -5e-05 | 5.8e-05 | 9.2e-05 | 8.8e-05
-0.011717 | -0.010537 | -0.009823 | -0.009328 | -0.00899 | -0.008352 | -0.007814 | -0.007461 | -0.007042 | -0.00662 | -0.00622 | -0.005763 | -0.005209 | -0.00471 | -0.004297 | -0.00375 | -0.003264 | -0.002708 | -0.002101 | -0.00158 | -0.00119 | -0.000755 | -0.0005 | -9.7e-05 | 0 | -1.7e-05 | -4.2e-05 | -2.3e-05 | -0.000102 | -0.000144 | -0.000137 | -3.6e-05 | 2.5e-05 | 0.000107 | 0.000102
-0.011858 | -0.010656 | -0.009925 | -0.009432 | -0.00905 | -0.008416 | -0.007897 | -0.007507 | -0.00707 | -0.006651 | -0.006243 | -0.005741 | -0.00522 | -0.004716 | -0.004295 | -0.003774 | -0.003243 | -0.002676 | -0.002108 | -0.001582 | -0.001164 | -0.000734 | -0.000506 | -0.00012 | 0 | -2.1e-05 | -3.2e-05 | 1e-06 | -8.1e-05 | -0.000128 | -0.000114 | -2.1e-05 | 8.1e-05 | 0.000101 | 0.000136
-0.01203 | -0.010789 | -0.010033 | -0.0095 | -0.009121 | -0.008478 | -0.007959 | -0.00757 | -0.007136 | -0.006687 | -0.006288 | -0.005809 | -0.00523 | -0.004746 | -0.004298 | -0.003781 | -0.003227 | -0.002692 | -0.002103 | -0.001582 | -0.001142 | -0.000719 | -0.000488 | -0.000126 | 0 | -3.8e-05 | -4.7e-05 | 4e-06 | -7.5e-05 | -0.000136 | -0.000116 | 1.9e-05 | 8.5e-05 | 0.000187 | 0.0002
-0.012159 | -0.01088 | -0.010107 | -0.009547 | -0.009173 | -0.008501 | -0.007975 | -0.007546 | -0.007134 | -0.006682 | -0.006241 | -0.005768 | -0.00522 | -0.004713 | -0.004249 | -0.00373 | -0.003168 | -0.002631 | -0.002051 | -0.001539 | -0.00113 | -0.000722 | -0.000466 | -8.8e-05 | 0 | -5.6e-05 | -4.1e-05 | -1e-05 | -8.1e-05 | -0.00015 | -8.2e-05 | 3.3e-05 | 0.000115 | 0.000178 | 0.000191
-0.012161 | -0.010907 | -0.01012 | -0.009569 | -0.009146 | -0.008498 | -0.007982 | -0.007565 | -0.007097 | -0.006673 | -0.006215 | -0.005746 | -0.005209 | -0.00466 | -0.004187 | -0.003685 | -0.003165 | -0.002559 | -0.001994 | -0.001488 | -0.001058 | -0.000663 | -0.000465 | -7.6e-05 | 0 | -2.8e-05 | -3.8e-05 | 1.9e-05 | -4.3e-05 | -7.8e-05 | -4.9e-05 | 8.2e-05 | 0.000179 | 0.000248 | 0.000303
-0.012308 | -0.011016 | -0.010241 | -0.009657 | -0.009243 | -0.008568 | -0.008018 | -0.00759 | -0.007143 | -0.006695 | -0.00627 | -0.005739 | -0.005207 | -0.004695 | -0.004218 | -0.003642 | -0.00315 | -0.002566 | -0.001985 | -0.00147 | -0.001034 | -0.000671 | -0.000465 | -7.4e-05 | 0 | -8e-06 | -2.9e-05 | 3.2e-05 | -7e-05 | -7.6e-05 | -2.1e-05 | 0.000116 | 0.000202 | 0.000271 | 0.000309
-0.012443 | -0.01113 | -0.010326 | -0.009723 | -0.009318 | -0.008632 | -0.00807 | -0.007659 | -0.007172 | -0.006773 | -0.00629 | -0.005753 | -0.00524 | -0.004709 | -0.00425 | -0.00366 | -0.00315 | -0.002547 | -0.001995 | -0.00149 | -0.00105 | -0.000689 | -0.000465 | -7.8e-05 | 0 | -1.9e-05 | -2.9e-05 | -1e-05 | -6.1e-05 | -8.4e-05 | -1.7e-05 | 0.000118 | 0.000163 | 0.000279 | 0.000305
-0.012612 | -0.011268 | -0.010431 | -0.009839 | -0.009384 | -0.008709 | -0.008142 | -0.007675 | -0.007228 | -0.006816 | -0.006329 | -0.005787 | -0.005245 | -0.004709 | -0.00423 | -0.003661 | -0.003125 | -0.002522 | -0.00194 | -0.001445 | -0.001029 | -0.000653 | -0.000453 | -4.5e-05 | 0 | -3e-05 | -3e-06 | 5.3e-05 | -1.2e-05 | -1e-06 | 5.4e-05 | 0.000186 | 0.000289 | 0.00037 | 0.000378
-0.01284 | -0.011459 | -0.010613 | -0.009985 | -0.009549 | -0.008847 | -0.00826 | -0.007808 | -0.007354 | -0.00689 | -0.006422 | -0.005898 | -0.00533 | -0.004758 | -0.004279 | -0.003733 | -0.00318 | -0.002556 | -0.001978 | -0.001455 | -0.001042 | -0.000693 | -0.000474 | -8.6e-05 | 0 | -7.1e-05 | -3e-06 | 3.7e-05 | -3.3e-05 | 0 | 6.5e-05 | 0.000227 | 0.000309 | 0.00039 | 0.000492
-0.013129 | -0.011726 | -0.010831 | -0.010203 | -0.009715 | -0.009036 | -0.0084 | -0.007944 | -0.007464 | -0.006968 | -0.006521 | -0.005963 | -0.005388 | -0.004819 | -0.004348 | -0.003766 | -0.003216 | -0.002619 | -0.001984 | -0.00149 | -0.00106 | -0.000674 | -0.000454 | -7.5e-05 | 0 | -2e-05 | 1.5e-05 | 5.6e-05 | 4.3e-05 | 1.6e-05 | 0.000115 | 0.00029 | 0.000368 | 0.000486 | 0.000517
-0.013436 | -0.011974 | -0.011048 | -0.010387 | -0.009879 | -0.009179 | -0.008558 | -0.008087 | -0.007578 | -0.007141 | -0.006622 | -0.006037 | -0.005509 | -0.004919 | -0.004386 | -0.003777 | -0.003256 | -0.002678 | -0.002051 | -0.001522 | -0.001075 | -0.000727 | -0.000504 | -5.8e-05 | 0 | 1e-05 | 3.4e-05 | 0.000115 | 3.7e-05 | 7.3e-05 | 0.00017 | 0.000337 | 0.000488 | 0.000545 | 0.000585
-0.013831 | -0.012295 | -0.011355 | -0.010632 | -0.010104 | -0.009381 | -0.008746 | -0.008231 | -0.007752 | -0.007276 | -0.006745 | -0.006174 | -0.00562 | -0.005012 | -0.00448 | -0.003937 | -0.003318 | -0.002716 | -0.002086 | -0.001576 | -0.001116 | -0.000735 | -0.000484 | -9.8e-05 | 0 | 1.4e-05 | 1.7e-05 | 0.000136 | 9.3e-05 | 0.000148 | 0.000214 | 0.000377 | 0.000544 | 0.00059 | 0.000613
-0.014052 | -0.0125 | -0.011533 | -0.010826 | -0.010283 | -0.009533 | -0.0089 | -0.008439 | -0.007908 | -0.00745 | -0.006883 | -0.006328 | -0.005735 | -0.005101 | -0.004546 | -0.004 | -0.003441 | -0.002789 | -0.002185 | -0.00162 | -0.001166 | -0.000814 | -0.000536 | -0.000151 | 0 | -1.9e-05 | 4.4e-05 | 0.000162 | 8.7e-05 | 0.00013 | 0.000209 | 0.000367 | 0.000531 | 0.000618 | 0.000644
-0.014328 | -0.01275 | -0.011766 | -0.011024 | -0.010501 | -0.009735 | -0.009114 | -0.008592 | -0.008102 | -0.007576 | -0.007013 | -0.006465 | -0.005886 | -0.005282 | -0.004758 | -0.004186 | -0.003564 | -0.002915 | -0.002298 | -0.001733 | -0.001287 | -0.000905 | -0.000617 | -0.000113 | 0 | -3.5e-05 | 4e-05 | 0.000146 | 0.000111 | 0.00014 | 0.000222 | 0.000403 | 0.000532 | 0.000632 | 0.000677
-0.014477 | -0.012889 | -0.01188 | -0.011134 | -0.010597 | -0.009874 | -0.009195 | -0.008717 | -0.008176 | -0.007716 | -0.007101 | -0.006578 | -0.005965 | -0.005383 | -0.004813 | -0.00424 | -0.003657 | -0.002956 | -0.002342 | -0.001787 | -0.001299 | -0.000933 | -0.00066 | -0.000159 | 0 | 5e-06 | 8.9e-05 | 0.000214 | 0.000195 | 0.000265 | 0.000355 | 0.000545 | 0.00066 | 0.000723 | 0.000783
-0.014742 | -0.013078 | -0.012097 | -0.011366 | -0.010788 | -0.010062 | -0.009385 | -0.008891 | -0.008334 | -0.007877 | -0.007346 | -0.006741 | -0.006136 | -0.005495 | -0.00501 | -0.004374 | -0.003788 | -0.0031 | -0.002502 | -0.00197 | -0.001431 | -0.001046 | -0.000698 | -0.000189 | 0 | 1.1e-05 | 6.6e-05 | 0.000254 | 0.000181 | 0.00024 | 0.000327 | 0.000562 | 0.000625 | 0.000732 | 0.000761
-0.014768 | -0.013113 | -0.012135 | -0.011419 | -0.010881 | -0.010126 | -0.009494 | -0.008981 | -0.008381 | -0.00798 | -0.00744 | -0.006832 | -0.006236 | -0.005606 | -0.005059 | -0.004522 | -0.003855 | -0.003226 | -0.002556 | -0.002033 | -0.001546 | -0.001102 | -0.000766 | -0.000172 | 0 | 8.4e-05 | 0.000158 | 0.000301 | 0.00027 | 0.000278 | 0.000412 | 0.000566 | 0.000691 | 0.000759 | 0.000734
-0.01499 | -0.013298 | -0.012295 | -0.011567 | -0.010996 | -0.010287 | -0.009635 | -0.009138 | -0.008581 | -0.008099 | -0.007531 | -0.00699 | -0.006357 | -0.005723 | -0.005217 | -0.004594 | -0.004017 | -0.003357 | -0.002719 | -0.002188 | -0.001712 | -0.001259 | -0.000899 | -0.000239 | 0 | 6.5e-05 | 0.000175 | 0.000299 | 0.000308 | 0.000293 | 0.000362 | 0.000529 | 0.000701 | 0.000796 | 0.000794
-0.015021 | -0.013297 | -0.012286 | -0.011506 | -0.01095 | -0.010262 | -0.009605 | -0.009082 | -0.00851 | -0.008095 | -0.007512 | -0.006923 | -0.006321 | -0.005746 | -0.005184 | -0.004593 | -0.00402 | -0.003369 | -0.002787 | -0.002207 | -0.001674 | -0.001243 | -0.000867 | -0.00024 | 0 | 7.5e-05 | 0.000252 | 0.000364 | 0.000344 | 0.000337 | 0.000482 | 0.000636 | 0.000711 | 0.000749 | 0.00084
-0.014912 | -0.013135 | -0.012128 | -0.011366 | -0.01081 | -0.010131 | -0.00951 | -0.008956 | -0.008444 | -0.007973 | -0.00747 | -0.006934 | -0.006229 | -0.005693 | -0.005227 | -0.004647 | -0.004036 | -0.003365 | -0.002866 | -0.002273 | -0.001829 | -0.00134 | -0.000969 | -0.000236 | 0 | 7.2e-05 | 0.000282 | 0.000398 | 0.000322 | 0.000326 | 0.000344 | 0.000522 | 0.000662 | 0.000659 | 0.00069
-0.014587 | -0.012803 | -0.011809 | -0.011022 | -0.01047 | -0.009805 | -0.009173 | -0.008698 | -0.008221 | -0.007684 | -0.007209 | -0.006677 | -0.006056 | -0.005455 | -0.005037 | -0.00454 | -0.003891 | -0.003267 | -0.00276 | -0.002209 | -0.001732 | -0.00135 | -0.000923 | -0.000251 | 0 | 0.000107 | 0.000212 | 0.00044 | 0.000333 | 0.000284 | 0.000284 | 0.000475 | 0.000515 | 0.000634 | 0.000566
-0.014098 | -0.012361 | -0.011403 | -0.010634 | -0.010171 | -0.009498 | -0.008836 | -0.008365 | -0.007915 | -0.00748 | -0.006925 | -0.00649 | -0.005853 | -0.005299 | -0.004876 | -0.004384 | -0.003809 | -0.003254 | -0.002753 | -0.002102 | -0.001743 | -0.001279 | -0.00097 | -0.000236 | 0 | 1.8e-05 | 0.000212 | 0.000266 | 0.000171 | 0.00012 | 0.000136 | 0.000357 | 0.000484 | 0.000399 | 0.000415
-0.013667 | -0.01194 | -0.01101 | -0.01025 | -0.009788 | -0.009124 | -0.008538 | -0.008075 | -0.007644 | -0.007242 | -0.006648 | -0.006239 | -0.005605 | -0.005042 | -0.004725 | -0.004208 | -0.003603 | -0.00309 | -0.002649 | -0.00211 | -0.001722 | -0.001267 | -0.000983 | -0.000269 | 0 | 6.6e-05 | 0.00013 | 0.000236 | 7.2e-05 | -3.9e-05 | 1.9e-05 | 0.000159 | 0.000241 | 0.000299 | 0.00032
-0.013191 | -0.011483 | -0.010573 | -0.00986 | -0.009362 | -0.008762 | -0.008148 | -0.007705 | -0.007324 | -0.006801 | -0.006336 | -0.005892 | -0.005314 | -0.004721 | -0.00441 | -0.004023 | -0.003435 | -0.002887 | -0.002426 | -0.00188 | -0.001628 | -0.001161 | -0.000875 | -0.000182 | 0 | 4.6e-05 | 0.00011 | 0.000181 | 9e-05 | -8.9e-05 | -2.4e-05 | 5.1e-05 | 0.000199 | 0.000282 | 0.000206
-0.012936 | -0.011271 | -0.010387 | -0.00966 | -0.009232 | -0.008588 | -0.008027 | -0.007607 | -0.007216 | -0.006655 | -0.006265 | -0.00578 | -0.005215 | -0.004622 | -0.004395 | -0.003884 | -0.00332 | -0.00291 | -0.002444 | -0.001958 | -0.001597 | -0.00112 | -0.000856 | -0.000174 | 0 | -7.7e-05 | -5.6e-05 | 2.6e-05 | -9.9e-05 | -0.000247 | -0.000193 | -9.3e-05 | 1.5e-05 | 6.2e-05 | 0.000114
-0.012818 | -0.011147 | -0.010216 | -0.009565 | -0.009132 | -0.00844 | -0.007951 | -0.007526 | -0.007058 | -0.00654 | -0.006169 | -0.005758 | -0.005122 | -0.004572 | -0.004285 | -0.003807 | -0.003204 | -0.002717 | -0.002397 | -0.001778 | -0.001522 | -0.001033 | -0.000783 | -0.000178 | 0 | -0.000103 | -5.1e-05 | 1.2e-05 | -0.000211 | -0.000274 | -0.000258 | -8.2e-05 | -0.000105 | 8e-05 | -2e-05