## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
RS01SLBS-MJ01A | SN0026 | 2 | 2015-07-06 | 0:00 |  | 44° 30.582' N | 125° 24.315' W | 2921 | TN-313 |  | 44.5097 | -125.4052 | Did not acutally swap in this deployment
RS01SLBS-LJ01A | SN0010 | 2 | 2015-07-06 | 0:00 |  | 44° 30.916' N | 125° 23.392' W | 2905 | TN-326 |  | 44.5153 | -125.3899

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
RS01SLBS-MJ01A-05-OBSBBA102 | SN0026 | 2 | T1074/T5CP2 |  |  | Was not swapped in this deployment
RS01SLBS-MJ01A-05-HYDLFA101 | SN0026 | 2 | 299470 |  |  | Was not swapped in this deployment
RS01SLBS-MJ01A-06-PRESTA101 | SN0026 | 2 | 5471540-0030 |  |  | Was not swapped in this deployment
RS01SLBS-MJ01A-12-VEL3DB101 | SN0026 | 2 | 10313 | CC_lat | 44.5097 | Was not swapped in this deployment
RS01SLBS-MJ01A-12-VEL3DB101 | SN0026 | 2 | 10313 | CC_lon | -125.4052 | Was not swapped in this deployment
RS01SLBS-LJ01A-05-HPIESA101 | SN0010 | 2 | 02 |  |  | Was not swapped at this time with LPJBox - (No Calibration but does need SN)
RS01SLBS-LJ01A-09-HYDBBA102 | SN0010 | 2 | 1363 | CC_gain | 6 | Is this used anywhere? As it is an Antelope Device (is it correct?)
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_lat | 44.5153
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_lon | -125.3899
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_scale_factor1 | 0.45 | 0.45dB/count - found a note by Rachel on Confluence Does not change per instrument?
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_scale_factor2 | 0.45
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_scale_factor3 | 0.45
RS01SLBS-LJ01A-10-ADCPTE101 | SN0010 | 2 | 23442 | CC_scale_factor4 | 0.45
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_cwlngth | [400.90000000, 404.40000000, 407.30000000, 410.70000000, 413.90000000, 417.60000000, 421.50000000, 425.80000000, 429.50000000, 433.20000000, 437.00000000, 441.00000000, 445.40000000, 449.90000000, 454.60000000, 458.50000000, 462.70000000, 467.30000000, 472.00000000, 477.30000000, 481.80000000, 486.40000000, 490.60000000, 494.60000000, 499.30000000, 503.30000000, 508.00000000, 513.00000000, 517.50000000, 522.20000000, 526.80000000, 530.80000000, 535.10000000, 539.40000000, 543.50000000, 548.10000000, 552.20000000, 556.90000000, 561.30000000, 565.70000000, 569.60000000, 573.70000000, 577.30000000, 581.20000000, 585.60000000, 590.00000000, 594.20000000, 598.60000000, 603.00000000, 607.60000000, 611.80000000, 616.70000000, 620.70000000, 624.90000000, 628.70000000, 632.90000000, 636.80000000, 641.10000000, 645.30000000, 649.40000000, 653.50000000, 658.00000000, 662.30000000, 666.50000000, 670.60000000, 674.70000000, 678.60000000, 682.70000000, 686.10000000, 690.00000000, 693.60000000, 697.10000000, 700.70000000, 704.20000000, 707.50000000, 710.70000000, 713.90000000, 717.70000000, 720.50000000, 723.80000000, 727.30000000, 730.30000000, 733.20000000]
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_ccwo | [ -0.67906200, -0.58139100, -0.48991800, -0.40240000, -0.32096600, -0.24283600, -0.16799900, -0.10155100, -0.03539900, 0.02699600, 0.08952600, 0.14852200, 0.20498700, 0.25913400, 0.30943000, 0.35685800, 0.40290100, 0.44652200, 0.49098100, 0.53345300, 0.57246600, 0.60971800, 0.64840700, 0.68478600, 0.71899700, 0.75170600, 0.78012800, 0.80918600, 0.83567200, 0.86078200, 0.88629100, 0.91144900, 0.93478100, 0.95802600, 0.98206200, 1.00720400, 1.02843600, 1.04727700, 1.06720600, 1.08807700, 1.10755000, 1.12554900, 1.14159500, 1.16923100, 1.13440300, 1.13305700, 1.12728200, 1.12126200, 1.11858700, 1.12174100, 1.13046500, 1.14223900, 1.15370700, 1.16547900, 1.17637900, 1.18604200, 1.19544800, 1.20346900, 1.20910000, 1.21087300, 1.21008900, 1.20861400, 1.20752000, 1.20831700, 1.20908800, 1.20798700, 1.20252700, 1.19145000, 1.17320100, 1.14717400, 1.11347400, 1.07008300, 1.01683700, 0.95198600, 0.87338800, 0.78134200, 0.67005500, 0.54079800, 0.39574400, 0.23245900, 0.05740200, -0.10825500, -0.18549500]
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_tcal | 15.4
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_tbins | [ 1.41536400, 2.46461200, 3.45479700, 4.47706500, 5.47144900, 6.47017900, 7.49297900, 8.51297900, 9.50216700, 10.48571400, 11.48680900, 12.47465100, 13.49256400, 14.49138900, 15.50714300, 16.52648600, 17.50146300, 18.50392900, 19.49653800, 20.49043500, 21.47475000, 22.47743600, 23.49264700, 24.48437500, 25.48233300, 26.49034500, 27.51538500, 28.48680000, 29.49840000, 30.50173900, 31.49318200, 32.49391300, 33.50285700, 34.48500000, 35.50434800, 36.50869600, 37.51851900, 38.57000000, 39.08775000]
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_awlngth | [400.10000000, 403.40000000, 406.90000000, 410.30000000, 413.20000000, 416.90000000, 420.60000000, 425.10000000, 429.00000000, 432.90000000, 436.80000000, 440.50000000, 444.70000000, 449.70000000, 453.90000000, 458.20000000, 462.20000000, 466.40000000, 471.10000000, 476.10000000, 480.80000000, 485.50000000, 489.70000000, 494.10000000, 498.10000000, 502.40000000, 506.90000000, 512.10000000, 516.60000000, 521.60000000, 525.60000000, 530.30000000, 534.20000000, 538.50000000, 542.80000000, 547.30000000, 551.20000000, 556.20000000, 560.30000000, 564.90000000, 569.00000000, 572.90000000, 576.60000000, 580.50000000, 584.40000000, 588.50000000, 592.70000000, 597.20000000, 601.80000000, 606.30000000, 610.70000000, 615.40000000, 619.40000000, 623.90000000, 627.50000000, 631.90000000, 635.80000000, 640.00000000, 644.10000000, 648.40000000, 652.50000000, 657.00000000, 661.10000000, 665.40000000, 669.60000000, 674.00000000, 677.80000000, 681.90000000, 685.50000000, 689.00000000, 692.80000000, 696.30000000, 699.90000000, 703.30000000, 707.00000000, 710.00000000, 713.60000000, 717.10000000, 720.00000000, 723.70000000, 726.50000000, 729.90000000, 732.30000000]
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_acwo
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_tcarray | SheetRef:204_CC_tcarray
RS01SLBS-LJ01A-11-OPTAAC103 | SN0010 | 2 | 204 | CC_taarray | SheetRef:204_CC_taarray
RS01SLBS-LJ01A-12-CTDPFB101 | SN0010 | 2 | 16-50119 | CC_lat | 44.5153
RS01SLBS-LJ01A-12-CTDPFB101 | SN0010 | 2 | 16-50119 | CC_lon | -125.3899
RS01SLBS-LJ01A-12-DOSTAD101 | SN0010 | 2 | 474 | CC_lat | 44.5153
RS01SLBS-LJ01A-12-DOSTAD101 | SN0010 | 2 | 474 | CC_lon | -125.3899

## 204_CC_tcarray
-0.051411 | -0.047652 | -0.0447 | -0.041559 | -0.039232 | -0.037363 | -0.0357 | -0.032554 | -0.032007 | -0.030468 | -0.029625 | -0.027705 | -0.025744 | -0.024841 | -0.02305 | -0.021267 | -0.020346 | -0.017228 | -0.015022 | -0.012093 | -0.010029 | -0.007809 | -0.004646 | -0.002635 | 0 | 0.001597 | 0.00428 | 0.005905 | 0.007516 | 0.00889 | 0.009586 | 0.010378 | 0.011977 | 0.013844 | 0.013534 | 0.014132 | 0.015909 | 0.014761 | 0.014474
-0.052628 | -0.048831 | -0.045848 | -0.043348 | -0.040544 | -0.038788 | -0.036209 | -0.034478 | -0.033211 | -0.031931 | -0.030014 | -0.028355 | -0.026681 | -0.024941 | -0.022624 | -0.021312 | -0.01898 | -0.018021 | -0.01546 | -0.012208 | -0.010109 | -0.007871 | -0.005189 | -0.002967 | 0 | 0.001163 | 0.004182 | 0.005636 | 0.007485 | 0.008542 | 0.010475 | 0.010981 | 0.012826 | 0.013929 | 0.014739 | 0.015352 | 0.015843 | 0.015529 | 0.015002
-0.053528 | -0.05045 | -0.046994 | -0.044464 | -0.041745 | -0.039495 | -0.037149 | -0.034765 | -0.033657 | -0.032183 | -0.030769 | -0.028681 | -0.026762 | -0.024997 | -0.0231 | -0.020751 | -0.020015 | -0.017868 | -0.015276 | -0.012176 | -0.00945 | -0.007231 | -0.005165 | -0.002875 | 0 | 0.001991 | 0.004756 | 0.006697 | 0.007653 | 0.009932 | 0.00987 | 0.011944 | 0.013955 | 0.014912 | 0.015611 | 0.015856 | 0.016899 | 0.016625 | 0.01667
-0.053511 | -0.050139 | -0.046531 | -0.043551 | -0.04139 | -0.039042 | -0.036672 | -0.034566 | -0.033448 | -0.031797 | -0.030594 | -0.02898 | -0.02703 | -0.025361 | -0.023471 | -0.021515 | -0.020012 | -0.017715 | -0.015601 | -0.012508 | -0.009659 | -0.007384 | -0.004621 | -0.002946 | 0 | 0.002028 | 0.004064 | 0.006375 | 0.007942 | 0.009743 | 0.010893 | 0.012611 | 0.014142 | 0.015243 | 0.015649 | 0.016589 | 0.017647 | 0.017379 | 0.0171
-0.051875 | -0.048541 | -0.045243 | -0.042876 | -0.040655 | -0.038762 | -0.0362 | -0.03461 | -0.033311 | -0.031873 | -0.029883 | -0.02843 | -0.026561 | -0.024648 | -0.02268 | -0.020952 | -0.01959 | -0.01754 | -0.015288 | -0.012376 | -0.00961 | -0.006797 | -0.004637 | -0.002553 | 0 | 0.001328 | 0.004286 | 0.005787 | 0.007558 | 0.009097 | 0.010624 | 0.011639 | 0.013955 | 0.014214 | 0.016118 | 0.016624 | 0.017079 | 0.017172 | 0.016663
-0.052709 | -0.049356 | -0.046567 | -0.043485 | -0.040969 | -0.038875 | -0.037201 | -0.034643 | -0.033298 | -0.031839 | -0.030005 | -0.028277 | -0.026694 | -0.024632 | -0.02308 | -0.021261 | -0.019651 | -0.017551 | -0.015085 | -0.012385 | -0.009908 | -0.007434 | -0.004945 | -0.002857 | 0 | 0.001952 | 0.004065 | 0.005716 | 0.00728 | 0.008935 | 0.010503 | 0.011424 | 0.013475 | 0.014843 | 0.015424 | 0.016239 | 0.017217 | 0.017033 | 0.016922
-0.049339 | -0.046105 | -0.043629 | -0.041122 | -0.038879 | -0.037286 | -0.035098 | -0.033082 | -0.031826 | -0.030328 | -0.02858 | -0.02689 | -0.02505 | -0.023378 | -0.021647 | -0.019914 | -0.01835 | -0.016554 | -0.014492 | -0.011536 | -0.009036 | -0.006565 | -0.004008 | -0.002118 | 0 | 0.002195 | 0.004254 | 0.006071 | 0.007906 | 0.00986 | 0.010667 | 0.012013 | 0.013366 | 0.015182 | 0.016065 | 0.016758 | 0.017382 | 0.017457 | 0.017214
-0.048416 | -0.045481 | -0.042728 | -0.040508 | -0.038341 | -0.036219 | -0.034363 | -0.032409 | -0.03102 | -0.029562 | -0.027849 | -0.026366 | -0.024372 | -0.022753 | -0.021068 | -0.019204 | -0.018004 | -0.016417 | -0.014103 | -0.011273 | -0.009004 | -0.006629 | -0.004522 | -0.002022 | 0 | 0.001781 | 0.00363 | 0.005694 | 0.007093 | 0.008402 | 0.009937 | 0.0114 | 0.012993 | 0.014113 | 0.015064 | 0.016149 | 0.017073 | 0.016738 | 0.016704
-0.04721 | -0.044339 | -0.041258 | -0.03851 | -0.036619 | -0.034828 | -0.032862 | -0.031322 | -0.030234 | -0.028739 | -0.02682 | -0.02565 | -0.023991 | -0.022386 | -0.020876 | -0.019402 | -0.017719 | -0.015606 | -0.013554 | -0.011055 | -0.008527 | -0.006343 | -0.004149 | -0.002213 | 0 | 0.0019 | 0.004226 | 0.00594 | 0.007407 | 0.008804 | 0.010291 | 0.011569 | 0.01312 | 0.014503 | 0.01556 | 0.016121 | 0.016752 | 0.016867 | 0.016796
-0.044845 | -0.041969 | -0.039811 | -0.037424 | -0.035604 | -0.033799 | -0.031935 | -0.030387 | -0.029285 | -0.028081 | -0.026231 | -0.024621 | -0.02304 | -0.021376 | -0.019696 | -0.018293 | -0.016993 | -0.015379 | -0.013251 | -0.010919 | -0.00869 | -0.006311 | -0.004077 | -0.002121 | 0 | 0.001552 | 0.003583 | 0.005403 | 0.006499 | 0.008369 | 0.009587 | 0.010877 | 0.012664 | 0.013391 | 0.014576 | 0.01531 | 0.01592 | 0.016082 | 0.016015
-0.044213 | -0.04157 | -0.039085 | -0.03691 | -0.034725 | -0.033115 | -0.031218 | -0.029591 | -0.02828 | -0.026859 | -0.025331 | -0.023806 | -0.022288 | -0.020555 | -0.019224 | -0.01768 | -0.016379 | -0.014831 | -0.012531 | -0.010486 | -0.007876 | -0.005989 | -0.003951 | -0.002076 | 0 | 0.001912 | 0.003572 | 0.005038 | 0.006746 | 0.008131 | 0.009438 | 0.010674 | 0.012274 | 0.013496 | 0.014378 | 0.015369 | 0.015895 | 0.01589 | 0.01569
-0.04145 | -0.038926 | -0.036309 | -0.034242 | -0.03261 | -0.030864 | -0.029583 | -0.027968 | -0.026924 | -0.025707 | -0.024246 | -0.023133 | -0.021493 | -0.020262 | -0.018722 | -0.017335 | -0.016043 | -0.014199 | -0.012312 | -0.01001 | -0.007962 | -0.005665 | -0.003466 | -0.001915 | 0 | 0.001812 | 0.003708 | 0.005109 | 0.006754 | 0.007938 | 0.008986 | 0.010296 | 0.01167 | 0.01307 | 0.013979 | 0.014717 | 0.015099 | 0.01538 | 0.015408
-0.04 | -0.037504 | -0.035364 | -0.033327 | -0.031655 | -0.030049 | -0.028591 | -0.027292 | -0.026127 | -0.024783 | -0.023255 | -0.021817 | -0.020594 | -0.01888 | -0.017639 | -0.016318 | -0.015096 | -0.013706 | -0.011756 | -0.009626 | -0.007593 | -0.005448 | -0.003605 | -0.001767 | 0 | 0.001707 | 0.003388 | 0.004894 | 0.006086 | 0.007713 | 0.008874 | 0.010171 | 0.011457 | 0.012515 | 0.013561 | 0.014261 | 0.01494 | 0.014986 | 0.014881
-0.039252 | -0.036856 | -0.034515 | -0.032529 | -0.03082 | -0.02923 | -0.027702 | -0.026219 | -0.025209 | -0.023931 | -0.022589 | -0.021423 | -0.019987 | -0.018667 | -0.017244 | -0.016047 | -0.014829 | -0.013497 | -0.011474 | -0.009435 | -0.007294 | -0.005605 | -0.003702 | -0.00191 | 0 | 0.001476 | 0.0031 | 0.004439 | 0.00609 | 0.007266 | 0.008395 | 0.009464 | 0.010909 | 0.011934 | 0.012811 | 0.013521 | 0.014103 | 0.014273 | 0.01428
-0.036486 | -0.034333 | -0.032228 | -0.030413 | -0.028933 | -0.027502 | -0.026216 | -0.025106 | -0.024065 | -0.022966 | -0.02151 | -0.020297 | -0.01914 | -0.017815 | -0.016512 | -0.015352 | -0.014055 | -0.012567 | -0.010866 | -0.008927 | -0.007151 | -0.005017 | -0.003217 | -0.001663 | 0 | 0.001719 | 0.003364 | 0.004788 | 0.005946 | 0.007242 | 0.008202 | 0.009414 | 0.010704 | 0.011611 | 0.012709 | 0.013313 | 0.013814 | 0.013972 | 0.013997
-0.034934 | -0.032765 | -0.030945 | -0.029163 | -0.02773 | -0.026362 | -0.024903 | -0.023795 | -0.022764 | -0.021722 | -0.020388 | -0.019215 | -0.017894 | -0.016781 | -0.01557 | -0.014341 | -0.013443 | -0.012146 | -0.010416 | -0.008498 | -0.006537 | -0.005038 | -0.003237 | -0.001672 | 0 | 0.001456 | 0.002962 | 0.004234 | 0.005486 | 0.006814 | 0.007748 | 0.008796 | 0.009902 | 0.010925 | 0.011827 | 0.012613 | 0.01298 | 0.01312 | 0.013191
-0.033471 | -0.031396 | -0.029286 | -0.027604 | -0.026186 | -0.02483 | -0.02361 | -0.022454 | -0.021458 | -0.020473 | -0.019446 | -0.01852 | -0.017365 | -0.01599 | -0.014926 | -0.01389 | -0.012798 | -0.011483 | -0.009759 | -0.008011 | -0.006381 | -0.004593 | -0.002989 | -0.00151 | 0 | 0.001537 | 0.0029 | 0.0042 | 0.005302 | 0.006479 | 0.007431 | 0.008445 | 0.009557 | 0.010622 | 0.011328 | 0.011792 | 0.012405 | 0.012641 | 0.012665
-0.030973 | -0.029138 | -0.027523 | -0.025967 | -0.024703 | -0.02366 | -0.022554 | -0.021533 | -0.020872 | -0.019888 | -0.018487 | -0.017459 | -0.016355 | -0.015352 | -0.014261 | -0.013285 | -0.012235 | -0.011017 | -0.009551 | -0.00784 | -0.006188 | -0.004524 | -0.002912 | -0.001639 | 0 | 0.001284 | 0.002604 | 0.003789 | 0.005077 | 0.006226 | 0.007056 | 0.008026 | 0.00915 | 0.00991 | 0.010748 | 0.011403 | 0.011785 | 0.011926 | 0.011899
-0.03037 | -0.028485 | -0.026837 | -0.025272 | -0.023971 | -0.022714 | -0.021543 | -0.020541 | -0.019717 | -0.018738 | -0.017605 | -0.01665 | -0.015625 | -0.014507 | -0.013519 | -0.012484 | -0.011595 | -0.010503 | -0.008944 | -0.007419 | -0.005775 | -0.004244 | -0.002827 | -0.00143 | 0 | 0.001341 | 0.002629 | 0.003824 | 0.004783 | 0.005865 | 0.00676 | 0.007742 | 0.008689 | 0.009487 | 0.010283 | 0.010798 | 0.011202 | 0.011395 | 0.011444
-0.02867 | -0.026946 | -0.025098 | -0.023617 | -0.0225 | -0.021384 | -0.02036 | -0.019461 | -0.018674 | -0.017914 | -0.016999 | -0.016222 | -0.015136 | -0.014114 | -0.013189 | -0.012303 | -0.011268 | -0.010129 | -0.008701 | -0.007166 | -0.005699 | -0.004141 | -0.00265 | -0.001395 | 0 | 0.001393 | 0.002557 | 0.003751 | 0.004818 | 0.005647 | 0.006565 | 0.007227 | 0.008327 | 0.009206 | 0.009795 | 0.010344 | 0.010629 | 0.010951 | 0.01101
-0.027008 | -0.025397 | -0.024053 | -0.022686 | -0.021543 | -0.020698 | -0.019643 | -0.018827 | -0.01817 | -0.017299 | -0.016077 | -0.015079 | -0.014203 | -0.013322 | -0.012346 | -0.011393 | -0.010526 | -0.009523 | -0.008217 | -0.006728 | -0.005325 | -0.003904 | -0.0026 | -0.001412 | 0 | 0.001142 | 0.002416 | 0.003347 | 0.00443 | 0.00549 | 0.006199 | 0.00712 | 0.007968 | 0.008657 | 0.009407 | 0.009853 | 0.010224 | 0.010315 | 0.010425
-0.026433 | -0.02472 | -0.023156 | -0.021785 | -0.020651 | -0.019502 | -0.018582 | -0.017742 | -0.017014 | -0.016227 | -0.015382 | -0.014577 | -0.013672 | -0.012708 | -0.01192 | -0.01096 | -0.010212 | -0.009247 | -0.007861 | -0.006543 | -0.0051 | -0.003745 | -0.002413 | -0.001236 | 0 | 0.001225 | 0.002364 | 0.003252 | 0.004308 | 0.005171 | 0.005908 | 0.006683 | 0.007482 | 0.008191 | 0.008757 | 0.009244 | 0.009608 | 0.009858 | 0.009979
-0.024526 | -0.023116 | -0.021587 | -0.020398 | -0.01946 | -0.018626 | -0.017767 | -0.017048 | -0.016478 | -0.015693 | -0.014872 | -0.014185 | -0.013299 | -0.012408 | -0.011518 | -0.010817 | -0.009922 | -0.00888 | -0.007622 | -0.006309 | -0.005041 | -0.003664 | -0.002266 | -0.001215 | 0 | 0.001184 | 0.002339 | 0.003385 | 0.004255 | 0.005025 | 0.005811 | 0.006452 | 0.007278 | 0.008005 | 0.008483 | 0.008915 | 0.009136 | 0.009387 | 0.009522
-0.023678 | -0.022193 | -0.021037 | -0.019789 | -0.018738 | -0.017894 | -0.017068 | -0.016327 | -0.015685 | -0.01499 | -0.01395 | -0.013096 | -0.012336 | -0.01157 | -0.010748 | -0.009884 | -0.009214 | -0.008314 | -0.007176 | -0.005901 | -0.004613 | -0.003364 | -0.002269 | -0.001158 | 0 | 0.001103 | 0.00204 | 0.003 | 0.00397 | 0.004842 | 0.005482 | 0.006213 | 0.006949 | 0.007618 | 0.008084 | 0.008419 | 0.008785 | 0.008895 | 0.00907
-0.022699 | -0.021187 | -0.019774 | -0.01861 | -0.017694 | -0.016827 | -0.016071 | -0.015356 | -0.014747 | -0.014129 | -0.013469 | -0.012843 | -0.012041 | -0.011202 | -0.010523 | -0.009762 | -0.009015 | -0.008128 | -0.006997 | -0.005804 | -0.0046 | -0.003378 | -0.002131 | -0.001151 | 0 | 0.001106 | 0.002017 | 0.002932 | 0.003772 | 0.004544 | 0.005132 | 0.005716 | 0.006379 | 0.007007 | 0.007486 | 0.007874 | 0.008095 | 0.008388 | 0.008542
-0.020894 | -0.019682 | -0.018423 | -0.017412 | -0.016626 | -0.015933 | -0.015216 | -0.014542 | -0.014081 | -0.013437 | -0.012676 | -0.011987 | -0.01132 | -0.010612 | -0.009872 | -0.009208 | -0.008457 | -0.00763 | -0.006563 | -0.005391 | -0.004337 | -0.003154 | -0.001981 | -0.001063 | 0 | 0.001134 | 0.002109 | 0.002909 | 0.003737 | 0.004473 | 0.005079 | 0.00568 | 0.006373 | 0.006898 | 0.007295 | 0.007559 | 0.0078 | 0.007991 | 0.008205
-0.020429 | -0.019126 | -0.018034 | -0.016973 | -0.016084 | -0.015314 | -0.014575 | -0.014054 | -0.013474 | -0.012853 | -0.012106 | -0.011392 | -0.010716 | -0.010044 | -0.009378 | -0.008623 | -0.008069 | -0.007198 | -0.006166 | -0.00516 | -0.004063 | -0.002951 | -0.001956 | -0.001079 | 0 | 0.000958 | 0.001837 | 0.002674 | 0.003523 | 0.004225 | 0.004703 | 0.005325 | 0.005884 | 0.006421 | 0.006737 | 0.007124 | 0.007346 | 0.007526 | 0.007686
-0.019062 | -0.017769 | -0.016574 | -0.01559 | -0.014857 | -0.014118 | -0.013513 | -0.012951 | -0.012462 | -0.012002 | -0.011376 | -0.010878 | -0.010255 | -0.009572 | -0.008982 | -0.008375 | -0.007712 | -0.006936 | -0.005971 | -0.004911 | -0.003936 | -0.00282 | -0.00176 | -0.00094 | 0 | 0.001052 | 0.001917 | 0.002712 | 0.0034 | 0.004116 | 0.004562 | 0.005037 | 0.005637 | 0.006149 | 0.006522 | 0.006706 | 0.007001 | 0.007251 | 0.007415
-0.017776 | -0.016733 | -0.015737 | -0.014887 | -0.014207 | -0.013587 | -0.013021 | -0.012514 | -0.012084 | -0.01149 | -0.010875 | -0.01027 | -0.009704 | -0.009093 | -0.008482 | -0.007836 | -0.007293 | -0.006581 | -0.005635 | -0.004681 | -0.003697 | -0.002742 | -0.001787 | -0.000899 | 0 | 0.000966 | 0.00177 | 0.002541 | 0.003242 | 0.003866 | 0.004403 | 0.004912 | 0.0054 | 0.005794 | 0.006119 | 0.006418 | 0.00651 | 0.006752 | 0.006972
-0.017346 | -0.016124 | -0.015127 | -0.014176 | -0.013428 | -0.012752 | -0.012226 | -0.011757 | -0.011316 | -0.010838 | -0.010253 | -0.009684 | -0.009133 | -0.008563 | -0.008008 | -0.007439 | -0.006871 | -0.006172 | -0.005362 | -0.004488 | -0.003516 | -0.002576 | -0.001686 | -0.000918 | 0 | 0.000812 | 0.001629 | 0.002312 | 0.003018 | 0.003606 | 0.004015 | 0.004515 | 0.005018 | 0.005421 | 0.0057 | 0.005963 | 0.00605 | 0.00631 | 0.006537
-0.016291 | -0.015203 | -0.01418 | -0.013349 | -0.012774 | -0.012178 | -0.011639 | -0.011228 | -0.010827 | -0.010406 | -0.009857 | -0.009523 | -0.008928 | -0.008353 | -0.007839 | -0.007246 | -0.006711 | -0.006023 | -0.00522 | -0.004306 | -0.003439 | -0.002516 | -0.001576 | -0.000868 | 0 | 0.000939 | 0.001653 | 0.002398 | 0.003014 | 0.003598 | 0.003981 | 0.004365 | 0.004787 | 0.005254 | 0.005495 | 0.005602 | 0.005904 | 0.006163 | 0.006357
-0.015122 | -0.014222 | -0.013387 | -0.012621 | -0.012009 | -0.011521 | -0.011054 | -0.0106 | -0.010213 | -0.009743 | -0.009201 | -0.008623 | -0.0082 | -0.007669 | -0.007159 | -0.00666 | -0.006234 | -0.005564 | -0.004753 | -0.00399 | -0.003185 | -0.002366 | -0.001528 | -0.000772 | 0 | 0.00081 | 0.001524 | 0.002113 | 0.002794 | 0.003341 | 0.0038 | 0.004222 | 0.004638 | 0.004994 | 0.00526 | 0.005465 | 0.005565 | 0.005764 | 0.006031
-0.014371 | -0.013287 | -0.012418 | -0.011617 | -0.011017 | -0.010461 | -0.010039 | -0.009714 | -0.009372 | -0.009014 | -0.008569 | -0.008139 | -0.007695 | -0.007247 | -0.006808 | -0.006321 | -0.005791 | -0.005208 | -0.004546 | -0.003783 | -0.002964 | -0.002117 | -0.001427 | -0.000791 | 0 | 0.000758 | 0.001416 | 0.002004 | 0.002608 | 0.003092 | 0.003442 | 0.003847 | 0.004254 | 0.004578 | 0.004809 | 0.005067 | 0.005199 | 0.005452 | 0.005689
-0.012937 | -0.012089 | -0.011258 | -0.010671 | -0.010248 | -0.009811 | -0.009425 | -0.009055 | -0.008738 | -0.008454 | -0.008043 | -0.007716 | -0.0073 | -0.006775 | -0.00634 | -0.005917 | -0.005518 | -0.004961 | -0.004279 | -0.003576 | -0.002838 | -0.002094 | -0.001264 | -0.000668 | 0 | 0.000803 | 0.001417 | 0.001911 | 0.00248 | 0.002921 | 0.003351 | 0.003601 | 0.004032 | 0.004444 | 0.00474 | 0.004843 | 0.00505 | 0.005295 | 0.005532
-0.0124 | -0.011586 | -0.010879 | -0.010224 | -0.009705 | -0.009279 | -0.008888 | -0.008602 | -0.008288 | -0.007913 | -0.007463 | -0.007054 | -0.006676 | -0.006319 | -0.00594 | -0.005489 | -0.005156 | -0.004607 | -0.003927 | -0.003278 | -0.002636 | -0.00194 | -0.001307 | -0.00069 | 0 | 0.000614 | 0.001196 | 0.001797 | 0.002255 | 0.002696 | 0.003087 | 0.003488 | 0.003883 | 0.004225 | 0.004493 | 0.0047 | 0.004793 | 0.005083 | 0.00533
-0.011819 | -0.010876 | -0.010138 | -0.009448 | -0.00902 | -0.008579 | -0.008281 | -0.007993 | -0.007781 | -0.007545 | -0.007165 | -0.006865 | -0.006508 | -0.006129 | -0.005734 | -0.005379 | -0.00494 | -0.004435 | -0.003845 | -0.003201 | -0.002518 | -0.001809 | -0.00115 | -0.000629 | 0 | 0.000713 | 0.00122 | 0.001697 | 0.002192 | 0.00267 | 0.002929 | 0.003314 | 0.003708 | 0.004129 | 0.004374 | 0.00458 | 0.004828 | 0.005062 | 0.005315
-0.011013 | -0.010343 | -0.009653 | -0.009119 | -0.008768 | -0.008432 | -0.008059 | -0.007818 | -0.007515 | -0.007256 | -0.006915 | -0.006622 | -0.006293 | -0.005848 | -0.005501 | -0.005077 | -0.004797 | -0.004311 | -0.003703 | -0.003104 | -0.002455 | -0.001784 | -0.001129 | -0.000587 | 0 | 0.000669 | 0.001198 | 0.001679 | 0.002165 | 0.002584 | 0.002996 | 0.003257 | 0.003754 | 0.004144 | 0.004482 | 0.004705 | 0.004846 | 0.00511 | 0.005396
-0.010744 | -0.009927 | -0.009261 | -0.008677 | -0.008198 | -0.007843 | -0.007551 | -0.007314 | -0.007085 | -0.006824 | -0.006469 | -0.006144 | -0.005816 | -0.005513 | -0.005238 | -0.004856 | -0.004524 | -0.004052 | -0.003482 | -0.002911 | -0.002306 | -0.001715 | -0.001107 | -0.000598 | 0 | 0.00057 | 0.00111 | 0.001531 | 0.001988 | 0.002413 | 0.002773 | 0.00324 | 0.003598 | 0.00403 | 0.00433 | 0.004572 | 0.004779 | 0.004995 | 0.005223
-0.010275 | -0.009481 | -0.00882 | -0.008279 | -0.007935 | -0.007577 | -0.007314 | -0.007136 | -0.006938 | -0.006762 | -0.006461 | -0.006206 | -0.0059 | -0.005527 | -0.005195 | -0.004862 | -0.004491 | -0.004045 | -0.003537 | -0.002964 | -0.002339 | -0.001683 | -0.001058 | -0.000579 | 0 | 0.000622 | 0.001118 | 0.001594 | 0.002022 | 0.002468 | 0.00278 | 0.00312 | 0.003597 | 0.00404 | 0.004351 | 0.004578 | 0.00479 | 0.005067 | 0.005306
-0.0099 | -0.009268 | -0.00863 | -0.008155 | -0.007807 | -0.007523 | -0.0072 | -0.006975 | -0.006752 | -0.006504 | -0.006191 | -0.005934 | -0.005658 | -0.005299 | -0.005006 | -0.004692 | -0.004433 | -0.003969 | -0.003418 | -0.00286 | -0.002242 | -0.001678 | -0.001066 | -0.00057 | 0 | 0.000599 | 0.001125 | 0.001631 | 0.002077 | 0.002464 | 0.002886 | 0.00322 | 0.003639 | 0.004105 | 0.00441 | 0.004646 | 0.0048 | 0.005065 | 0.005297
-0.009701 | -0.008927 | -0.008304 | -0.007754 | -0.007383 | -0.007067 | -0.006843 | -0.006692 | -0.0065 | -0.006343 | -0.006068 | -0.005797 | -0.005547 | -0.005277 | -0.005009 | -0.0047 | -0.004334 | -0.00389 | -0.003363 | -0.002844 | -0.002248 | -0.001631 | -0.001062 | -0.00058 | 0 | 0.000555 | 0.001049 | 0.001554 | 0.001984 | 0.00244 | 0.002767 | 0.003187 | 0.003629 | 0.004047 | 0.00434 | 0.004561 | 0.004758 | 0.004973 | 0.005219
-0.009386 | -0.008694 | -0.008101 | -0.007628 | -0.007323 | -0.007035 | -0.006786 | -0.006648 | -0.006464 | -0.006292 | -0.006019 | -0.005809 | -0.005542 | -0.00519 | -0.004897 | -0.004615 | -0.004314 | -0.003863 | -0.003359 | -0.002816 | -0.002216 | -0.001606 | -0.000996 | -0.000531 | 0 | 0.000636 | 0.001148 | 0.001617 | 0.002098 | 0.002516 | 0.002893 | 0.003216 | 0.003646 | 0.004053 | 0.004359 | 0.004626 | 0.004802 | 0.005039 | 0.005265
-0.009282 | -0.008651 | -0.008036 | -0.007553 | -0.007209 | -0.006953 | -0.006676 | -0.00652 | -0.006314 | -0.006115 | -0.005844 | -0.005606 | -0.005374 | -0.005048 | -0.004765 | -0.004507 | -0.004233 | -0.003773 | -0.003256 | -0.002736 | -0.002166 | -0.001561 | -0.001019 | -0.000531 | 0 | 0.000573 | 0.001103 | 0.00162 | 0.002095 | 0.002539 | 0.002905 | 0.003286 | 0.003674 | 0.004115 | 0.004438 | 0.004621 | 0.004775 | 0.005026 | 0.005225
-0.009797 | -0.009009 | -0.00833 | -0.007747 | -0.007364 | -0.007055 | -0.006792 | -0.006677 | -0.006456 | -0.006318 | -0.006029 | -0.005715 | -0.005432 | -0.005115 | -0.004901 | -0.004696 | -0.004246 | -0.003664 | -0.00315 | -0.002612 | -0.002036 | -0.001436 | -0.000898 | -0.000484 | 0 | 0.000618 | 0.00107 | 0.001589 | 0.002066 | 0.002509 | 0.002852 | 0.00322 | 0.003629 | 0.003998 | 0.004281 | 0.004466 | 0.004629 | 0.004859 | 0.005081
-0.009104 | -0.008385 | -0.007777 | -0.007281 | -0.006937 | -0.006622 | -0.006392 | -0.00624 | -0.006101 | -0.00594 | -0.005657 | -0.005456 | -0.005245 | -0.004941 | -0.004686 | -0.004363 | -0.004109 | -0.003751 | -0.003265 | -0.002749 | -0.002145 | -0.001571 | -0.000999 | -0.000518 | 0 | 0.000579 | 0.001049 | 0.001528 | 0.001974 | 0.002376 | 0.002748 | 0.003175 | 0.003694 | 0.004263 | 0.004605 | 0.004899 | 0.005104 | 0.005306 | 0.005427
-0.008424 | -0.007807 | -0.007211 | -0.006793 | -0.006541 | -0.006299 | -0.006101 | -0.005964 | -0.005835 | -0.005719 | -0.005526 | -0.005329 | -0.005098 | -0.004803 | -0.004537 | -0.004276 | -0.003994 | -0.003633 | -0.003135 | -0.002653 | -0.002067 | -0.001493 | -0.000912 | -0.000505 | 0 | 0.000557 | 0.001047 | 0.001501 | 0.00194 | 0.002391 | 0.002744 | 0.00317 | 0.003704 | 0.004229 | 0.004619 | 0.004908 | 0.005105 | 0.005333 | 0.005493
-0.008048 | -0.007448 | -0.00697 | -0.006536 | -0.006247 | -0.006044 | -0.005851 | -0.005748 | -0.005627 | -0.005477 | -0.005212 | -0.005025 | -0.004816 | -0.00454 | -0.004291 | -0.004003 | -0.003795 | -0.003482 | -0.002994 | -0.002496 | -0.001931 | -0.001428 | -0.000893 | -0.000468 | 0 | 0.000532 | 0.001005 | 0.001458 | 0.001905 | 0.002306 | 0.002709 | 0.003116 | 0.003653 | 0.004169 | 0.004583 | 0.004891 | 0.005058 | 0.005273 | 0.005413
-0.008038 | -0.00737 | -0.0068 | -0.006349 | -0.006077 | -0.005811 | -0.005612 | -0.005508 | -0.005385 | -0.005271 | -0.005066 | -0.004897 | -0.004721 | -0.00445 | -0.004218 | -0.003962 | -0.003714 | -0.003391 | -0.002938 | -0.002481 | -0.001934 | -0.001413 | -0.000866 | -0.000467 | 0 | 0.000515 | 0.000962 | 0.001404 | 0.001828 | 0.002231 | 0.002587 | 0.003015 | 0.003561 | 0.004115 | 0.004485 | 0.004773 | 0.005006 | 0.00521 | 0.00533
-0.007532 | -0.00698 | -0.006483 | -0.006098 | -0.005864 | -0.005664 | -0.005484 | -0.005387 | -0.005277 | -0.005175 | -0.004961 | -0.004797 | -0.004593 | -0.00431 | -0.004088 | -0.003843 | -0.003602 | -0.00328 | -0.002819 | -0.002373 | -0.00183 | -0.001342 | -0.000822 | -0.000445 | 0 | 0.000482 | 0.000911 | 0.001333 | 0.001745 | 0.002157 | 0.002525 | 0.002967 | 0.003472 | 0.004 | 0.004391 | 0.004708 | 0.004897 | 0.005101 | 0.00525
-0.007264 | -0.00666 | -0.006172 | -0.005774 | -0.005512 | -0.005304 | -0.005148 | -0.005069 | -0.004981 | -0.004875 | -0.004661 | -0.004515 | -0.00436 | -0.004094 | -0.003884 | -0.003641 | -0.003428 | -0.003159 | -0.002714 | -0.002293 | -0.001768 | -0.001282 | -0.000794 | -0.000428 | 0 | 0.000496 | 0.000904 | 0.001344 | 0.001748 | 0.002146 | 0.002553 | 0.002966 | 0.003474 | 0.004024 | 0.00439 | 0.004704 | 0.004877 | 0.005093 | 0.005218
-0.006973 | -0.006422 | -0.005937 | -0.005538 | -0.005298 | -0.005064 | -0.00488 | -0.004801 | -0.004717 | -0.004623 | -0.004461 | -0.004321 | -0.004153 | -0.003918 | -0.003713 | -0.003499 | -0.003281 | -0.00301 | -0.002596 | -0.002201 | -0.001707 | -0.001235 | -0.000756 | -0.000397 | 0 | 0.000472 | 0.00087 | 0.001276 | 0.001674 | 0.00205 | 0.002407 | 0.002823 | 0.003331 | 0.003861 | 0.004238 | 0.004537 | 0.004729 | 0.00494 | 0.005057
-0.006548 | -0.006023 | -0.005585 | -0.005241 | -0.00504 | -0.004863 | -0.004719 | -0.004628 | -0.004487 | -0.004393 | -0.004227 | -0.004103 | -0.003956 | -0.003715 | -0.003521 | -0.003302 | -0.003123 | -0.002858 | -0.002435 | -0.002057 | -0.001581 | -0.001135 | -0.000697 | -0.000369 | 0 | 0.000458 | 0.000863 | 0.001241 | 0.00161 | 0.00199 | 0.002347 | 0.002747 | 0.003255 | 0.003745 | 0.004123 | 0.004411 | 0.004587 | 0.004791 | 0.004912
-0.006382 | -0.005854 | -0.005404 | -0.005043 | -0.004843 | -0.004657 | -0.004517 | -0.004458 | -0.004388 | -0.004234 | -0.004085 | -0.003975 | -0.003842 | -0.00362 | -0.003457 | -0.003243 | -0.003041 | -0.002806 | -0.00241 | -0.002048 | -0.001583 | -0.001154 | -0.000717 | -0.00038 | 0 | 0.000425 | 0.000831 | 0.001195 | 0.001553 | 0.001922 | 0.002253 | 0.002638 | 0.003112 | 0.00359 | 0.003954 | 0.00422 | 0.004402 | 0.004599 | 0.004707
-0.006056 | -0.005562 | -0.00514 | -0.004812 | -0.004613 | -0.004451 | -0.004313 | -0.00422 | -0.004093 | -0.004015 | -0.003855 | -0.003748 | -0.003648 | -0.003459 | -0.00329 | -0.003083 | -0.002918 | -0.002685 | -0.002314 | -0.001962 | -0.001513 | -0.001096 | -0.000685 | -0.000384 | 0 | 0.000427 | 0.000804 | 0.001167 | 0.001525 | 0.001875 | 0.002193 | 0.002561 | 0.003032 | 0.003517 | 0.003864 | 0.004128 | 0.004291 | 0.004484 | 0.004595
-0.005843 | -0.00534 | -0.004923 | -0.004569 | -0.004345 | -0.004143 | -0.003994 | -0.003957 | -0.003918 | -0.003853 | -0.003707 | -0.003597 | -0.003475 | -0.003332 | -0.003197 | -0.002996 | -0.002827 | -0.002616 | -0.002252 | -0.00192 | -0.001478 | -0.001086 | -0.00066 | -0.00035 | 0 | 0.000424 | 0.000775 | 0.001134 | 0.001484 | 0.001824 | 0.002144 | 0.002496 | 0.002942 | 0.003398 | 0.003709 | 0.003957 | 0.00415 | 0.00432 | 0.004444
-0.005547 | -0.005054 | -0.004617 | -0.004317 | -0.004157 | -0.004001 | -0.003876 | -0.00384 | -0.003775 | -0.003734 | -0.003623 | -0.003545 | -0.00347 | -0.003277 | -0.003113 | -0.002934 | -0.00277 | -0.002552 | -0.002213 | -0.001886 | -0.001456 | -0.001062 | -0.000653 | -0.000359 | 0 | 0.000415 | 0.000778 | 0.001124 | 0.001461 | 0.001798 | 0.002102 | 0.002447 | 0.00289 | 0.003322 | 0.003643 | 0.003884 | 0.004045 | 0.004243 | 0.004344
-0.005397 | -0.004933 | -0.004559 | -0.004235 | -0.004066 | -0.003933 | -0.003827 | -0.003814 | -0.003772 | -0.00373 | -0.00359 | -0.003499 | -0.003381 | -0.003183 | -0.003045 | -0.002861 | -0.002697 | -0.002493 | -0.002156 | -0.001828 | -0.001415 | -0.001024 | -0.000629 | -0.000342 | 0 | 0.000378 | 0.000732 | 0.001071 | 0.001388 | 0.001716 | 0.002002 | 0.002315 | 0.00272 | 0.003129 | 0.003429 | 0.003659 | 0.003795 | 0.003972 | 0.004067
-0.005249 | -0.004769 | -0.004369 | -0.004072 | -0.003908 | -0.003755 | -0.003642 | -0.003628 | -0.00359 | -0.003549 | -0.003406 | -0.003321 | -0.003242 | -0.003072 | -0.002916 | -0.002748 | -0.002599 | -0.002392 | -0.002076 | -0.001784 | -0.001378 | -0.000997 | -0.000598 | -0.00033 | 0 | 0.000388 | 0.000717 | 0.001073 | 0.001384 | 0.001683 | 0.001945 | 0.002257 | 0.002638 | 0.003048 | 0.003344 | 0.003549 | 0.003698 | 0.003861 | 0.003954
-0.004991 | -0.004577 | -0.004208 | -0.003954 | -0.003822 | -0.003681 | -0.003567 | -0.003549 | -0.003477 | -0.003431 | -0.003327 | -0.003229 | -0.003139 | -0.002969 | -0.002816 | -0.002662 | -0.00253 | -0.002338 | -0.002019 | -0.001733 | -0.001342 | -0.000983 | -0.000614 | -0.000337 | 0 | 0.000391 | 0.00072 | 0.001031 | 0.001345 | 0.001653 | 0.001914 | 0.002216 | 0.002588 | 0.002961 | 0.003234 | 0.003431 | 0.003543 | 0.003715 | 0.003829
-0.004844 | -0.004384 | -0.004045 | -0.003714 | -0.003551 | -0.003414 | -0.003332 | -0.003323 | -0.003297 | -0.003245 | -0.003124 | -0.00307 | -0.002985 | -0.002822 | -0.002712 | -0.002541 | -0.002414 | -0.002229 | -0.001931 | -0.00163 | -0.00125 | -0.0009 | -0.000544 | -0.000301 | 0 | 0.000396 | 0.000721 | 0.001034 | 0.00135 | 0.001633 | 0.001887 | 0.002184 | 0.002546 | 0.002901 | 0.003152 | 0.003356 | 0.003466 | 0.003623 | 0.003716
-0.004761 | -0.004316 | -0.003942 | -0.003687 | -0.003556 | -0.003411 | -0.003329 | -0.003304 | -0.003298 | -0.003275 | -0.003161 | -0.003068 | -0.003009 | -0.002869 | -0.002723 | -0.002569 | -0.002419 | -0.00223 | -0.001973 | -0.00169 | -0.001305 | -0.000967 | -0.000561 | -0.000301 | 0 | 0.000391 | 0.000709 | 0.001002 | 0.001308 | 0.001582 | 0.001806 | 0.002073 | 0.002411 | 0.002746 | 0.002983 | 0.003125 | 0.003262 | 0.003425 | 0.003502
-0.004495 | -0.004122 | -0.003776 | -0.003507 | -0.003374 | -0.003271 | -0.003178 | -0.003159 | -0.003098 | -0.003046 | -0.002949 | -0.002869 | -0.002821 | -0.002634 | -0.002498 | -0.002383 | -0.002291 | -0.002113 | -0.001826 | -0.001578 | -0.001216 | -0.000905 | -0.000582 | -0.000311 | 0 | 0.000352 | 0.000634 | 0.000935 | 0.001236 | 0.001499 | 0.001728 | 0.002012 | 0.002337 | 0.002621 | 0.002833 | 0.002967 | 0.003075 | 0.003237 | 0.003324
-0.004235 | -0.003779 | -0.003458 | -0.003153 | -0.003004 | -0.002894 | -0.002823 | -0.002856 | -0.002885 | -0.002867 | -0.002769 | -0.002711 | -0.002667 | -0.002541 | -0.002477 | -0.002302 | -0.002177 | -0.002029 | -0.001779 | -0.001495 | -0.001148 | -0.000841 | -0.000483 | -0.000256 | 0 | 0.000383 | 0.000684 | 0.00097 | 0.00124 | 0.001505 | 0.001753 | 0.00196 | 0.002265 | 0.002581 | 0.002775 | 0.0029 | 0.002978 | 0.003135 | 0.003233
-0.004089 | -0.003711 | -0.003358 | -0.003175 | -0.003083 | -0.002965 | -0.002869 | -0.002896 | -0.002868 | -0.002851 | -0.002765 | -0.002706 | -0.002624 | -0.002535 | -0.002391 | -0.002247 | -0.002125 | -0.001987 | -0.001733 | -0.001512 | -0.001158 | -0.000877 | -0.000507 | -0.000269 | 0 | 0.000359 | 0.00066 | 0.000933 | 0.001217 | 0.001459 | 0.00168 | 0.001877 | 0.002157 | 0.002442 | 0.002604 | 0.002732 | 0.002817 | 0.002931 | 0.003041
-0.003983 | -0.003566 | -0.003313 | -0.003028 | -0.002885 | -0.002797 | -0.002718 | -0.002715 | -0.002633 | -0.002603 | -0.002562 | -0.002515 | -0.002461 | -0.002284 | -0.002204 | -0.002091 | -0.002026 | -0.001863 | -0.001611 | -0.00138 | -0.001068 | -0.000788 | -0.000525 | -0.000315 | 0 | 0.0003 | 0.000547 | 0.00084 | 0.001114 | 0.001359 | 0.001527 | 0.00175 | 0.002016 | 0.002299 | 0.002377 | 0.002503 | 0.002554 | 0.002715 | 0.002803
-0.003647 | -0.003253 | -0.002894 | -0.002621 | -0.002526 | -0.002429 | -0.002395 | -0.002446 | -0.002522 | -0.00257 | -0.002418 | -0.002388 | -0.002375 | -0.002335 | -0.002223 | -0.002097 | -0.001963 | -0.00184 | -0.001625 | -0.001382 | -0.001055 | -0.00075 | -0.000404 | -0.000251 | 0 | 0.000346 | 0.000612 | 0.000849 | 0.001102 | 0.00136 | 0.001543 | 0.001707 | 0.001947 | 0.002166 | 0.002354 | 0.002401 | 0.002479 | 0.002583 | 0.00266
-0.003459 | -0.003138 | -0.002836 | -0.002725 | -0.002634 | -0.002527 | -0.002473 | -0.002459 | -0.002405 | -0.002379 | -0.002352 | -0.002264 | -0.002242 | -0.002123 | -0.00202 | -0.001906 | -0.001852 | -0.001747 | -0.001532 | -0.001338 | -0.001044 | -0.000782 | -0.000471 | -0.000268 | 0 | 0.000344 | 0.000598 | 0.000807 | 0.001075 | 0.00128 | 0.001414 | 0.001607 | 0.0018 | 0.002056 | 0.002124 | 0.002227 | 0.002267 | 0.002374 | 0.002448
-0.003261 | -0.002837 | -0.00258 | -0.002265 | -0.002122 | -0.002071 | -0.002041 | -0.002078 | -0.00207 | -0.00205 | -0.002001 | -0.002052 | -0.002006 | -0.001867 | -0.001857 | -0.001781 | -0.001706 | -0.001591 | -0.001352 | -0.001178 | -0.000862 | -0.000653 | -0.000447 | -0.000243 | 0 | 0.00027 | 0.000483 | 0.000711 | 0.000949 | 0.001167 | 0.001319 | 0.001458 | 0.001668 | 0.001851 | 0.001941 | 0.001993 | 0.001971 | 0.002128 | 0.002233
-0.002506 | -0.002191 | -0.001888 | -0.001696 | -0.001681 | -0.001603 | -0.001621 | -0.001707 | -0.001805 | -0.001912 | -0.001794 | -0.00175 | -0.001783 | -0.00182 | -0.001749 | -0.001639 | -0.001545 | -0.00146 | -0.001317 | -0.001112 | -0.00087 | -0.000587 | -0.000266 | -0.000158 | 0 | 0.000327 | 0.000532 | 0.000718 | 0.000938 | 0.001112 | 0.001214 | 0.001351 | 0.001544 | 0.001691 | 0.001791 | 0.001821 | 0.001845 | 0.001939 | 0.001997
-0.002453 | -0.002164 | -0.001946 | -0.001855 | -0.001792 | -0.001738 | -0.001671 | -0.001681 | -0.001624 | -0.001576 | -0.001615 | -0.001617 | -0.001605 | -0.001521 | -0.001439 | -0.001389 | -0.001391 | -0.001333 | -0.001133 | -0.001042 | -0.000829 | -0.000658 | -0.000421 | -0.000232 | 0 | 0.000218 | 0.000449 | 0.000616 | 0.00083 | 0.00096 | 0.001061 | 0.001225 | 0.001362 | 0.001535 | 0.001564 | 0.001645 | 0.001646 | 0.001729 | 0.001821
-0.002102 | -0.001705 | -0.001478 | -0.001189 | -0.001111 | -0.001105 | -0.001125 | -0.001227 | -0.001299 | -0.001373 | -0.001364 | -0.001417 | -0.001439 | -0.001373 | -0.001402 | -0.001339 | -0.001277 | -0.001166 | -0.001017 | -0.000849 | -0.00062 | -0.000451 | -0.000242 | -0.00018 | 0 | 0.000279 | 0.0004 | 0.000528 | 0.000711 | 0.000953 | 0.001018 | 0.00113 | 0.001295 | 0.001459 | 0.001482 | 0.001476 | 0.001496 | 0.001603 | 0.001693
-0.001399 | -0.001177 | -0.000936 | -0.000868 | -0.000896 | -0.000887 | -0.0009 | -0.001017 | -0.001154 | -0.001208 | -0.001152 | -0.00115 | -0.001192 | -0.001232 | -0.001203 | -0.001142 | -0.001103 | -0.001104 | -0.000968 | -0.000859 | -0.000671 | -0.000448 | -0.000222 | -0.000117 | 0 | 0.000182 | 0.000383 | 0.000507 | 0.000659 | 0.000743 | 0.000894 | 0.000994 | 0.001125 | 0.001253 | 0.001336 | 0.001347 | 0.001337 | 0.001416 | 0.001503
-0.001621 | -0.001333 | -0.001129 | -0.000985 | -0.000931 | -0.000915 | -0.000887 | -0.000901 | -0.000858 | -0.000862 | -0.000979 | -0.000965 | -0.001014 | -0.000919 | -0.00092 | -0.000909 | -0.000983 | -0.000929 | -0.000772 | -0.000774 | -0.000563 | -0.000484 | -0.00034 | -0.000201 | 0 | 0.00022 | 0.000273 | 0.000458 | 0.000624 | 0.000767 | 0.00083 | 0.000939 | 0.001095 | 0.00123 | 0.001239 | 0.001342 | 0.001291 | 0.001375 | 0.001482
-0.00112 | -0.000773 | -0.000572 | -0.000383 | -0.000374 | -0.000443 | -0.000519 | -0.000668 | -0.000807 | -0.000915 | -0.000895 | -0.000994 | -0.001062 | -0.001064 | -0.001108 | -0.001066 | -0.001001 | -0.000966 | -0.000823 | -0.000699 | -0.000555 | -0.000366 | -0.000135 | -0.000172 | 0 | 0.000189 | 0.000355 | 0.00037 | 0.000562 | 0.000738 | 0.000836 | 0.000891 | 0.001077 | 0.00121 | 0.001296 | 0.001279 | 0.001283 | 0.001377 | 0.001488
-0.000957 | -0.000804 | -0.000591 | -0.000542 | -0.000588 | -0.000552 | -0.000591 | -0.000678 | -0.000754 | -0.000843 | -0.000761 | -0.00075 | -0.000841 | -0.000889 | -0.000835 | -0.000791 | -0.000825 | -0.000858 | -0.000763 | -0.000693 | -0.000548 | -0.000371 | -0.000178 | -7.2e-05 | 0 | 0.000244 | 0.000303 | 0.000473 | 0.000603 | 0.00075 | 0.000893 | 0.000982 | 0.001043 | 0.001254 | 0.001317 | 0.001396 | 0.001366 | 0.00144 | 0.001509
-0.001486 | -0.001114 | -0.000904 | -0.000696 | -0.000649 | -0.000666 | -0.000634 | -0.000698 | -0.000645 | -0.000662 | -0.000801 | -0.000864 | -0.000938 | -0.000828 | -0.000853 | -0.000881 | -0.00095 | -0.000848 | -0.000714 | -0.000705 | -0.000521 | -0.000442 | -0.000336 | -0.000225 | 0 | 0.000205 | 0.000309 | 0.000462 | 0.000613 | 0.000798 | 0.000838 | 0.000994 | 0.001155 | 0.001328 | 0.001344 | 0.001392 | 0.0014 | 0.001486 | 0.001563
-0.000363 | -0.000101 | 4.6e-05 | 0.000169 | 0.000113 | 3.7e-05 | -9.6e-05 | -0.000262 | -0.000487 | -0.00064 | -0.000599 | -0.000688 | -0.000782 | -0.000827 | -0.000891 | -0.00085 | -0.000808 | -0.000786 | -0.00074 | -0.000557 | -0.00045 | -0.000297 | -4.7e-05 | -7.2e-05 | 0 | 0.000211 | 0.000338 | 0.000439 | 0.000614 | 0.000761 | 0.000902 | 0.000941 | 0.001127 | 0.001283 | 0.0014 | 0.001381 | 0.001416 | 0.001455 | 0.001595
-0.000944 | -0.000762 | -0.000599 | -0.00053 | -0.000592 | -0.000536 | -0.000553 | -0.000632 | -0.000648 | -0.000693 | -0.000688 | -0.000693 | -0.000755 | -0.000783 | -0.000749 | -0.000751 | -0.000846 | -0.000868 | -0.000788 | -0.000748 | -0.000632 | -0.000455 | -0.000288 | -0.000168 | 0 | 0.000123 | 0.000282 | 0.000453 | 0.0006 | 0.000718 | 0.000891 | 0.000976 | 0.001134 | 0.001286 | 0.001385 | 0.001447 | 0.001454 | 0.001528 | 0.00161
-0.00124 | -0.000792 | -0.000552 | -0.000359 | -0.000301 | -0.000384 | -0.000393 | -0.000511 | -0.000518 | -0.000613 | -0.000768 | -0.00086 | -0.000972 | -0.000878 | -0.000879 | -0.0009 | -0.000947 | -0.00085 | -0.000726 | -0.000702 | -0.000515 | -0.000411 | -0.000288 | -0.000211 | 0 | 0.000268 | 0.000365 | 0.000494 | 0.000747 | 0.00095 | 0.000884 | 0.001082 | 0.001252 | 0.00143 | 0.001539 | 0.001578 | 0.001525 | 0.00169 | 0.001713
-0.000394 | -0.000239 | -0.000131 | -5.9e-05 | -0.000132 | -0.000205 | -0.000298 | -0.000496 | -0.000667 | -0.000784 | -0.000723 | -0.000765 | -0.000864 | -0.000931 | -0.000969 | -0.000945 | -0.000911 | -0.000923 | -0.000829 | -0.00073 | -0.000585 | -0.00037 | -9.1e-05 | -7.4e-05 | 0 | 0.000209 | 0.000345 | 0.000489 | 0.000693 | 0.00086 | 0.001003 | 0.001112 | 0.001301 | 0.001417 | 0.001515 | 0.001577 | 0.001555 | 0.00165 | 0.00176
-0.0013 | -0.000987 | -0.000759 | -0.000656 | -0.000649 | -0.000582 | -0.000571 | -0.000618 | -0.000633 | -0.000676 | -0.000685 | -0.000706 | -0.000774 | -0.000768 | -0.00078 | -0.000712 | -0.000848 | -0.000906 | -0.000811 | -0.000788 | -0.000631 | -0.000511 | -0.000331 | -0.000182 | 0 | 0.000148 | 0.000304 | 0.000508 | 0.000676 | 0.000827 | 0.000992 | 0.001014 | 0.001137 | 0.001405 | 0.001479 | 0.001592 | 0.001609 | 0.001641 | 0.001739
-0.001868 | -0.001327 | -0.001062 | -0.000791 | -0.000766 | -0.000804 | -0.000923 | -0.000972 | -0.001018 | -0.001094 | -0.001221 | -0.001389 | -0.001469 | -0.001302 | -0.001354 | -0.001398 | -0.001336 | -0.001241 | -0.001081 | -0.000966 | -0.000742 | -0.000552 | -0.00033 | -0.000253 | 0 | 0.000258 | 0.000384 | 0.000569 | 0.000774 | 0.000977 | 0.000961 | 0.001137 | 0.001305 | 0.001416 | 0.001469 | 0.001448 | 0.001442 | 0.001575 | 0.001636
-0.002841 | -0.002676 | -0.002353 | -0.002175 | -0.002038 | -0.002035 | -0.00202 | -0.002133 | -0.002302 | -0.002263 | -0.001773 | -0.001637 | -0.001737 | -0.001794 | -0.001616 | -0.001646 | -0.001788 | -0.001773 | -0.001637 | -0.001219 | -0.001001 | -0.000635 | -0.000256 | -5.9e-05 | 0 | 0.00024 | 0.000568 | 0.000709 | 0.000872 | 0.001085 | 0.001301 | 0.001279 | 0.001485 | 0.001625 | 0.00172 | 0.001826 | 0.001766 | 0.00165 | 0.001827

## 204_CC_taarray
-0.037462 | -0.035133 | -0.032421 | -0.030933 | -0.028221 | -0.025899 | -0.023567 | -0.02127 | -0.020099 | -0.017243 | -0.014425 | -0.011978 | -0.009942 | -0.008226 | -0.006991 | -0.006271 | -0.006139 | -0.006265 | -0.00364 | -0.00297 | -0.002841 | -0.001544 | -0.001154 | -0.000274 | 0 | -0.000327 | -0.000672 | -0.000447 | -0.001108 | -0.000353 | 0.000487 | 7.6e-05 | 0.000578 | 0.001735 | 0.001635 | 0.00243 | 0.002414 | -0.000488 | -0.00145
-0.036052 | -0.034055 | -0.031769 | -0.030044 | -0.027643 | -0.025124 | -0.023331 | -0.021523 | -0.020661 | -0.01856 | -0.015299 | -0.013468 | -0.011456 | -0.009892 | -0.008804 | -0.008253 | -0.007611 | -0.007477 | -0.005068 | -0.003656 | -0.002938 | -0.001786 | -0.001125 | -0.000446 | 0 | -9e-05 | -0.000258 | -0.000602 | -0.000662 | 8.7e-05 | 0.000279 | 0.000329 | 0.000557 | 0.001758 | 0.001938 | 0.002087 | 0.001968 | -0.000757 | -0.001519
-0.033577 | -0.031851 | -0.02964 | -0.027798 | -0.025667 | -0.023271 | -0.02109 | -0.019546 | -0.018636 | -0.016391 | -0.013634 | -0.011667 | -0.009697 | -0.008408 | -0.007307 | -0.006838 | -0.006556 | -0.006274 | -0.004111 | -0.003199 | -0.002563 | -0.001342 | -0.001028 | -0.000146 | 0 | -0.000353 | -0.00055 | -0.000895 | -0.001054 | -0.000701 | -7.5e-05 | -0.000398 | -0.000126 | 0.000957 | 0.000446 | 0.000615 | 0.00038 | -0.002401 | -0.003611
-0.02844 | -0.02662 | -0.024588 | -0.023018 | -0.020827 | -0.018801 | -0.017028 | -0.015578 | -0.014987 | -0.013031 | -0.010739 | -0.009082 | -0.007411 | -0.006378 | -0.005616 | -0.005314 | -0.005165 | -0.004859 | -0.003127 | -0.002166 | -0.001899 | -0.001047 | -0.000679 | -9.9e-05 | 0 | -0.000453 | -0.001012 | -0.001327 | -0.00173 | -0.001495 | -0.001308 | -0.00176 | -0.001524 | -0.000821 | -0.001344 | -0.001498 | -0.002392 | -0.004958 | -0.006213
-0.022744 | -0.021313 | -0.019597 | -0.018152 | -0.016365 | -0.014619 | -0.013042 | -0.012179 | -0.01174 | -0.010101 | -0.007953 | -0.006365 | -0.00523 | -0.004305 | -0.00374 | -0.003702 | -0.003437 | -0.003314 | -0.001797 | -0.001185 | -0.000924 | -0.000381 | -0.000171 | 0.000172 | 0 | -0.000591 | -0.00119 | -0.001731 | -0.002018 | -0.002076 | -0.001846 | -0.002399 | -0.002363 | -0.002016 | -0.002336 | -0.002997 | -0.003862 | -0.006514 | -0.007808
-0.01888 | -0.017501 | -0.015848 | -0.01465 | -0.013006 | -0.01139 | -0.01007 | -0.00937 | -0.008841 | -0.007315 | -0.005599 | -0.004199 | -0.003204 | -0.002515 | -0.002037 | -0.002106 | -0.001892 | -0.001891 | -0.000694 | -0.000183 | -0.000125 | 0.000183 | 0.000247 | 0.000278 | 0 | -0.000685 | -0.001581 | -0.002014 | -0.002572 | -0.002718 | -0.002601 | -0.003307 | -0.003233 | -0.003084 | -0.003803 | -0.004205 | -0.00536 | -0.007946 | -0.009218
-0.01541 | -0.014157 | -0.012647 | -0.011473 | -0.010006 | -0.008663 | -0.007534 | -0.006925 | -0.006585 | -0.005312 | -0.00369 | -0.002641 | -0.001772 | -0.001128 | -0.000781 | -0.001048 | -0.000991 | -0.000977 | 5.7e-05 | 0.000398 | 0.00043 | 0.000556 | 0.000521 | 0.000372 | 0 | -0.000854 | -0.001717 | -0.002494 | -0.002852 | -0.003099 | -0.003175 | -0.003693 | -0.003786 | -0.003703 | -0.004154 | -0.004949 | -0.005951 | -0.00848 | -0.009818
-0.012752 | -0.011762 | -0.010469 | -0.009498 | -0.008228 | -0.007007 | -0.006098 | -0.00552 | -0.005297 | -0.004088 | -0.002612 | -0.001684 | -0.000789 | -0.000322 | -5.9e-05 | -0.000105 | -0.000176 | -0.000174 | 0.000647 | 0.000852 | 0.000737 | 0.000787 | 0.000602 | 0.000398 | 0 | -0.000992 | -0.001981 | -0.00256 | -0.003077 | -0.003435 | -0.003445 | -0.00396 | -0.00403 | -0.003961 | -0.00442 | -0.00511 | -0.006167 | -0.00848 | -0.00984
-0.011493 | -0.010529 | -0.009257 | -0.00837 | -0.00715 | -0.00599 | -0.005129 | -0.004604 | -0.004351 | -0.003145 | -0.001933 | -0.000957 | -0.000215 | 0.00029 | 0.000487 | 0.000388 | 0.000367 | 0.000391 | 0.000978 | 0.00121 | 0.001008 | 0.000945 | 0.000762 | 0.000498 | 0 | -0.001022 | -0.002063 | -0.002644 | -0.00314 | -0.003423 | -0.003626 | -0.003986 | -0.004115 | -0.003965 | -0.004364 | -0.00496 | -0.005858 | -0.008118 | -0.009306
-0.010059 | -0.009161 | -0.008076 | -0.007229 | -0.006161 | -0.005126 | -0.004369 | -0.003891 | -0.003641 | -0.002613 | -0.00143 | -0.000536 | 0.000116 | 0.00067 | 0.000825 | 0.000786 | 0.000791 | 0.00078 | 0.001342 | 0.001531 | 0.001272 | 0.001165 | 0.000928 | 0.000556 | 0 | -0.001017 | -0.002018 | -0.002699 | -0.003241 | -0.003335 | -0.003569 | -0.00395 | -0.004042 | -0.0038 | -0.004217 | -0.004765 | -0.00567 | -0.007572 | -0.008718
-0.009078 | -0.008327 | -0.007324 | -0.006519 | -0.005512 | -0.004516 | -0.003889 | -0.003429 | -0.003162 | -0.00217 | -0.001061 | -0.000147 | 0.000435 | 0.000915 | 0.001058 | 0.001124 | 0.001131 | 0.001101 | 0.00151 | 0.001701 | 0.00133 | 0.00124 | 0.000903 | 0.000557 | 0 | -0.001024 | -0.002071 | -0.002798 | -0.003177 | -0.00346 | -0.00356 | -0.004039 | -0.003914 | -0.003823 | -0.00411 | -0.004629 | -0.005304 | -0.007038 | -0.008065
-0.008627 | -0.007847 | -0.006892 | -0.006189 | -0.005291 | -0.004345 | -0.003667 | -0.003242 | -0.002854 | -0.001916 | -0.000969 | -9.4e-05 | 0.000483 | 0.000974 | 0.001161 | 0.001202 | 0.001284 | 0.001313 | 0.001729 | 0.001703 | 0.001392 | 0.001298 | 0.000937 | 0.000554 | 0 | -0.000917 | -0.002 | -0.002753 | -0.003204 | -0.00337 | -0.003536 | -0.003945 | -0.003811 | -0.003538 | -0.003861 | -0.004177 | -0.004886 | -0.006461 | -0.007304
-0.007866 | -0.007199 | -0.006379 | -0.005725 | -0.004857 | -0.004017 | -0.003437 | -0.003004 | -0.002699 | -0.001759 | -0.00081 | -3.6e-05 | 0.000532 | 0.001011 | 0.001237 | 0.001291 | 0.001389 | 0.001496 | 0.001775 | 0.001848 | 0.001524 | 0.001357 | 0.00108 | 0.000702 | 0 | -0.000856 | -0.001869 | -0.002553 | -0.002933 | -0.003111 | -0.003315 | -0.003577 | -0.003571 | -0.003256 | -0.003508 | -0.003855 | -0.004354 | -0.005753 | -0.00658
-0.007926 | -0.007288 | -0.006503 | -0.005877 | -0.005059 | -0.004251 | -0.003597 | -0.003182 | -0.002825 | -0.00191 | -0.000943 | -0.000128 | 0.000472 | 0.000879 | 0.001122 | 0.001251 | 0.001337 | 0.001461 | 0.001736 | 0.001745 | 0.001422 | 0.001258 | 0.000977 | 0.000538 | 0 | -0.000929 | -0.001907 | -0.002593 | -0.003001 | -0.00319 | -0.003294 | -0.003526 | -0.003441 | -0.00323 | -0.003373 | -0.003586 | -0.004086 | -0.005359 | -0.006082
-0.007706 | -0.007054 | -0.006286 | -0.00568 | -0.004894 | -0.004184 | -0.003611 | -0.003163 | -0.002788 | -0.001901 | -0.001088 | -0.000329 | 0.000261 | 0.000745 | 0.001035 | 0.001162 | 0.001367 | 0.001457 | 0.001757 | 0.001727 | 0.001432 | 0.001238 | 0.00093 | 0.000564 | 0 | -0.000879 | -0.001831 | -0.002435 | -0.002849 | -0.003068 | -0.003271 | -0.003458 | -0.00338 | -0.003112 | -0.003161 | -0.003415 | -0.003823 | -0.004886 | -0.005552
-0.00744 | -0.0069 | -0.006186 | -0.005638 | -0.00491 | -0.004232 | -0.003648 | -0.003236 | -0.002881 | -0.00202 | -0.00115 | -0.000417 | 0.000197 | 0.000592 | 0.000954 | 0.001068 | 0.001248 | 0.001398 | 0.00165 | 0.001686 | 0.001368 | 0.001183 | 0.000886 | 0.000563 | 0 | -0.000887 | -0.001803 | -0.00248 | -0.002835 | -0.003045 | -0.003159 | -0.00346 | -0.003308 | -0.003014 | -0.002996 | -0.003244 | -0.003611 | -0.004556 | -0.005157
-0.007264 | -0.006713 | -0.006061 | -0.00549 | -0.004796 | -0.004135 | -0.003587 | -0.003113 | -0.002733 | -0.001879 | -0.00106 | -0.000308 | 0.000259 | 0.000683 | 0.000995 | 0.001179 | 0.001357 | 0.001477 | 0.00169 | 0.001729 | 0.001396 | 0.001195 | 0.000856 | 0.000524 | 0 | -0.00094 | -0.00183 | -0.002429 | -0.002843 | -0.003042 | -0.003245 | -0.0035 | -0.003328 | -0.003054 | -0.003057 | -0.003207 | -0.003534 | -0.004383 | -0.004886
-0.006629 | -0.006151 | -0.005573 | -0.005054 | -0.004421 | -0.00381 | -0.003301 | -0.002906 | -0.002527 | -0.001749 | -0.001004 | -0.000319 | 0.000254 | 0.000684 | 0.000991 | 0.001175 | 0.001415 | 0.001537 | 0.00175 | 0.00173 | 0.001429 | 0.001221 | 0.000899 | 0.000549 | 0 | -0.000834 | -0.001782 | -0.002337 | -0.002829 | -0.003025 | -0.003223 | -0.003444 | -0.00332 | -0.003039 | -0.003057 | -0.00317 | -0.003417 | -0.004175 | -0.004627
-0.006107 | -0.005721 | -0.005212 | -0.004734 | -0.004121 | -0.003573 | -0.003113 | -0.002733 | -0.002351 | -0.00157 | -0.000835 | -0.000136 | 0.000469 | 0.000834 | 0.001166 | 0.001355 | 0.001571 | 0.001706 | 0.001884 | 0.001863 | 0.001517 | 0.001298 | 0.000988 | 0.000607 | 0 | -0.000795 | -0.001722 | -0.00235 | -0.002796 | -0.003079 | -0.003258 | -0.003475 | -0.003357 | -0.00311 | -0.003075 | -0.003158 | -0.00344 | -0.004032 | -0.004461
-0.00617 | -0.005741 | -0.005194 | -0.004727 | -0.004143 | -0.003598 | -0.00311 | -0.002717 | -0.00229 | -0.001584 | -0.000825 | -0.000148 | 0.000371 | 0.000803 | 0.001129 | 0.001341 | 0.0016 | 0.00175 | 0.001882 | 0.001822 | 0.001516 | 0.001279 | 0.000964 | 0.000566 | 0 | -0.000798 | -0.001728 | -0.002312 | -0.002804 | -0.003047 | -0.003286 | -0.003532 | -0.003397 | -0.003151 | -0.003099 | -0.003164 | -0.003358 | -0.003882 | -0.004271
-0.005908 | -0.005522 | -0.00507 | -0.004639 | -0.004111 | -0.003598 | -0.003157 | -0.002786 | -0.002378 | -0.001666 | -0.000958 | -0.000311 | 0.00023 | 0.000634 | 0.001026 | 0.001214 | 0.001487 | 0.001654 | 0.001804 | 0.00177 | 0.001472 | 0.001225 | 0.000947 | 0.000558 | 0 | -0.000779 | -0.001701 | -0.002322 | -0.00278 | -0.003066 | -0.003287 | -0.003536 | -0.003398 | -0.003173 | -0.003082 | -0.00318 | -0.003335 | -0.003794 | -0.004113
-0.006079 | -0.005715 | -0.00525 | -0.004835 | -0.0043 | -0.003751 | -0.003309 | -0.002909 | -0.002451 | -0.001755 | -0.001001 | -0.000333 | 0.000229 | 0.000632 | 0.000989 | 0.001266 | 0.001458 | 0.001647 | 0.001769 | 0.00174 | 0.00144 | 0.001206 | 0.000902 | 0.00058 | 0 | -0.000802 | -0.001671 | -0.002298 | -0.00278 | -0.002997 | -0.003282 | -0.003519 | -0.003396 | -0.003217 | -0.003115 | -0.003143 | -0.00327 | -0.00365 | -0.003981
-0.006388 | -0.005979 | -0.005475 | -0.005034 | -0.004531 | -0.003969 | -0.003506 | -0.003118 | -0.002644 | -0.001953 | -0.001251 | -0.000604 | -2.4e-05 | 0.000386 | 0.00073 | 0.001036 | 0.001309 | 0.001498 | 0.001652 | 0.001614 | 0.001361 | 0.001134 | 0.000876 | 0.000546 | 0 | -0.000758 | -0.001622 | -0.002245 | -0.002689 | -0.002946 | -0.003282 | -0.003483 | -0.003356 | -0.003176 | -0.003095 | -0.003053 | -0.003184 | -0.003485 | -0.003766
-0.00641 | -0.006032 | -0.005597 | -0.005181 | -0.004681 | -0.004185 | -0.003717 | -0.00332 | -0.002828 | -0.002139 | -0.00144 | -0.000815 | -0.000213 | 0.000227 | 0.000586 | 0.000909 | 0.001228 | 0.001427 | 0.001583 | 0.001573 | 0.001339 | 0.001136 | 0.000877 | 0.00054 | 0 | -0.00074 | -0.001594 | -0.002198 | -0.002649 | -0.002923 | -0.003217 | -0.00343 | -0.003304 | -0.003127 | -0.003032 | -0.003016 | -0.003129 | -0.00338 | -0.003642
-0.006496 | -0.006129 | -0.005673 | -0.005244 | -0.004707 | -0.004198 | -0.003746 | -0.003327 | -0.002859 | -0.00213 | -0.001407 | -0.000765 | -0.000186 | 0.000239 | 0.000611 | 0.000936 | 0.001238 | 0.001418 | 0.001567 | 0.001574 | 0.00131 | 0.001107 | 0.00082 | 0.000535 | 0 | -0.000734 | -0.001586 | -0.002205 | -0.002664 | -0.002937 | -0.00326 | -0.003449 | -0.003363 | -0.003191 | -0.003086 | -0.003051 | -0.003143 | -0.003365 | -0.003597
-0.006483 | -0.006087 | -0.005637 | -0.005241 | -0.004757 | -0.004268 | -0.003832 | -0.003425 | -0.002921 | -0.002245 | -0.001584 | -0.000941 | -0.000364 | 7.5e-05 | 0.000453 | 0.000782 | 0.001127 | 0.001353 | 0.001482 | 0.001468 | 0.001247 | 0.001055 | 0.00081 | 0.000504 | 0 | -0.000711 | -0.00155 | -0.002158 | -0.002634 | -0.00293 | -0.003277 | -0.003499 | -0.003445 | -0.003275 | -0.003162 | -0.003139 | -0.003173 | -0.003376 | -0.003536
-0.006436 | -0.006088 | -0.005706 | -0.005316 | -0.004837 | -0.004357 | -0.003935 | -0.00353 | -0.003021 | -0.00233 | -0.001644 | -0.000993 | -0.000399 | 2.6e-05 | 0.000437 | 0.000779 | 0.001088 | 0.001325 | 0.001476 | 0.001475 | 0.001228 | 0.001028 | 0.000771 | 0.000501 | 0 | -0.000749 | -0.001571 | -0.002214 | -0.002683 | -0.002975 | -0.003314 | -0.003531 | -0.00347 | -0.003351 | -0.003249 | -0.00323 | -0.003267 | -0.003414 | -0.003582
-0.006773 | -0.006386 | -0.005925 | -0.005496 | -0.005002 | -0.004482 | -0.004005 | -0.003596 | -0.003068 | -0.0024 | -0.001697 | -0.00105 | -0.000445 | -1.8e-05 | 0.000379 | 0.000725 | 0.001075 | 0.001301 | 0.001446 | 0.001468 | 0.001215 | 0.001031 | 0.00078 | 0.00051 | 0 | -0.000695 | -0.001536 | -0.002159 | -0.002599 | -0.002925 | -0.00328 | -0.003526 | -0.003455 | -0.003354 | -0.003281 | -0.003247 | -0.003294 | -0.003404 | -0.003578
-0.006997 | -0.006608 | -0.006154 | -0.005741 | -0.005253 | -0.004758 | -0.004303 | -0.003896 | -0.003348 | -0.002679 | -0.002006 | -0.001366 | -0.000763 | -0.000303 | 0.000116 | 0.00048 | 0.000866 | 0.001142 | 0.001293 | 0.001307 | 0.001097 | 0.000957 | 0.000735 | 0.000474 | 0 | -0.000697 | -0.001467 | -0.002115 | -0.002558 | -0.002896 | -0.003269 | -0.003523 | -0.00347 | -0.003379 | -0.003316 | -0.00329 | -0.003345 | -0.00341 | -0.003559
-0.006668 | -0.006343 | -0.00597 | -0.005579 | -0.005093 | -0.004641 | -0.004191 | -0.003777 | -0.003238 | -0.002569 | -0.001899 | -0.001267 | -0.00065 | -0.000184 | 0.000194 | 0.000573 | 0.000923 | 0.001191 | 0.00135 | 0.001363 | 0.001134 | 0.00096 | 0.00074 | 0.000481 | 0 | -0.000677 | -0.001488 | -0.002088 | -0.002524 | -0.002868 | -0.003243 | -0.003533 | -0.003497 | -0.003455 | -0.003404 | -0.003392 | -0.003435 | -0.003487 | -0.003627
-0.006491 | -0.006135 | -0.005727 | -0.00533 | -0.004881 | -0.004419 | -0.003987 | -0.003574 | -0.003054 | -0.002408 | -0.001755 | -0.001122 | -0.000566 | -0.000127 | 0.000264 | 0.00064 | 0.000997 | 0.001256 | 0.00138 | 0.001396 | 0.001152 | 0.000977 | 0.000776 | 0.000485 | 0 | -0.000663 | -0.001508 | -0.00208 | -0.00256 | -0.002917 | -0.00333 | -0.003643 | -0.003644 | -0.003627 | -0.003597 | -0.003613 | -0.003626 | -0.003668 | -0.003766
-0.006046 | -0.00573 | -0.005381 | -0.00505 | -0.004627 | -0.004217 | -0.003805 | -0.00341 | -0.002895 | -0.002279 | -0.001696 | -0.001064 | -0.0005 | -5.5e-05 | 0.000358 | 0.000717 | 0.001074 | 0.001309 | 0.00144 | 0.00142 | 0.001179 | 0.000992 | 0.000769 | 0.00048 | 0 | -0.000658 | -0.001455 | -0.002065 | -0.002562 | -0.002935 | -0.003369 | -0.003704 | -0.003737 | -0.003758 | -0.003754 | -0.003784 | -0.003838 | -0.003842 | -0.003925
-0.005881 | -0.005592 | -0.005264 | -0.004902 | -0.004475 | -0.004058 | -0.003674 | -0.003273 | -0.002784 | -0.002168 | -0.001553 | -0.000949 | -0.0004 | 4.5e-05 | 0.000416 | 0.000801 | 0.001149 | 0.001362 | 0.00147 | 0.001455 | 0.001204 | 0.001004 | 0.000771 | 0.000471 | 0 | -0.000681 | -0.001456 | -0.002072 | -0.002556 | -0.002958 | -0.003408 | -0.003786 | -0.003871 | -0.003885 | -0.003904 | -0.003952 | -0.003997 | -0.003995 | -0.004069
-0.00558 | -0.005285 | -0.004949 | -0.004613 | -0.004254 | -0.003833 | -0.00345 | -0.003068 | -0.002576 | -0.002 | -0.001405 | -0.000841 | -0.00031 | 0.000117 | 0.00048 | 0.000853 | 0.001197 | 0.001413 | 0.001506 | 0.00149 | 0.00122 | 0.001027 | 0.000793 | 0.000492 | 0 | -0.000623 | -0.001434 | -0.002075 | -0.002544 | -0.002959 | -0.003434 | -0.003857 | -0.00393 | -0.004003 | -0.003999 | -0.004079 | -0.004103 | -0.00407 | -0.004127
-0.005176 | -0.004945 | -0.004675 | -0.004385 | -0.004038 | -0.003665 | -0.00331 | -0.002958 | -0.002469 | -0.001902 | -0.001358 | -0.000809 | -0.000257 | 0.000159 | 0.00054 | 0.000903 | 0.001233 | 0.00144 | 0.00152 | 0.001501 | 0.00124 | 0.001025 | 0.000762 | 0.000484 | 0 | -0.00065 | -0.001423 | -0.002075 | -0.002546 | -0.002961 | -0.003437 | -0.003837 | -0.003954 | -0.004024 | -0.004046 | -0.004072 | -0.00408 | -0.004041 | -0.004093
-0.004966 | -0.004744 | -0.004463 | -0.004147 | -0.003798 | -0.003446 | -0.00311 | -0.002758 | -0.002285 | -0.00174 | -0.001191 | -0.000653 | -0.000129 | 0.000259 | 0.000636 | 0.000984 | 0.001305 | 0.001482 | 0.00156 | 0.00153 | 0.001252 | 0.001054 | 0.000786 | 0.000518 | 0 | -0.000609 | -0.001422 | -0.00206 | -0.002515 | -0.002934 | -0.0034 | -0.00379 | -0.003884 | -0.003927 | -0.003962 | -0.003955 | -0.003947 | -0.003889 | -0.003937
-0.004649 | -0.004429 | -0.004163 | -0.003896 | -0.003611 | -0.003259 | -0.002934 | -0.002617 | -0.00216 | -0.001653 | -0.001137 | -0.00061 | -0.000126 | 0.000251 | 0.000611 | 0.000956 | 0.001298 | 0.001451 | 0.001517 | 0.00148 | 0.001203 | 0.001022 | 0.00078 | 0.000494 | 0 | -0.000611 | -0.001386 | -0.002022 | -0.002452 | -0.002885 | -0.003318 | -0.003676 | -0.003747 | -0.003776 | -0.003701 | -0.003686 | -0.003655 | -0.003551 | -0.00358
-0.004768 | -0.004589 | -0.004367 | -0.004105 | -0.0038 | -0.003476 | -0.003136 | -0.002815 | -0.002338 | -0.00181 | -0.001317 | -0.000793 | -0.000289 | 0.000117 | 0.000503 | 0.000851 | 0.00115 | 0.001307 | 0.001415 | 0.001388 | 0.00113 | 0.000942 | 0.00071 | 0.000443 | 0 | -0.000577 | -0.001326 | -0.001934 | -0.002344 | -0.002741 | -0.003123 | -0.003399 | -0.003418 | -0.003364 | -0.003273 | -0.003179 | -0.00311 | -0.002992 | -0.003012
-0.005019 | -0.004806 | -0.004543 | -0.004244 | -0.003935 | -0.003592 | -0.003262 | -0.002947 | -0.00248 | -0.001973 | -0.001464 | -0.000933 | -0.000457 | -5.6e-05 | 0.000306 | 0.000669 | 0.00101 | 0.001168 | 0.001261 | 0.001243 | 0.001021 | 0.00086 | 0.000658 | 0.00041 | 0 | -0.000551 | -0.001277 | -0.001845 | -0.002234 | -0.002574 | -0.002907 | -0.003139 | -0.003082 | -0.002952 | -0.002783 | -0.002637 | -0.002556 | -0.002367 | -0.002374
-0.005042 | -0.004866 | -0.004632 | -0.004385 | -0.004122 | -0.003792 | -0.003484 | -0.003163 | -0.00269 | -0.002173 | -0.001689 | -0.001157 | -0.000669 | -0.00027 | 0.000112 | 0.000473 | 0.000816 | 0.000987 | 0.001087 | 0.001089 | 0.000876 | 0.000769 | 0.0006 | 0.000391 | 0 | -0.000504 | -0.001186 | -0.001731 | -0.00209 | -0.002406 | -0.00268 | -0.002816 | -0.002659 | -0.002485 | -0.002249 | -0.002054 | -0.001911 | -0.001721 | -0.001698
-0.005303 | -0.005106 | -0.004884 | -0.00458 | -0.004269 | -0.003936 | -0.003599 | -0.003273 | -0.002788 | -0.002299 | -0.001818 | -0.001323 | -0.000817 | -0.000402 | -2.6e-05 | 0.000346 | 0.000671 | 0.000823 | 0.000947 | 0.000984 | 0.000798 | 0.000655 | 0.000519 | 0.000332 | 0 | -0.000503 | -0.001133 | -0.001645 | -0.001977 | -0.002228 | -0.00246 | -0.002528 | -0.002325 | -0.002088 | -0.001818 | -0.001582 | -0.001402 | -0.00122 | -0.001181
-0.005673 | -0.005448 | -0.005179 | -0.004878 | -0.004581 | -0.004224 | -0.003896 | -0.003555 | -0.003103 | -0.002609 | -0.002109 | -0.001588 | -0.001111 | -0.000703 | -0.000325 | 3.3e-05 | 0.00041 | 0.000598 | 0.000719 | 0.000785 | 0.000633 | 0.000561 | 0.000456 | 0.000304 | 0 | -0.000461 | -0.001062 | -0.001526 | -0.001821 | -0.002033 | -0.002213 | -0.002246 | -0.001962 | -0.001717 | -0.001376 | -0.001144 | -0.000974 | -0.000736 | -0.000691
-0.005778 | -0.005564 | -0.005316 | -0.005049 | -0.004738 | -0.0044 | -0.004074 | -0.003724 | -0.003243 | -0.002739 | -0.00225 | -0.001739 | -0.001248 | -0.000839 | -0.000435 | -6.7e-05 | 0.000275 | 0.000469 | 0.000613 | 0.000676 | 0.000552 | 0.000478 | 0.000406 | 0.000291 | 0 | -0.000413 | -0.000987 | -0.001409 | -0.001679 | -0.00186 | -0.001994 | -0.001996 | -0.001712 | -0.00143 | -0.001106 | -0.00085 | -0.00068 | -0.000443 | -0.000374
-0.006268 | -0.006012 | -0.005761 | -0.005413 | -0.005053 | -0.004683 | -0.004349 | -0.003969 | -0.003471 | -0.002964 | -0.002479 | -0.001979 | -0.001465 | -0.001023 | -0.000657 | -0.00027 | 0.0001 | 0.000291 | 0.000455 | 0.00056 | 0.000464 | 0.000387 | 0.000325 | 0.000231 | 0 | -0.000385 | -0.000923 | -0.001332 | -0.001579 | -0.00173 | -0.001847 | -0.001844 | -0.001576 | -0.001313 | -0.00102 | -0.000788 | -0.000623 | -0.00037 | -0.000314
-0.007476 | -0.007182 | -0.006837 | -0.00649 | -0.006118 | -0.005726 | -0.005316 | -0.004894 | -0.004358 | -0.003848 | -0.003321 | -0.0028 | -0.002307 | -0.001833 | -0.001416 | -0.001028 | -0.000579 | -0.000347 | -0.000145 | 3e-06 | 4e-06 | 2.7e-05 | 8e-05 | 0.000112 | 0 | -0.000229 | -0.000449 | -0.000562 | -0.000512 | -0.000336 | -0.000157 | 7e-05 | 0.000481 | 0.00085 | 0.001233 | 0.001526 | 0.001752 | 0.002022 | 0.002104
-0.007562 | -0.007212 | -0.006863 | -0.006483 | -0.006098 | -0.005684 | -0.005287 | -0.004883 | -0.004348 | -0.003862 | -0.003333 | -0.002798 | -0.002298 | -0.001847 | -0.001428 | -0.001019 | -0.000559 | -0.000322 | -0.000136 | -1.1e-05 | 9e-06 | 2.9e-05 | 8.1e-05 | 9.9e-05 | 0 | -0.000234 | -0.000461 | -0.000546 | -0.000495 | -0.0003 | -0.00012 | 0.000167 | 0.000621 | 0.001021 | 0.001404 | 0.001728 | 0.00198 | 0.002256 | 0.002351
-0.007474 | -0.007142 | -0.006788 | -0.006442 | -0.006073 | -0.005671 | -0.005292 | -0.004865 | -0.004361 | -0.003866 | -0.003347 | -0.002836 | -0.002335 | -0.001887 | -0.001446 | -0.001051 | -0.000588 | -0.000359 | -0.000161 | -4.7e-05 | -1e-05 | 3.3e-05 | 9.2e-05 | 0.000109 | 0 | -0.000218 | -0.000419 | -0.000532 | -0.000469 | -0.000259 | -6.2e-05 | 0.000237 | 0.000717 | 0.001152 | 0.001582 | 0.001913 | 0.002181 | 0.002479 | 0.00258
-0.007368 | -0.007059 | -0.006723 | -0.006363 | -0.005996 | -0.005602 | -0.005211 | -0.004775 | -0.004262 | -0.003747 | -0.003222 | -0.002705 | -0.002215 | -0.001771 | -0.00134 | -0.000924 | -0.000506 | -0.000276 | -8.4e-05 | 2.5e-05 | 3.7e-05 | 6.2e-05 | 9e-05 | 0.000118 | 0 | -0.000256 | -0.000464 | -0.000551 | -0.000493 | -0.00029 | -7.4e-05 | 0.000236 | 0.000751 | 0.001205 | 0.001639 | 0.00198 | 0.002261 | 0.00256 | 0.002667
-0.007268 | -0.006918 | -0.006575 | -0.006215 | -0.005834 | -0.005442 | -0.005054 | -0.004648 | -0.004141 | -0.00367 | -0.003161 | -0.002636 | -0.002143 | -0.001711 | -0.001293 | -0.000873 | -0.000435 | -0.00022 | -5.7e-05 | 6.5e-05 | 7.8e-05 | 9.8e-05 | 0.000137 | 0.000148 | 0 | -0.00025 | -0.000473 | -0.000576 | -0.000527 | -0.000319 | -0.000127 | 0.000205 | 0.000749 | 0.001206 | 0.001652 | 0.002019 | 0.002302 | 0.002618 | 0.002732
-0.00704 | -0.006729 | -0.006407 | -0.006089 | -0.005751 | -0.005363 | -0.004988 | -0.004568 | -0.004058 | -0.003566 | -0.003059 | -0.002571 | -0.002054 | -0.001606 | -0.001193 | -0.000774 | -0.000354 | -0.000171 | -1e-05 | 0.000114 | 0.000103 | 0.000121 | 0.000155 | 0.000149 | 0 | -0.000252 | -0.00049 | -0.000591 | -0.000541 | -0.000351 | -0.000141 | 0.000178 | 0.000708 | 0.001201 | 0.001688 | 0.002045 | 0.002352 | 0.002671 | 0.002794
-0.006913 | -0.006615 | -0.006289 | -0.005967 | -0.005611 | -0.005242 | -0.004886 | -0.004469 | -0.003966 | -0.003485 | -0.002993 | -0.002509 | -0.002015 | -0.001568 | -0.001153 | -0.000727 | -0.000327 | -0.000124 | 6.2e-05 | 0.000174 | 0.000133 | 0.000127 | 0.000141 | 0.000133 | 0 | -0.000285 | -0.000536 | -0.000629 | -0.000592 | -0.00042 | -0.000225 | 0.000109 | 0.000637 | 0.001142 | 0.001605 | 0.001968 | 0.002253 | 0.002573 | 0.002699
-0.006745 | -0.006412 | -0.00611 | -0.005802 | -0.005468 | -0.005094 | -0.004779 | -0.004389 | -0.003893 | -0.003436 | -0.002939 | -0.002441 | -0.001944 | -0.001525 | -0.001119 | -0.000708 | -0.000303 | -0.000129 | 3.7e-05 | 0.000146 | 0.000152 | 0.000169 | 0.000179 | 0.000151 | 0 | -0.000268 | -0.000532 | -0.000651 | -0.000603 | -0.000438 | -0.000264 | 7.5e-05 | 0.000585 | 0.00106 | 0.001519 | 0.001904 | 0.002203 | 0.002525 | 0.002661
-0.00665 | -0.006336 | -0.006047 | -0.005752 | -0.005425 | -0.00505 | -0.004711 | -0.00432 | -0.003818 | -0.003347 | -0.002883 | -0.002414 | -0.001917 | -0.001471 | -0.001068 | -0.000669 | -0.000298 | -0.000124 | 3.5e-05 | 0.000144 | 0.000107 | 0.000172 | 0.000189 | 0.000167 | 0 | -0.000267 | -0.000538 | -0.000659 | -0.00062 | -0.000481 | -0.000279 | -6e-06 | 0.000501 | 0.000988 | 0.00145 | 0.001824 | 0.002123 | 0.002439 | 0.002578
-0.006526 | -0.006219 | -0.00592 | -0.005629 | -0.005302 | -0.004947 | -0.004632 | -0.004239 | -0.003752 | -0.003298 | -0.002824 | -0.002337 | -0.001842 | -0.001432 | -0.001018 | -0.000613 | -0.000265 | -7e-05 | 6.5e-05 | 0.000184 | 0.000159 | 0.000184 | 0.000178 | 0.000158 | 0 | -0.000282 | -0.000555 | -0.000679 | -0.000627 | -0.000511 | -0.000355 | -4.8e-05 | 0.000437 | 0.00089 | 0.00134 | 0.001697 | 0.002006 | 0.00232 | 0.002471
-0.006319 | -0.006031 | -0.005755 | -0.005475 | -0.00516 | -0.004808 | -0.004511 | -0.004154 | -0.003687 | -0.003252 | -0.002768 | -0.002276 | -0.001799 | -0.001386 | -0.00098 | -0.00056 | -0.000183 | 2.9e-05 | 0.000174 | 0.000284 | 0.000237 | 0.000226 | 0.000208 | 0.000163 | 0 | -0.000274 | -0.000556 | -0.000719 | -0.000671 | -0.000563 | -0.00042 | -0.000137 | 0.000337 | 0.000758 | 0.001206 | 0.00155 | 0.00184 | 0.002187 | 0.002331
-0.006245 | -0.005993 | -0.005719 | -0.005434 | -0.005125 | -0.00478 | -0.004458 | -0.004069 | -0.003586 | -0.003134 | -0.002696 | -0.002199 | -0.001698 | -0.001283 | -0.000873 | -0.000492 | -0.000167 | 3e-05 | 0.000177 | 0.000301 | 0.000241 | 0.000251 | 0.000232 | 0.000179 | 0 | -0.000285 | -0.000581 | -0.000712 | -0.00069 | -0.000584 | -0.000442 | -0.000214 | 0.000238 | 0.000658 | 0.001097 | 0.001429 | 0.001718 | 0.002043 | 0.002195
-0.006131 | -0.005844 | -0.005555 | -0.005242 | -0.004922 | -0.004578 | -0.00428 | -0.003945 | -0.003476 | -0.003068 | -0.002612 | -0.002127 | -0.001646 | -0.00125 | -0.000883 | -0.000501 | -0.000134 | 6.8e-05 | 0.000205 | 0.000315 | 0.000251 | 0.00024 | 0.000235 | 0.000171 | 0 | -0.000278 | -0.000583 | -0.000735 | -0.000733 | -0.000635 | -0.00053 | -0.000292 | 0.000148 | 0.00051 | 0.000933 | 0.001252 | 0.00152 | 0.001854 | 0.002005
-0.005938 | -0.005683 | -0.005436 | -0.00517 | -0.004888 | -0.004563 | -0.004261 | -0.003912 | -0.003456 | -0.003037 | -0.002579 | -0.0021 | -0.001597 | -0.001223 | -0.000829 | -0.000462 | -0.000104 | 9.7e-05 | 0.000223 | 0.000337 | 0.00027 | 0.000273 | 0.000261 | 0.000196 | 0 | -0.000258 | -0.000567 | -0.000759 | -0.000748 | -0.000684 | -0.00059 | -0.00038 | 1.4e-05 | 0.000378 | 0.000767 | 0.00108 | 0.001339 | 0.001689 | 0.00185
-0.005989 | -0.005738 | -0.005481 | -0.00517 | -0.004875 | -0.004555 | -0.004227 | -0.003868 | -0.003394 | -0.002982 | -0.002567 | -0.002089 | -0.001604 | -0.001224 | -0.000868 | -0.000523 | -0.000168 | 3.8e-05 | 0.000178 | 0.000301 | 0.000232 | 0.000247 | 0.000227 | 0.000187 | 0 | -0.000276 | -0.000592 | -0.000757 | -0.000778 | -0.000717 | -0.000656 | -0.000473 | -7.2e-05 | 0.000257 | 0.000641 | 0.000931 | 0.001184 | 0.001523 | 0.001674
-0.005827 | -0.005576 | -0.005326 | -0.005042 | -0.004752 | -0.004445 | -0.004149 | -0.003816 | -0.003362 | -0.00298 | -0.002532 | -0.00204 | -0.001564 | -0.001188 | -0.000842 | -0.00047 | -9e-05 | 0.000126 | 0.000249 | 0.000367 | 0.000292 | 0.000286 | 0.000263 | 0.000186 | 0 | -0.000282 | -0.000592 | -0.000772 | -0.000799 | -0.000778 | -0.000734 | -0.000557 | -0.000211 | 0.000109 | 0.000464 | 0.000762 | 0.000992 | 0.001327 | 0.001471
-0.005684 | -0.005444 | -0.005206 | -0.004919 | -0.004651 | -0.004349 | -0.004045 | -0.003703 | -0.003254 | -0.002868 | -0.002453 | -0.00196 | -0.001482 | -0.001124 | -0.000775 | -0.000403 | -3.9e-05 | 0.000174 | 0.000279 | 0.000395 | 0.000305 | 0.000305 | 0.000254 | 0.000205 | 0 | -0.000269 | -0.000601 | -0.000796 | -0.000837 | -0.000831 | -0.000803 | -0.000654 | -0.000337 | -4.5e-05 | 0.000306 | 0.000586 | 0.000809 | 0.001146 | 0.001306
-0.005567 | -0.005341 | -0.005102 | -0.004812 | -0.004549 | -0.004251 | -0.003957 | -0.003639 | -0.003174 | -0.002808 | -0.002405 | -0.00194 | -0.00147 | -0.001133 | -0.000782 | -0.000418 | -5.2e-05 | 0.000156 | 0.000288 | 0.000392 | 0.000306 | 0.000297 | 0.000258 | 0.000203 | 0 | -0.000265 | -0.000588 | -0.000784 | -0.000835 | -0.000834 | -0.000817 | -0.000713 | -0.000404 | -0.000117 | 0.000207 | 0.000472 | 0.000679 | 0.001019 | 0.001178
-0.005293 | -0.005086 | -0.004871 | -0.004613 | -0.004362 | -0.004068 | -0.003806 | -0.003486 | -0.003049 | -0.002686 | -0.00226 | -0.001792 | -0.001332 | -0.001009 | -0.000653 | -0.000286 | 9.7e-05 | 0.000304 | 0.00039 | 0.000471 | 0.00038 | 0.000347 | 0.000296 | 0.000227 | 0 | -0.000256 | -0.000608 | -0.000838 | -0.000891 | -0.000917 | -0.000937 | -0.00085 | -0.000564 | -0.000306 | -1.8e-05 | 0.000229 | 0.000434 | 0.000769 | 0.000923
-0.005109 | -0.004916 | -0.004727 | -0.004476 | -0.004238 | -0.003957 | -0.003671 | -0.003345 | -0.0029 | -0.002542 | -0.002145 | -0.001696 | -0.001244 | -0.000907 | -0.00055 | -0.000213 | 0.000161 | 0.00035 | 0.000427 | 0.000499 | 0.00039 | 0.000344 | 0.000286 | 0.000205 | 0 | -0.000281 | -0.000614 | -0.000851 | -0.000949 | -0.000993 | -0.001025 | -0.000951 | -0.000706 | -0.000473 | -0.0002 | 4.1e-05 | 0.000248 | 0.000563 | 0.00073
-0.004849 | -0.004669 | -0.004461 | -0.00423 | -0.003999 | -0.003723 | -0.00346 | -0.003175 | -0.002744 | -0.002408 | -0.002029 | -0.001605 | -0.001172 | -0.000849 | -0.000507 | -0.000157 | 0.000199 | 0.000381 | 0.000463 | 0.000542 | 0.000407 | 0.000376 | 0.000306 | 0.000213 | 0 | -0.000287 | -0.00062 | -0.000891 | -0.001 | -0.001075 | -0.001116 | -0.001104 | -0.000871 | -0.000682 | -0.000425 | -0.000212 | -2.7e-05 | 0.000279 | 0.000449
-0.004321 | -0.004178 | -0.004022 | -0.003839 | -0.003637 | -0.003398 | -0.003152 | -0.002897 | -0.002484 | -0.002172 | -0.001773 | -0.001375 | -0.000964 | -0.000645 | -0.000323 | 2e-05 | 0.000379 | 0.000542 | 0.000592 | 0.000628 | 0.000488 | 0.000416 | 0.000315 | 0.000232 | 0 | -0.00029 | -0.000637 | -0.000902 | -0.00102 | -0.001095 | -0.001164 | -0.001162 | -0.00097 | -0.000787 | -0.000573 | -0.000384 | -0.000212 | 8.7e-05 | 0.000252
-0.004491 | -0.004329 | -0.004162 | -0.003962 | -0.003743 | -0.003495 | -0.003241 | -0.002945 | -0.002546 | -0.002209 | -0.00183 | -0.001427 | -0.001012 | -0.000674 | -0.000342 | 1.3e-05 | 0.000343 | 0.000501 | 0.000563 | 0.000595 | 0.000468 | 0.000391 | 0.000302 | 0.000213 | 0 | -0.000311 | -0.000682 | -0.000927 | -0.001064 | -0.001169 | -0.001268 | -0.001262 | -0.001127 | -0.00096 | -0.000766 | -0.000601 | -0.000426 | -0.000129 | 4.2e-05
-0.00422 | -0.004071 | -0.00391 | -0.003719 | -0.003524 | -0.003285 | -0.003053 | -0.002789 | -0.002408 | -0.002092 | -0.00175 | -0.001365 | -0.000955 | -0.000634 | -0.000301 | 2.6e-05 | 0.000374 | 0.000533 | 0.000592 | 0.000624 | 0.000478 | 0.000394 | 0.000309 | 0.000217 | 0 | -0.000302 | -0.000669 | -0.000933 | -0.001097 | -0.001226 | -0.001324 | -0.001364 | -0.00123 | -0.001099 | -0.000929 | -0.000809 | -0.000626 | -0.000337 | -0.000184
-0.004021 | -0.003878 | -0.00374 | -0.003558 | -0.003354 | -0.003136 | -0.002914 | -0.002644 | -0.002268 | -0.001952 | -0.001599 | -0.001192 | -0.000809 | -0.000479 | -0.000149 | 0.000175 | 0.000502 | 0.000645 | 0.000681 | 0.000706 | 0.00054 | 0.000444 | 0.000338 | 0.000242 | 0 | -0.000318 | -0.000703 | -0.000978 | -0.001149 | -0.001291 | -0.001442 | -0.001505 | -0.001394 | -0.001286 | -0.001153 | -0.001022 | -0.00087 | -0.000589 | -0.000439
-0.003851 | -0.003705 | -0.003578 | -0.003402 | -0.003206 | -0.002985 | -0.002749 | -0.002504 | -0.002123 | -0.00181 | -0.001488 | -0.001098 | -0.000715 | -0.000379 | -8e-05 | 0.000237 | 0.000563 | 0.000706 | 0.000737 | 0.000732 | 0.000582 | 0.000481 | 0.000369 | 0.000248 | 0 | -0.000343 | -0.00073 | -0.001011 | -0.001194 | -0.001348 | -0.001517 | -0.001596 | -0.00151 | -0.0014 | -0.001264 | -0.001145 | -0.001018 | -0.000741 | -0.000594
-0.003531 | -0.003402 | -0.003278 | -0.003115 | -0.002945 | -0.002735 | -0.002533 | -0.002311 | -0.001955 | -0.001663 | -0.001336 | -0.00096 | -0.000603 | -0.000277 | 1.2e-05 | 0.000307 | 0.000641 | 0.000775 | 0.000807 | 0.000794 | 0.000618 | 0.000499 | 0.000391 | 0.00026 | 0 | -0.00033 | -0.000742 | -0.001029 | -0.001234 | -0.001417 | -0.00158 | -0.001687 | -0.001618 | -0.001537 | -0.001401 | -0.001302 | -0.001168 | -0.0009 | -0.000746
-0.00339 | -0.003272 | -0.003165 | -0.003008 | -0.002838 | -0.00263 | -0.002434 | -0.002199 | -0.001843 | -0.001569 | -0.001237 | -0.000864 | -0.000494 | -0.000188 | 0.000102 | 0.000405 | 0.000712 | 0.000846 | 0.00087 | 0.000836 | 0.000662 | 0.000523 | 0.000393 | 0.000241 | 0 | -0.000351 | -0.000783 | -0.001072 | -0.001296 | -0.00147 | -0.001659 | -0.00177 | -0.001676 | -0.001611 | -0.001463 | -0.001348 | -0.001206 | -0.000952 | -0.000806
-0.003284 | -0.003169 | -0.003058 | -0.002895 | -0.002747 | -0.00254 | -0.002316 | -0.002117 | -0.001752 | -0.001486 | -0.001185 | -0.000797 | -0.000446 | -0.000151 | 0.000153 | 0.000434 | 0.000751 | 0.000879 | 0.0009 | 0.000887 | 0.000687 | 0.000555 | 0.000427 | 0.000262 | 0 | -0.000354 | -0.000757 | -0.001062 | -0.001293 | -0.001456 | -0.001644 | -0.001738 | -0.00165 | -0.001563 | -0.001396 | -0.001271 | -0.001132 | -0.000863 | -0.000706
-0.003047 | -0.002965 | -0.002872 | -0.002748 | -0.002583 | -0.002388 | -0.002198 | -0.001988 | -0.001646 | -0.001397 | -0.001077 | -0.000713 | -0.000351 | -8e-05 | 0.000214 | 0.000489 | 0.000805 | 0.00094 | 0.000951 | 0.000936 | 0.000735 | 0.000594 | 0.000458 | 0.000282 | 0 | -0.000337 | -0.000756 | -0.001052 | -0.001236 | -0.001441 | -0.001595 | -0.001673 | -0.001562 | -0.001435 | -0.00124 | -0.001121 | -0.000937 | -0.000681 | -0.000525
-0.003068 | -0.002988 | -0.002913 | -0.002763 | -0.002615 | -0.002412 | -0.002204 | -0.001998 | -0.001665 | -0.001397 | -0.001082 | -0.000714 | -0.000376 | -9.4e-05 | 0.000195 | 0.000458 | 0.000777 | 0.000928 | 0.00093 | 0.000913 | 0.0007 | 0.000566 | 0.000441 | 0.000265 | 0 | -0.000344 | -0.00074 | -0.001027 | -0.001205 | -0.001362 | -0.001492 | -0.001532 | -0.001373 | -0.001211 | -0.000986 | -0.000821 | -0.00064 | -0.000371 | -0.000222
-0.003198 | -0.00312 | -0.003021 | -0.002869 | -0.002714 | -0.002511 | -0.002308 | -0.002102 | -0.001754 | -0.001497 | -0.001199 | -0.000838 | -0.000469 | -0.000172 | 0.000108 | 0.000386 | 0.000714 | 0.000862 | 0.000874 | 0.000887 | 0.000677 | 0.000534 | 0.000411 | 0.000261 | 0 | -0.000324 | -0.000695 | -0.000956 | -0.001097 | -0.001216 | -0.001301 | -0.001295 | -0.001113 | -0.00088 | -0.000626 | -0.000457 | -0.000242 | 5.2e-05 | 0.000202
-0.003351 | -0.003275 | -0.003204 | -0.003048 | -0.002884 | -0.0027 | -0.00249 | -0.002284 | -0.001938 | -0.001677 | -0.001351 | -0.000997 | -0.000645 | -0.000357 | -6.8e-05 | 0.000243 | 0.000533 | 0.000726 | 0.000745 | 0.000751 | 0.000564 | 0.000449 | 0.00032 | 0.000239 | 0 | -0.000294 | -0.000656 | -0.000883 | -0.000972 | -0.001039 | -0.001092 | -0.001053 | -0.000786 | -0.000501 | -0.000241 | -2.3e-05 | 0.00022 | 0.000494 | 0.000661
-0.003565 | -0.003466 | -0.003369 | -0.00318 | -0.003001 | -0.002802 | -0.002578 | -0.002349 | -0.002005 | -0.001728 | -0.001424 | -0.001064 | -0.000719 | -0.000412 | -0.000141 | 0.000168 | 0.000488 | 0.00066 | 0.000691 | 0.00069 | 0.000499 | 0.000406 | 0.000284 | 0.000198 | 0 | -0.000276 | -0.000612 | -0.000805 | -0.000877 | -0.000908 | -0.000911 | -0.000817 | -0.00053 | -0.000227 | 8.4e-05 | 0.000318 | 0.000556 | 0.000839 | 0.001021
-0.003499 | -0.003427 | -0.003336 | -0.003185 | -0.003025 | -0.002803 | -0.002599 | -0.00238 | -0.00206 | -0.001823 | -0.001507 | -0.001185 | -0.000853 | -0.000539 | -0.000244 | 3.7e-05 | 0.000374 | 0.000537 | 0.000589 | 0.000615 | 0.000423 | 0.000353 | 0.000283 | 0.000202 | 0 | -0.000236 | -0.000553 | -0.0007 | -0.00074 | -0.000712 | -0.000673 | -0.000577 | -0.000225 | 7.6e-05 | 0.000396 | 0.0006 | 0.00087 | 0.001155 | 0.001351
-0.003609 | -0.003528 | -0.003459 | -0.003279 | -0.003107 | -0.002916 | -0.002705 | -0.002493 | -0.002149 | -0.001883 | -0.001589 | -0.001227 | -0.000901 | -0.000612 | -0.000318 | -3.1e-05 | 0.000285 | 0.000484 | 0.000534 | 0.000523 | 0.000367 | 0.000283 | 0.000228 | 0.000177 | 0 | -0.000236 | -0.000501 | -0.000609 | -0.000611 | -0.000578 | -0.000516 | -0.000385 | -6.9e-05 | 0.000236 | 0.000566 | 0.000779 | 0.001021 | 0.00134 | 0.001525
-0.003872 | -0.003766 | -0.003686 | -0.003489 | -0.003293 | -0.00309 | -0.002883 | -0.002666 | -0.00231 | -0.002073 | -0.001793 | -0.001445 | -0.001106 | -0.00081 | -0.000518 | -0.000184 | 0.000138 | 0.000342 | 0.000386 | 0.000397 | 0.000233 | 0.000222 | 0.000174 | 0.000147 | 0 | -0.000236 | -0.000477 | -0.000566 | -0.000566 | -0.000472 | -0.000415 | -0.000307 | -1.6e-05 | 0.000281 | 0.000573 | 0.000798 | 0.001019 | 0.001322 | 0.001536
-0.003981 | -0.003883 | -0.003788 | -0.003606 | -0.003418 | -0.003232 | -0.003036 | -0.002798 | -0.002464 | -0.002195 | -0.001916 | -0.001561 | -0.001219 | -0.00092 | -0.000608 | -0.00033 | 1.4e-05 | 0.000243 | 0.000309 | 0.000338 | 0.000188 | 0.000184 | 0.000151 | 0.00013 | 0 | -0.000197 | -0.000412 | -0.000482 | -0.000484 | -0.000448 | -0.000399 | -0.00031 | 4e-06 | 0.000251 | 0.000499 | 0.00068 | 0.000914 | 0.001208 | 0.00141
-0.005286 | -0.004998 | -0.004855 | -0.004499 | -0.004194 | -0.003905 | -0.003629 | -0.003386 | -0.003015 | -0.002714 | -0.002228 | -0.001765 | -0.001398 | -0.001095 | -0.000784 | -0.000589 | -0.000208 | 0.000235 | 0.000368 | 0.00028 | 0.0002 | 0.000153 | 0.000136 | 0.000138 | 0 | -0.000279 | -0.000571 | -0.000637 | -0.000605 | -0.000629 | -0.000677 | -0.000643 | -0.000457 | -0.000244 | -0.000147 | 1e-06 | 0.000164 | 0.000387 | 0.000624