## Moorings
Ref Des | Serial Number | Deployment Number | Anchor Launch Date | Anchor Launch Time | Recover Date | Latitude | Longitude | Water Depth | Cruise Number | Notes
RS03AXBS-MJ03A | SN0023 | 1 | 2014-07-29 | 13:54 |  | 45.8201 | -129.7369 | 2608 | TN-313
RS03AXBS-LJ03A | SN0007 | 1 | 2014-08-05 | 6:19 |  | 45.8168 | -129.7541 | 2612 | TN-313

## Asset_Cal_Info
Ref Des | Mooring Serial Number | Deployment Number | Sensor Serial Number | Calibration Cofficient Name | Calibration Cofficient Value
RS03AXBS-MJ03A-05-OBSBBA303 | SN0023 | 1 | T1076/T5CP3 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-05-HYDLFA301 | SN0023 | 1 | 299463 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-06-PRESTA301 | SN0023 | 1 | 5471540-0029 |  |  | No calibration coefficient.
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 1 | 10314 | CC_lat | 45.8202
RS03AXBS-MJ03A-12-VEL3DB301 | SN0023 | 1 | 10314 | CC_lon | -129.7366
RS03AXBS-LJ03A-05-HPIESA301 | SN0007 | 1 | 01 |  |  | No calibration coefficient.
RS03AXBS-LJ03A-09-HYDBBA302 | SN0007 | 1 | 1271 | CC_gain | 6
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_lat | 45.8168
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_lon | -129.7541
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor1 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor2 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor3 | 0.45
RS03AXBS-LJ03A-10-ADCPTE303 | SN0007 | 1 | 19224 | CC_scale_factor4 | 0.45
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_cwlngth | [398.40000000, 402.50000000, 406.20000000, 410.30000000, 413.90000000, 418.20000000, 422.60000000, 427.00000000, 431.50000000, 435.40000000, 440.00000000, 444.40000000, 449.00000000, 453.80000000, 458.70000000, 463.10000000, 467.80000000, 472.60000000, 477.50000000, 482.70000000, 487.40000000, 491.80000000, 496.00000000, 500.80000000, 505.50000000, 510.60000000, 515.60000000, 520.60000000, 525.10000000, 529.80000000, 534.20000000, 538.40000000, 543.00000000, 547.50000000, 552.10000000, 556.70000000, 561.30000000, 565.60000000, 569.80000000, 573.70000000, 577.30000000, 581.50000000, 585.60000000, 590.10000000, 594.50000000, 599.10000000, 604.10000000, 608.80000000, 613.50000000, 618.20000000, 622.70000000, 627.40000000, 631.70000000, 636.30000000, 640.70000000, 645.60000000, 650.10000000, 655.20000000, 660.00000000, 664.40000000, 669.10000000, 674.00000000, 678.60000000, 683.20000000, 687.40000000, 692.00000000, 696.00000000, 700.40000000, 704.60000000, 709.10000000, 713.10000000, 717.40000000, 721.70000000, 725.90000000, 730.00000000, 734.30000000, 737.70000000, 741.90000000, 746.20000000, 750.00000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_ccwo | [ -1.63883400, -1.48434700, -1.33898100, -1.20671600, -1.08121700, -0.96695500, -0.86920200, -0.77252200, -0.68227200, -0.59672600, -0.51005900, -0.43111200, -0.35825800, -0.29045900, -0.22819200, -0.17102800, -0.11424300, -0.05925500, -0.00504200, 0.04283400, 0.08905000, 0.13603100, 0.17811800, 0.21948100, 0.25973700, 0.29541300, 0.32957700, 0.36093400, 0.39201000, 0.41981500, 0.44615100, 0.47178800, 0.49835200, 0.52529100, 0.55238700, 0.57931800, 0.60152200, 0.62390500, 0.64320000, 0.66380800, 0.66740700, 0.67428100, 0.67974500, 0.67988000, 0.67525300, 0.66873800, 0.66431000, 0.66934700, 0.68232300, 0.69741100, 0.71165600, 0.72578700, 0.73764600, 0.74967500, 0.76049300, 0.76700000, 0.76998700, 0.76872400, 0.76626600, 0.76723300, 0.77060000, 0.77263200, 0.76908500, 0.76036700, 0.74051900, 0.71064800, 0.66605600, 0.60643600, 0.52811500, 0.43115400, 0.30350900, 0.14080500, -0.05338100, -0.28685800, -0.54939400, -0.80077300, -1.00590700, -1.13332900, -1.20556300, -1.23343300]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tcal | 14.7
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tbins | [ 1.71866700, 2.42183500, 3.47294900, 4.47508200, 5.48304300, 6.48027000, 7.49312500, 8.48366700, 9.50272700, 10.48914300, 11.49600000, 12.49966700, 13.48214300, 14.48000000, 15.50846200, 16.50375000, 17.50280000, 18.49600000, 19.50413800, 20.52514300, 21.47122400, 22.47833300, 23.50026300, 24.50057100, 25.49972200, 26.48580600, 27.49343700, 28.49975000, 29.48425000, 30.50171400, 31.49333300, 32.48312500, 33.49454500, 34.50454500, 35.51615400, 36.49974400, 37.52886800, 38.11963000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_awlngth | [399.40000000, 403.50000000, 407.30000000, 411.00000000, 414.80000000, 419.20000000, 423.70000000, 428.10000000, 432.40000000, 436.10000000, 440.50000000, 444.90000000, 450.20000000, 455.00000000, 459.20000000, 463.30000000, 467.80000000, 473.10000000, 478.00000000, 483.10000000, 487.60000000, 492.00000000, 496.30000000, 501.00000000, 505.90000000, 510.60000000, 515.80000000, 520.80000000, 525.40000000, 529.80000000, 534.10000000, 538.40000000, 543.00000000, 547.30000000, 552.10000000, 556.30000000, 561.10000000, 565.40000000, 569.60000000, 573.60000000, 577.10000000, 581.40000000, 585.40000000, 589.50000000, 594.00000000, 598.70000000, 603.50000000, 608.30000000, 613.00000000, 617.50000000, 622.20000000, 626.50000000, 631.20000000, 635.70000000, 640.20000000, 644.80000000, 649.60000000, 654.00000000, 659.00000000, 663.60000000, 668.50000000, 673.10000000, 677.60000000, 682.20000000, 686.60000000, 691.00000000, 695.20000000, 699.60000000, 703.80000000, 708.10000000, 712.10000000, 716.50000000, 720.80000000, 725.10000000, 728.90000000, 733.20000000, 736.90000000, 740.70000000, 745.00000000, 748.70000000]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_acwo | [ -4.64186900, -3.89325800, -3.33786000, -2.96110700, -2.71884100, -2.55393600, -2.42741900, -2.32353100, -2.22996300, -2.14168800, -2.05868500, -1.97892200, -1.89975600, -1.82312700, -1.74833500, -1.67491200, -1.60477900, -1.53780300, -1.47190200, -1.40726400, -1.34404600, -1.28382100, -1.22557200, -1.16988600, -1.11637700, -1.06459400, -1.01325100, -0.96190200, -0.91189200, -0.86278300, -0.81547900, -0.76997300, -0.72612500, -0.68421300, -0.64343500, -0.60424600, -0.56667600, -0.53100200, -0.49822000, -0.46907100, -0.44896700, -0.42740400, -0.41124300, -0.39978300, -0.39316300, -0.38695700, -0.37335700, -0.35167900, -0.32476700, -0.29710800, -0.26946200, -0.24199000, -0.21533700, -0.18939600, -0.16494600, -0.14350600, -0.12605900, -0.11212600, -0.09807300, -0.08124500, -0.06281600, -0.04638700, -0.03507700, -0.03146300, -0.03741800, -0.05606400, -0.08839700, -0.13702000, -0.20485100, -0.29748700, -0.41955100, -0.57470600, -0.76706500, -0.99755800, -1.25075800, -1.49142800, -1.67709200, -1.79549200, -1.86223300, -1.89795500]
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_tcarray | SheetRef:156_CC_tcarray
RS03AXBS-LJ03A-11-OPTAAC303 | SN0007 | 1 | 156 | CC_taarray | SheetRef:156_CC_taarray
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_lat | 45.8168
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_lon | -129.7541
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_a0 | 0.0013058
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_a1 | 0.00026321
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_a2 | -2.2361e-07
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_a3 | 1.4382e-07
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_cpcor | -9.57e-08
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_ctcor | 3.25e-06
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_g | -0.97411
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_h | 0.1359
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_i | -0.00014685
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_j | 2.868e-05
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_pa0 | 0.54669
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_pa1 | 0.015665
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_pa2 | -6.4282e-10
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_ptempa0 | -65.6067
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_ptempa1 | 52.5784
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_ptempa2 | -0.25864
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tca0 | 524477.2
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tca1 | 2.1728
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tca2 | -0.024162
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tcb0 | 25.0451
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tcb1 | 0.000425
RS03AXBS-LJ03A-12-CTDPFB301 | SN0007 | 1 | 16P71179-50031 | CC_tcb2 | 0
RS03AXBS-LJ03A-12-DOSTAD301 | SN0007 | 1 | 273 | CC_lat | 45.8168
RS03AXBS-LJ03A-12-DOSTAD301 | SN0007 | 1 | 273 | CC_lon | -129.7541

## 156_CC_tcarray
0.031488 | 0.028287 | 0.025578 | 0.027848 | 0.023405 | 0.022179 | 0.020453 | 0.025417 | 0.022962 | 0.021433 | 0.017955 | 0.015585 | 0.00973 | 0.009591 | 0.011794 | 0.009172 | 0.014694 | 0.011438 | 0.011187 | 0.009594 | 0.005662 | 0.007425 | 0.00502 | 0.000432 | 0 | -0.005352 | -0.005779 | -0.007212 | -0.007822 | -0.01386 | -0.017292 | -0.015888 | -0.019391 | -0.022296 | -0.022979 | -0.026742 | -0.027444 | -0.02826
0.013098 | 0.015272 | 0.018163 | 0.017622 | 0.016438 | 0.014877 | 0.014125 | 0.015658 | 0.012583 | 0.011461 | 0.008857 | 0.008312 | 0.008838 | 0.003968 | 0.005717 | 0.005007 | 0.006535 | 0.003517 | 0.004431 | 0.001604 | 0.001376 | 0.002639 | 0.001208 | -0.000354 | 0 | -0.003583 | -0.004085 | -0.00484 | -0.007946 | -0.011388 | -0.013974 | -0.012175 | -0.016177 | -0.017952 | -0.021532 | -0.021621 | -0.025234 | -0.025323
0.011037 | 0.015078 | 0.013049 | 0.013473 | 0.010044 | 0.010856 | 0.009505 | 0.010973 | 0.010721 | 0.011118 | 0.008765 | 0.008341 | 0.004554 | 0.004781 | 0.003855 | 0.001707 | 0.005147 | 0.005045 | 0.002617 | 0.004656 | 0.004898 | 0.003441 | 0.002934 | 0.00091 | 0 | -0.002168 | -0.003057 | -0.005023 | -0.007041 | -0.010422 | -0.011874 | -0.011848 | -0.013632 | -0.016164 | -0.016401 | -0.019201 | -0.020539 | -0.021632
0.003391 | 0.00529 | 0.006921 | 0.006992 | 0.006777 | 0.006671 | 0.006215 | 0.007945 | 0.007658 | 0.006134 | 0.003823 | 0.002913 | 0.00103 | 0.00132 | 0.000979 | 0.001258 | 0.003543 | 0.00321 | 0.003666 | 0.002312 | 0.001757 | 0.003406 | 0.001524 | 0.000123 | 0 | -0.00288 | -0.002938 | -0.004843 | -0.005157 | -0.00762 | -0.009965 | -0.008781 | -0.010457 | -0.012283 | -0.012906 | -0.014521 | -0.015936 | -0.01652
-0.006594 | -0.002189 | 0.001127 | 0.001687 | 0.000978 | 0.001594 | 0.001013 | 0.00196 | 0.000912 | 0.001617 | 0.001592 | 0.001816 | 0.000879 | 0.000196 | 0.000931 | -0.000534 | 0.001069 | -0.000421 | 0.000938 | 1.3e-05 | 0.000249 | 0.001554 | 0.000757 | -0.00045 | 0 | -0.001959 | -0.002553 | -0.00343 | -0.003621 | -0.006433 | -0.00794 | -0.007298 | -0.008931 | -0.010437 | -0.011686 | -0.013759 | -0.014313 | -0.014868
-0.005171 | -0.003208 | -0.003333 | -0.002285 | -0.00286 | -0.001344 | -0.001422 | 0.000524 | 0.000664 | 0.001279 | 3e-06 | -0.00039 | -0.000756 | -0.002446 | -0.002558 | -0.001717 | 0.000256 | 0.001871 | 0.000896 | 0.002047 | 0.001332 | 0.002381 | 0.001933 | 0.000728 | 0 | -0.001302 | -0.001707 | -0.002962 | -0.004277 | -0.00567 | -0.007027 | -0.006389 | -0.008047 | -0.008032 | -0.008875 | -0.00996 | -0.010886 | -0.012172
-0.012359 | -0.009609 | -0.006892 | -0.005756 | -0.005026 | -0.005103 | -0.004696 | -0.003184 | -0.003395 | -0.003474 | -0.003509 | -0.003074 | -0.003292 | -0.002886 | -0.001797 | -0.002903 | -0.000633 | -0.001362 | -0.000228 | -0.001246 | -0.000498 | 0.000831 | 0.000277 | -0.000218 | 0 | -0.000975 | -0.001413 | -0.002057 | -0.002232 | -0.004178 | -0.005167 | -0.004551 | -0.005484 | -0.006168 | -0.007416 | -0.007862 | -0.008988 | -0.009281
-0.011763 | -0.010053 | -0.008685 | -0.008829 | -0.008416 | -0.007314 | -0.007009 | -0.006354 | -0.006334 | -0.004928 | -0.004832 | -0.004405 | -0.004453 | -0.004871 | -0.004341 | -0.00433 | -0.003396 | -0.003086 | -0.002785 | -0.001519 | -0.000806 | 0.000467 | 0.000561 | 0.000175 | 0 | -0.000316 | -0.000928 | -0.001599 | -0.002662 | -0.00353 | -0.004585 | -0.004392 | -0.00519 | -0.005531 | -0.00638 | -0.007033 | -0.008233 | -0.008518
-0.010906 | -0.009709 | -0.00954 | -0.009339 | -0.009157 | -0.007703 | -0.006955 | -0.005323 | -0.004881 | -0.00493 | -0.004922 | -0.00455 | -0.005585 | -0.005046 | -0.004412 | -0.003769 | -0.00214 | -0.000886 | -0.000898 | -0.000345 | -0.000331 | 0.000632 | 0.000754 | -8.8e-05 | 0 | -0.00124 | -0.001069 | -0.001437 | -0.001952 | -0.002895 | -0.003474 | -0.003218 | -0.003205 | -0.00375 | -0.003541 | -0.004276 | -0.00511 | -0.006393
-0.014486 | -0.0124 | -0.01044 | -0.00958 | -0.008742 | -0.008705 | -0.008383 | -0.007496 | -0.007332 | -0.006935 | -0.006758 | -0.006125 | -0.005354 | -0.005664 | -0.004962 | -0.004768 | -0.003604 | -0.003276 | -0.003116 | -0.00278 | -0.001737 | -0.000621 | -0.000641 | -0.000248 | 0 | -0.000924 | -0.000329 | -0.001033 | -0.001163 | -0.002627 | -0.003305 | -0.002555 | -0.003471 | -0.00388 | -0.003912 | -0.004865 | -0.00523 | -0.005499
-0.015567 | -0.01237 | -0.010739 | -0.009941 | -0.010106 | -0.008872 | -0.008787 | -0.007915 | -0.007571 | -0.006584 | -0.006781 | -0.006052 | -0.00658 | -0.00566 | -0.005531 | -0.005484 | -0.00411 | -0.003735 | -0.002992 | -0.002092 | -0.001479 | -0.00037 | 0.000372 | -0.000211 | 0 | -0.000677 | -0.000467 | -0.000606 | -0.001204 | -0.002375 | -0.002711 | -0.002385 | -0.00268 | -0.002315 | -0.002796 | -0.003121 | -0.004002 | -0.004759
-0.017114 | -0.014343 | -0.012317 | -0.011098 | -0.010048 | -0.009432 | -0.008596 | -0.007684 | -0.007506 | -0.007454 | -0.006793 | -0.006907 | -0.006429 | -0.005658 | -0.004707 | -0.004098 | -0.003118 | -0.002576 | -0.001959 | -0.00197 | -0.001236 | -5e-06 | -1.2e-05 | 3.2e-05 | 0 | 3.7e-05 | -0.000452 | -0.000228 | -0.000472 | -0.000781 | -0.001408 | -0.001335 | -0.001248 | -0.001253 | -0.001411 | -0.001804 | -0.002365 | -0.00298
-0.019848 | -0.016807 | -0.014287 | -0.013481 | -0.012716 | -0.011749 | -0.010746 | -0.010095 | -0.009395 | -0.008577 | -0.008212 | -0.007091 | -0.006837 | -0.006279 | -0.006035 | -0.005616 | -0.004852 | -0.004329 | -0.003256 | -0.002766 | -0.001833 | -0.001027 | -0.00036 | 4.3e-05 | 0 | -0.000441 | -0.000153 | -0.00029 | -0.000794 | -0.0013 | -0.001829 | -0.001725 | -0.001783 | -0.001755 | -0.002026 | -0.002748 | -0.003133 | -0.003482
-0.019404 | -0.017279 | -0.015594 | -0.014539 | -0.013602 | -0.012251 | -0.011811 | -0.010345 | -0.009277 | -0.008738 | -0.00819 | -0.007572 | -0.007341 | -0.006735 | -0.006173 | -0.005759 | -0.004357 | -0.003446 | -0.002938 | -0.00205 | -0.001342 | -0.000314 | -0.000135 | -0.000324 | 0 | -0.000306 | -0.00034 | -0.00056 | -0.000986 | -0.001514 | -0.001952 | -0.001588 | -0.001759 | -0.001459 | -0.001673 | -0.001685 | -0.002527 | -0.003307
-0.021174 | -0.018578 | -0.015981 | -0.014861 | -0.013645 | -0.012265 | -0.011109 | -0.010291 | -0.009793 | -0.009285 | -0.008284 | -0.007769 | -0.007046 | -0.006218 | -0.00517 | -0.004729 | -0.003713 | -0.003596 | -0.002882 | -0.002781 | -0.001893 | -0.000588 | -0.000391 | -0.000166 | 0 | 2.2e-05 | -5.3e-05 | 0.000249 | 0.000212 | -0.000502 | -0.001104 | -0.00069 | -0.000847 | -0.00096 | -0.000883 | -0.00104 | -0.001722 | -0.002259
-0.022127 | -0.018737 | -0.016558 | -0.015416 | -0.014259 | -0.013083 | -0.01245 | -0.011635 | -0.011001 | -0.010251 | -0.009284 | -0.00836 | -0.008056 | -0.007367 | -0.007057 | -0.006162 | -0.005625 | -0.004887 | -0.004161 | -0.00289 | -0.002028 | -0.0011 | -0.000558 | -0.000324 | 0 | -0.000302 | -0.000148 | -0.000291 | -0.000773 | -0.001201 | -0.001426 | -0.001328 | -0.001436 | -0.001329 | -0.001436 | -0.001814 | -0.002351 | -0.002949
-0.020585 | -0.018511 | -0.016569 | -0.015372 | -0.014147 | -0.012777 | -0.011856 | -0.010539 | -0.009516 | -0.008738 | -0.008274 | -0.007699 | -0.006974 | -0.00641 | -0.00549 | -0.00507 | -0.003693 | -0.003082 | -0.002334 | -0.002129 | -0.001316 | -0.000258 | 0.000106 | -4.7e-05 | 0 | -7.3e-05 | -0.000234 | -0.000138 | -0.000448 | -0.000694 | -0.001134 | -0.001019 | -0.000845 | -0.000763 | -0.000873 | -0.00125 | -0.001711 | -0.002336
-0.022094 | -0.019494 | -0.016972 | -0.015697 | -0.014292 | -0.013077 | -0.012105 | -0.011573 | -0.010804 | -0.009959 | -0.009049 | -0.007939 | -0.007264 | -0.006419 | -0.005731 | -0.005237 | -0.00464 | -0.00416 | -0.003504 | -0.002878 | -0.002003 | -0.001116 | -0.000726 | -0.000325 | 0 | -0.000177 | 9e-05 | 4.8e-05 | -0.000199 | -0.000815 | -0.001311 | -0.001155 | -0.001375 | -0.001373 | -0.00167 | -0.001854 | -0.002088 | -0.002695
-0.022008 | -0.019011 | -0.016615 | -0.015216 | -0.014144 | -0.013309 | -0.012506 | -0.011464 | -0.010821 | -0.009809 | -0.009128 | -0.008332 | -0.007881 | -0.007294 | -0.006815 | -0.006084 | -0.005343 | -0.004366 | -0.003704 | -0.002708 | -0.001883 | -0.000823 | -0.000191 | -0.000219 | 0 | -9.1e-05 | -0.000122 | -6e-05 | -0.000355 | -0.000731 | -0.001025 | -0.001186 | -0.001126 | -0.001287 | -0.00128 | -0.001554 | -0.002137 | -0.002727
-0.021833 | -0.019369 | -0.017087 | -0.015535 | -0.014309 | -0.012943 | -0.011865 | -0.010988 | -0.01014 | -0.009455 | -0.008688 | -0.008006 | -0.007125 | -0.006276 | -0.005339 | -0.004773 | -0.003807 | -0.003271 | -0.00267 | -0.002224 | -0.001469 | -0.000483 | -0.0002 | -0.000136 | 0 | -2.3e-05 | 1.6e-05 | 4.4e-05 | -0.000143 | -0.000367 | -0.000781 | -0.000795 | -0.001085 | -0.001009 | -0.00111 | -0.001451 | -0.00199 | -0.002599
-0.022755 | -0.019802 | -0.017243 | -0.015917 | -0.014558 | -0.013524 | -0.012524 | -0.011748 | -0.011006 | -0.01006 | -0.008956 | -0.007956 | -0.007473 | -0.006621 | -0.006047 | -0.005678 | -0.004903 | -0.004411 | -0.00364 | -0.00308 | -0.002005 | -0.001118 | -0.000638 | -0.00017 | 0 | 5.9e-05 | 0.000226 | 1e-06 | -0.00017 | -0.000711 | -0.001123 | -0.001264 | -0.001432 | -0.001695 | -0.001806 | -0.001922 | -0.002383 | -0.002913
-0.021965 | -0.019479 | -0.017447 | -0.016131 | -0.014924 | -0.013436 | -0.012521 | -0.011374 | -0.010497 | -0.00966 | -0.008968 | -0.008169 | -0.007649 | -0.007 | -0.006186 | -0.005511 | -0.004815 | -0.003767 | -0.003174 | -0.002289 | -0.001573 | -0.000398 | -0.000189 | -7.5e-05 | 0 | -8e-06 | -0.00013 | -2.1e-05 | -0.000434 | -0.000691 | -0.001003 | -0.001174 | -0.001298 | -0.001383 | -0.001591 | -0.002071 | -0.002387 | -0.003025
-0.022546 | -0.019641 | -0.017054 | -0.015521 | -0.014098 | -0.013082 | -0.01194 | -0.011253 | -0.010508 | -0.009926 | -0.008988 | -0.008129 | -0.007249 | -0.00634 | -0.005603 | -0.00484 | -0.004125 | -0.003707 | -0.002987 | -0.002637 | -0.00169 | -0.000862 | -0.000298 | -0.000144 | 0 | 4.7e-05 | 0.000166 | 0.00029 | 0.000162 | -0.000243 | -0.00063 | -0.000693 | -0.001004 | -0.001126 | -0.001298 | -0.001574 | -0.002034 | -0.002612
-0.022408 | -0.019715 | -0.017407 | -0.016141 | -0.014762 | -0.013656 | -0.012769 | -0.011985 | -0.010979 | -0.009991 | -0.00902 | -0.008173 | -0.007479 | -0.006774 | -0.006126 | -0.005637 | -0.005109 | -0.00438 | -0.003583 | -0.002719 | -0.001977 | -0.001043 | -0.000482 | -0.000156 | 0 | -5.3e-05 | 7.9e-05 | -0.000137 | -0.000461 | -0.000835 | -0.001259 | -0.001563 | -0.001848 | -0.001988 | -0.002223 | -0.002276 | -0.002806 | -0.003358
-0.022283 | -0.019541 | -0.017026 | -0.015651 | -0.014436 | -0.013281 | -0.012308 | -0.011297 | -0.010614 | -0.009843 | -0.009103 | -0.008354 | -0.007622 | -0.006895 | -0.006086 | -0.00535 | -0.004329 | -0.00365 | -0.003134 | -0.002401 | -0.001566 | -0.000646 | -0.000258 | -7.3e-05 | 0 | 7.3e-05 | 0.00014 | 0.000305 | -2.8e-05 | -0.000253 | -0.000443 | -0.000679 | -0.000965 | -0.001187 | -0.001389 | -0.001714 | -0.002202 | -0.002725
-0.022109 | -0.019707 | -0.017432 | -0.015994 | -0.014629 | -0.013388 | -0.012372 | -0.011592 | -0.010885 | -0.009939 | -0.00897 | -0.007887 | -0.007254 | -0.006314 | -0.005598 | -0.004954 | -0.004584 | -0.003953 | -0.00328 | -0.002699 | -0.001802 | -0.00101 | -0.000407 | -0.000192 | 0 | 3.5e-05 | 0.000191 | 0.000215 | 8.6e-05 | -0.000312 | -0.000732 | -0.00101 | -0.001359 | -0.001627 | -0.001896 | -0.002152 | -0.002535 | -0.003063
-0.022238 | -0.019703 | -0.017527 | -0.01616 | -0.014975 | -0.0138 | -0.012867 | -0.012019 | -0.011112 | -0.010181 | -0.009324 | -0.00848 | -0.007805 | -0.007084 | -0.006445 | -0.005896 | -0.005098 | -0.004194 | -0.003653 | -0.002736 | -0.001915 | -0.000857 | -0.000326 | -2.8e-05 | 0 | 4.7e-05 | 0.000154 | 0.000117 | -0.000177 | -0.00052 | -0.000804 | -0.001098 | -0.001439 | -0.001741 | -0.002059 | -0.002188 | -0.002587 | -0.003167
-0.021908 | -0.019451 | -0.017108 | -0.015754 | -0.014463 | -0.013331 | -0.01237 | -0.011577 | -0.01078 | -0.010083 | -0.009228 | -0.008472 | -0.007665 | -0.006807 | -0.005998 | -0.005216 | -0.004477 | -0.003902 | -0.003214 | -0.002673 | -0.001819 | -0.000893 | -0.000444 | -0.000199 | 0 | 8.4e-05 | 0.000189 | 0.000372 | 0.000198 | 1.1e-05 | -0.000386 | -0.00064 | -0.000921 | -0.001238 | -0.001461 | -0.001762 | -0.002151 | -0.002707
-0.021749 | -0.019392 | -0.017072 | -0.015699 | -0.014366 | -0.01337 | -0.012498 | -0.011765 | -0.010901 | -0.009959 | -0.008945 | -0.007855 | -0.007094 | -0.006415 | -0.005725 | -0.005183 | -0.00473 | -0.003996 | -0.003426 | -0.002788 | -0.00187 | -0.001067 | -0.000479 | -0.000178 | 0 | 0.000209 | 0.000402 | 0.000344 | 6e-05 | -0.000284 | -0.000581 | -0.000899 | -0.001279 | -0.00148 | -0.001738 | -0.002003 | -0.002388 | -0.002899
-0.021509 | -0.019195 | -0.017269 | -0.015974 | -0.014782 | -0.013558 | -0.012591 | -0.011676 | -0.010818 | -0.010029 | -0.009236 | -0.008522 | -0.007864 | -0.007118 | -0.006404 | -0.005722 | -0.004928 | -0.004166 | -0.003469 | -0.002722 | -0.001837 | -0.000909 | -0.000353 | -0.000143 | 0 | -2.2e-05 | 6.3e-05 | 0.000169 | -0.000136 | -0.000363 | -0.000656 | -0.000982 | -0.001242 | -0.001513 | -0.001858 | -0.002055 | -0.002432 | -0.002952
-0.020995 | -0.018772 | -0.016496 | -0.015115 | -0.013798 | -0.012803 | -0.011861 | -0.011068 | -0.010395 | -0.009654 | -0.008768 | -0.007967 | -0.007141 | -0.006255 | -0.005488 | -0.004825 | -0.0042 | -0.003654 | -0.003038 | -0.002525 | -0.001701 | -0.000837 | -0.000367 | -0.000181 | 0 | 0.000201 | 0.000472 | 0.000621 | 0.000435 | 0.000157 | -0.000201 | -0.000408 | -0.00073 | -0.000953 | -0.001216 | -0.001423 | -0.001761 | -0.002258
-0.020512 | -0.018158 | -0.016076 | -0.014897 | -0.013705 | -0.012718 | -0.011953 | -0.011293 | -0.010488 | -0.009543 | -0.008577 | -0.007664 | -0.007022 | -0.006392 | -0.005803 | -0.005323 | -0.004848 | -0.004163 | -0.003511 | -0.002776 | -0.00187 | -0.001056 | -0.000489 | -0.00014 | 0 | 5.9e-05 | 0.000232 | 0.000308 | -3.2e-05 | -0.000396 | -0.000691 | -0.000954 | -0.001168 | -0.00131 | -0.001598 | -0.001729 | -0.002041 | -0.002541
-0.019426 | -0.017345 | -0.015581 | -0.014375 | -0.013223 | -0.012091 | -0.011182 | -0.010327 | -0.009628 | -0.008959 | -0.008322 | -0.00763 | -0.007037 | -0.006284 | -0.005608 | -0.00496 | -0.004201 | -0.003474 | -0.002857 | -0.002312 | -0.001552 | -0.00066 | -0.000262 | -0.000116 | 0 | -1e-05 | 0.000236 | 0.000328 | 0.0001 | -5e-05 | -0.000447 | -0.000622 | -0.000836 | -0.001023 | -0.001201 | -0.00145 | -0.001714 | -0.002167
-0.018548 | -0.016487 | -0.014468 | -0.013336 | -0.012086 | -0.011222 | -0.01043 | -0.00983 | -0.009126 | -0.00852 | -0.007627 | -0.00677 | -0.006038 | -0.005297 | -0.004747 | -0.004119 | -0.003639 | -0.003285 | -0.002733 | -0.002234 | -0.001443 | -0.000775 | -0.000308 | -8.8e-05 | 0 | 0.000272 | 0.000415 | 0.000527 | 0.000351 | -2.4e-05 | -0.000312 | -0.000493 | -0.000761 | -0.000935 | -0.001127 | -0.0013 | -0.00155 | -0.001888
-0.017654 | -0.015645 | -0.014039 | -0.013038 | -0.011968 | -0.01099 | -0.010225 | -0.009566 | -0.008813 | -0.008044 | -0.007291 | -0.006683 | -0.00617 | -0.005556 | -0.005017 | -0.004599 | -0.004073 | -0.003345 | -0.002872 | -0.002081 | -0.001385 | -0.000697 | -0.000267 | -9.2e-05 | 0 | -9.2e-05 | 0.000145 | 0.000174 | -0.000106 | -0.000423 | -0.000651 | -0.000903 | -0.001045 | -0.001119 | -0.001301 | -0.001437 | -0.001658 | -0.002035
-0.016734 | -0.014911 | -0.013003 | -0.011893 | -0.010931 | -0.010041 | -0.009254 | -0.008635 | -0.008049 | -0.00746 | -0.006827 | -0.006247 | -0.00563 | -0.004975 | -0.004315 | -0.00375 | -0.003216 | -0.002718 | -0.002147 | -0.001811 | -0.001203 | -0.000471 | -0.000161 | -5e-06 | 0 | 0.000132 | 0.000357 | 0.000473 | 0.000328 | 0.000118 | -0.000135 | -0.000275 | -0.000422 | -0.000572 | -0.000676 | -0.000865 | -0.00104 | -0.001387
-0.015996 | -0.013928 | -0.012259 | -0.011302 | -0.010241 | -0.009414 | -0.008689 | -0.008194 | -0.007664 | -0.007051 | -0.006357 | -0.005603 | -0.005043 | -0.004421 | -0.003992 | -0.003532 | -0.00318 | -0.00274 | -0.002296 | -0.001769 | -0.001043 | -0.000527 | -0.000112 | -2.5e-05 | 0 | 0.000143 | 0.000334 | 0.000407 | 0.000146 | -0.000198 | -0.000444 | -0.00061 | -0.000767 | -0.000786 | -0.000983 | -0.001089 | -0.001251 | -0.001571
-0.014554 | -0.013091 | -0.01171 | -0.010787 | -0.009827 | -0.008875 | -0.008194 | -0.007513 | -0.006819 | -0.006141 | -0.00553 | -0.005008 | -0.00455 | -0.00411 | -0.003619 | -0.003225 | -0.002733 | -0.002209 | -0.001796 | -0.001311 | -0.000763 | -0.000193 | 5e-05 | 0.000101 | 0 | 1.2e-05 | 0.000194 | 0.000241 | 1.9e-05 | -0.000216 | -0.000442 | -0.00063 | -0.0007 | -0.000713 | -0.000882 | -0.000999 | -0.00116 | -0.001417
-0.014185 | -0.012474 | -0.010752 | -0.009723 | -0.008801 | -0.008124 | -0.007516 | -0.006993 | -0.006483 | -0.006033 | -0.005489 | -0.004893 | -0.004353 | -0.003763 | -0.003238 | -0.002803 | -0.002419 | -0.002099 | -0.001644 | -0.001317 | -0.000785 | -0.000299 | -7.9e-05 | -2e-06 | 0 | 6.8e-05 | 0.000379 | 0.000522 | 0.000338 | 0.000112 | -0.0001 | -0.00027 | -0.000403 | -0.000455 | -0.000536 | -0.000669 | -0.000783 | -0.001017
-0.013545 | -0.011823 | -0.010492 | -0.009546 | -0.008657 | -0.007869 | -0.007192 | -0.006745 | -0.006193 | -0.00561 | -0.00499 | -0.004395 | -0.003948 | -0.003569 | -0.003161 | -0.002779 | -0.002423 | -0.00204 | -0.001646 | -0.001208 | -0.000659 | -0.000246 | 3.2e-05 | 8.1e-05 | 0 | 4.5e-05 | 0.000197 | 0.000179 | -7.8e-05 | -0.000394 | -0.000613 | -0.000787 | -0.00085 | -0.000879 | -0.001004 | -0.001123 | -0.00123 | -0.001496
-0.013722 | -0.012186 | -0.010803 | -0.00993 | -0.009068 | -0.008315 | -0.007685 | -0.007101 | -0.00657 | -0.005923 | -0.005341 | -0.004768 | -0.004294 | -0.003918 | -0.003487 | -0.003122 | -0.002777 | -0.002271 | -0.001953 | -0.001432 | -0.000874 | -0.000521 | -0.000261 | -6.8e-05 | 0 | 0.000148 | 0.000396 | 0.000553 | 0.000415 | 0.000156 | 0.000112 | -1.8e-05 | 0 | 7.8e-05 | 0.0001 | -1.5e-05 | -0.000163 | -0.000487
-0.012855 | -0.011262 | -0.009985 | -0.009101 | -0.008155 | -0.007421 | -0.006795 | -0.006342 | -0.005856 | -0.0054 | -0.004827 | -0.004373 | -0.00398 | -0.003429 | -0.00303 | -0.002531 | -0.002116 | -0.001726 | -0.001338 | -0.001072 | -0.000714 | -0.000363 | -0.000159 | -6.1e-05 | 0 | 0.000155 | 0.000491 | 0.000729 | 0.000568 | 0.00052 | 0.000323 | 0.000314 | 0.000386 | 0.000518 | 0.000511 | 0.000448 | 0.000307 | 5e-06
-0.012427 | -0.010906 | -0.009474 | -0.008618 | -0.00782 | -0.007103 | -0.006484 | -0.006002 | -0.005563 | -0.005054 | -0.004537 | -0.003996 | -0.003515 | -0.002996 | -0.002572 | -0.002293 | -0.001998 | -0.001701 | -0.001355 | -0.001005 | -0.000633 | -0.000331 | -0.000128 | -6.1e-05 | 0 | 0.000139 | 0.00051 | 0.000729 | 0.000687 | 0.000503 | 0.000337 | 0.000291 | 0.000317 | 0.000516 | 0.000501 | 0.000413 | 0.000368 | 7.5e-05
-0.01177 | -0.010182 | -0.008717 | -0.007942 | -0.007152 | -0.006576 | -0.006125 | -0.005788 | -0.005305 | -0.004777 | -0.004306 | -0.003813 | -0.003418 | -0.003107 | -0.002778 | -0.002394 | -0.002113 | -0.001649 | -0.001388 | -0.001035 | -0.000613 | -0.00035 | -0.000196 | -5.4e-05 | 0 | 0.000181 | 0.00045 | 0.000654 | 0.00056 | 0.00045 | 0.000413 | 0.000388 | 0.000533 | 0.000689 | 0.000785 | 0.000704 | 0.000581 | 0.000312
-0.011167 | -0.009803 | -0.008603 | -0.007787 | -0.006972 | -0.006198 | -0.00553 | -0.005044 | -0.004635 | -0.004261 | -0.003728 | -0.003303 | -0.00292 | -0.002431 | -0.002029 | -0.001691 | -0.001328 | -0.001081 | -0.000754 | -0.000529 | -0.000249 | -8.7e-05 | 5e-06 | 2.2e-05 | 0 | 0.000162 | 0.000531 | 0.000752 | 0.000648 | 0.000577 | 0.000441 | 0.000433 | 0.000552 | 0.000696 | 0.000784 | 0.000737 | 0.000666 | 0.000427
-0.011203 | -0.009581 | -0.008176 | -0.007336 | -0.0066 | -0.005995 | -0.005511 | -0.005123 | -0.004792 | -0.004315 | -0.003843 | -0.003368 | -0.002932 | -0.002585 | -0.002206 | -0.001987 | -0.001731 | -0.001418 | -0.001107 | -0.000765 | -0.000399 | -0.000201 | -7.8e-05 | -1.4e-05 | 0 | 0.00016 | 0.000551 | 0.0008 | 0.000712 | 0.000539 | 0.000461 | 0.00047 | 0.00058 | 0.000833 | 0.000887 | 0.000848 | 0.000796 | 0.00058
-0.010678 | -0.009188 | -0.007963 | -0.007197 | -0.006388 | -0.005739 | -0.0052 | -0.00479 | -0.004342 | -0.003953 | -0.003548 | -0.003143 | -0.002777 | -0.002378 | -0.002041 | -0.001689 | -0.001363 | -0.001027 | -0.000779 | -0.000529 | -0.000207 | -6.7e-05 | -3e-06 | 2.4e-05 | 0 | 0.000158 | 0.000464 | 0.000657 | 0.000613 | 0.000569 | 0.000516 | 0.000539 | 0.000701 | 0.000925 | 0.000981 | 0.000966 | 0.00093 | 0.000688
-0.010698 | -0.009133 | -0.00768 | -0.006885 | -0.006145 | -0.005562 | -0.005085 | -0.004701 | -0.00434 | -0.003921 | -0.003463 | -0.003024 | -0.002648 | -0.002211 | -0.001892 | -0.001563 | -0.001334 | -0.001087 | -0.000774 | -0.000593 | -0.000313 | -0.000162 | -6.1e-05 | 4e-06 | 0 | 0.000154 | 0.000549 | 0.000789 | 0.000729 | 0.000629 | 0.000553 | 0.00064 | 0.000783 | 0.001022 | 0.001105 | 0.001079 | 0.001038 | 0.000824
-0.010408 | -0.00898 | -0.007589 | -0.006836 | -0.006073 | -0.005468 | -0.005038 | -0.004746 | -0.004311 | -0.003827 | -0.003332 | -0.002926 | -0.002554 | -0.002194 | -0.001895 | -0.001624 | -0.001403 | -0.001071 | -0.000874 | -0.000641 | -0.000314 | -0.000168 | -7.1e-05 | 0 | 0 | 0.000172 | 0.000538 | 0.000802 | 0.0007 | 0.0006 | 0.000578 | 0.000642 | 0.000792 | 0.00105 | 0.001118 | 0.001086 | 0.001061 | 0.000866
-0.010081 | -0.008783 | -0.007524 | -0.006743 | -0.006049 | -0.00543 | -0.004778 | -0.004289 | -0.003919 | -0.003532 | -0.003103 | -0.002716 | -0.002351 | -0.001963 | -0.001612 | -0.001323 | -0.001047 | -0.000759 | -0.00051 | -0.000295 | 3.1e-05 | 0.000131 | 0.00011 | 8.9e-05 | 0 | 0.00012 | 0.000437 | 0.000641 | 0.000547 | 0.000479 | 0.000422 | 0.000482 | 0.000683 | 0.000943 | 0.001055 | 0.001017 | 0.000968 | 0.000758
-0.01019 | -0.008599 | -0.007517 | -0.006808 | -0.00588 | -0.005141 | -0.004717 | -0.00433 | -0.003943 | -0.003563 | -0.003111 | -0.002699 | -0.002332 | -0.001929 | -0.001655 | -0.001315 | -0.001089 | -0.000805 | -0.000603 | -0.000334 | -7.6e-05 | 3e-06 | 4.6e-05 | 5.5e-05 | 0 | 0.000179 | 0.000585 | 0.000813 | 0.000756 | 0.000691 | 0.00067 | 0.000804 | 0.000925 | 0.001151 | 0.001202 | 0.001113 | 0.001112 | 0.000971
-0.009998 | -0.008564 | -0.007204 | -0.006428 | -0.005691 | -0.005153 | -0.004631 | -0.004318 | -0.003957 | -0.003563 | -0.003178 | -0.002784 | -0.002397 | -0.001978 | -0.001643 | -0.001359 | -0.00113 | -0.000835 | -0.00059 | -0.000426 | -0.000137 | 3e-06 | 1.2e-05 | 5.3e-05 | 0 | 5.8e-05 | 0.000383 | 0.000635 | 0.00056 | 0.000519 | 0.000538 | 0.00068 | 0.000848 | 0.001065 | 0.001147 | 0.001101 | 0.001061 | 0.000907
-0.009779 | -0.008378 | -0.007079 | -0.006317 | -0.005595 | -0.005015 | -0.004547 | -0.004199 | -0.003863 | -0.003477 | -0.002924 | -0.002459 | -0.002175 | -0.001906 | -0.001558 | -0.001299 | -0.001056 | -0.000838 | -0.000575 | -0.000345 | -8.5e-05 | 1e-06 | 6e-05 | 2e-05 | 0 | 0.000146 | 0.000449 | 0.000545 | 0.000501 | 0.000446 | 0.000477 | 0.000589 | 0.000811 | 0.001062 | 0.001151 | 0.001091 | 0.001084 | 0.000914
-0.009554 | -0.008195 | -0.006791 | -0.005964 | -0.005237 | -0.004841 | -0.004306 | -0.003964 | -0.003651 | -0.003277 | -0.002833 | -0.002478 | -0.00212 | -0.00175 | -0.001413 | -0.00112 | -0.000861 | -0.000568 | -0.000358 | -0.000209 | 8.8e-05 | 0.000169 | 0.00015 | 0.000159 | 0 | 2.2e-05 | 0.000381 | 0.00059 | 0.000487 | 0.000475 | 0.000553 | 0.000734 | 0.000913 | 0.001137 | 0.001234 | 0.001193 | 0.001144 | 0.001017
-0.009616 | -0.008083 | -0.007043 | -0.00639 | -0.005571 | -0.004748 | -0.004179 | -0.00399 | -0.003646 | -0.003277 | -0.002795 | -0.00237 | -0.002007 | -0.001608 | -0.001275 | -0.001003 | -0.000833 | -0.000635 | -0.000391 | -0.000226 | -5e-06 | 5.8e-05 | 0.000143 | 0.000139 | 0 | 6.6e-05 | 0.00039 | 0.000535 | 0.00043 | 0.000371 | 0.000381 | 0.000488 | 0.000618 | 0.000859 | 0.000901 | 0.000829 | 0.000818 | 0.0007
-0.008823 | -0.007734 | -0.006517 | -0.005813 | -0.005097 | -0.004537 | -0.004075 | -0.003586 | -0.003139 | -0.002705 | -0.002265 | -0.001884 | -0.001523 | -0.001154 | -0.000888 | -0.000638 | -0.000448 | -0.000109 | 1.1e-05 | 0.000196 | 0.000371 | 0.000339 | 0.000251 | 0.000176 | 0 | 3.3e-05 | 0.00035 | 0.000527 | 0.000427 | 0.000337 | 0.000446 | 0.000605 | 0.000799 | 0.001063 | 0.001146 | 0.001062 | 0.001057 | 0.000926
-0.008995 | -0.00758 | -0.006348 | -0.005628 | -0.004859 | -0.004253 | -0.003772 | -0.003417 | -0.003127 | -0.002761 | -0.002334 | -0.001971 | -0.001602 | -0.001201 | -0.000857 | -0.000568 | -0.000311 | -9.9e-05 | 0.000121 | 0.000179 | 0.000344 | 0.000329 | 0.000245 | 0.000157 | 0 | 4.7e-05 | 0.000349 | 0.000558 | 0.000469 | 0.000427 | 0.000517 | 0.000664 | 0.000815 | 0.001021 | 0.00109 | 0.001056 | 0.001001 | 0.000926
-0.008832 | -0.007399 | -0.006144 | -0.005449 | -0.004732 | -0.00418 | -0.003757 | -0.003518 | -0.003181 | -0.002764 | -0.002249 | -0.001802 | -0.001451 | -0.001058 | -0.000786 | -0.000614 | -0.000428 | -0.000222 | -4.4e-05 | 0.000102 | 0.000293 | 0.000239 | 0.000232 | 0.000145 | 0 | 2.5e-05 | 0.000366 | 0.000499 | 0.000368 | 0.000275 | 0.000291 | 0.000424 | 0.000537 | 0.000768 | 0.000794 | 0.00077 | 0.000755 | 0.000652
-0.008253 | -0.0071 | -0.006003 | -0.005336 | -0.004622 | -0.004053 | -0.003564 | -0.003153 | -0.002751 | -0.002368 | -0.002035 | -0.001685 | -0.001355 | -0.001004 | -0.000701 | -0.00041 | -0.000171 | 0.000176 | 0.000276 | 0.000432 | 0.000575 | 0.000576 | 0.000418 | 0.000279 | 0 | -9.4e-05 | 0.000185 | 0.000292 | 0.000184 | 0.000122 | 0.000188 | 0.000253 | 0.000418 | 0.000591 | 0.000632 | 0.00053 | 0.000513 | 0.000446
-0.00825 | -0.006925 | -0.005736 | -0.005008 | -0.004256 | -0.003707 | -0.00327 | -0.002989 | -0.002752 | -0.00241 | -0.001956 | -0.001567 | -0.001211 | -0.000807 | -0.000454 | -0.000157 | 4.7e-05 | 0.000198 | 0.000409 | 0.000362 | 0.000543 | 0.000483 | 0.00034 | 0.00023 | 0 | 4.5e-05 | 0.00031 | 0.000472 | 0.000331 | 0.00026 | 0.000262 | 0.000365 | 0.000417 | 0.00052 | 0.000571 | 0.000461 | 0.000427 | 0.00036
-0.007741 | -0.006738 | -0.005892 | -0.005245 | -0.004599 | -0.003914 | -0.003383 | -0.003031 | -0.002561 | -0.002095 | -0.001594 | -0.001186 | -0.000845 | -0.000487 | -0.00025 | -0.000133 | 3.5e-05 | 0.000169 | 0.000362 | 0.000565 | 0.000699 | 0.000553 | 0.000469 | 0.000303 | 0 | -0.000113 | 0.000159 | 0.000245 | 1e-06 | -0.000165 | -0.000239 | -0.00022 | -0.000225 | -4.4e-05 | -0.000108 | -0.0002 | -0.00019 | -0.000284
-0.00762 | -0.006523 | -0.005469 | -0.004823 | -0.004131 | -0.003574 | -0.003065 | -0.002666 | -0.002331 | -0.002013 | -0.001724 | -0.001395 | -0.001067 | -0.000731 | -0.000422 | -8.1e-05 | 0.000185 | 0.00057 | 0.000622 | 0.000678 | 0.000832 | 0.000747 | 0.000541 | 0.000349 | 0 | -7.5e-05 | 0.000159 | 0.000313 | 0.000158 | 6.8e-05 | 7.5e-05 | 4.8e-05 | 9.9e-05 | 0.000167 | 0.000161 | -3e-06 | -1.2e-05 | -9.5e-05
-0.007796 | -0.006547 | -0.005331 | -0.004671 | -0.003942 | -0.00341 | -0.002995 | -0.002809 | -0.002571 | -0.002224 | -0.001664 | -0.00127 | -0.000924 | -0.000476 | -0.000209 | 5.7e-05 | 0.000166 | 0.000168 | 0.000426 | 0.000399 | 0.000576 | 0.000492 | 0.000417 | 0.000247 | 0 | 9e-06 | 0.000312 | 0.000429 | 0.000237 | 0.000138 | 3.1e-05 | 4.1e-05 | -3e-05 | -6.5e-05 | -0.000114 | -0.00022 | -0.000284 | -0.000307
-0.007329 | -0.006228 | -0.005398 | -0.004778 | -0.00415 | -0.003563 | -0.003085 | -0.002755 | -0.002338 | -0.001834 | -0.001478 | -0.001099 | -0.000803 | -0.000551 | -0.000329 | -0.00023 | -5e-06 | 0.000312 | 0.0004 | 0.000678 | 0.000821 | 0.000745 | 0.000591 | 0.000376 | 0 | -0.000129 | 0.000126 | 0.000213 | 6e-06 | -0.000212 | -0.000325 | -0.000397 | -0.00049 | -0.000363 | -0.000516 | -0.000663 | -0.000695 | -0.00078
-0.007325 | -0.006297 | -0.005171 | -0.004497 | -0.003734 | -0.003193 | -0.002697 | -0.002442 | -0.00219 | -0.001947 | -0.001574 | -0.001295 | -0.000968 | -0.000584 | -0.000251 | 0.000158 | 0.000377 | 0.000641 | 0.000682 | 0.000621 | 0.000759 | 0.000696 | 0.000461 | 0.000327 | 0 | -4.7e-05 | 0.000229 | 0.000399 | 0.00022 | 0.000185 | 7.4e-05 | -3e-06 | -7.8e-05 | -0.000222 | -0.000216 | -0.000468 | -0.000557 | -0.000581
-0.007257 | -0.006024 | -0.005033 | -0.004399 | -0.003723 | -0.003133 | -0.002803 | -0.002674 | -0.002319 | -0.002002 | -0.001386 | -0.00099 | -0.000649 | -0.000224 | 7e-06 | 0.000176 | 0.000163 | 6.7e-05 | 0.000406 | 0.000451 | 0.000619 | 0.000465 | 0.00045 | 0.000263 | 0 | -8e-06 | 0.000274 | 0.000375 | 0.000102 | -0.000142 | -0.000344 | -0.000421 | -0.000608 | -0.00064 | -0.000884 | -0.000966 | -0.001074 | -0.001106
-0.007053 | -0.005818 | -0.004836 | -0.004312 | -0.003677 | -0.003162 | -0.002687 | -0.002319 | -0.001976 | -0.001579 | -0.001362 | -0.001108 | -0.000878 | -0.000615 | -0.000351 | -0.000188 | 4.8e-05 | 0.000534 | 0.000508 | 0.000776 | 0.000861 | 0.000849 | 0.000653 | 0.000388 | 0 | -0.000203 | 5e-05 | 0.000156 | -1.9e-05 | -0.000215 | -0.000387 | -0.000518 | -0.000686 | -0.000604 | -0.000741 | -0.001 | -0.001004 | -0.001124
-0.007047 | -0.005855 | -0.004549 | -0.003925 | -0.003141 | -0.002621 | -0.002261 | -0.002148 | -0.001997 | -0.001851 | -0.001424 | -0.00107 | -0.000649 | -0.000245 | -5.2e-05 | 0.000413 | 0.000484 | 0.000618 | 0.000739 | 0.000547 | 0.000724 | 0.000605 | 0.000404 | 0.000292 | 0 | -3.2e-05 | 0.00035 | 0.00053 | 0.000349 | 0.000238 | 7.7e-05 | -6.8e-05 | -0.00018 | -0.000452 | -0.000447 | -0.000776 | -0.000834 | -0.000851
-0.006713 | -0.00537 | -0.004388 | -0.003901 | -0.003251 | -0.002731 | -0.002392 | -0.00227 | -0.001925 | -0.001401 | -0.000901 | -0.00057 | -0.000357 | -0.000102 | 0.000155 | 0.000112 | 0.00018 | 0.000175 | 0.000396 | 0.000639 | 0.000833 | 0.000656 | 0.000606 | 0.000332 | 0 | -3.8e-05 | 0.000194 | 0.000269 | 1.2e-05 | -0.000253 | -0.000528 | -0.000655 | -0.000975 | -0.00094 | -0.001135 | -0.001273 | -0.001363 | -0.001474
-0.005999 | -0.00506 | -0.00404 | -0.003453 | -0.00286 | -0.002334 | -0.001872 | -0.001513 | -0.001267 | -0.00107 | -0.000939 | -0.000752 | -0.000498 | -0.000172 | -2.7e-05 | 0.000289 | 0.000538 | 0.001006 | 0.000969 | 0.001035 | 0.001052 | 0.001056 | 0.000717 | 0.000481 | 0 | -0.000154 | 0.000137 | 0.00031 | 0.000216 | 1.9e-05 | -0.000148 | -0.000407 | -0.000505 | -0.000446 | -0.000553 | -0.000794 | -0.000836 | -0.000902
-0.006167 | -0.005036 | -0.003886 | -0.003348 | -0.002562 | -0.002044 | -0.001642 | -0.001708 | -0.001568 | -0.001384 | -0.000801 | -0.000513 | -9.2e-05 | 0.000362 | 0.00057 | 0.000778 | 0.000759 | 0.000746 | 0.000862 | 0.000637 | 0.000834 | 0.000585 | 0.000457 | 0.000312 | 0 | 8.9e-05 | 0.000388 | 0.000558 | 0.000326 | 0.000122 | -1.9e-05 | -0.000226 | -0.000469 | -0.000661 | -0.000733 | -0.000954 | -0.00105 | -0.000971
-0.005479 | -0.004261 | -0.003461 | -0.003048 | -0.002526 | -0.002027 | -0.001744 | -0.001492 | -0.001247 | -0.000771 | -0.000362 | -0.000126 | -4.6e-05 | 0.000129 | 0.000222 | 0.000186 | 0.000296 | 0.000467 | 0.000603 | 0.000913 | 0.000993 | 0.000882 | 0.000684 | 0.000403 | 0 | -9.9e-05 | 0.000152 | 0.00019 | -9.2e-05 | -0.000303 | -0.000658 | -0.000769 | -0.00098 | -0.000805 | -0.001004 | -0.001068 | -0.001147 | -0.001269
-0.005274 | -0.004185 | -0.002983 | -0.00237 | -0.001785 | -0.00141 | -0.000955 | -0.000808 | -0.000686 | -0.000675 | -0.00066 | -0.000459 | -0.000216 | 0.000136 | 0.000402 | 0.000757 | 0.000922 | 0.001301 | 0.001167 | 0.001022 | 0.001102 | 0.000948 | 0.000626 | 0.000332 | 0 | -0.000205 | 0.000197 | 0.000473 | 0.000355 | 0.000238 | 1.2e-05 | -0.000175 | -0.000327 | -0.000254 | -0.000156 | -0.000549 | -0.000485 | -0.000518
-0.004666 | -0.003619 | -0.002579 | -0.002207 | -0.001501 | -0.00106 | -0.000852 | -0.000902 | -0.000781 | -0.000505 | 9.4e-05 | 0.000497 | 0.000742 | 0.001129 | 0.00107 | 0.001189 | 0.001097 | 0.00088 | 0.001044 | 0.000884 | 0.001019 | 0.000696 | 0.000499 | 0.000356 | 0 | 0.000207 | 0.000397 | 0.000575 | 0.000279 | 0.0001 | -0.000173 | -0.000374 | -0.000528 | -0.000591 | -0.000652 | -0.000765 | -0.000823 | -0.000823
-0.003713 | -0.002662 | -0.002033 | -0.001658 | -0.00132 | -0.000805 | -0.000442 | -0.000237 | 5.8e-05 | 0.000313 | 0.000435 | 0.000499 | 0.000453 | 0.000546 | 0.000762 | 0.00074 | 0.000857 | 0.001168 | 0.001167 | 0.001478 | 0.001382 | 0.001177 | 0.000896 | 0.000454 | 0 | -0.000165 | 0.000115 | 0.000184 | -2.2e-05 | -0.00028 | -0.000606 | -0.000861 | -0.000924 | -0.000596 | -0.000774 | -0.000826 | -0.000912 | -0.000951
-0.003817 | -0.00289 | -0.00184 | -0.001281 | -0.000622 | -0.000248 | 0.000207 | 0.000148 | 0.000159 | 0.000116 | 0.000204 | 0.00042 | 0.000831 | 0.001187 | 0.001445 | 0.001726 | 0.001604 | 0.001826 | 0.001684 | 0.001207 | 0.001302 | 0.00105 | 0.000558 | 0.000395 | 0 | -1.6e-05 | 0.000351 | 0.000643 | 0.000471 | 0.000336 | -1.5e-05 | -0.000261 | -0.000298 | -0.000284 | -0.000119 | -0.000491 | -0.000393 | -0.000328
-0.00348 | -0.002418 | -0.001492 | -0.001335 | -0.000695 | -0.000118 | -3.4e-05 | -0.000246 | -3e-05 | 0.000247 | 0.000892 | 0.001173 | 0.001308 | 0.001337 | 0.001274 | 0.001203 | 0.001126 | 0.00085 | 0.000949 | 0.001164 | 0.001182 | 0.000683 | 0.000583 | 0.000216 | 0 | 5.2e-05 | 0.000218 | 0.000251 | -9.1e-05 | -0.000297 | -0.000639 | -0.000813 | -0.000903 | -0.000781 | -0.000993 | -0.000954 | -0.001076 | -0.001033
-0.002991 | -0.002172 | -0.001341 | -0.000985 | -0.000564 | -0.000124 | 0.00048 | 0.00083 | 0.000976 | 0.001133 | 0.000997 | 0.001035 | 0.000936 | 0.001111 | 0.001394 | 0.001533 | 0.001632 | 0.002097 | 0.001838 | 0.001815 | 0.001556 | 0.001475 | 0.000851 | 0.000497 | 0 | -0.000344 | -6.2e-05 | 0.000155 | 0.000117 | -0.000128 | -0.000439 | -0.000661 | -0.000803 | -0.000393 | -0.000442 | -0.000563 | -0.000524 | -0.000595
-0.00386 | -0.002608 | -0.001175 | -0.000761 | -1.1e-05 | 0.000292 | 0.000566 | 0.000304 | 0.000308 | 0.00016 | 0.000522 | 0.000874 | 0.001255 | 0.001707 | 0.001665 | 0.001858 | 0.001666 | 0.001457 | 0.001491 | 0.001004 | 0.001131 | 0.000673 | 0.000344 | 0.000328 | 0 | 0.000171 | 0.00055 | 0.000739 | 0.000613 | 0.000533 | 0.000177 | 2.2e-05 | -0.000188 | -6.9e-05 | 9e-06 | -0.000288 | -0.000309 | -0.000145
-0.002703 | -0.001707 | -0.001237 | -0.001066 | -0.000487 | 0.000214 | 0.00029 | 0.000248 | 0.000738 | 0.001123 | 0.001726 | 0.001776 | 0.001644 | 0.001743 | 0.001612 | 0.001534 | 0.001339 | 0.001326 | 0.001387 | 0.001636 | 0.001672 | 0.0011 | 0.000864 | 0.000384 | 0 | -0.000106 | 3.4e-05 | -9.1e-05 | -0.000516 | -0.000833 | -0.00104 | -0.00133 | -0.001417 | -0.001354 | -0.001444 | -0.001474 | -0.001627 | -0.001666

## 156_CC_taarray
-0.12373 | -0.12828 | -0.12822 | -0.12469 | -0.11815 | -0.11273 | -0.1044 | -0.097354 | -0.092147 | -0.089308 | -0.084851 | -0.078414 | -0.07423 | -0.067237 | -0.061758 | -0.054142 | -0.046869 | -0.037848 | -0.031861 | -0.027544 | -0.020809 | -0.016623 | -0.011516 | -0.002573 | 0 | 0.003891 | 0.009977 | 0.018421 | 0.024392 | 0.031875 | 0.04243 | 0.048022 | 0.05931 | 0.066952 | 0.077852 | 0.08651 | 0.095422 | 0.10223
-0.10633 | -0.10811 | -0.10504 | -0.10115 | -0.097034 | -0.093125 | -0.087681 | -0.082696 | -0.077671 | -0.075006 | -0.070348 | -0.066013 | -0.061816 | -0.055493 | -0.050556 | -0.043915 | -0.039352 | -0.036036 | -0.028489 | -0.025058 | -0.019954 | -0.016643 | -0.009789 | -0.004372 | 0 | 0.003601 | 0.008637 | 0.014714 | 0.01962 | 0.026799 | 0.034151 | 0.039232 | 0.046465 | 0.053532 | 0.061968 | 0.068828 | 0.075035 | 0.080654
-0.075749 | -0.07646 | -0.07431 | -0.072187 | -0.068439 | -0.065302 | -0.060723 | -0.057716 | -0.054288 | -0.05241 | -0.048911 | -0.046524 | -0.042946 | -0.038489 | -0.035949 | -0.031834 | -0.028667 | -0.024863 | -0.021029 | -0.017916 | -0.013734 | -0.011236 | -0.007697 | -0.002838 | 0 | 0.002246 | 0.004417 | 0.009709 | 0.012891 | 0.017956 | 0.023194 | 0.026396 | 0.032476 | 0.037321 | 0.042529 | 0.046694 | 0.051513 | 0.053629
-0.045495 | -0.045393 | -0.04263 | -0.040663 | -0.038542 | -0.036535 | -0.033919 | -0.032086 | -0.030533 | -0.030068 | -0.02816 | -0.026706 | -0.024224 | -0.021876 | -0.019978 | -0.017003 | -0.015879 | -0.013508 | -0.011444 | -0.010844 | -0.008555 | -0.007016 | -0.004487 | -0.001502 | 0 | 0.001408 | 0.002963 | 0.005661 | 0.007927 | 0.011659 | 0.015103 | 0.016929 | 0.020201 | 0.022713 | 0.025354 | 0.027824 | 0.028975 | 0.029863
-0.022553 | -0.021838 | -0.019428 | -0.017701 | -0.016557 | -0.015684 | -0.014116 | -0.013681 | -0.012963 | -0.013271 | -0.011957 | -0.011479 | -0.010198 | -0.008993 | -0.008436 | -0.00753 | -0.007212 | -0.006614 | -0.005332 | -0.005249 | -0.004004 | -0.0035 | -0.002011 | -0.000705 | 0 | 0.000973 | 0.000706 | 0.001928 | 0.002928 | 0.005173 | 0.007057 | 0.008103 | 0.009361 | 0.010016 | 0.01103 | 0.011634 | 0.01133 | 0.0106
-0.008554 | -0.008059 | -0.006661 | -0.005281 | -0.004702 | -0.004127 | -0.003148 | -0.002674 | -0.002726 | -0.003293 | -0.002745 | -0.00268 | -0.002189 | -0.001906 | -0.002031 | -0.001598 | -0.001518 | -0.001344 | -0.001497 | -0.001928 | -0.001486 | -0.001591 | -0.001109 | -7.8e-05 | 0 | -0.000473 | -0.000843 | -0.000563 | 8.1e-05 | 0.001388 | 0.002509 | 0.002493 | 0.002992 | 0.00308 | 0.002958 | 0.002804 | 0.000903 | -0.000854
-0.000244 | -0.000486 | 0.000539 | 0.001828 | 0.001827 | 0.002405 | 0.002759 | 0.00302 | 0.002754 | 0.001965 | 0.001899 | 0.00219 | 0.002204 | 0.002187 | 0.001833 | 0.002052 | 0.001475 | 0.00129 | 0.000871 | -0.00044 | -7.4e-05 | -0.000244 | -0.000295 | 0.000185 | 0 | -0.000402 | -0.000928 | -0.001241 | -0.000838 | 3.8e-05 | 0.000837 | 0.000401 | 0.000208 | -7.1e-05 | -0.000921 | -0.001947 | -0.003686 | -0.005734
0.0035 | 0.003182 | 0.003847 | 0.004658 | 0.004627 | 0.00482 | 0.004727 | 0.004596 | 0.004111 | 0.003553 | 0.003612 | 0.003671 | 0.003702 | 0.003629 | 0.003344 | 0.002801 | 0.001944 | 0.001469 | 0.001337 | 0.000362 | 0.000399 | 1.5e-05 | 0.000277 | 0.000113 | 0 | -0.000286 | -0.001387 | -0.001901 | -0.001726 | -0.000804 | -0.000454 | -0.000808 | -0.001061 | -0.001625 | -0.002468 | -0.003505 | -0.00563 | -0.007646
0.004717 | 0.004529 | 0.005255 | 0.005812 | 0.005581 | 0.0057 | 0.005642 | 0.0054 | 0.004908 | 0.0044 | 0.004062 | 0.00382 | 0.003752 | 0.003631 | 0.00304 | 0.003009 | 0.002534 | 0.002169 | 0.001629 | 0.000613 | 0.000363 | 0.000187 | 0.000118 | 0.000387 | 0 | -0.00073 | -0.001286 | -0.001682 | -0.001491 | -0.000958 | -0.000566 | -0.000995 | -0.001268 | -0.001669 | -0.002722 | -0.003673 | -0.005637 | -0.007493
0.005236 | 0.005213 | 0.005884 | 0.006596 | 0.006041 | 0.006248 | 0.005993 | 0.005721 | 0.005071 | 0.004369 | 0.004447 | 0.004268 | 0.003972 | 0.004011 | 0.003485 | 0.00325 | 0.002537 | 0.002042 | 0.001588 | 0.000516 | 0.000487 | 9.6e-05 | 0.000136 | 0.000245 | 0 | -0.000425 | -0.001162 | -0.001662 | -0.0012 | -0.000965 | -0.00032 | -0.000821 | -0.001185 | -0.001462 | -0.002328 | -0.003288 | -0.005245 | -0.006941
0.005715 | 0.005561 | 0.006098 | 0.006575 | 0.006101 | 0.006214 | 0.006111 | 0.005678 | 0.005348 | 0.004676 | 0.004515 | 0.004305 | 0.004246 | 0.003963 | 0.003559 | 0.003315 | 0.002433 | 0.002146 | 0.001868 | 0.001072 | 0.0008 | 0.000452 | 0.000414 | 0.000502 | 0 | -0.000418 | -0.000975 | -0.001387 | -0.001149 | -0.000669 | -0.000302 | -0.000638 | -0.000861 | -0.001079 | -0.002026 | -0.002668 | -0.004248 | -0.005978
0.005395 | 0.005177 | 0.005553 | 0.005901 | 0.005566 | 0.005793 | 0.005729 | 0.005419 | 0.005045 | 0.004541 | 0.004289 | 0.004111 | 0.003951 | 0.003672 | 0.003347 | 0.003114 | 0.002431 | 0.002112 | 0.001785 | 0.000912 | 0.000731 | 0.000407 | 0.000266 | 0.000343 | 0 | -0.000526 | -0.000991 | -0.001326 | -0.000933 | -0.000532 | -9.9e-05 | -0.00026 | -0.000556 | -0.000838 | -0.00151 | -0.002198 | -0.003592 | -0.004973
0.005135 | 0.005325 | 0.005836 | 0.006084 | 0.005712 | 0.005805 | 0.005442 | 0.005003 | 0.0046 | 0.004112 | 0.003943 | 0.003695 | 0.003645 | 0.00337 | 0.003056 | 0.002788 | 0.002129 | 0.001774 | 0.001434 | 0.000676 | 0.000636 | 0.000238 | 0.000296 | 0.000127 | 0 | -0.000331 | -0.000642 | -0.001098 | -0.000758 | -0.000212 | 0.000245 | 0.000115 | 2e-06 | -0.000229 | -0.000846 | -0.001485 | -0.002788 | -0.004034
0.005003 | 0.005082 | 0.005394 | 0.005478 | 0.005077 | 0.005347 | 0.005136 | 0.004875 | 0.004603 | 0.00404 | 0.003702 | 0.003566 | 0.003378 | 0.003213 | 0.00285 | 0.002516 | 0.002133 | 0.00186 | 0.001532 | 0.000833 | 0.000704 | 0.000411 | 0.000397 | 0.000334 | 0 | -0.000355 | -0.000776 | -0.000944 | -0.000571 | -2.1e-05 | 0.00034 | 0.000264 | 0.000256 | 0.000107 | -0.000378 | -0.000891 | -0.002134 | -0.003314
0.004584 | 0.004724 | 0.005086 | 0.005184 | 0.005005 | 0.004976 | 0.004863 | 0.004573 | 0.004216 | 0.00372 | 0.003519 | 0.003264 | 0.0032 | 0.003031 | 0.00285 | 0.002601 | 0.002123 | 0.001719 | 0.001424 | 0.000753 | 0.000571 | 0.000297 | 0.000261 | 0.000293 | 0 | -0.000335 | -0.000562 | -0.00078 | -0.000281 | 0.000232 | 0.000564 | 0.000562 | 0.000669 | 0.000675 | 0.000153 | -0.000298 | -0.001282 | -0.002455
0.004331 | 0.004536 | 0.004906 | 0.004923 | 0.00462 | 0.004695 | 0.00446 | 0.004101 | 0.003833 | 0.003345 | 0.003218 | 0.003074 | 0.002962 | 0.002715 | 0.002464 | 0.00226 | 0.001758 | 0.001491 | 0.001256 | 0.000702 | 0.000604 | 0.000335 | 0.000357 | 0.000283 | 0 | -0.000197 | -0.000486 | -0.000638 | -0.000144 | 0.000375 | 0.000683 | 0.000765 | 0.000887 | 0.0009 | 0.000631 | 9.1e-05 | -0.000756 | -0.001743
0.004169 | 0.004271 | 0.004496 | 0.004465 | 0.004314 | 0.004275 | 0.004268 | 0.003942 | 0.003716 | 0.00335 | 0.003037 | 0.002831 | 0.0028 | 0.002556 | 0.002333 | 0.002108 | 0.001863 | 0.001455 | 0.001369 | 0.000772 | 0.000558 | 0.000385 | 0.000339 | 0.00033 | 0 | -0.000168 | -0.00035 | -0.000496 | 2.8e-05 | 0.000633 | 0.000964 | 0.001088 | 0.001243 | 0.001353 | 0.001012 | 0.000673 | -0.000125 | -0.001127
0.003864 | 0.003988 | 0.004221 | 0.004091 | 0.004002 | 0.004078 | 0.003839 | 0.003629 | 0.003308 | 0.002956 | 0.002786 | 0.002664 | 0.002562 | 0.002513 | 0.002164 | 0.001971 | 0.001607 | 0.001302 | 0.001037 | 0.000522 | 0.000466 | 0.000214 | 0.000221 | 0.000251 | 0 | -0.000146 | -0.00035 | -0.00036 | 0.000126 | 0.000747 | 0.001075 | 0.001219 | 0.001429 | 0.00154 | 0.001302 | 0.001002 | 0.000237 | -0.000556
0.003809 | 0.003972 | 0.004101 | 0.003998 | 0.003828 | 0.003812 | 0.003647 | 0.003496 | 0.003236 | 0.002896 | 0.002742 | 0.002573 | 0.002447 | 0.002259 | 0.002004 | 0.001784 | 0.001556 | 0.001211 | 0.001003 | 0.000662 | 0.000467 | 0.000282 | 0.000279 | 0.000231 | 0 | -0.000216 | -0.000311 | -0.000355 | 0.000195 | 0.000642 | 0.00109 | 0.001255 | 0.001475 | 0.001625 | 0.001445 | 0.001137 | 0.000523 | -0.000258
0.003527 | 0.00384 | 0.004094 | 0.004014 | 0.003881 | 0.003772 | 0.003688 | 0.003362 | 0.003016 | 0.002684 | 0.002478 | 0.002308 | 0.002231 | 0.002047 | 0.001847 | 0.001667 | 0.001445 | 0.001266 | 0.001036 | 0.000519 | 0.000453 | 0.000299 | 0.000269 | 0.000183 | 0 | -0.000153 | -0.000209 | -0.000123 | 0.000492 | 0.000972 | 0.00141 | 0.001669 | 0.001848 | 0.002009 | 0.001878 | 0.001627 | 0.001043 | 0.000295
0.003481 | 0.003632 | 0.003697 | 0.003561 | 0.00349 | 0.003504 | 0.003283 | 0.003053 | 0.002821 | 0.002562 | 0.002388 | 0.002257 | 0.002164 | 0.002036 | 0.001811 | 0.00156 | 0.001269 | 0.001077 | 0.00088 | 0.000534 | 0.000437 | 0.000238 | 0.000266 | 0.00023 | 0 | -9.8e-05 | -0.000177 | -0.000143 | 0.000383 | 0.000881 | 0.001315 | 0.001545 | 0.001701 | 0.001831 | 0.001708 | 0.001481 | 0.001001 | 0.000339
0.003455 | 0.003558 | 0.003605 | 0.003423 | 0.003329 | 0.003283 | 0.003184 | 0.002991 | 0.002732 | 0.002515 | 0.002275 | 0.002061 | 0.001981 | 0.001752 | 0.00162 | 0.001453 | 0.001154 | 0.001048 | 0.000903 | 0.000557 | 0.000399 | 0.000303 | 0.000265 | 0.000216 | 0 | -0.00011 | -0.000164 | -6e-05 | 0.000454 | 0.000922 | 0.001358 | 0.001568 | 0.001743 | 0.001916 | 0.001725 | 0.001607 | 0.001148 | 0.000543
0.003323 | 0.003378 | 0.003406 | 0.00325 | 0.003168 | 0.003161 | 0.003007 | 0.00278 | 0.002597 | 0.002268 | 0.002113 | 0.001993 | 0.00197 | 0.001823 | 0.001661 | 0.001471 | 0.001161 | 0.001088 | 0.000891 | 0.000483 | 0.000371 | 0.000197 | 0.000175 | 0.00017 | 0 | -0.000117 | -0.000113 | 5e-06 | 0.000585 | 0.000984 | 0.00139 | 0.001564 | 0.001691 | 0.001856 | 0.001822 | 0.001584 | 0.001206 | 0.000745
0.003115 | 0.003325 | 0.003396 | 0.003214 | 0.003134 | 0.003032 | 0.002812 | 0.002583 | 0.002319 | 0.002048 | 0.001912 | 0.001711 | 0.001677 | 0.001505 | 0.001373 | 0.001228 | 0.000992 | 0.000802 | 0.000737 | 0.000484 | 0.000373 | 0.000219 | 0.000189 | 0.00022 | 0 | -6.5e-05 | -9e-05 | 3e-06 | 0.000451 | 0.000928 | 0.0013 | 0.001511 | 0.001755 | 0.001873 | 0.001744 | 0.00161 | 0.0012 | 0.000737
0.003073 | 0.003061 | 0.003005 | 0.002808 | 0.002791 | 0.002785 | 0.002677 | 0.002516 | 0.002329 | 0.002112 | 0.001942 | 0.001778 | 0.001663 | 0.001561 | 0.001417 | 0.001313 | 0.001116 | 0.000946 | 0.000878 | 0.000574 | 0.000404 | 0.000252 | 0.000217 | 0.000146 | 0 | -0.000127 | -0.000104 | 1e-05 | 0.0005 | 0.000947 | 0.001277 | 0.001444 | 0.001596 | 0.00174 | 0.001605 | 0.001475 | 0.001175 | 0.000748
0.002837 | 0.002928 | 0.002903 | 0.002691 | 0.002695 | 0.002658 | 0.002494 | 0.00227 | 0.002099 | 0.001855 | 0.001705 | 0.001614 | 0.001571 | 0.001434 | 0.001289 | 0.001196 | 0.000943 | 0.000754 | 0.00068 | 0.000419 | 0.000287 | 0.000172 | 0.000134 | 0.000143 | 0 | -0.000113 | -7.1e-05 | 6.2e-05 | 0.000467 | 0.000848 | 0.001175 | 0.001318 | 0.001455 | 0.001517 | 0.001461 | 0.001318 | 0.001008 | 0.000629
0.00286 | 0.002895 | 0.002798 | 0.002594 | 0.002576 | 0.002507 | 0.002371 | 0.002194 | 0.002058 | 0.001863 | 0.001721 | 0.001606 | 0.001481 | 0.001307 | 0.001175 | 0.001048 | 0.000875 | 0.000797 | 0.000683 | 0.000511 | 0.000413 | 0.000234 | 0.000225 | 0.000142 | 0 | -0.000115 | -0.000137 | -4.8e-05 | 0.000345 | 0.000674 | 0.001025 | 0.001116 | 0.001248 | 0.001297 | 0.001197 | 0.001079 | 0.000802 | 0.000471
0.00272 | 0.002803 | 0.002821 | 0.002623 | 0.002605 | 0.002519 | 0.002349 | 0.002252 | 0.001991 | 0.001754 | 0.00158 | 0.001503 | 0.001409 | 0.001319 | 0.001211 | 0.001112 | 0.000921 | 0.000843 | 0.000794 | 0.0005 | 0.000385 | 0.000268 | 0.000221 | 0.000165 | 0 | -0.0001 | -6e-05 | 4e-05 | 0.000456 | 0.000762 | 0.001033 | 0.001155 | 0.001211 | 0.001274 | 0.001174 | 0.00105 | 0.000846 | 0.000482
0.002641 | 0.002689 | 0.002575 | 0.002363 | 0.002395 | 0.002333 | 0.002214 | 0.002028 | 0.00183 | 0.001632 | 0.001519 | 0.001389 | 0.001366 | 0.001223 | 0.001055 | 0.000947 | 0.000795 | 0.000671 | 0.000577 | 0.000398 | 0.000327 | 0.000184 | 0.000144 | 0.000157 | 0 | -9.5e-05 | -8.8e-05 | -8.2e-05 | 0.000267 | 0.000571 | 0.000809 | 0.000896 | 0.000849 | 0.000894 | 0.000854 | 0.000757 | 0.000522 | 0.000227
0.002873 | 0.002814 | 0.002772 | 0.002534 | 0.002535 | 0.002402 | 0.002272 | 0.002142 | 0.001977 | 0.001819 | 0.001625 | 0.001476 | 0.001426 | 0.001265 | 0.001166 | 0.001043 | 0.000948 | 0.000822 | 0.000753 | 0.000545 | 0.000411 | 0.000259 | 0.0002 | 0.000148 | 0 | -0.000172 | -0.000139 | -0.000133 | 0.000198 | 0.000513 | 0.000696 | 0.000806 | 0.000847 | 0.000819 | 0.000748 | 0.000644 | 0.000431 | 0.000149
0.002824 | 0.00278 | 0.002719 | 0.002534 | 0.002528 | 0.002418 | 0.002308 | 0.002148 | 0.001935 | 0.001731 | 0.001563 | 0.001459 | 0.001401 | 0.001283 | 0.001207 | 0.001076 | 0.000896 | 0.000859 | 0.000749 | 0.000516 | 0.000363 | 0.000229 | 0.000185 | 0.000164 | 0 | -0.000146 | -0.000123 | -7e-05 | 0.000242 | 0.000459 | 0.000605 | 0.000677 | 0.000629 | 0.000658 | 0.000574 | 0.000486 | 0.000325 | 8.5e-05
0.00303 | 0.002938 | 0.00277 | 0.002561 | 0.002573 | 0.002473 | 0.002299 | 0.002133 | 0.001975 | 0.001815 | 0.001666 | 0.001497 | 0.001429 | 0.001306 | 0.001162 | 0.001044 | 0.00087 | 0.000789 | 0.000726 | 0.000582 | 0.000467 | 0.000296 | 0.000215 | 0.000193 | 0 | -9.7e-05 | -0.000112 | -0.000105 | 0.000107 | 0.000323 | 0.000491 | 0.000534 | 0.000518 | 0.000473 | 0.000436 | 0.000321 | 0.000183 | -6.1e-05
0.003133 | 0.003006 | 0.002877 | 0.002644 | 0.002625 | 0.002524 | 0.002401 | 0.00224 | 0.002077 | 0.00188 | 0.001739 | 0.001557 | 0.001459 | 0.00133 | 0.001255 | 0.00109 | 0.000976 | 0.000892 | 0.000848 | 0.000653 | 0.000486 | 0.000344 | 0.000254 | 0.000185 | 0 | -0.000113 | -0.000144 | -0.000129 | 0.000108 | 0.000309 | 0.000457 | 0.000442 | 0.000447 | 0.000448 | 0.000332 | 0.000261 | 0.000107 | -0.00011
0.003105 | 0.002984 | 0.0029 | 0.002692 | 0.00265 | 0.002518 | 0.002374 | 0.002178 | 0.001985 | 0.001805 | 0.001658 | 0.001508 | 0.001444 | 0.001318 | 0.001186 | 0.001051 | 0.00094 | 0.000798 | 0.000746 | 0.00057 | 0.00044 | 0.000266 | 0.00018 | 0.000165 | 0 | -0.000135 | -0.000138 | -0.000147 | 5.1e-05 | 0.000187 | 0.000297 | 0.000323 | 0.000247 | 0.00028 | 0.000185 | 0.000116 | 4e-06 | -0.000185
0.003276 | 0.003225 | 0.003144 | 0.002924 | 0.002825 | 0.002685 | 0.002427 | 0.002221 | 0.002039 | 0.00185 | 0.001653 | 0.001487 | 0.001394 | 0.001238 | 0.001132 | 0.000989 | 0.000879 | 0.000803 | 0.000712 | 0.000606 | 0.000454 | 0.000288 | 0.000215 | 0.000171 | 0 | -8.5e-05 | -0.000132 | -0.000131 | 9e-06 | 0.000162 | 0.000314 | 0.000294 | 0.000287 | 0.000279 | 0.000211 | 0.000135 | 1.4e-05 | -0.00015
0.003438 | 0.003193 | 0.002954 | 0.002759 | 0.002678 | 0.002624 | 0.002486 | 0.00235 | 0.002151 | 0.001933 | 0.001772 | 0.001613 | 0.001496 | 0.001345 | 0.00126 | 0.001136 | 0.001021 | 0.000935 | 0.000827 | 0.000656 | 0.000491 | 0.00033 | 0.000248 | 0.000178 | 0 | -0.000164 | -0.000202 | -0.000223 | -3.1e-05 | 7.7e-05 | 0.000176 | 0.000186 | 0.00012 | 0.000107 | 1e-06 | -6.3e-05 | -0.000146 | -0.000302
0.003572 | 0.003292 | 0.00314 | 0.002918 | 0.002808 | 0.00268 | 0.002472 | 0.0023 | 0.00211 | 0.001966 | 0.00179 | 0.001676 | 0.001561 | 0.001406 | 0.001253 | 0.001135 | 0.000986 | 0.000878 | 0.000777 | 0.000632 | 0.000487 | 0.000304 | 0.00023 | 0.000185 | 0 | -0.000154 | -0.00017 | -0.000179 | -2.5e-05 | 9e-05 | 0.000172 | 0.000158 | 8.9e-05 | 0.00012 | 6.1e-05 | 6e-06 | -7.4e-05 | -0.000212
0.003657 | 0.003332 | 0.003077 | 0.002866 | 0.002735 | 0.002655 | 0.002482 | 0.002338 | 0.00215 | 0.001968 | 0.001789 | 0.001636 | 0.001493 | 0.001317 | 0.001192 | 0.001076 | 0.000954 | 0.000889 | 0.000815 | 0.000672 | 0.000488 | 0.000334 | 0.000238 | 0.000148 | 0 | -0.000168 | -0.000212 | -0.000249 | -9.4e-05 | 2.1e-05 | 0.000126 | 0.00011 | 0.000104 | 6.7e-05 | 3.8e-05 | -1.4e-05 | -7.2e-05 | -0.000196
0.003574 | 0.003322 | 0.003111 | 0.002902 | 0.002787 | 0.002697 | 0.002526 | 0.002376 | 0.002185 | 0.001943 | 0.001755 | 0.001627 | 0.001508 | 0.001369 | 0.001286 | 0.001169 | 0.00104 | 0.000915 | 0.000867 | 0.000685 | 0.000506 | 0.000345 | 0.000253 | 0.000171 | 0 | -0.000141 | -0.000164 | -0.000178 | 1e-06 | 0.000132 | 0.000192 | 0.000204 | 0.000178 | 0.000195 | 0.000123 | 0.000112 | 4.6e-05 | -6.7e-05
0.003488 | 0.00327 | 0.003135 | 0.002926 | 0.002791 | 0.0026 | 0.002402 | 0.002178 | 0.001999 | 0.001798 | 0.001625 | 0.001497 | 0.001388 | 0.001237 | 0.001055 | 0.000954 | 0.000818 | 0.000736 | 0.000684 | 0.000538 | 0.000446 | 0.000275 | 0.000218 | 0.000174 | 0 | -0.000148 | -0.000187 | -0.000201 | -6.2e-05 | 6.1e-05 | 0.000164 | 0.000184 | 0.000146 | 0.000189 | 0.000164 | 0.000102 | 7.2e-05 | -4.5e-05
0.003444 | 0.003141 | 0.002878 | 0.002789 | 0.002611 | 0.002466 | 0.002273 | 0.002099 | 0.001926 | 0.001751 | 0.001599 | 0.001431 | 0.001351 | 0.0012 | 0.00108 | 0.00094 | 0.000836 | 0.000768 | 0.000705 | 0.000607 | 0.000491 | 0.000353 | 0.000273 | 0.000208 | 0 | -0.000174 | -0.000253 | -0.000304 | -0.000196 | -0.000122 | -7.3e-05 | -8.5e-05 | -0.000118 | -9.1e-05 | -9.9e-05 | -0.000134 | -0.000148 | -0.000217
0.003331 | 0.003064 | 0.00294 | 0.002856 | 0.00264 | 0.002452 | 0.002232 | 0.002079 | 0.001906 | 0.001712 | 0.001516 | 0.001353 | 0.001242 | 0.001092 | 0.001018 | 0.000919 | 0.00084 | 0.000793 | 0.000731 | 0.000594 | 0.000463 | 0.000368 | 0.000267 | 0.000202 | 0 | -0.00018 | -0.000214 | -0.000234 | -0.000102 | 2e-05 | 8.6e-05 | 9.5e-05 | 5.9e-05 | 0.000114 | 9.5e-05 | 0.000106 | 8.8e-05 | 2.8e-05
0.003215 | 0.002976 | 0.002772 | 0.00264 | 0.002487 | 0.002375 | 0.002216 | 0.002025 | 0.001836 | 0.00166 | 0.001482 | 0.001357 | 0.001269 | 0.001113 | 0.001044 | 0.00095 | 0.000816 | 0.000752 | 0.000698 | 0.00056 | 0.00046 | 0.000357 | 0.000248 | 0.000197 | 0 | -0.000146 | -0.000207 | -0.000253 | -0.000138 | -5.8e-05 | -7e-06 | 1.4e-05 | -1.2e-05 | 3.9e-05 | 2.1e-05 | 6e-06 | 3.8e-05 | -1.3e-05
0.003325 | 0.002976 | 0.002754 | 0.002615 | 0.002444 | 0.002308 | 0.002138 | 0.002028 | 0.001901 | 0.00176 | 0.001563 | 0.001447 | 0.001328 | 0.001171 | 0.001045 | 0.000938 | 0.000857 | 0.000803 | 0.000758 | 0.000648 | 0.000552 | 0.000429 | 0.000313 | 0.000213 | 0 | -0.000187 | -0.000233 | -0.00029 | -0.000172 | -7.3e-05 | -1e-05 | 1e-06 | -1e-05 | 4.3e-05 | 4.7e-05 | 6.8e-05 | 7.9e-05 | 3.4e-05
0.003108 | 0.002864 | 0.002672 | 0.002574 | 0.002412 | 0.002287 | 0.002105 | 0.001985 | 0.001803 | 0.00161 | 0.001431 | 0.00128 | 0.001198 | 0.001075 | 0.000995 | 0.00091 | 0.00085 | 0.000782 | 0.000754 | 0.000636 | 0.000492 | 0.000391 | 0.000289 | 0.000215 | 0 | -0.000145 | -0.000194 | -0.000248 | -0.000147 | -3.7e-05 | 8e-06 | 3.6e-05 | 2.3e-05 | 5.5e-05 | 8.4e-05 | 8.5e-05 | 0.000125 | 0.0001
0.003124 | 0.002815 | 0.002641 | 0.00249 | 0.002353 | 0.002212 | 0.002053 | 0.001889 | 0.001755 | 0.001621 | 0.001473 | 0.001373 | 0.00124 | 0.001147 | 0.001027 | 0.00093 | 0.000799 | 0.000741 | 0.000664 | 0.000607 | 0.000487 | 0.000363 | 0.000261 | 0.000201 | 0 | -0.000162 | -0.00022 | -0.000269 | -0.000179 | -0.000148 | -8.7e-05 | -9.2e-05 | -0.000109 | -5.3e-05 | -4.1e-05 | 2e-06 | 2.1e-05 | -1e-06
0.003121 | 0.002774 | 0.002481 | 0.002365 | 0.002231 | 0.002131 | 0.002008 | 0.001931 | 0.001786 | 0.001664 | 0.001502 | 0.001358 | 0.001239 | 0.001135 | 0.001029 | 0.000908 | 0.000843 | 0.000819 | 0.000774 | 0.000689 | 0.000556 | 0.000431 | 0.000328 | 0.000217 | 0 | -0.000181 | -0.000257 | -0.000337 | -0.000254 | -0.000201 | -0.000163 | -0.000168 | -0.000162 | -0.000122 | -7.9e-05 | -7.1e-05 | -4.3e-05 | -6e-05
0.002975 | 0.002709 | 0.002505 | 0.002394 | 0.002269 | 0.002154 | 0.002012 | 0.001884 | 0.001743 | 0.001603 | 0.001415 | 0.001301 | 0.001214 | 0.001101 | 0.001025 | 0.000943 | 0.00088 | 0.000794 | 0.000769 | 0.000644 | 0.000531 | 0.000394 | 0.000261 | 0.000199 | 0 | -0.000167 | -0.000215 | -0.00027 | -0.00019 | -0.000161 | -8.2e-05 | -9e-05 | -9.1e-05 | -4.4e-05 | -2e-05 | -1.7e-05 | 2.8e-05 | 3.2e-05
0.002826 | 0.002711 | 0.002446 | 0.002334 | 0.002205 | 0.002107 | 0.001959 | 0.001814 | 0.001703 | 0.001519 | 0.001354 | 0.001206 | 0.001154 | 0.001024 | 0.00096 | 0.000875 | 0.000822 | 0.000779 | 0.000738 | 0.000664 | 0.000548 | 0.000376 | 0.000313 | 0.00021 | 0 | -0.000159 | -0.000211 | -0.000291 | -0.000235 | -0.00021 | -0.000152 | -0.000143 | -0.000179 | -9.9e-05 | -8.2e-05 | -4.6e-05 | -1.3e-05 | -1e-05
0.002781 | 0.00263 | 0.002431 | 0.002279 | 0.002167 | 0.002093 | 0.00196 | 0.001829 | 0.001576 | 0.001443 | 0.001281 | 0.001119 | 0.001059 | 0.000935 | 0.000845 | 0.000764 | 0.00069 | 0.00067 | 0.00065 | 0.000629 | 0.000581 | 0.000439 | 0.000311 | 0.000226 | 0 | -0.000202 | -0.000245 | -0.0003 | -0.000217 | -0.000211 | -0.000155 | -0.000117 | -9.8e-05 | -3.4e-05 | 2e-05 | 5.7e-05 | 0.000105 | 0.000115
0.002708 | 0.002594 | 0.002427 | 0.002284 | 0.00218 | 0.002101 | 0.001955 | 0.001754 | 0.001524 | 0.001395 | 0.001263 | 0.001158 | 0.001077 | 0.001001 | 0.000861 | 0.00079 | 0.000667 | 0.000605 | 0.000593 | 0.000526 | 0.000508 | 0.000368 | 0.000255 | 0.000195 | 0 | -0.000172 | -0.000176 | -0.000233 | -0.000138 | -0.000133 | -7e-05 | -2.3e-05 | -3e-06 | 6e-05 | 0.000103 | 0.00014 | 0.000217 | 0.000242
0.002754 | 0.002676 | 0.002451 | 0.002264 | 0.00216 | 0.002094 | 0.00192 | 0.001836 | 0.001667 | 0.001481 | 0.0013 | 0.00116 | 0.001064 | 0.000974 | 0.000902 | 0.000831 | 0.000789 | 0.000816 | 0.000809 | 0.000712 | 0.000564 | 0.0004 | 0.000286 | 0.000217 | 0 | -0.000191 | -0.000204 | -0.000237 | -0.000135 | -0.000107 | -3.8e-05 | -4e-06 | 4e-05 | 0.000134 | 0.000175 | 0.000216 | 0.000283 | 0.000296
0.002775 | 0.002574 | 0.002391 | 0.002192 | 0.002104 | 0.002018 | 0.001889 | 0.001805 | 0.001645 | 0.001516 | 0.001372 | 0.001228 | 0.001157 | 0.001036 | 0.000969 | 0.000868 | 0.000796 | 0.000744 | 0.000754 | 0.000646 | 0.000498 | 0.000369 | 0.000225 | 0.000184 | 0 | -0.000184 | -0.000222 | -0.000251 | -0.000143 | -6.5e-05 | 1.4e-05 | 6.6e-05 | 0.00015 | 0.000264 | 0.00034 | 0.000395 | 0.000469 | 0.000493
0.0028 | 0.002596 | 0.002381 | 0.002185 | 0.002085 | 0.002014 | 0.001854 | 0.001732 | 0.001608 | 0.00147 | 0.001321 | 0.001225 | 0.001126 | 0.001019 | 0.000949 | 0.000858 | 0.000782 | 0.00074 | 0.000694 | 0.000603 | 0.000501 | 0.000341 | 0.000247 | 0.000174 | 0 | -0.000135 | -0.000134 | -0.000119 | -1.6e-05 | -2.4e-05 | 0.000109 | 0.000155 | 0.000243 | 0.000357 | 0.000467 | 0.000511 | 0.000596 | 0.000621
0.002765 | 0.00254 | 0.00234 | 0.002134 | 0.002021 | 0.001907 | 0.001777 | 0.001678 | 0.001565 | 0.00145 | 0.001289 | 0.001165 | 0.001084 | 0.000941 | 0.000866 | 0.000793 | 0.000727 | 0.0007 | 0.000681 | 0.000624 | 0.00049 | 0.000357 | 0.000237 | 0.000168 | 0 | -0.000176 | -0.000178 | -0.000164 | -5.8e-05 | 3.2e-05 | 0.000161 | 0.000283 | 0.000374 | 0.000533 | 0.000662 | 0.000724 | 0.00081 | 0.000839
0.002553 | 0.002368 | 0.002166 | 0.00197 | 0.001901 | 0.001826 | 0.001675 | 0.001561 | 0.001422 | 0.001277 | 0.001117 | 0.001004 | 0.000953 | 0.000853 | 0.000803 | 0.000718 | 0.000681 | 0.00061 | 0.000612 | 0.00051 | 0.000387 | 0.000284 | 0.000166 | 0.000149 | 0 | -0.000155 | -0.000101 | -6.5e-05 | 8.5e-05 | 0.000187 | 0.000314 | 0.000452 | 0.000558 | 0.000717 | 0.000843 | 0.000927 | 0.001031 | 0.001072
0.002507 | 0.002299 | 0.002042 | 0.001828 | 0.001758 | 0.00168 | 0.001531 | 0.001425 | 0.001328 | 0.001225 | 0.001073 | 0.000957 | 0.000907 | 0.000817 | 0.000731 | 0.000653 | 0.000573 | 0.000555 | 0.000549 | 0.0005 | 0.000407 | 0.000266 | 0.000164 | 0.000159 | 0 | -0.00011 | -7.1e-05 | -3e-05 | 0.000135 | 0.0002 | 0.000354 | 0.000478 | 0.00061 | 0.000805 | 0.000935 | 0.001033 | 0.001135 | 0.001147
0.002284 | 0.002111 | 0.001977 | 0.001765 | 0.00169 | 0.001565 | 0.001415 | 0.001299 | 0.001167 | 0.001064 | 0.000907 | 0.000791 | 0.000722 | 0.000633 | 0.000568 | 0.0005 | 0.000476 | 0.000472 | 0.000461 | 0.000415 | 0.000319 | 0.000227 | 0.000146 | 0.000137 | 0 | -0.000114 | -5.6e-05 | 2.1e-05 | 0.000208 | 0.000337 | 0.00051 | 0.000644 | 0.000801 | 0.001012 | 0.001156 | 0.001243 | 0.001366 | 0.001373
0.002114 | 0.001892 | 0.001703 | 0.001494 | 0.001445 | 0.001382 | 0.001251 | 0.001138 | 0.001064 | 0.000928 | 0.000791 | 0.000696 | 0.000678 | 0.000593 | 0.000537 | 0.000479 | 0.000428 | 0.000422 | 0.000432 | 0.000362 | 0.00027 | 0.000148 | 0.000111 | 0.000105 | 0 | -9.9e-05 | -3.2e-05 | 4.7e-05 | 0.000258 | 0.000369 | 0.00052 | 0.000661 | 0.00081 | 0.001001 | 0.001137 | 0.001212 | 0.001349 | 0.001383
0.001912 | 0.001766 | 0.001654 | 0.001452 | 0.001362 | 0.001265 | 0.00108 | 0.000968 | 0.000888 | 0.000788 | 0.000642 | 0.000546 | 0.000512 | 0.000436 | 0.000357 | 0.00029 | 0.000283 | 0.000301 | 0.000314 | 0.000299 | 0.000225 | 0.000121 | 0.0001 | 0.000116 | 0 | -9.8e-05 | -1.7e-05 | 6.3e-05 | 0.000255 | 0.000391 | 0.00055 | 0.000705 | 0.000841 | 0.001061 | 0.001175 | 0.001266 | 0.001373 | 0.001412
0.001714 | 0.001594 | 0.00154 | 0.001349 | 0.001297 | 0.001187 | 0.00101 | 0.000911 | 0.000794 | 0.000696 | 0.000547 | 0.000451 | 0.000403 | 0.000354 | 0.000338 | 0.000289 | 0.00025 | 0.00027 | 0.000297 | 0.000264 | 0.000192 | 0.000104 | 6.3e-05 | 9.1e-05 | 0 | -8.4e-05 | 1.3e-05 | 0.00011 | 0.000333 | 0.000448 | 0.000625 | 0.000736 | 0.000881 | 0.001048 | 0.001173 | 0.001256 | 0.001354 | 0.001416
0.001629 | 0.001535 | 0.001425 | 0.00125 | 0.001193 | 0.001112 | 0.000981 | 0.000893 | 0.00074 | 0.000659 | 0.000523 | 0.000463 | 0.000416 | 0.000351 | 0.000316 | 0.000258 | 0.000214 | 0.000234 | 0.000267 | 0.000247 | 0.000179 | 0.000111 | 9.3e-05 | 0.000116 | 0 | -6.6e-05 | 6e-06 | 9.4e-05 | 0.000291 | 0.000401 | 0.000546 | 0.000666 | 0.000753 | 0.000903 | 0.001001 | 0.001059 | 0.001169 | 0.001219
0.001731 | 0.001588 | 0.001502 | 0.001308 | 0.001231 | 0.001159 | 0.00103 | 0.000926 | 0.00082 | 0.000742 | 0.000595 | 0.000528 | 0.000469 | 0.000394 | 0.00034 | 0.00027 | 0.000261 | 0.000281 | 0.000308 | 0.000286 | 0.000243 | 0.000155 | 0.0001 | 0.00012 | 0 | -7.6e-05 | 7e-06 | 8e-05 | 0.000244 | 0.000336 | 0.000483 | 0.000595 | 0.000666 | 0.00081 | 0.000873 | 0.000943 | 0.001056 | 0.001069
0.001716 | 0.00161 | 0.001532 | 0.001364 | 0.001318 | 0.001233 | 0.001073 | 0.000951 | 0.000843 | 0.00074 | 0.000611 | 0.000519 | 0.000498 | 0.000433 | 0.000374 | 0.000314 | 0.000279 | 0.000299 | 0.000323 | 0.000285 | 0.000194 | 0.000124 | 8.2e-05 | 0.000111 | 0 | -7.8e-05 | 9e-06 | 7.1e-05 | 0.000235 | 0.000336 | 0.000433 | 0.000506 | 0.000525 | 0.000613 | 0.000686 | 0.00074 | 0.000807 | 0.000866
0.001906 | 0.001735 | 0.001641 | 0.001489 | 0.001408 | 0.00131 | 0.001168 | 0.001023 | 0.000913 | 0.000827 | 0.000705 | 0.000606 | 0.000573 | 0.000496 | 0.000407 | 0.000326 | 0.000274 | 0.000272 | 0.000316 | 0.000279 | 0.00023 | 0.00012 | 8.3e-05 | 0.000116 | 0 | -8.3e-05 | -5.2e-05 | 3.5e-05 | 0.000131 | 0.000172 | 0.000286 | 0.000317 | 0.000319 | 0.000389 | 0.000433 | 0.000469 | 0.000536 | 0.000592
0.002218 | 0.002011 | 0.00181 | 0.001628 | 0.001568 | 0.00152 | 0.001435 | 0.001343 | 0.001252 | 0.001128 | 0.000996 | 0.000891 | 0.000815 | 0.000728 | 0.000674 | 0.0006 | 0.000538 | 0.000542 | 0.000546 | 0.000485 | 0.000395 | 0.000239 | 0.000171 | 0.000144 | 0 | -0.000128 | -0.000105 | -7.9e-05 | 1.9e-05 | 4.7e-05 | 0.000112 | 0.000113 | 0.000115 | 0.000153 | 0.000178 | 0.0002 | 0.000256 | 0.00032
0.002362 | 0.002105 | 0.001934 | 0.001751 | 0.001687 | 0.001661 | 0.001481 | 0.001389 | 0.001264 | 0.001173 | 0.001021 | 0.000958 | 0.000882 | 0.000782 | 0.000682 | 0.000581 | 0.000503 | 0.000501 | 0.000508 | 0.000432 | 0.000345 | 0.000202 | 0.000124 | 0.000127 | 0 | -0.000151 | -0.000125 | -0.000112 | -4.4e-05 | -3.9e-05 | -3.6e-05 | -4.3e-05 | -0.000119 | -7.6e-05 | -9.6e-05 | -9.2e-05 | -3.7e-05 | 1.1e-05
0.00247 | 0.002241 | 0.002078 | 0.001907 | 0.001842 | 0.001784 | 0.001618 | 0.001502 | 0.001379 | 0.001281 | 0.001119 | 0.001036 | 0.000948 | 0.000817 | 0.000723 | 0.000626 | 0.000556 | 0.000554 | 0.000558 | 0.000495 | 0.000404 | 0.00026 | 0.000153 | 0.000131 | 0 | -0.000152 | -0.000172 | -0.00016 | -0.000114 | -0.000159 | -0.000115 | -0.000178 | -0.000265 | -0.000241 | -0.000261 | -0.000265 | -0.000236 | -0.000194
0.002527 | 0.002354 | 0.002262 | 0.002102 | 0.002019 | 0.00192 | 0.001759 | 0.001649 | 0.001498 | 0.001385 | 0.001203 | 0.001111 | 0.001005 | 0.000914 | 0.000815 | 0.000724 | 0.000625 | 0.000585 | 0.000627 | 0.000545 | 0.000447 | 0.000271 | 0.000183 | 0.000151 | 0 | -0.000166 | -0.000152 | -0.00019 | -0.00015 | -0.000159 | -0.000248 | -0.000287 | -0.000391 | -0.00036 | -0.00043 | -0.000427 | -0.000396 | -0.000363
0.002639 | 0.002483 | 0.002438 | 0.002287 | 0.002159 | 0.002061 | 0.001851 | 0.00172 | 0.001568 | 0.001463 | 0.001238 | 0.001131 | 0.001107 | 0.00096 | 0.00088 | 0.00074 | 0.000641 | 0.000592 | 0.000609 | 0.000543 | 0.000431 | 0.000239 | 0.000151 | 0.000151 | 0 | -0.000147 | -0.000146 | -0.000228 | -0.00021 | -0.000251 | -0.000327 | -0.000383 | -0.000507 | -0.000534 | -0.00062 | -0.000587 | -0.000566 | -0.000496
0.002942 | 0.002689 | 0.002614 | 0.002437 | 0.002317 | 0.002202 | 0.002012 | 0.001879 | 0.00173 | 0.001612 | 0.0014 | 0.001317 | 0.001209 | 0.001038 | 0.000926 | 0.00079 | 0.000725 | 0.000709 | 0.000725 | 0.000647 | 0.00053 | 0.000332 | 0.000235 | 0.000197 | 0 | -0.000145 | -0.000212 | -0.000266 | -0.000281 | -0.000351 | -0.000409 | -0.000511 | -0.000661 | -0.000666 | -0.00073 | -0.000717 | -0.000731 | -0.000658
0.002927 | 0.002746 | 0.002652 | 0.002502 | 0.002348 | 0.002273 | 0.002099 | 0.001956 | 0.001792 | 0.001675 | 0.00143 | 0.001314 | 0.001269 | 0.001121 | 0.001025 | 0.000867 | 0.000758 | 0.000744 | 0.000787 | 0.000677 | 0.00056 | 0.000358 | 0.00025 | 0.00018 | 0 | -0.00017 | -0.000207 | -0.000285 | -0.000309 | -0.000419 | -0.000481 | -0.000564 | -0.000714 | -0.000792 | -0.000801 | -0.000844 | -0.000804 | -0.000716
0.002865 | 0.002657 | 0.002574 | 0.002419 | 0.002271 | 0.002204 | 0.002004 | 0.001848 | 0.001701 | 0.001556 | 0.001391 | 0.001252 | 0.0012 | 0.001025 | 0.000912 | 0.000782 | 0.000685 | 0.000675 | 0.000692 | 0.000601 | 0.000473 | 0.000318 | 0.000186 | 0.000196 | 0 | -0.000173 | -0.000221 | -0.000316 | -0.000347 | -0.000431 | -0.000534 | -0.000627 | -0.000787 | -0.000818 | -0.000898 | -0.000875 | -0.000868 | -0.000783
0.002767 | 0.002584 | 0.002562 | 0.00246 | 0.002262 | 0.002178 | 0.001973 | 0.00179 | 0.001656 | 0.001561 | 0.001349 | 0.001284 | 0.001183 | 0.00102 | 0.000954 | 0.000764 | 0.000668 | 0.000657 | 0.000683 | 0.000602 | 0.000477 | 0.000297 | 0.000206 | 0.00024 | 0 | -0.000182 | -0.000197 | -0.000278 | -0.000268 | -0.00038 | -0.000413 | -0.000497 | -0.000693 | -0.000689 | -0.000688 | -0.000709 | -0.000718 | -0.000583
0.002614 | 0.002416 | 0.00236 | 0.002235 | 0.002108 | 0.002018 | 0.001856 | 0.001711 | 0.001573 | 0.001451 | 0.001282 | 0.001189 | 0.001127 | 0.000965 | 0.000859 | 0.000763 | 0.000627 | 0.000621 | 0.000651 | 0.000553 | 0.000443 | 0.000257 | 0.000152 | 0.000183 | 0 | -0.000221 | -0.000239 | -0.000331 | -0.000329 | -0.000437 | -0.000471 | -0.000532 | -0.00073 | -0.000764 | -0.000808 | -0.000779 | -0.000792 | -0.000703
0.002453 | 0.002317 | 0.002349 | 0.002219 | 0.00204 | 0.002028 | 0.001829 | 0.001662 | 0.001472 | 0.001395 | 0.001158 | 0.001059 | 0.001008 | 0.0009 | 0.000824 | 0.000616 | 0.00055 | 0.000487 | 0.000599 | 0.000533 | 0.000439 | 0.000228 | 0.000141 | 0.000189 | 0 | -0.000173 | -0.000185 | -0.000299 | -0.000247 | -0.000331 | -0.00034 | -0.000437 | -0.000545 | -0.000577 | -0.000614 | -0.000572 | -0.000595 | -0.000481
0.002316 | 0.002275 | 0.002318 | 0.002188 | 0.002 | 0.001981 | 0.001774 | 0.001571 | 0.001412 | 0.001354 | 0.001074 | 0.001063 | 0.000976 | 0.000887 | 0.000784 | 0.000662 | 0.000507 | 0.000545 | 0.000596 | 0.000525 | 0.000432 | 0.000177 | 0.00014 | 0.000196 | 0 | -0.000195 | -0.00021 | -0.00026 | -0.000224 | -0.000298 | -0.000271 | -0.000309 | -0.000499 | -0.000478 | -0.000476 | -0.000417 | -0.000463 | -0.000359
0.002332 | 0.002209 | 0.002237 | 0.002105 | 0.001905 | 0.001909 | 0.001703 | 0.001579 | 0.001445 | 0.001354 | 0.001138 | 0.000998 | 0.00107 | 0.000874 | 0.000781 | 0.000574 | 0.000479 | 0.000502 | 0.000592 | 0.000468 | 0.0004 | 0.000183 | 0.000134 | 0.000145 | 0 | -0.000205 | -0.000193 | -0.000257 | -0.000225 | -0.000296 | -0.000298 | -0.000348 | -0.000484 | -0.000485 | -0.000504 | -0.000433 | -0.000418 | -0.000286
0.002198 | 0.002205 | 0.002283 | 0.002144 | 0.001888 | 0.001949 | 0.0016 | 0.001515 | 0.001352 | 0.001327 | 0.001034 | 0.000936 | 0.000946 | 0.000822 | 0.000692 | 0.000534 | 0.000407 | 0.000463 | 0.00054 | 0.00042 | 0.000362 | 0.000172 | 9.5e-05 | 0.000136 | 0 | -0.000192 | -0.000162 | -0.000243 | -0.000173 | -0.000254 | -0.00022 | -0.000217 | -0.00041 | -0.000362 | -0.00043 | -0.000291 | -0.000349 | -0.000197
0.002322 | 0.002305 | 0.002368 | 0.002229 | 0.002052 | 0.002007 | 0.001781 | 0.00161 | 0.001467 | 0.001393 | 0.001116 | 0.001086 | 0.001069 | 0.000916 | 0.000784 | 0.000688 | 0.000462 | 0.000502 | 0.000681 | 0.000528 | 0.000442 | 0.000157 | 0.000162 | 0.000259 | 0 | -0.00023 | -0.000174 | -0.000254 | -0.000153 | -0.000224 | -0.000251 | -0.00019 | -0.000421 | -0.000423 | -0.000451 | -0.000272 | -0.000397 | -0.000211